## Niscemi HV Assets
ATTACHMENT J-1602000-03 ELECTRICAL POWER TRANSMISSION AND DISTRIBUTION SYSTEMS DESCRIPTION
(*) Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information.
Asset | Description | Location (*) | Work Center | Parent | Status | Asset Type | Inventory Category | Site
UMA042000144 | CONTROL SYSTEM, PWRSPLY-2100-OUTGOING-MO, PLC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000146 | CONTROL SYSTEM, PWRSPLY2100-OUTGOINGFDR2, PLC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000149 | CONTROL SYSTEM, PWRSPLY2100-OUTGOINGFDR1, PLC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000122 | UEM,Low Voltage Breaker Panel, LVP-INCOMING, Other | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000157 | CONTROL SYSTEM, UPS-2100, PLC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000154 | CONTROL SYSTEM, PWRSPLY-2100-INCOMING-2, PLC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000125 | SOLID STATE RELAY, ABB-I-INCOMING, ELECTRONIC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000142 | SOLID STATE RELAY, ABB-2100-OUTGOING-MUOS, ELECTRONIC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000137 | SWITCH UNIT, SW-2100-OUTGOING-MUOS, SUB STATION, DISCONNECT, 24000, AIR | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000143 | SOLID STATE RELAY, ABB-2100-OUTGOING-FDR2, ELECTRONIC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000148 | SOLID STATE RELAY, ABB-2100-OUTGOING-FDR1, ELECTRONIC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000151 | SOLID STATE RELAY, THY-2100-INCOMING-3, ELECTRONIC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000153 | SOLID STATE RELAY, ABB-2100-INCOMING-2, ELECTRONIC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000136 | SWITCH UNIT, SW-2100-OUTGOING-FDR2, SUB STATION, DISCONNECT, 24000, AIR | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000156 | ENCLOSURE, ENCL-2100-OUTGOING | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000131 | SWITCH UNIT, SW2100-INCOMING-MTR, SUB STATION, DISCONNECT, 24000, AIR | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000134 | SWITCH UNIT, SW-2100-INCOMING-2, SUB STATION, DISCONNECT, 24000, AIR | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000135 | SWITCH UNIT, SW-2100-OUTGOING-FDR1, SUB STATION, DISCONNECT, 24000, AIR | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000139 | DYNAMIC PROTECTIVE DEVICE, I-2100-OUTGOING-FDR2, CIRCUIT BREAKER, 24000, SF6, SUB STATION | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000123 | ENCLOSURE, ENCL-2100-MAIN | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000132 | ELECTRIC METER, TRC-2100-MTR-B, MASTER | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000127 | ELECTRIC METER, TRC-INOMING-MTR-A, MASTER | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000141 | DYNAMIC PROTECTIVE DEVICE, I-2100-INCOMING-2, CIRCUIT BREAKER, 24000, SF6, SUB STATION | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000120 | DYNAMIC PROTECTIVE DEVICE, I-2100-INCOMING, CIRCUIT BREAKER, 24000, SF6, SWITCHING STATION | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000138 | DYNAMIC PROTECTIVE DEVICE, I-2100-OUTGOING-MUOS, CIRCUIT BREAKER, 24000, SF6, SUB STATION | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000140 | DYNAMIC PROTECTIVE DEVICE, I-2100-OUTGOING-FDR1, CIRCUIT BREAKER, 24000, SF6, SUB STATION | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
6-EL-SW-202 | SWITCH UNIT, SW-NISCEMI-MAIN, SUB STATION, DISCONNECT, 24000, AIR | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000145 | UEM,Low Voltage Breaker Panel, LVP-2100-OUTGOING-MOUS, Other | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000147 | UEM,Low Voltage Breaker Panel, LVP-2100-OUTGOING-FDR2, Other | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000150 | UEM,Low Voltage Breaker Panel, LVP-2100-OUTGOING-FDR1, Other | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000152 | UEM,Low Voltage Breaker Panel, LVP-THY-INCOMING, Other | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000155 | UEM,Low Voltage Breaker Panel, LVP-2100-INCOMING-2, Other | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000158 | UEM,Low Voltage Breaker Panel, LVP-2100-PLC-2, Wall Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000160 | UEM,Low Voltage Breaker Panel, LVP-2100-INTERIOR.LIGHTS, Wall Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000159 | UEM,Low Voltage Breaker Panel, LVP-2100-MAIN, Wall Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000179 | VOLTAGE REGULATOR, VR-TR1, PADMOUNT, PAD MOUNTED, 0.37 | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000178 | TRANSFORMER, TR1, DISTRIBUTION, 2500, SUB STATION, OIL IMMERSED | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000164 | UEM,Low Voltage Breaker Panel, LVP-TR-FDR1, Pad Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000167 | UEM,Low Voltage Breaker Panel, LVP-TR-FDR1-B, Wall Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000168 | UEM,Low Voltage Breaker Panel, LV-TR-FDR1-C, Wall Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000163 | SOLID STATE RELAY, ABB-TR-FDR1, ELECTRONIC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000182 | UEM,Low Voltage Breaker Panel, LVP-TR1-OUTSIDE, Pole Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000166 | ENCLOSURE, ENCL-TR-FDR1 | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000162 | DYNAMIC PROTECTIVE DEVICE, I-TR-FDR1, CIRCUIT BREAKER, 24000, SF6, SUB STATION | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000161 | SWITCH UNIT, SW-TR-FDR1, SUB STATION, DISCONNECT, 24000, AIR | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000165 | CONTROL SYSTEM, PWRSPLY-TR-FDR1, PLC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000129 | CONTROL SYSTEM, PWRSPLY-2100-INCOMING, PLC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000181 | UEM,Low Voltage Breaker Panel, LVP-TR2-OUTSIDE, Pole Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000177 | TRANSFORMER, TR2, DISTRIBUTION, 2500, SUB STATION, OIL IMMERSED | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000175 | UEM,Low Voltage Breaker Panel, LVP-TR-FDR1-B, Wall Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000171 | SOLID STATE RELAY, ABB-TR-FDR2, ELECTRONIC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000174 | ENCLOSURE, ENCL-TR-FDR2 | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000173 | UEM,Low Voltage Breaker Panel, LVP-TR-FDR2, Pad Mounted | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000170 | DYNAMIC PROTECTIVE DEVICE, I-TR-FDR2, CIRCUIT BREAKER, 24000, SF6, SUB STATION | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000180 | VOLTAGE REGULATOR, VR-TR2, PADMOUNT, PAD MOUNTED, 0.37 | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000172 | CONTROL SYSTEM, PWRSPLY-TR-FDR2, PLC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
6-EL-SW-203 | SWITCH UNIT, SW-TR-FDR2, SUB STATION, DISCONNECT, 24000, AIR | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
6-2103-SUB-001 | ELECTRIC LINE, EL-NISCEMI-MAIN, PRIMARY UNDERGROUND, 24000 | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
PM: | Niscemi MUOS
UMA042000409 | ELECTRIC LINE, EL-NISCEMI-MUOS, PRIMARY UNDERGROUND, 24000 | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000414 | CONTROL SYSTEM, PWRSPLY-MUOS-MAIN, PLC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000416 | TRANSFORMER, TR-MUOS-MAIN, DISTRIBUTION, 1000, SUB STATION, DRY TYPE, VENTILATED FORCED AIR COOLED | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000413 | UEM,Low Voltage Breaker Panel, LVP-MUOS-SSR, Other | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000412 | SOLID STATE RELAY, ABB-MUOS-MAIN, ELECTRONIC | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000410 | SWITCH UNIT, SBD-MUOS-MAIN, SUB STATION, DISCONNECT, 24000, AIR | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000415 | ENCLOSURE, ENCL-MUOS-MAIN | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
UMA042000411 | DYNAMIC PROTECTIVE DEVICE, I-MUOS-MAIN, CIRCUIT BREAKER, 24000, SF6, SUB STATION | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001
NO PM, but DI shall be updated
UMA042002207 | UNDERGROUND STRUCTURE, UED-NISCEMI-001, DUCT | NISCEMI | WESP6E |  | OPERATING | UTILITIES | RPIE | 11001

## Photo-Voltaic System
ATTACHMENT J-1602000-03 ELECTRICAL POWER TRANSMISSION AND DISTRIBUTION SYSTEMS DESCRIPTION
(*) Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information.
Asset | Description | Location (*) | Work Center | Status | Asset Type | Inventory Category | Site
UMA042001243 | UEM,Low Voltage Breaker, Fuses for Watt Meter UTIF, Wall Mounted | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
UMA042001240 | UEM,Low Voltage Breaker, Fuses Protection Thytronic & PM8000, Wall Mounted | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
UMA042001239 | ELECTRIC METER, MTR-SS311, MASTER | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
UMA042001264 | ELECTRIC LINE, EL-SS311-TO-SS315, PRIMARY UNDERGROUND, 1000 | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
UMA042001265 | ELECTRIC LINE, EL-SS311-FROM-PHOTO, PRIMARY UNDERGROUND, 1000 | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-052 | UEM,Low Voltage , Fuses for AUX Protection MEAS U.T.F., Wall Mounted | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-INSTR-02 | UEM,Electric -MULTI -METER- PM8000-SS311, ADR | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-SMALL-TRANSF-01 | UEM,Dynamic Protective Device, SS311 SMALL-TRANSF--FEEDS &PROTECTS ETHERNET SWITCH, Other, | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-INSTR-03 | UEM,Instrumentation, ETHERNET SWITCH, Analyzer for power production | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-046 | UEM,Low Voltage Breaker Panel, Fuse Protect for Main Service, Wall Mounted | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-047 | UEM,Low Voltage Breaker Panel, Fuses Protect for Main Sez UPS, Wall Mounted | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-048 | UEM,Low Voltage Breaker, Fuses Protect for PM8000 MULTI READER, Wall Mounted | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-049 | UEM,Low Voltage Breaker, Fuses Protect for Trip B.T., Wall Mounted | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-050 | UEM,Low Voltage Breaker, Fuses Protect for INTERF. NV10P, Wall Mounted | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-051 | UEM,Low Voltage Breaker, Fuses Protection for ETHERNET, Wall Mounted | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-042 | UEM,Dynamic Protective Device, SS311 BRK-->FEEDS ETHERNET SWITCH, 1,000 VOLT, Air, S | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-043 | UEM,Dynamic Protective Device, SS311 BRK-->FEEDS AIR CONDITIONER, 1,000 VOLT, Air, S | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-044 | UEM,Dynamic Protective Device, SS311 BRK-->THAT SERVICES LIGHTS IN SUB, Circuit Breaker, 1,000 VOLT, | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-045 | UEM,Dynamic Protective Device, SS311 BRK->FEEDS UPS, Circuit Breaker, 1,000 VOLT, Air, Sub Station | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-RELAY-05 | UEM,Solid State Relay, THYTRONIC--SS311, Electric, 250, NV10P#UA2TM000 | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-PWR-INVERTER-02 | UEM,Power Inverter, Power Inverter 02-SUB-311 | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-PWR-INVERTER-03 | UEM,Power Inverter, Power Inverter 03-SUB-311 | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-PWR-INVERTER-MAIN | UEM,Power Inverter, Power Inverter MAIN-SUB-311 | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-BRK-041 | UEM,Dynamic Protective Device, I-SS311-MAIN BRK, Circuit Breaker, 1,000 VOLT, Air, Sub Station | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-UPS-003 | UEM,Battery System, UPS IN SUB, Lead-acid | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-SOLAR-01 | UEM SOLAR PANELS (240 PANELS) & (120)OPTIMIZERS | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001
6-EL-PWR-INVERTER-01 | UEM,Power Inverter, Power Inverter 01-SUB-311 | SUPPORT SITE | GESKTRF | OPERATING | UTILITIES | RPIE | 11001