## INDEX
ATTACHMENT J-1502000-06
INDEX
Defense Health Agency (DHA) Preventive Maintenance (PM) Program
Spec Item | Asset Type
3.3.1 | Interior and Exterior Lighting Systems
3.3.2 | Lightning Arrestors and Grounding Devices
3.3.3 | Vertical Transportation Equipment (VTE)
3.3.4 | Compressed Air Systems
3.3.5 | Auxiliary Generators
3.3.6 | Uninterruptable Power Supply System (UPS)
3.3.7 | Medical Air, Gas and Vacuum Systems
3.3.8 | Communication Systems
3.3.9 | Intrusion Detection Systems
3.3.10 | Closed Circuit Surveillance Systems
3.3.11 | Automatic, Fire and Roll-Up Doors
3.3.13 | Facility Electrical Systems
3.3.14 | Reverse Osmosis and Water Purification System
3.3.15 | Aboveground (AST) and Underground (UST) Storage Tanks
3.3.16 | Overhead and Roll-Up Doors
3.3.18 | Drinking Fountains/Water Coolers
3.3.20 | Emergency Eye Wash
3.3.21 | Irrigation Systems
Defense Health Agency (DHA) Integrated Maintenance Program (IMP)
Spec Item | Asset Type
3.4.1 | HVAC and Refrigeration Systems
3.4.2 | Fire Protection Systems
3.4.3 | Boilers and UPVs
Defense Health Agency (DHA) Other Recurring Services Program
Spec Item | Asset Type
3.6.1 | Exhaust Hoods and Ducts
3.6.11 | Miscellaneous Equipment
3.6.16 | Lift Station Maintenance

## SYSTEM DESCRIPTIONS
ATTACHMENT J-1502000-06
SYSTEM DESCRIPTIONS |  | SYSTEM DESCRIPTIONS
Preventive Maintenance (PM)
3.2.1 | Interior and Exterior Lighting Systems | Interior and Exterior Lighting Systems commence at, and includes the utility isolation point of connection. The Contractor shall develop and implement a Lighting Systems Preventive Maintenance (PM) Program to clean, re-lamp, and make all necessary repairs to the Interior and Exterior Lighting Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components of the Lighting Systems, such as: replacement of defective bulbs, batteries, lamps, tubes, ballasts, fuses, starters, switches, diffusers, covers, reflectors, photocells, controls, etc.
3.2.2 | Cathodic Protection Systems | Lightning Arresting and Grounding Systems commence at, and includes the utility isolation point of connection and terminate at foundation. The Contractor shall develop and implement a Preventive Maintenance (PM) Program for the Weight Handling Equipment and Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components of the Weight Handling Equipment and Systems, such as: brakes, cables, circuit breakers, frequency drives, hoist, hooks, inverters, latches, surge suppressors, trackage, transformers, motors, wiring, monitoring and controls systems, etc
3.2.3 | Lightning Arrestors and Grounding Devices | Lightning Arresting and Grounding Systems commence at, and includes the utility isolation point of connection and terminate at foundation. The Contractor shall develop and implement a Preventive Maintenance (PM) Program for the Weight Handling Equipment and Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components of the Weight Handling Equipment and Systems, such as: brakes, cables, circuit breakers, frequency drives, hoist, hooks, inverters, latches, surge suppressors, trackage, transformers, motors, wiring, monitoring and controls systems, etc
3.2.4 | Vertical Transportation Equipment (VTE) | Vertical Transportation Equipment Systems commence at and include the utility isolation point of connection. The Contractor shall develop and implement a Preventive Maintenance (PM) program for the Vertical Transportation Equipment Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components of the Vertical Transportation Equipment Systems, such as: doors, cars, tracks, lighting, rails, guides, governors, motors, cables, pulleys, switches, hydraulic cylinders, piping, pumps, tanks, weights, monitoring and control systems, electrical disconnects, etc.
3.2.5 | Compressed Air Systems | Compressed Air Systems commence at and includes the utility isolation point of connection and terminate at the compressed air point of delivery. The Contractor shall develop and implement a PM program for the Compressed Air Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components of the Compressed Air Systems, such as: compressors, regulators, unfired pressure vessels, air drying systems, distribution systems, air supply connectors, monitoring and control systems, electrical disconnects, etc.
3.2.6 | Auxiliary Generators | Auxiliary Generator Systems commence at and include the utility isolation point of connection. The Contractor shall develop and implement a PM program for the Auxiliary Generator Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components of the Auxiliary Generator Systems, such as: batteries, fuel tanks, generator, inverters, rectifiers, regulators, prime mover, pumps, piping, transfer switches, switchgear, meters, monitoring and control systems, uninterruptible power supply, wiring, etc.
3.2.7 | Uninterruptable Power Supply System (UPS) | The Uninterruptible Power Supply (UPS) System commences at and includes the utility isolation point of connection and terminates at the UPS-protected electrical load. The Contractor shall develop and implement a PM program for the UPS System and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: UPS units, batteries, inverters, rectifiers, bypass switches, cooling systems, monitoring and control systems, electrical disconnects, and associated wiring.
3.2.8 | Medical Air, Gas and Vacuum Systems | The Medical Air, Gas, and Vacuum Systems commence at and include the utility isolation point of connection and terminate at the designated medical equipment connection points. The Contractor shall develop and implement a PM program for the Medical Air, Gas, and Vacuum Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: compressors, regulators, pressure relief valves, piping, fittings, vacuum pumps, manifolds, monitoring and alarm systems, electrical disconnects, and associated controls.
3.2.9 | Communication Systems | The Communication System commences at and includes the main communication distribution panel and terminates at the end-user communication devices. The Contractor shall develop and implement a PM program for the Communication System and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: fiber optic and copper cabling, distribution panels, network switches, routers, communication outlets, patch panels, monitoring and control systems, and associated power supplies.
3.2.10 | Intrusion Detection Systems (IDS) | The Intrusion Detection System (IDS) commences at and includes the power and communication source and terminates at the detection and monitoring devices. The Contractor shall develop and implement a PM program for the IDS and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: motion detectors, door/window sensors, alarm panels, control units, power supplies, communication interfaces, monitoring systems, and associated wiring.
3.2.11 | Closed Circuit Surveillance Systems (CCSS) | The Closed Circuit Surveillance System (CCSS) commences at and includes the power and communication source and terminates at the surveillance monitoring and recording equipment. The Contractor shall develop and implement a PM program for the CCSS and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: cameras, monitors, recording devices, network video recorders (NVRs), cabling, control panels, power supplies, and associated wiring.
3.2.12 | Automatic, Fire and Roll-Up Doors | The Automatic, Fire, and Roll-Up Door Systems commence at and include the power and control source and terminate at the door assemblies. The Contractor shall develop and implement a PM program for the Automatic, Fire, and Roll-Up Door Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: door operators, motors, guide rails, counterweights, limit switches, control panels, emergency release mechanisms, monitoring and control systems, electrical disconnects, and associated hardware.
3.2.14 | Facility Electric Systems | The Facility Electric System commences at and includes the utility isolation point of connection and terminates at the electrical outlets, fixtures, and connected loads. The Contractor shall develop and implement a PM program for the Facility Electric System and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: transformers, switchgear, circuit breakers, distribution panels, wiring, receptacles, grounding systems, surge protection devices, monitoring and control systems, and electrical disconnects.
3.2.15 | Reverse Osmosis and Water Purification System | The Reverse Osmosis and Water Purification System commences at and includes the raw water supply connection and terminates at the treated water distribution point. The Contractor shall develop and implement a PM program for the Reverse Osmosis and Water Purification System and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: filtration units, pumps, membranes, pressure vessels, chemical injection systems, monitoring and control systems, storage tanks, electrical disconnects, and associated piping.
3.2.16 | Aboveground (AST) and Underground (UST) Storage Tanks | The Above Ground (AST) and Underground (UST) Storage Tank Systems commence at and include the fill and vent connections and terminate at the distribution outlet. The Contractor shall develop and implement a PM program for the AST and UST Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: tanks, pumps, valves, piping, leak detection systems, cathodic protection, monitoring and control systems, spill containment systems, and associated electrical components.
3.2.17 | Overhead and Roll-Up Doors | The Overhead and Roll-Up Door System commence at and include the power and control source and terminate at the door assemblies. The Contractor shall develop and implement a PM program for the Automatic, Fire, and Roll-Up Door Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: door operators, motors, guide rails, counterweights, limit switches, control panels, emergency release mechanisms, monitoring and control systems, electrical disconnects, and associated hardware.
3.2.19 | Drinking Fountains/Water Coolers | The Drinking Fountain and Water Cooler Systems commence at and include the water supply connection and terminate at the fixture discharge point. The Contractor shall develop and implement a PM program for the Drinking Fountain and Water Cooler Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: chillers, filters, water dispensers, pressure regulators, monitoring and control systems, and associated plumbing and electrical connections.
3.2.21 | Emergency Eye Wash | The Emergency Eyewash System commences at and includes the water supply connection and terminates at the eyewash station outlet. The Contractor shall develop and implement a PM program for the Emergency Eyewash System and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: eyewash stations, safety showers, flow control valves, pressure regulators, monitoring and control systems, and associated plumbing components.
Integrated Maintenance Program (IMP)
3.3.1 | HVAC and Regrigeration Systems | The HVAC and Refrigeration Systems commence at and include the power and utility connections and terminate at the conditioned air distribution or refrigeration points. The Contractor shall develop and implement an IMP for the HVAC and Refrigeration Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: air handling units, chillers, condensers, compressors, evaporators, cooling towers, heat exchangers, ductwork, dampers, fans, filters, thermostats, monitoring and control systems, electrical disconnects, and associated piping.
3.3.2 | Fire Protection Systems | The Fire Protection Systems commence at and include the water supply or power connection and terminate at the fire suppression or alarm notification devices. The Contractor shall develop and implement an IMP for the Fire Protection Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: fire pumps, sprinkler heads, standpipes, risers, valves, deluge systems, fire suppression agents, fire alarms, smoke detectors, control panels, monitoring and control systems, and associated electrical and plumbing components.
3.3.3 | Boilers and Unfired Pressure Vessel (UPV) System | The Boiler and Unfired Pressure Vessel (UPV) Systems commence at and include the utility supply connections and terminate at the distribution points. The Contractor shall develop and implement an IMP for the Boiler and UPV Systems and all mechanically and electrically interlocked ancillary parts, equipment, and components, such as: boilers, pressure vessels, burners, heat exchangers, pumps, valves, regulators, expansion tanks, safety relief devices, monitoring and control systems, electrical disconnects, and associated piping.

## 3.3.1 INTERIOR EXTERIOR LIGHT
ATTACHMENT J-1502000-06
INTERIOR AND EXTERIOR LIGHTING DESCRIPTION
SITE | BLDG | DESCRIPTION | USE | LOCATION
|  |  |  | GROUND FLOOR - BLOCK A | GROUND FLOOR - BLOCK B | FIRST FLOOR | SECOND FLOOR | PENTHOUSE
NAS I | 273 | Disano 727 Comfort | General | 28 | 68 | 23 | 73
NAS I | 273 | Disano 827 Comfort | General | 24 |  | 11 | 8
NAS I | 273 | Disano 826 Comfort | General | 109 | 238 | 282 | 115
NAS I | 273 | Disano 601 Dialens | General | 2 | 30
NAS I | 273 | Disano 875 Comfort | General | 46
NAS I | 273 | Disano 852 Comfort | General | 72 | 163 | 131 | 59
NAS I | 273 | Disano 825 Comfort | General | 122 | 5 | 15 | 88
NAS I | 273 | Disano 410 Rigo | General |  | 5
NAS I | 273 | Disano 773 Comfort | General |  | 9 |  | 18
NAS I | 273 | 3F Filippi | General | 37 | 55
NAS I | 273 | Disano 925 Hydro | General |  | 4
NAS I | 273 | Disano 725 Comfort | General |  | 2
NAS I | 273 | Exterior Electrical Signs | Outside |  |  | 2
NAS I | 273 | Lights | Penthouse |  |  |  |  | 30 (21 Emerg.)
NAS I | 273 | Exit Signs | Penthouse |  |  |  |  | 7
NAS I | 272 | Emergency light fixtures & signs | General | 6
NAS II | 550 | Emergency light fixtures & signs | General | 22

## 3.3.2 LIGHTING ARREST AND GROUN
ATTACHMENT J-1502000-06
LIGHTING ARRESTORS AND GROUNDING DEVICES DESCRIPTION
BLDG | SITE | FACILITY DESCRIPTION | REMARKS
272 | NAS I | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Rooftop
273 | NAS I |  | Rooftop
310 | NAS I |  | Rooftop
550 | NAS II |  | Rooftop

## 3.3.3 VTE
ATTACHMENT J-1502000-06
VERTICAL TRANSPORATION EQUIPMENT (VTE) DESCRIPTION
BLDG | SITE | FACILITY DESCRIPTION | TYPE | CAPACITY (KG) | MANUFACTURER | YEAR INSTALLED | SPEED (m/sec) | DOOR TYPE | NO. OF STOPS | 3-YEAR INSPECTION | 5-YEAR INSPECTION | INSTALL DATE: | SPEC 7/VALUE: | SPEC 7/VALUE: | SPEC 8/VALUE: | SPEC 8/VALUE: | SPEC 9/VALUE: | SPEC 9/VALUE: | SPEC 10/VALUE: | SPEC 10/VALUE: | SPEC 11/VALUE: | SPEC 11/VALUE: | SPEC 12/VALUE: | SPEC 12/VALUE: | SPEC 13/VALUE: | SPEC 13/VALUE: | SPEC 14/VALUE: | SPEC 14/VALUE: | SPEC 15/VALUE: | SPEC 15/VALUE: | NOTES: | TIMESTAMP: | TAGGER: | SECTION NAME | CONDITION RATING | COPIED TO COBIE
550 | NAS II | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | PHE | 1500 | Maspero | 2000 | 0.6 | Power | 3 | 02/2010 | 02/2012 | [21 empty] | NATHAN
273 | NAS I |  | PHE | 1600 | Schindler | 1992 | 0.45 | Power | 3 | 01/2010 | 02/2012 | [21 empty] | NATHAN
273 | NAS I |  | PHE | 2000 | Schindler | 1992 | 0.45 | Power | 3 | 02/2010 | 02/2012 | [21 empty] | NATHAN
273 | NAS I |  | PHE | 2000 | Schindler | 1992 | 0.45 | Power | 3 | 02/2010 | 02/2012 | [21 empty] | NATHAN
Note: PHE – Passenger Hydraulic Elevator

## 3.3.4 COMPRESSED AIR SYSTEMS
ATTACHMENT J-1502000-06
COMPRESSED AIR SYSTEMS DESCRIPTION
BLDG | SITE | FACILITY DESCRIPTION | SYSTEM | QTY | LOCATION | SPEC 7/VALUE: | SPEC 7/VALUE: | SPEC 8/VALUE: | SPEC 8/VALUE: | SPEC 9/VALUE: | SPEC 9/VALUE: | SPEC 10/VALUE: | SPEC 10/VALUE: | SPEC 11/VALUE: | SPEC 11/VALUE: | SPEC 12/VALUE: | SPEC 12/VALUE: | SPEC 13/VALUE: | SPEC 13/VALUE: | SPEC 14/VALUE: | SPEC 14/VALUE: | SPEC 15/VALUE: | SPEC 15/VALUE: | NOTES: | TIMESTAMP: | TAGGER: | SECTION NAME | CONDITION RATING | COPIED TO COBIE
273 | NAS I | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Dental trailer air compressor (duplex) | 1 | Mezzanine between ground and first floor
550 | NAS II |  | Air compressor (duplex) “Cattani” | 1 | Room 1-17 Mechanical Room
550 | NAS II |  | Air Dryer unit ABAC Mod EA350 | 1 | Room 1-17 Mechanical Room

## 3.3.5 AUXILIARY GENERATORS
ATTACHMENT J-1502000-06
AUXILIARY GENERATORS DESCRIPTION
BLDG | SITE | FACILITY DESCRIPTION | MANUFACTURER | MODEL | Kw | VOLTAGE | Hz | PHASE | QTY | LOCATION | REMARKS | SPEC 7/VALUE: | SPEC 7/VALUE: | SPEC 8/VALUE: | SPEC 8/VALUE: | SPEC 9/VALUE: | SPEC 9/VALUE: | SPEC 10/VALUE: | SPEC 10/VALUE: | SPEC 11/VALUE: | SPEC 11/VALUE: | SPEC 12/VALUE: | SPEC 12/VALUE: | SPEC 13/VALUE: | SPEC 13/VALUE: | SPEC 14/VALUE: | SPEC 14/VALUE: | SPEC 15/VALUE: | SPEC 15/VALUE: | NOTES: | TIMESTAMP: | TAGGER: | SECTION NAME | CONDITION RATING | COPIED TO COBIE
273 | NAS I | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Diesel Generator Radiator | FACO | 4.42KW | 400 | 50 Hertz | 3 Phase | 4 | Roof
273 | NAS I |  | MARGEN | GPE 1510 | 1510 KVA | 380 | 50 | 3 | 2 | 1B-106A
550 | NAS II |  | Caterpillar |  | 550 KVA | 380/220 | 50 Hertz | 3 Phase |  | Outside

## 3.3.6 UPS
ATTACHMENT J-1502000-06
UNINTERRUPTABLE POWER SUPPLY SYSTEMS (UPS) DESCRIPTION
BLDG | SITE | EQUIPMENT DESCRIPTION | MRF | MODEL NO. | LOCATION | QTY | REMARKS | SPEC 7/VALUE: | SPEC 7/VALUE: | SPEC 8/VALUE: | SPEC 8/VALUE: | SPEC 9/VALUE: | SPEC 9/VALUE: | SPEC 10/VALUE: | SPEC 10/VALUE: | SPEC 11/VALUE: | SPEC 11/VALUE: | SPEC 12/VALUE: | SPEC 12/VALUE: | SPEC 13/VALUE: | SPEC 13/VALUE: | SPEC 14/VALUE: | SPEC 14/VALUE: | SPEC 15/VALUE: | SPEC 15/VALUE: | NOTES: | TIMESTAMP: | TAGGER: | SECTION NAME | CONDITION RATING | COPIED TO COBIE
273 | NAS I | Uninterruptable Power System | Silentron | 60 KVA | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 1 | Emergency distribution, (OR, fire alarm, etc.)
273 | NAS I | Uninterruptable Power System | Riello | 150 KVA |  | 1 | CT Scan
273 | NAS I | Uninterruptable Power System | Piller | 1000 KVA |  | 1 | Rotary UPS
273 | NAS I | Uninterruptable Power System for breakers control (main electrical space) | Sentinel Dual | 5 KVA |  | 1
273 | NAS I | Uninterruptable Power System | Enerconv CMP T3M |  |  | 1 | Substation auxiliary circuits

## 3.3.7 MED AIR, GAS, VACUUM SYS
ATTACHMENT J-1502000-06
MEDICAL AIR, GAS AND VACUUM SYSTEMS DESCRIPTION
NON-FLAMMABLE MEDICAL GAS
BLDG | SITE | SYSTEM |  | QUANTITY OF CYLINDER |  |  | AUTO CHANGEOVER VALVE | PRESSURE REGULATORS | INSTALL DATE:
|  | DESCRIPTION | LOCATION | PRIMARY | SECONDARY | THIRD
273 | NAS I | Oxigen System | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 10 | 10 | 6 | Yes | Yes
273 | NAS I | Nitrous Oxide |  | 2 | 2 | 2 | Yes | Yes
273 | NAS I | Nitrogen |  | 4 | 4 | 2 | Yes | Yes
NON-FLAMMABLE MEDICAL GAS - GAS OUTLETS
BLDG | SITE | COMPONENTS | FIRST FLOOR |  | SECOND FLOOR | THIRD FLOOR | NOTES
|  |  | BLOCK A | BLOCK B
273 | NAS I | Vacuum | 1
273 | NAS I | O2/Vacuum | 9 |  | 11 | 5
273 | NAS I | Med Air
273 | NAS I | O2/Vacuum |  | 6 |  | 16
273 | NAS I | Air/Vacuum | 1 | 1 | 2
273 | NAS I | NO/ Med Air
273 | NAS I | O2/N2O/Vacuum | 4 |  | 2 | 1
273 | NAS I | Anesthetic Evac
273 | NAS I | Oral Evacuation |  |  | 9
NON-FLAMMABLE MEDICAL GAS - GAS VALVES
273 | NAS I | Nitrogen | 2 |  |  | 1
273 | NAS I | O2/Vacuum |  |  | 1 | 1
273 | NAS I | Med Air
273 | NAS I | O2/Vacuum | 1 | 2 |  | 2
273 | NAS I | NO/ Med Air
273 | NAS I | O2/N2O/Vacuum | 2 |  | 2 | 2
273 | NAS I | Anesthetic Evac
273 | NAS I | Oral Evacuation |  |  | 1
NON-FLAMMABLE MEDICAL GAS - GAS ALARMS
273 | NAS I | Oxygen | 3 | 3 | 2 | 3
273 | NAS I | Nitrogen | 2 | 1 |  | 2
273 | NAS I | Nitrous Oxide | 1 | 1 | 2 | 1
273 | NAS I | Vacuum | 3 | 2 | 1 | 3
273 | NAS I | Anesthetic Evac | 1 |  |  | 1
MEDICAL AIR AND VACUUM SYSTEMS
BLDG | SITE | EQUIPMENT DESCRIPTION | MFR | MODEL NO. | LOCATION | QTY | REMARKS
273 | NAS I | Medical Air System (medical) | Atlas Copco | SF11 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 1
273 | NAS I | Medical Air System (dental) | Atlas Copco | SF11 |  | 1
273 | NAS I | Medical Vacuum System | Rietschle Thomas | VC100x3 |  | 1
273 | NAS I | Medical Vacuum System | Ramvac | BISON 9 |  | 2
550 | NAS II | Medical Vacuum System | Ramvac | BISON 9 |  | 2

## 3.3.8 COMMUNICATON SYS
ATTACHMENT J-1502000-06
COMMUNICATION SYSTEM DESCRIPTION
NURSE CALL SYSTEM
SITE | BLDG | CONTROL PANE | LOCATION | ZONE - GROUND FLOOR | ZONE - FIRST FLOOR | ZONE - SECOND FLOOR
NAS I | 273 | Management Control Unit | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 1
NAS I | 273 | Call Cancel Pushbutton |  | 3 | 2 | 2
NAS I | 273 | General Call Cancel Pushbutton |  | 1
NAS I | 273 | Repeater Display Panel |  | 3 | 1 | 0
NAS I | 273 | Display Panel |  | 1 | 1 | 1
NAS I | 273 | Outside Door Signal |  | 17 | 7 | 21
NAS I | 273 | Room Entrance Combination |  | 16 | 7 | 21
NAS I | 273 | Room Distributor |  | 15 | 7 | 22
NAS I | 273 | Pear-Switch Pushbutton Panel |  | 9 | 0 | 21
NAS I | 273 | Call Pushbutton With Cord Pull |  | 11 | 8 | 35
NAS I | 273 | Concentrator |  | 1
MUSIC AND PAGING SYSTEM
SITE | BLDG | EQUIPMENT - DESIGNATION | LOCATION | NOTES
NAS I | 272 | Central Panel Board RCF CP 4100 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information
NAS I | 273 | Central Panel Board
NAS I | 273 | Microphone Station With 9 Line Selector
NAS I | 273 | Microphone Station With 9 Line Selector
NAS I | 273 | Wall Mount Microphone In Housing For Evacuation System
NAS I | 273 | Loud Speaker |  | 95
NAS I | 273 | Loud Speaker |  | 85
NAS I | 273 | Loud Speaker |  | 116
NAS II | 550 | Central Panel Board
NAS II | 550 | Microphone Station With 9 Line Selector
NAS II | 550 | Microphone Station With 9 Line Selector
NAS II | 550 | Loud Speaker |  | 75
NAS I | 310 | Loud Speaker |  | 3
MASTER TV ANTENNA
SITE | BLDG | EQUIPMENT - DESIGNATION | LOCATION | NOTES
NAS I | 273 | AFN Decoders (#10) | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information
NAS I | 273 | Satellite Dish
NAS II | 550 | UHF Converter
NAS II | 550 | Broadband Converter
NAS II | 550 | AFN Decoders (#10)

## 3.3.9 INTRUSION DETECTION SYS
ATTACHMENT J-1502000-06
INTRUSION DETECTION SYSTEM DESCRIPTION
SITE | BLDG | CONTROL PANEL | LOCATION | ZONE | SWITCH |  | INFRARED DETECTOR | DIGITAL KEYPAD
[5 empty] | DOOR | FOOT OPERATED
NAS I | 273 | Control Panel | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information |  |  |  |  | 1
NAS I | 273 | Aluminum Reed Contacts |  |  | 22
NAS I | 273 | Infrared Sensor |  |  |  |  | 3
NAS I | 273 | Feet Operated Contact |  |  |  | 2
NAS II | 550 | Control Panel |  | 1 | 10
NAS II | 550 |  |  | 2 | 1 | 1 | 1
NAS II | 550 |  |  | 3 |  |  |  | 1

## 3.3.10 CLOSED CIRC SURVEILLANCE
ATTACHMENT J-1502000-06
CLOSED CIRCUIT SURVEILLANCE SYSTEMS DESCRIPTION
SITE | BLDG | CONTROL PANEL | LOCATION | ZONE - GROUND FLOOR | ZONE - FIRST FLOOR | ZONE - SECOND FLOOR
NAS I | 273 | Control Panel | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 3
NAS I | 273 | Monitors |  | 4
NAS I | 273 | Console |  | 1
NAS I | 273 | Video Cameras |  | 14 | 20 | 7

## 3.3.11 AUTOMATIC AND FIRE DOORS
ATTACHMENT J-1502000-06
AUTOMATIC AND FIRE DOORS DESCRIPTION
SITE | BLDG | LOCATION | EQUIPMENT DESCRIPTION | QUANTITY | REMARKS
NAS I | 273 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Automatic Doors Operating Rooms | 5 | 2 double, 3 single
NAS I | 273 |  | Automatic Doors External | 6 | single
NAS II | 550 |  | Automatic Door | 1
NAS I | 273 |  | Fire Doors | 73

## 3.3.13 FACILITY ELECTRIC SYS
ATTACHMENT J-1502000-06
FACILITY ELECTRIC SYSTEMS DESCRIPTION
SITE | BLDG | PANEL |  |  | MAIN BUS AMPS | POWER SOURCE |  | REMARKS | NOTES
|  | DESIGNATION | FUNCTION | LOCATION |  | DESIGNATION | LOCATION |  |  | SPEC 7/VALUE: | SPEC 7/VALUE: | SPEC 8/VALUE: | SPEC 8/VALUE: | SPEC 9/VALUE: | SPEC 9/VALUE: | SPEC 10/VALUE: | SPEC 10/VALUE: | SPEC 11/VALUE: | SPEC 11/VALUE: | SPEC 12/VALUE: | SPEC 12/VALUE: | SPEC 13/VALUE: | SPEC 13/VALUE: | SPEC 14/VALUE: | SPEC 14/VALUE: | SPEC 15/VALUE: | SPEC 15/VALUE: | NOTES: | TIMESTAMP: | TAGGER: | SECTION NAME | CONDITION RATING | COPIED TO COBIE
SWITCHBOARD - 380/220 VOLT, 3 PHASES/ 5 WIRES, 50 HERTZ
NAS I | 272 | MDPA | Main Switchboard | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 400 | External substation | Bldg 228 |  | 1
NAS I | 272 |  | Main Circuit Breaker |  | 400 |  |  | Key Interlock, coil trip
NAS I | 273 | HVS | High Voltage Supply 20KV |  | 630 | External substation | Bldg 276 | Key interlock, coil trip | 1
NAS I | 273 | LVS | Low Voltage Supply 280/220 V |  | 4000 |  |  | Key interlock, coil trip
NAS I | 273 | TRX1 | Transformer 20,000V/380V |  |  | Transformer Dry type | Bldg 273 | 2,500 KVA
NAS I | 273 | TRX2 | Transformer 20,000V/380V |  |  | Transformer Dry Type | Bldg 273 | 2,500 KVA
NAS I | 273 | ATS 5 | Automatic Transfer Switch |  | 4000 | LVS/EMP | 1B-115
NAS I | 273 | ATS 4 | Automatic Transfer Switch |  | 630 | Fire Pump |  |  | Waiting for manufacturer User manual
NAS I | 273 | Automatic Bypass Piller System
NAS I | 273 | Generators Control Panel | [5 empty] | Key interlock, coil trip
NAS I | 273 | QIM |  |  | 160 | PQB | 1B-108
NAS I | 273 | BP | Boiler Panel |  | 100 | PQA | 1B-108
NAS I | 273 | EMP | Emergency Main Panel |  | 2500 | LVS | 1B-115
NAS I | 273 | MTS 1 | Manual Transfer Switch |  | 600 | NMPE/EMP
NAS I | 273 | MTS 2 | Manual Transfer Switch |  | 400 | NMPE/EMP
NAS I | 273 | MTS 3 | Manual Transfer Switch |  | 2500 | NMPE/EMP
NAS I | 273 | MTS 4 | Manual Transfer Switch |  | 400 | LVS/EMP
NAS I | 273 | MCQA | AHU Panel |  | 400
NAS I | 273 | MCQ4B | AHU Panel |  | 400
NAS I | 273 | MCQ3A | AHU Panel |  | 400
NAS I | 273 | MCQ3B | AHU Panel |  | 250
NAS II | 550 | MSB | Main Switchboard |  | 800 | External substation | Bldg # 531 |  | 1
NAS II | 550 |  | Main Circuit Breaker |  | 800 |  |  | Key Interlock, coil trip
NAS II | 550 | EGP | Emergency Generator Power |  | 1400 | 550 KVA GENERATOR | OUTSIDE
NAS II | 550 |  | Parallel Main Circuit Breaker |  |  |  |  | Motor Operated
DISTRIBUTION PANEL - 380/220 VOLT, 3 PHASES/ 5 WIRES, 50 HERTZ
NAS I | 272 | 1AL1 | Light/Receptacle | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 63 | MDPA | A026
NAS I | 272 | 1AL2 | Light/Receptacle |  | 63 | MDPA | A026
NAS I | 272 | 1AL3 | Light/Receptacle |  | 63 | MDPA | A026
NAS I | 272 | 1AM1 | Equipment |  | 160 | MDPA | A026
NAS I | 272 | 1AB1 | Equipment |  | 63 | MDPA | A026
NAS I | 272 | Hot Water Sys. DDC Panel | Equipment
NAS I | 272 | MS/P1 | Panel Motor Starter /P1 Heating System
NAS I | 272 | MS/P2 | Panel Motor Starter /P1 Heating System
NAS I | 272 | MS/P3 | Panel Motor Starter /P 1 Chilled Water
NAS I | 272 | MS/P4 | Panel Motor Starter /P1 Chilled Water
NAS I | 272 | VDF | Panel Motor Starter Ahu1
NAS I | 272 |  | Air Heating A1 Exhaust Fan A1 DDC Control Panel
NAS I | 273 | NMP | Not Essential Loads |  | 800 | LVS | 1B-115
NAS I | 273 | NMPE | Essential Electrical Distribution |  | 2500 | LVS | 1B-115
NAS I | 273 | L1M | Not Essential Load |  | 100 | PDNB | 1B-108
NAS I | 273 | LOL | Not Essential Load |  | 100 | PDNB | 1B-108
NAS I | 273 | PDNA | Not Essential Load |  | 250 | NMP | 1B-108
NAS I | 273 | PCA | Critical Branch |  | 100 | PDCA | 1B-108
NAS I | 273 | PDCA | Critical Branch |  | 400 | NMPE | 1B-108
NAS I | 273 | PQB | Critical Branch |  | 630 | PDQA | 1B-108
NAS I | 273 | PQA | Critical Branch |  | 250 | PDQA | 1B-108
NAS I | 273 | PDQA | Equipment Branch |  | 2500 | NMPE | 1B-108
NAS I | 273 | E1M | Life Safety Branch |  | 100 | PDEA | 1B-108
NAS I | 273 | PDEA | Life Safety Branch |  | 250 | NMPE | 1B-108
NAS I | 273 | PCB | Critical Branch |  | 250 | PDQA | 1B-108
NAS I | 273 | PDNC | Not Essential Load |  | 400 | NMP | 1B-108
NAS I | 273 | PDNB | Not Essential Load |  | 250 | NMP | 1B-108
NAS I | 273 | L1A |  |  | 100
NAS I | 273 | E1A |  |  | 63
NAS I | 273 | C1A |  |  | 63
NAS I | 273 | Q1A |  |  | 63
NAS I | 273 | W1A
NAS I | 273 | E1B |  |  | 63
NAS I | 273 | L1B |  |  | 100
NAS I | 273 | C1B-1 | Blood Depot Trans. Panel |  | 400
NAS I | 273 | C1B |  |  | 400
NAS I | 273 | QIB |  |  | 100
NAS I | 273 | Q1B-39 |  |  | 50
NAS I | 273 | L1C |  |  | 100
NAS I | 273 | C1C |  |  | 100
NAS I | 273 | Q1C |  |  | 250
NAS I | 273 | E1C |  |  | 100
NAS I | 273 | E1D |  |  | 100
NAS I | 273 | L1D |  |  | 125
NAS I | 273 | C1D |  |  | 100
NAS I | 273 | Q1D |  |  | 100
NAS I | 273 | L2A |  |  | 100
NAS I | 273 | E2A |  |  | 63
NAS I | 273 | C2A |  |  | 63
NAS I | 273 | Q2A |  |  | 63
NAS I | 273 | L2B |  |  | 100
NAS I | 273 | C2B |  |  | 63
NAS I | 273 | Q2B |  |  | 63
NAS I | 273 | E2B |  |  | 63
NAS I | 273 | L3A |  |  | 100
NAS I | 273 | E3A |  |  | 63
NAS I | 273 | C3A |  |  | 63
NAS I | 273 | Q3A |  |  | 100
NAS I | 273 | L3B |  |  | 100
NAS I | 273 | C3B |  |  | 63
NAS I | 273 | E3B |  |  | 63
NAS I | 273 | Q3B |  |  | 63
NAS I | 273 | C3DP |  |  | 125
NAS I | 273 | SP |  |  | 100
NAS I | 273 | Q-1B31A |  |  | 32
NAS I | 273 | Q-1B41A |  |  | 32
NAS I | 273 | Q-1B11 |  |  | 50
NAS I | 273 | CP6 |  |  | 63
NAS I | 273 | DTP | Dental Trailer Main Panel
NAS I | 273 | DOR #70 Panel
NAS I | 273 | DOR #71 Panel
NAS I | 273 | DOR #72 Panel
NAS I | 273 | DOR #73 Panel
NAS I | 273 | DOR #74 Panel
NAS I | 273 | DOR #75 PaneL
NAS I | 273 | DOR #76 Panel
NAS I | 273 | DOR #93 Panel
NAS I | 273 | DOR #91 Panel
NAS I | 273 | DOR #90 Panel
NAS I | 273 | EP | Room 1B-117 and 1B-118
NAS I | 273 | Light Panel Penthouse? | LPP2 |  | 40
NAS I | 273 | Light Panel Penthouse? | LPP1 |  | 40
NAS I | 273 | Light Panel Penthouse? | LPP3 |  | 40
NAS I | 310 | LW | Seat Panel (BLDG. #310) |  | 100
NAS II | 550 | NGP | Light/Receptacle |  | 300 | MSB | G-23
NAS II | 550 | IP | Receptacle/Exam Lights |  | 200 | MSB | G-23
NAS II | 550 | N1P | Light/Receptacle |  | 300 | MSB | G-23
NAS II | 550 | N1PU | Dental Chairs |  | 200 | MSB | G-23
NAS II | 550 | MP | Equipment |  | 300 | MSB | G-23
NAS II | 550 | MP1 | Equipment |  | 300 | MSB | G-23
NAS II | 550 | BP | Equipment |  | 150 | MSB | G-23
NAS II | 550 | EP | Elevator Panel |  |  | MSB | G-23

## 3.3.14 REVERSE OSM WATER PURIF
ATTACHMENT J-1502000-06
REVERSE OSMOSIS AND WATER PURIFICATION SYSTEMS DESCRIPTION
SITE | BLDG | EQUIPMENT DESCRIPTION | MRF | MODEL NO. | LOCATION | QTY | REMARKS
NAS I | 273 | Reverse Osmosis System | Cillichemie | GIGA UO2000 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 1
NAS I | 273 | Carbon Filter | Cillichemie | Filtromat Plus CA 3,5 PF |  | 1
NAS I | 273 | Deferrizzatore Chiarificatore | Cillichemie | Filtromat Plus EE4N |  | 1
NAS I | 273 | Sand filter | Cillichemie | Filtromat SF 2A |  | 1
NAS I | 273 | UV disinfection system | Cillichemie (Sterilight) | SP320-HO/2 |  | 1
NAS II | 550 | Reverse Osmosis System |  | OSMOMEDICAL |  | 1

## 3.3.15 AST AND UST
ATTACHMENT J-1502000-06
ABOVEGROUND (AST) AND UNDERGROUND (UST) STORAGE TANKS DESCRIPTION
SITE | BLDG | DESCRIPTION | MANUFACTURER | MODEL NO. | LOCATION | QTY | YEAR INSTALLED | REMARKS
NAS I | 273 | Underground Sewage Storage Tank |  |  | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 1 |  | 12000 gal, underground w/200 GPM@40 ft lift pump
NAS I | 273 | Underground Decontamination Storage Tank |  |  |  | 1 |  | 12000 gal, underground w/200 GPM@40 ft lift pump
NAS I | 273 | Aboveground Fuel Oil Storage Tank | Supervault | MH |  | 2 | 2012 / 2016 | 15,000 liters each
NAS I | 273 | Aboveground Fuel Oil Day Tank | Di Martino |  |  | 1 | 2012 | 2000 liters
NAS II | 550 | Aboveground Fuel Tank |  |  |  | 1 | 2001 | Concrete Convault Tank Of 2000 Gallons (7570 Liters)

## OVERHEAD AND ROLL-UP DOORS DESC
ATTACHMENT J-1502000-06
OVERHEAD AND ROLL-UP DOORS DESCRIPTION
SITE | BLDG | LOCATION | EQUIPMENT DESCRIPTION | QUANTITY | REMARKS
NAS I | 273 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Roll-Up Shutter | 3
NAS I | 310 |  | Roll-Up Door Operator | 2 | w/electric motor
NAS II | 550 |  | Electric Shutter | 8

## 3.3.18 DRINK FOUNT & WATER COOL
ATTACHMENT J-1502000-06
DRINKING FOUNTAINS AND WATER COOLERS DESCRIPTION
SITE | BLDG | DESCRIPTION | QTY
NAS I | 273 | Drinking Fountain & Water Cooler | 8
NAS I | 272 | Drinking Fountain & Water Cooler | 1
NAS I | 310 | Drinking Fountain & Water Cooler | 1
NAS II | 550 | Electric Water Cooler - R2202 | 4

## 3.3.20 EMERGENCY EYEWASH STAT
ATTACHMENT J-1502000-06
EMERGENCY EYEWASH STATIONS DESCRIPTION
BLDG | SITE | EQUIPMENT DESCRIPTION | GROUND FLOOR | 1ST FLOOR | 2ND FLOOR | 3RD FLOOR | OTHER
273 | NAS I | Eye Wash With Mixing Valve |  | 6 | 4
273 | NAS I | Emergency Shower & Eye Wash/Mixing Valve - Safety Deluge |  | 2 |  |  | 1 Outside
550 | NAS II | Eyewash Station / P1960 | 3 | 2

## 3.3.21 IRRIGATION SYSTEM
ATTACHMENT J-1502000-06
IRRIGATION SYSTEM
Location: NAS I
Proximity | Type (Automated/ Manual) | Control Valve Boxes | Electrical Connection Boxes | Timers | Remarks
Bldg. 272 | Automated | 6 |  | 1 | Main electrical control panel and timer are located in Bldg. 272 / 1"1/4 Solenoid Valve: 8 ea. / Irrigator: 130 ea.
Bldg. 273 | Automated | 7 |  | 1 | Main electrical control panel and timer are located in Bldg. 273 / 2" Solenoid Valve: 5 ea. / 3" Solenoid Valve: 2 ea. / Irrigator: 70 ea.
Bldg. 310 | Manual | 1

## 3.4.1 HVAC AND REFRIGERATION
ATTACHMENT J-1502000-06
HVAC AND REFRIGERATION SYSTEMS AND EQUIPMENT DESCRIPTION
FANS
BLDG | SITE | FAN NO. | LOCATION | MOTOR |  | FAN TYPE | EMERGENCY POWER DURING
|  |  |  | KW | VOLTS |  | NORMAL MODE | BC MODE
272 | NAS I | EF-A1 | A028 |  |  | Centrifugal In Line Direct Driven
272 | NAS I | SF-A1 | A028 |  |  | Centrifugal In Line Direct Driven
273 | NAS I | EF 1-1 | See Note (1) | 0.75 | 220/1/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 1-2 |  | 0.75 | 380/3/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 3-1 |  | 0.75 | 380/3/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 3-2 |  | 4 | 380/3/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 3-3 |  | 0.75 | 380/3/50 | SWSI Centrifugal Fan, Belt Driven, | *
273 | NAS I | EF 4-1 |  | 4 | 380/3/50 | Mixed Flow, Belt Driven | *
273 | NAS I | EF 4-2 |  | 1.1 | 380/3/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 4-3 |  | 0.55 | 220/1/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 5-1 |  | 1.1 | 380/3/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 5-2 |  | 1.1 | 380/3/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 5-3 |  | 1.5 | 380/3/50 | SWSI Centrifugal Fan, Belt Driven, | *
273 | NAS I | EF 5-4 |  | 1.5 | 380/3/50 | SWSI Centrifugal Fan, Belt Driven, | *
273 | NAS I | EF 6-1 |  | 0.75 | 220/1/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 6-2 |  | 1.1 | 380/3/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 6-3 |  | 1.1 | 380/3/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 6-4 |  | 0.37 | 220/1/50 | Centrifugal In-Line, Direct Driven | *
273 | NAS I | EF 6-5 |  | 0.75 | 380/3/50 | SWSI Centrifugal Fan, Belt Driven, | *
273 | NAS I | EF 7-1 |  | 0.55 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 7-2 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 8-1 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 9-1 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 9-2 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 10-1 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 11-1 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 11-2 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 12-1 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 13-1 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 13-2 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 13-3 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 14-1 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 14-2 |  | 0.37 | 220/1/50 | Centrifugal Roof Exhauster, Belt | *
273 | NAS I | EF 15 |  | 2.2 | 380/3/50 | Vaneaxial Fan, Aerofoil Blade | *
273 | NAS I | EF 16 |  | 9 | 380/3/50 | Variable-Pitch-in-Motion Fan, | * | *
273 | NAS I | EF 17 |  | 9 | 380/3/50 | Variable-Pitch-in-Motion Fan, Aerofoil Blade, Single-Stage | * | *
273 | NAS I | EF 18 |  | 0.75 | 380/3/50 | SWSI Centrifugal Fan, Belt Driven, Corr. Resist. Expl proof | * | *
273 | NAS I | EF 19 |  | 1.5 | 380/3/50 | Vane axial Fan, Aerofoil Blade Single-Stage, Direct driven |  | *
273 | NAS I | EF 20 |  | 1.1 | 380/3/50 | Vane axial Fan, Aerofoil Blade Single-stage, Direct driven | * | *
273 | NAS I | EF-22 |  | 3 | 380/3/50 | Vane axial Fan, Aerofoil Blade Single Stage, Direct Driven |  | *
273 | NAS I | SF-1 |  | 2.2 | 380/3/50 | Vane axial Fan, Aerofoil Blade Single stage, Direct driven
273 | NAS I | SF-2 |  | 30 | 380/3/50 | Variable-Pitch-in-Motion Fan, Aerofoil Blade, Single Stage
273 | NAS I | SF-3 |  | 2.2 | 380/3/50 | Vaneaxial Fan, Aerofoil Blade Two stage, Single Driven
273 | NAS I | SF 4 |  | 0.37 | 220/1/50 | Centrifugal In-Line, Direct Driven
273 | NAS I | SF-5 |  | 9 | 380/3/50 | Vane axial Fan, Aerofoil Blade Single stage Direct Driven
273 | NAS I | SF-6 |  | 9 | 380/3/50 | Vane axial Fan, Aerofoil Blade Single stage, Direct Driven
273 | NAS I | SF-8 |  | 2.2 | 380/3/50 | Vane axial Fan, Aerofoil Blade Single Stage, Direct Driven
550 | NAS II | EF-1 |  | 0.37 | 380 | Centrifugal In Line Direct Driven
550 | NAS II | EF-2 |  | 0.55 | 380 | Centrifugal In Line Direct Driven
550 | NAS II | VF-1 |  | 0.25 | 220 | Centrifugal In Line Direct Driven
550 | NAS II | VF-2 |  | 0.18 | 220 | Centrifugal In Line Direct Driven
550 | NAS II | VF-3 |  | 0.75 | 380 | Centrifugal In Line Direct Driven
550 | NAS II | VF-4 |  | 0.48 | 380 | Centrifugal In Line Direct Driven
550 | NAS II | VF-5 |  | 0.25 | 380 | Centrifugal In Line Direct Driven
550 | NAS II | VF-6 |  | 1 | 380 | Centrifugal In Line Direct Driven
550 | NAS II | VF-7 |  | 1 | 380 | Centrifugal In Line Direct Driven
550 | NAS II | PF-1 |  | 0.25 | 220 | Centrifugal In Line Direct Driven
550 | NAS II | PF-2 |  | 0.18 | 220 | Centrifugal In Line Direct Driven
310 | NAS I | EF-1
310 | NAS I | EF-2
550 | NAS II | AHU-1 | G-22 | 11 | 380 | 11 | 380 | 122.6 |  |  | * | * | *
550 | NAS II | AHU-2 | 27426 | 11 | 380 | 11 | 380 | 120 |  |  | * | * | *
310 | NAS I | AHU-1 | Outside |  |  |  |  | * |  |  | * |  |  | *
AIR HANDLING UNITS NEW SETUP
BLDG | SITE | AHU NO. | LOCATION | FAN MOTOR |  |  |  | COIL |  | HUM. (kW) | FILTERS* (Supply) |  | FILTERS* (Return/Exhaust/Recovery) |  |  | SOUND
|  |  |  | SUPPLY AIR |  | RETURN AIR
|  |  |  | KW | VOLTS | KW | VOLTS | COOL | HEAT |  | PRE | AFTER | EXHAUST | RETURN | RECOVERY | ATTENUATOR | NORMAL MODE
272 | NAS I | AHU-A1 | A028 | 7.5 | 230/3 | 7.5 | 230/3 |  |  |  | * | * | * | * | * | *
273 | NAS I | AHU-1 | See Note (1) | 11.00 (2ea) | 400/3/50 | 2.50 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 | G4 |  |  | * | *
273 | NAS I | AHU-2 |  | 11.0 (2ea) | 400/3/50 | 5.05 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 |  | M5 | G4 | * | *
273 | NAS I | AHU-3 |  | 15.00 (2ea) | 400/3/50 | 3.45 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 | G4 |  |  | * | *
273 | NAS I | AHU-4 |  | 5.05 (ea2) | 400/3/50 | 2.90 (ea2) | 400/3/50 | 2 | 2 |  | G4 | F9 | G4 |  |  |  | *
273 | NAS I | AHU-5 |  | 15.00 (2ea) | 400/3/50 | 3.45 (ea2) | 400/3/50 | 2 | 2 | 26.25 | G4 | F9 |  | M5 | G4 | * | *
273 | NAS I | AHU-6 |  | 18.50 (2ea) | 400/3/50 | 5.70 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 | G4 |  |  | * | *
273 | NAS I | AHU-7 |  | 22.00 (2ea) | 400/3/50 | 15.00 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 |  | M5 | G4 | * | *
273 | NAS I | AHU-8 |  | 4.00 (2ea) | 400/3/50 | 1.23 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 |  | M5 | G4 | * | *
273 | NAS I | AHU-9 |  | 7.50 (2ea) | 400/3/50 | 3.45 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 | G4 |  |  | * | *
273 | NAS I | AHU-10 |  | 0.82 (1 ea) | 400/3/50 |  | 400/3/50 | 1 | 1 | 3.75 |  | F9 |  |  |  |  | *
273 | NAS I | AHU-11 |  | 7.50 (2ea) | 400/3/50 | 2.50 (ea2) | 400/3/50 | 2 | 2 | 11.25 | G4 | F9 |  | M5 |  | * | *
273 | NAS I | AHU-12 |  | 7.50 (2ea) | 400/3/50 | 2.50 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 |  | M5 | G4 | * | *
273 | NAS I | AHU-13 |  | 5.50 (2ea) | 400/3/50 | 1.74 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 | G4 |  |  | * | *
273 | NAS I | AHU-14 |  | 7.50 (2ea) | 400/3/50 | 2.50 (ea2) | 400/3/50 | 2 |  |  | G4 | F9 |  | M5 | G4 | * | *
273 | NAS I | AHU-15 |  | 7.50 (2ea) | 400/3/50 | 2.50 (ea2) | 400/3/50 | 2 | 2 | 13.5 | G4 | F9+H14 |  | M5 | G4 | * | *
273 | NAS I | AHU-16 |  | 2.95 (2ea) | 400/3/50 | 1.05 (ea2) | 400/3/50 | 2 | 2 | 11.25 | G4 | F9+H14 |  | M5 |  | * | *
* See separated filter schedule for more details
COMPUTER ROOM AIR CONDITIONING
BLDG | SITE | AHU NO. | LOCATION | COOLING CAPACITY |  |  |  | FAN |  |  |  | ELECTRIC HEATING |  | ELECTRICAL DATA
|  |  |  | TOTAL | SENSIBLE | ENTERING AIR TEMP. |  | Qty | AIR FLOW | ESP | N. POWER | STEPS | ABS. POWER
|  |  |  | KW | KW | DB (°C) | RH (%) |  | l/s | Pa | KW |  | Kw | V/Ph/Hz
272 | NAS I | AHU-A1 | A028 | 7.5 | 230/3 | 7.5 | 230/3 |  |  |  | * | * | * | *
273 | NAS I | CRAC-1 | See Note (1) | 11.00 (2ea) | 400/3/50 | 2.50 (ea2) | 400/3/50 | 1 | 3190 | 20 | 2.4 | 3 | 13.5 | 400/3/50
273 | NAS I | CRAC-2 |  | 11.0 (2ea) | 400/3/50 | 5.05 (ea2) | 400/3/50 | 1 | 3190 | 20 | 2.4 | 3 | 13.5 | 400/3/50
CONSTANT VOLUME TERMINAL REHEAT BOXES
BLDG | SITE | AHU NO. | QTY OF BOXES | VALVES |  | NOTES
|  |  |  | 3-WAY | 2-WAY
272 | NAS I | 1 | 11 |  |  | 11 Valves
273 | NAS I | 1 | 14 | 1 | 13
273 | NAS I | 2 | 8 | 2 | 6
273 | NAS I | 3 | 25 | 1 | 24
273 | NAS I | 5 | 25 | 3 | 22
273 | NAS I | 6 | 17 | 3 | 14
273 | NAS I | 7 | 36 | 2 | 34
273 | NAS I | 8 | 8 | 1 | 7
273 | NAS I | 9 | 15 | 1 | 14
273 | NAS I | 11 | 13 | 2 | 11
273 | NAS I | 12 | 15 | 1 | 14
273 | NAS I | 13 | 10 | 1 | 9
273 | NAS I | 14 | 14 | 0 | 14
273 | NAS I | 15 | 2 | 0 | 2
550 | NAS II | 1 | 20 |  |  | 20 Valves
550 | NAS II | 2 | 18 |  |  | 18 Valves
PACKAGED AIR COOLED WATER CHILLER
BLDG | SITE | CHILLER NO. | LOCATION | MFG | MODEL NO. | SERIAL NO. | CAPACITY | MOTOR |  | SUMP HTR | CHEMICAL FEED SYSTEM
[8 empty] | KW | VOLTS
272 | NAS I | CH-1 | See Note (1) | TRANE | CGAM 026 |  | 70 kW | 25 kW | 400/3/50 | TRANE
550 | NAS II | CH-1 |  | TRANE |  |  | 242.5 KW | 110 | 380
310 | NAS I | CH-1 |  | BLUEBOX |  |  |  |  | 400/3/50 | *
HERMETIC CENTRIFUGAL WATER CHILLER
BLDG | SITE | CHILLER NO. | LOCATION | MFG | MODEL NO. | SERIAL NO. | CAPACITY | MOTOR |  | NORMAL MODE | STARTER TYPE
[8 empty] | KW | VOLTS
273 | NAS I | WCU-1 | See Note (1) |  |  |  | 360 | 214 | 380/3/50 | * | Star-Delta
273 | NAS I | WCU-2 |  |  |  |  | 360 | 214 | 380/3/50 | * | Star-Delta
273 | NAS I | Air Cooled Ref. Reclaim | [6 empty] | 220/1/50 | * | Star-Delta
COOLING TOWER
BLDG | SITE | CHILLER NO. | LOCATION | MFG | MODEL NO. | SERIAL NO. | CAPACITY | MOTOR |  | NORMAL MODE | STARTER TYPE
[8 empty] | KW | VOLTS
273 | NAS I | CT-1 | See Note (1) |  |  |  | 1015 | 22 | 380/3/50 | *
273 | NAS I | CT-2 |  |  |  |  | 1015 | 22 | 380/3/50 | *
VARIABLE FREQUENCY DRIVE
BLDG | SITE | FAN NO. | LOCATION | MFG | MODEL NO. | MOTOR |  | FAN TYPE |  | NOTES
[6 empty] | KW | VOLTS
UNIT | LOCATION | VFD |  |  | Qnt | BRUSHLESS |  |  | Qnt
RF AHU16 | See Note (1) |  |  |  |  | Y |  |  | 2
SF AHU16 | [5 empty] | Y |  |  | 2
RF AHU15 | [5 empty] | Y |  |  | 2
SF AHU15 |  | ABB ACH 580 |  |  | 2
RF AHU14 | [5 empty] | Y |  |  | 2
SF AHU14 |  | ABB ACH 580 |  |  | 2
RF AHU13 | [5 empty] | Y |  |  | 2
SF AHU13 |  | ABB ACH 580 |  |  | 2
RF AHU12 | [5 empty] | Y |  |  | 2
SF AHU12 |  | ABB ACH 580 |  |  | 2
RF AHU11 | [5 empty] | Y |  |  | 2
SF AHU11 |  | ABB ACH 580 |  |  | 2
SF AHU10 | [5 empty] | Y |  |  | 1
RF AHU9 | [5 empty] | Y |  |  | 2
SF AHU9 |  | ABB ACH 580 |  |  | 2
RF AHU8 | [5 empty] | Y |  |  | 2
SF AHU8 |  | ABB ACH 580 |  |  | 2
RF AHU7 |  | ABB ACH 580 |  |  | 2
SF AHU7 |  | ABB ACH 580 |  |  | 2
RF AHU6 | [5 empty] | Y |  |  | 2
SF AHU6 |  | ABB ACH 580 |  |  | 2
RF AHU5 | [5 empty] | Y |  |  | 2
SF AHU5 |  | ABB ACH 580 |  |  | 2
RF AHU4 | [5 empty] | Y |  |  | 2
SF AHU4 | [5 empty] | Y |  |  | 2
RF AHU3 | [5 empty] | Y |  |  | 2
SF AHU3 |  | ABB ACH 580 |  |  | 2
RF AHU2 | [5 empty] | Y |  |  | 2
SF AHU2 |  | ABB ACH 580 |  |  | 2
RF AHU1 | [5 empty] | Y |  |  | 2
SF AHU1 |  | ABB ACH 580 |  |  | 2
273 | NAS I | CZP2 | See Note (1) | GHISALBA |  | 6 | 380/3/50 | Centrifugal In Line Direct Driven
273 | NAS I | CZP3 |  | GHISALBA |  | 15 | 380/3/50 | Centrifugal In Line Direct Driven
273 | NAS I | CT1 |  | GHISALBA |  | 40 | 380/3/50 | Centrifugal In Line Direct Driven
273 | NAS I | CT2 |  | GHISALBA |  | 40 | 380/3/50 | Centrifugal In Line Direct Driven
272 | NAS I | SF AHU-1 |  | ABB |  |  | 110/3/50 | Centrifugal In Line Direct Driven
550 | NAS II | SF AHU-1 |  | GHISALBA | VFD |  | 380/3/50 | Centrifugal In Line Direct Driven
550 | NAS II | SF AHU-2 |  | GHISALBA | VFD |  | 380/3/50 | Centrifugal In Line Direct Driven
HUMIDIFIERS
BLDG | SITE | HUMIDIFIER NO. | LOCATION | GENERATOR | VOLTS | NORMAL MODE | NOTES
273 | NAS I | HU-11 | See Note (1) | * | 380/3/50 | * | QTY 1
273 | NAS I | HU-15 |  | * | 380/3/50 | * | QTY 1
273 | NAS I | HU-16 |  | * | 380/3/50 | * | QTY 1
PUMPS
BLDG | SITE | PUMP NO. | LOCATION | MFG | MODEL NO. | PUMP |  | MOTOR |  |  | APPL. | TYPE | NEMA STARTER | NOTE
[6 empty] | L/S | KPa | KW | RPM | VOLTS
272 | NAS I | P1 | See Note (1) | Grundfos | TP 32­80/4 | [5 empty] | Heating Water | Centrifugal end suction |  | One stand by
272 | NAS I | P2 |  | Grundfos | TP 32­80/4 | [5 empty] | Heating Water | Centrifugal end suction |  | One stand by
272 | NAS I | P3 |  | Grundfos | TP 50­190/4 | [5 empty] | Chilled Water | Centrifugal end suction |  | One stand by
272 | NAS I | P4 |  | Grundfos | TP 50­190/4 | [5 empty] | Chilled Water | Centrifugal end suction |  | One stand by
273 | NAS I | CWP1 |  | Grundfos | NK125-250 | 17.1 | 16/120 | 18.5 | 1460 | 380 | Chiller
273 | NAS I | CWP2 |  | Grundfos | NK125-250 | 17.1 | 16/120 | 18.5 | 1460 | 380 | Chiller
273 | NAS I | HW2P1 |  | KSB | ANORM | 92 | 16/120 |  |  | 380 | Chiller
273 | NAS I | HW2P2 |  | KSB | ANORM | 92 | 16/120 |  |  | 380 | Chiller
273 | NAS I | CLP1 |  | Grundfos | NK125 | 13 | 16/120 | 11 | 1460 | 380 | Chiller
273 | NAS I | CLP2 |  | Grundfos | NK125 | 13 | 16/120 | 11 | 1460 | 380 | Chiller
273 | NAS I | CZP1 |  | Grundfos | 3MOT | 19.7 | 16/120 | 3.5 | 84 | 220 | Chiller
273 | NAS I | CZP2 |  | Grundfos | 3MOT | 19.7 | 16/120 | 3.5 | 84 | 220 | Chiller
273 | NAS I | CZP3 |  | Grundfos | 3MOT | 19.7 | 16/120 | 3.5 | 84 | 220 | Chiller
273 | NAS I | CWP3 |  | Grundfos | MG1325-02 | 37.8 | 16/120 | 7.5 | 88 | 380 | Chiller
273 | NAS I | CWP4 |  | Grundfos | MG1325-02 | 37.8 | 16/120 | 7.5 | 88 | 380 | Chiller
273 | NAS I | N/A |  | Luigi Biraghi | R41-C | 4.2 | 10 | 1.6 | 0.33 | 220 | Recirc. Hot Water
273 | NAS I | N/A |  | Bosetti | CVC80 | 14.5 | 43145 | 11.2 | 1710 | 380 | Lift Station
273 | NAS I | N/A |  | Bosetti | CVC80 | 14.5 | 43145 | 11.2 | 1710 | 380 | Lift Station
273 | NAS I | HWPP1 |  | Ksb |  | 5.5 | 14/15 | 11 | 1415 | 380 | Hot Water System
273 | NAS I | HWPP2 |  | Ksb |  | 5.5 | 14/15 | 11 | 1415 | 380 | Hot Water System
273 | NAS I | DHWP1 |  | Ksb | R10VAR | N | N | 11 | 1400 | 380 | DHW Recir.
273 | NAS I | DHWP2 |  | Ksb | R10VAR | N | N | 11 | 1400 | 380 | DHW Recir.
273 | NAS I | DCWP1 |  | DAB |  | 5.5 | 15/39 | 5.5 | 2910 | 380 | Dom. Cold Water | Vertical
273 | NAS I | DCWP2 |  | DAB |  | 5.5 | 15/39 | 5.5 | 2910 | 380 | Dom. Cold Water | Vertical
273 | NAS I | DCWP3 |  | DAB |  | 5.5 | 15/39 | 5.5 | 2910 | 380 | Dom. Cold Water | Vertical
273 | NAS I | FP1 |  | US Elect. Motors | A959 | 16 | 16/8 | 16 | 2900 | 380 | Fire System
273 | NAS I | FP2 |  | Reliance | 1MAF | N | 52/73 | 75 | 2945 | 380 | Fire System
273 | NAS I | DP1 |  | Hydra | EM4470 | 0.65 | 3.4/2 | 0.55 | 1700 | 220 | Daily Tank
273 | NAS I | DP2 |  | Hydra | EM4470 | 0.65 | 3.4/2 | 0.55 | 1700 | 220 | Daily Tank
273 | NAS I | DP3 |  | Hydra | EM4470 | 0.65 | 3.4/2 | 0.55 | 1700 | 220 | Boiler
273 | NAS I | DP3 |  | Hydra | EM4470 | 0.65 | 3.4/2 | 0.55 | 1700 | 220 | Boiler
273 | NAS I | Autoclave |  | Grundfos | F44502106 | 6.7 | 33025 | 31,3 | 1460 | 220 | Sterilizer Water
273 | NAS I | SP1 |  | Calpeda | 1209391499 |  | 16438 | 1.1 | 2900 | 380 | Steam Boiler | Vertical
273 | NAS I | SP2 |  | Calpeda | 1209391499 |  | 16438 | 1.1 | 2900 | 380 | Steam Boiler | Vertical
550 | NAS II | CHP-1 |  |  |  | 11.58 | 257 | 5.5 | 2900 | 380 | Chilled Water | Centrifugal end suction | 1 | One stand by
550 | NAS II | CHP-2 |  |  |  | 11.58 | 257 | 5.5 | 2900 | 380 | Chilled Water | Centrifugal end suction | 0 | One stand by
550 | NAS II | HWP-1 |  |  |  | 4.22 | 104 | 1.1 | 1450 | 380 | Heating Water | Centrifugal end suction | 0 | One stand by
550 | NAS II | HWP-2 |  |  |  | 4.22 | 104 | 1.1 | 1450 | 380 | Heating Water | Centrifugal end suction | 0 | One stand by
550 | NAS II | HWP-3 |  |  |  | 1.23 | 6 | 0.15 | 2000 | 220 | Boiler Recirculation | In-Line | 0
550 | NAS II | CP-1 |  |  |  | 0.23 | 40 | 0.1 | 1400 | 220 | DHW Recirculation | In-Line | 0
273 | NAS I |  |  | KSB | RIOVAR 24-8E | [5 empty] | Heating Water AHU4 | In-Line
273 | NAS I |  |  | KSB | RIOVAR 44-18D | [5 empty] | Heating Water AHU5 | In-Line
273 | NAS I |  |  | Ksb | RIOVAR 25-07 | [5 empty] | Heating Water AHU11 | In-Line
273 | NAS 2 | [9 empty] | Fuel Pump | In-line
DDC EQUIPMENT
SITE | SITE | EQUIPMENT DESCRIPTION |  | LOCATION | NOTES
272 | NAS I | Operator’s Terminal |  | See Note (1)
272 | NAS I | Controller
273 | NAS I | Operator’s Terminal
273 | NAS I | Controller
273 | NAS I | Alarm Monitor
273 | NAS I | Computer
273 | NAS I | Operator Room Temp Display
273 | NAS I | Operator Room Temp Display
273 | NAS I | Operator Room Temp Display
273 | NAS I | AHU DDC Panel |  |  | QTY. 16
273 | NAS I | CRAC Units DDC Panel |  |  | QTY. 2
550 | NAS II | Operator’s Terminal
550 | NAS II | Controller
550 | NAS II | Alarm Monitor
550 | NAS II | Computer
550 | NAS II | Printer
310 | NAS I | Controller AHU
OTHER MECHANICAL/ELECTRICAL SYSTEMS AND EQUIPMENT - NON- COMMERCIAL REFRIGERATORS
COMPLETE OZONE DEPLETING SUBSTANCE (ODS) & NON-ODS SURVEY OF AIR CONDITIONING AND REFRIGERATION USNH Sigonella, Sicily, Italy EQUIPMENT
DATE OF SURVEY | BLDG | SITE | MANUFACTURER |  | MFR DATE | EQUIMENT DESCRIPTION |  | LOCATION OF EQUIMENT (or SERVICE) |  | MODEL NO. | SERIAL NO. | REFRIG.
2011-05-06 | 272 | NAS I | GE |  |  | Commercial Refer. |  | See Note (1) |  | GTG22FBMARWN | VG300586 | R-134A
2011-07-22 | 273 | NAS I | Harris |  | 2011 | Hematology Freezer #20 |  |  |  | MBF-700LSAW-R17 | O25W-301422-PW | R-134A/R-404A
2011-07-22 | 273 | NAS I | Harris |  | 2011 | Hematology Freezer #16 |  |  |  | MBF-700LSAW-R17 | O25W-301423-PW | R-134A/R-404A
2011-05-06 | 273 | NAS I | Revco |  | N/A | Freezer Lab. ECN: 042104 |  |  |  | ULT2140-3-V36 | R28N-631854-SN | R-134A/R-404A
2011-05-06 | 273 | NAS I | Angelantoni |  | 2010 | Lab Refrig. ECN: 092242 |  |  |  | FLC 300/2TS-AL | 60129 | R-600A
2011-05-06 | 273 | NAS I | GE |  | 1991 | Commercial Refer. |  |  |  | TBG18JADARWW | RZ500755 | R-134A
| 273 | NAS I | HARRIS |  |  | Hematology Freezer (NEW) |  |  |  | UF-TKC55HPL | 126711
| 273 | NAS I | HARRIS |  |  | Hematology Freezer (NEW) |  |  |  | UF-TKC55HPL | 126708
| 273 | NAS I | HARRIS |  |  | Hematology Freezer (NEW) |  |  |  | UF-TKC55HPL | 126710
| 273 | NAS I | HARRIS |  |  | Hematology Freezer (NEW) |  |  |  | UF-TKC55HPL | 126709
| 273 | NAS I | HARRIS |  |  | Hematology Freezer (NEW) |  |  |  | UF-TKC55HPL | 126707
| 273 | NAS I | HARRIS |  |  | Hematology Freezer (NEW) |  |  |  | UF-TKC55HPL | 126706
2011-05-06 | 273 | NAS I | Harris |  |  | Hematology Freezer #18 |  |  |  | MBF-700LSA-R17 | W04S-300956-WS | R-134A/R-404A
2011-05-06 | 273 | NAS I | Harris |  |  | Hematology Freezer #7 |  |  |  | MBF-700LSA-R17 | Y13S-300961-YS | R-134A/R-404A
| 273 | NAS I | Harris |  |  | Hematology Freezer #4 |  |  |  | MBF-700LSA-R18 |  | R-134A/R-404A
2011-05-06 | 273 | NAS I | Angelantoni |  |  | Refer Biological ECN: 051069 |  |  |  | FRL 180V/GL | 26416/00 | R-134A
2011-05-06 | 273 | NAS I | Marvel Industries |  |  | Refer Medications |  |  |  | 4CAF MA | 81399001 | R-134A
2011-05-06 | 273 | NAS I | Castor |  |  | Household Refer. |  |  |  | CFT 16 | 51101130 | R-134A
2011-05-06 | 273 | NAS I | Skadi (Slimline) |  | 2011 | Refer/Freezer Biological ECN: 092625 |  |  |  | LRF300 | 201116006776 | R-404A/R404A
2011-05-06 | 273 | NAS I | Skadi (Slimline) |  |  | Refrigerator Laboratory ECN: 092291 |  |  |  | LRF300 | 201025006072 | R-404A/404A
2011-05-06 | 273 | NAS I | Indelb |  | 2004 | Mini Bar Refer. |  |  |  | A30NB13D2100 | B503030360 | R-134A
2011-05-06 | 550 | NAS II | Jewett |  |  | Refer Biological ECN: 01106 |  |  |  | LR25B | 66216-200 | R-134A
2011-05-06 | 550 | NAS II | Emer Med |  |  | Refer Biological ECN: 091972 |  |  |  | LR 625 W PRO | 73872 | R-404A
2011-05-06 | 550 | NAS II | Angelantoni |  | 2002 | Refer Biological ECN: 042358 |  |  |  | BASIC 700/1TN | 30922 | R-134A
* | 273 | NASI I | HEMO COLD |  |  | Lab. Refrig. |  |  |  | HR140G | FF1021DEL0812 | R-404A
* | 273 | NAS I | HEMO COLD |  |  | Lab. Refrig. |  |  |  | HR140G | FF1020DEL0812 | R-404A
* | 273 | NAS I | REVCO |  |  | Lab. Refrig. |  |  |  | UFP1230V20 | 114926301100729 | R-134A/R404A
OTHER EQUIPMENT
BLDG | SITE | EQUIPMENT DESCRIPTION |  |  | MFR | MODEL NO | LOCATION | QTY | REMARKS
273 | NAS I | Split system (CMC office) |  |  |  |  | See Note (1) | 1
273 | NAS I | Split system (CO office) | [5 empty] | 1
273 | NAS I | Split system (XO office) | [5 empty] | 1
273 | NAS I | Baby abduction system |  |  | PROSEC |  |  | 1
273 | NAS I | AC unit dental trailer | [5 empty] | 1
273 | NAS I | Fan coil unit dental trailer | [5 empty] | 12
273 | NAS I | Split unit CAT SCANNER |  |  | Fer |  |  | 4
273 | NAS I | AC unit MID (room 1A56) |  |  | Montair | 60000BTU |  | 1
273 | NAS I | Fan coil unit MID (room 1A56) |  |  | Aermec |  |  | 4
273 | NAS I | Dehumidifier MID (room 1A56) | [5 empty] | 1
273 | NAS I | Fan coil unit Laboratory |  |  | Fer |  |  | 6
273 | NAS I | Fan coil unit blood bank mezzanine (wall mount) |  |  | Aermec |  |  | 4
273 | NAS I | Fan coil unit blood bank mezzanine |  |  | Fer |  |  | 2
273 | NAS I | Fan coil unit Radiology | [5 empty] | 1
273 | NAS I | Split unit Quarterdeck |  |  | Aermec |  |  | 3
273 | NAS I | A/C unit clean linen space |  |  | Mitsubishi |  |  | 1
310 | NAS I | Split unit SEAT (BLDG 310) |  |  | Yamato |  |  | 2
273 | NAS I | UV Light system AHU’s | [5 empty] | 14
273 | NAS I | A/C unit for Rotary UPS “PILLER” |  |  | Trane |  |  | 1
310 | NAS I | Duct Fan coil | [5 empty] | 1
550 | NAS II | AC unit Split system |  |  | FER | U.E. FREE 12 |  | 1
273 | NAS I | Ducted FC | [5 empty] | 1
273 | NAS I | Fan coils machine room elevators | [5 empty] | 2
273 | NAS I | Fan coils Mech. Room | [5 empty] | 3
273 | NAS I | Fan coil |  |  | FER |  |  | 1
273 | NAS I | Wall mounted split |  |  | LG
273 | NAS I | Cassette split |  |  | Samsung
273 | NAS I | Cassette split |  |  | Samsung
273 | NAS I | Wall mounted split |  |  | Hitachi
550 | NAS II | Fan coil |  |  | Clint | FVW/VP73 |  | 1
273 | NAS I | Walk-in freezer |  |  | BOX COLD |  |  | 1 | HAZMAT Walk-in freezer
273 | NAS I | Chiller unit CT SCANNER |  |  | AERMEC |  |  | 1 | Stand-alone chiller for CT SCANNER
273 | NAS I | Gas Leak Detection System | [5 empty] | 1
273 | NAS I | Fan Coil | [5 empty] | 2
273 | NAS I | Fan Coil | [5 empty] | 1
273 | NAS I | Fan Coil | [5 empty] | 1
273 | NAS I | Fan Coil | [5 empty] | 1
273 | NAS I | Fan Coil | [5 empty] | 1
273 | NAS I | Fan Coil | [5 empty] | 1
273 | NAS I | Fan Coil | [5 empty] | 2
Note (1): Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information.

## 3.4.2 FIRE PROTECTION SYSTEMS
ATTACHMENT J-1502000-06
FIRE PROTECTION SYSTEMS DESCRIPTION
FIRE PROTECTION SPRINKLER SYSTEM
BLDG | SITE | SPRINKLER TYPE | VALVE |  |  |  | FIRE DEPTARTMENT CONNECTION | COMP. | PUMP | LOCATION |  | AREA SERVICED | NOTES
|  |  | SUPV | OS&Y | AIR PIV | SIZE |  |  |  |  | INSTALL DATE: |  |  | SPEC 7/VALUE: | SPEC 7/VALUE: | SPEC 8/VALUE: | SPEC 8/VALUE: | SPEC 9/VALUE: | SPEC 9/VALUE: | SPEC 10/VALUE: | SPEC 10/VALUE: | SPEC 11/VALUE: | SPEC 11/VALUE: | SPEC 12/VALUE: | SPEC 12/VALUE: | SPEC 13/VALUE: | SPEC 13/VALUE: | SPEC 14/VALUE: | SPEC 14/VALUE: | SPEC 15/VALUE: | SPEC 15/VALUE: | NOTES: | TIMESTAMP: | TAGGER: | SECTION NAME | CONDITION RATING | COPIED TO COBIE
272 | NAS I | Wet |  | Yes | Yes | 8” | Yes | No | No | See Note (1) | Sprinkler & Standpipes | Sprinkler & Standpipes
273 | NAS I | Wet | Yes | Yes | Yes | 6” | Yes | No | Yes |  | Sprinkler & Standpipes | Sprinkler & Standpipes
273 | NAS I | Wet | Yes | Yes | Yes | 6” | No | No | Yes |  | Sprinkler & Standpipes | Sprinkler & Standpipes
273 | NAS I | Dry | Yes | Yes | Yes | 4” | Yes | Yes | Yes |  | Loading Dock | Loading Dock
310 | NAS I | Dry | Yes | Yes | Yes | 4” | Yes | Yes | No |  | Seat | Seat
550 | NAS II | Wet |  | Yes | Yes | 8” | Yes | No | No |  | Sprinkler & Standpipes | Sprinkler & Standpipes
FIRE PROTECTION SYSTEM
BLDG | SITE | EQUIPMENT DESCRIPTION |  | REMARKS | LOCATION | QUANTITY | NOTE
273 | NAS I |  |  | 750 GPM, 77 PSI | See Note (1) | 1
273 | NAS I | Fire Jockey Pump |  | 5 GPM, 77 PSI |  | 1
273 | NAS I | Wet Chemical Extinguishing System |  | Kitchen Hood |  | 1
550 | NAS II | Smoke Damper |  |  |  | 6
273 | NAS I | Galley Extinguishing System |  |  |  | 1 | Mfgr: Ansul
ANNUNCIATED FIRE ALARM SYSTEM PANEL
BLDG | SITE | EQUIPMENT |  | LOCATION | NOTE
|  | DESIGNATION | COMPONENT
272 | NAS I | Fire Alarm Control Panel | Fire Alarm Control Panel | See Note (1)
272 | NAS I | Fire Alarm Transmitter | Fire Alarm Transmitter
273 | NAS I | Fire Alarm Control Panel | Fire Alarm Control Panel
273 | NAS I | Fire Alarm Transmitter | Fire Alarm Transmitter
310 | NAS I | Fire Alarm Control Panel | Fire Alarm Control Panel
310 | NAS I | Fire Alarm Transmitter | Fire Alarm Transmitter
550 | NAS II | Fire Alarm Control Panel | Fire Alarm Control Panel
550 | NAS II | Fire Alarm Transmitter | Fire Alarm Transmitter
ANNUNCIATED FIRE ALARM SYSTEM
BLDG | SITE | CABINET DESIGNATION | LOCATION | COMPONENT DESCRIPTION | UNITS | NOTES
272 | NAS I | FACP | See Note (1) | Ceiling Mounted Smoke Detectors | 3
|  |  |  | Duct Mounted Smoke Detector | 2
|  |  |  | Remote Test Alarm Indicator Panel | 1
|  |  |  | Manual Fire Alarm Pull Station | 6
|  |  |  | Fire Alarm Flashing Lights/Horn | 26
|  |  |  | Water Flow Switch | 1
|  |  |  | OS&Y Tamper Switch | 1
|  |  |  | Post Indicator Valve | 1
|  |  |  | Sprinkler Pressure Switch | 1
273 | NAS I | FACP |  | Ceiling Mounted Smoke Detectors | 263
|  |  |  | Power Supply Module | 15
|  |  |  | Duct Mounted Smoke Detector | 28
|  |  |  | Visual Fire Alarm Device | 202
|  |  |  | Manual Fire Alarm Pull Station | 43
|  |  |  | Monitor Module Single Input | 19
|  |  |  | Monitor Module Single Output | 43
|  |  |  | Synchronizer Module | 18
|  |  |  | Pressure Switch | 4
|  |  |  | Tamper Switch | 7
|  |  |  | Water Flow Switch | 4
|  |  |  | Isolation Module | 15
|  |  |  | Post Indicator Valve | 1
|  |  |  | Electromagnet Door Switch | 24
|  |  |  | Elevator Recall | 12
|  |  |  | Fusible Link Roll-up shutter (Pharmacy) | 2
|  |  |  | Electric Roll-up shutter | 4
|  |  |  | Heat Detectors | 4 | Penthouses
310 | NAS I | FACP |  | Ceiling Mounted Smoke Detectors | 12
|  |  |  | Power Supply Module | 1
|  |  |  | Duct Mounted Smoke Detector | 0
|  |  |  | Visual Fire Alarm Device | 8
|  |  |  | Manual Fire Alarm Pull Station | 4
|  |  |  | Monitor Module Single Input | 2
|  |  |  | Monitor Module Single Output | 1
|  |  |  | Synchronizer Module | 1
|  |  |  | Pressure Switch | 1
|  |  |  | Tamper Switch | 1
|  |  |  | Water Flow Switch | 1
|  |  |  | Isolation Module | 0
|  |  |  | Post Indicator Valve | 0
|  |  |  | Electromagnet Door Switch | 0
550 | NAS II | FACP |  | Ceiling Mounted Smoke Detectors | 11
|  |  |  | Duct Mounted Smoke Detector | 3
|  |  |  | Remote Test Alarm Indicator Panel | 1
|  |  |  | Manual Fire Alarm Pull Station | 10
|  |  |  | Fire Alarm Flashing Lights | 50
|  |  |  | Fire Alarm Horn | 25
|  |  |  | Water Flow Switch | 1
|  |  |  | OS & Y Tamper Switch | 1
|  |  |  | POST INDICATOR VALVE | 1
|  |  |  | Sprinkler Pressure Switch | 1
|  |  |  | Fire Alarm Horn | 25
|  |  |  | Water Flow Switch | 1
FIRE EXTINGUISHERS
BLDG | SITE | DESCRIPTION |  | VOLUME | QUANTITY | LOCATION
273 | NAS I | ABC FIRE EXTINGUISHER (DUST) |  | 6Kg. | 52 | See Note (1)
273 | NAS II | AB FIRE EXTINGUISHER (GALLEY) |  | 6 Kg. | 1
273 | NAS I | ABC FIRE EXTINGUISHER |  | 30 KG | 1
273 | NAS I | ABC FIRE EXTINGUISHER (DUST) |  | 6Kg. | 5
550 | NAS I | ABC FIRE EXTINGUISHERS (DUST) |  | 6Kg. | 24
272 |  | ABC FIRE EXTINGUISHERS (CO2) |  | 6Kg. | 6
310 | NAS I | ABC FIRE EXTINGUISHERS (DUST) |  | 6Kg. | 7
Ambulances |  | FIRE EXTINGUISHERS (CO2) |  | 2Kg. | 7
273 | NAS I | GALLEY EXTINGUISHER SYSTEM - ANSUL |  |  | 1
Note (1): Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information.

## 3.4.3 BOILERS AND UPVs SYS
ATTACHMENT J-1502000-06
BOILERS AND UPVs SYSTEMS DESCRIPTION
BLDG | SITE | BOILER NO. | LOCATION | MFG | MODEL NO. | SERIAL NO. | GROSS OUTPUT | WORKING PRESSURE | MOTOR |  |  | APPLICATION
[9 empty] | KV | VOLTS | APPLICATION |  | SPEC 7/VALUE: | SPEC 7/VALUE: | SPEC 8/VALUE: | SPEC 8/VALUE: | SPEC 9/VALUE: | SPEC 9/VALUE: | SPEC 10/VALUE: | SPEC 10/VALUE: | SPEC 11/VALUE: | SPEC 11/VALUE: | SPEC 12/VALUE: | SPEC 12/VALUE: | SPEC 13/VALUE: | SPEC 13/VALUE: | SPEC 14/VALUE: | SPEC 14/VALUE: | SPEC 15/VALUE: | SPEC 15/VALUE: | NOTES: | TIMESTAMP: | TAGGER: | SECTION NAME | CONDITION RATING | COPIED TO COBIE
272 | NAS I | B-1 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Bongioanni | BCG41/61 IDEA | [6 empty] | Heating Water
272 | NAS I | WH/A1 |  | Ariston | TI 200 L |  |  | 8 BAR | 2.6 |  |  | Domestic Water Heater
272 | NAS I | UH/B |  | Bps | ATR 30­EA |  |  |  | 0.14 | 220 | 220 | Unit Heater
273 | NAS I |  |  | LPV | GVE 160-I |  | 96 kW | 5 BAR |  |  |  | Steam Boiler w/ blow down system (1 of 2)
273 | NAS I |  |  | LPV | GVE 160-I |  | 96 kW | 5 BAR |  |  |  | Steam Boiler /w blow down system (2 of 2)
273 | NAS I | B-1 |  | Riello | RTQ 448 3S |  | 427 kW | 6,0 BAR | 0,75 | 230/400 | 230/400 | Heating Water
273 | NAS I | B-2 |  | Riello | RTQ 448 3S |  | 427 kW | 6,0 BAR | 0,75 | 230/400 | 230/400 | Heating Water
273 | NAS I | B-3 |  | Riello | RTQ 255 3S |  | 243 kW | 6,0 BAR | 0,37 | 230 | 230 | Domestic Water Heater
273 | NAS I | B-4 |  | Riello | RTQ 255 3S |  | 243 kW | 6,0 BAR | 0,37 | 230 | 230 | Domestic Water Heater
550 | NAS II | BO-1 |  | Riello | RTQ 217 3S |  | 207 kW | 6,0 BAR | 2.37 | 230 | 230 | Heating Water
550 | NAS II | DHW-1 |  | A.O. SMITH | COF 199 OG |  | 47 kW | 11 BAR |  |  |  | Domestic Water Heater

## 3.6.1 EXHAUST HOODS AND DUCTS
ATTACHMENT J-1502000-06
EXHAUST HOODS AND DUCTS DESCRIPTION
BLDG | SITE | LOCATION | MANUFACTURER | FIRE SUPRESSION SYSTEM | NO. OF HOODS
273 | NAS I | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Zanussi | Y | 1

## 3.6.11 MISCELLANEOUS EQUIPMENT
ATTACHMENT J-1502000-06
MISCELLANEOUS EQUIPMENT DESCRIPTION
SITE | BLDG | LOCATION | EQUIPMENT DESCRIPTION | QUANTITY | REMARKS
AUDIOBOOTH
NAS II | 550 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Audiobooth* | 1 | Audiobooth, Double Wall, 4-6 Person, 1800 X 2440 X 2030
NAS I | 272 |  | Audiobooth* | 1 | Audiobooth, Double Wall, 1 Person, 1200 X 1200
* BOSC covers only the electrical power system, ensuring reliable and safe delivery of electricity to the equipment. DHA performs all equipment maintenance
LEAK DETECTION
NAS I | 273 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Leak gas detection system | 1 | Watts
NAS I | 273 |  | Leak gas detection system | 1
NAS I | 273 |  | Fuel pipe leak detection | 1
NAS II | 550 |  | Leak detection fuel oil pipes | 1
LAVATORY, SURGEON
NAS I | 273 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Lavatory, Surgeons | See Remarks | 1st Fl: 11; 2n Fl: 5; 3rd Fl: 5
NAS I | 273 |  | Sink, Surgeon's Scrub-Up |  | 1st Fl: 3; 2n Fl: 1
NAS I | 273 |  | Sink, Surgeon's Scrub-Up | 1 | w/Wrist Action
NAS I | 273 |  | Sink, Scrub 2 Bay |  | 1st Fl: 2; 3rd Fl: 1
NAS II | 550 |  | Lavatory, Surgeons | 2 | P3500
WATER SOFTENING SYSTEM
NAS I | 273 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Domestic Hot water Generator | 4 | Mfr: SICC, Mod: 209/EVPX - 4 x 2000 liter
NAS I | 273 |  | Phosphate Dose | 1 | Mrf: Cillichemie; Mod: DPInex
NAS I | 273 |  | System Water Softening System w/ brine tank | 1 | Mrf: Cillichemie; Mod: BA3250 2XC
EXAPANSION TANK
NAS II | 550 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Expansion Tank | 1 | Heating Hot Water Cap. 75 Lt. Self-Pressurized
NAS II | 550 |  | Expansion Tank | 1 | Chilled Water Cap. 75 Lt. Self-Pressurized
TOILET SENSORS
NAS I | 273 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Faucets sensors | 58
NAS I | 273 |  | Toilet flush sensors | 54
NAS I | 273 |  | Urinal sesnsors | 4

## 3.6.16 LIFT STATIONS
ATTACHMENT J-1502000-06
LIFT STATIONS INVENTORY
BLDG NO | BLDG NO | EQUIPMENT DESCRIPTION | MANUFACTURER | MODEL NO. | LOCATION | QTY | REMARKS
273 | NAS I | Lift Station NAVHOSP | KSB |  | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | 2
310 | NAS I | Lift Station | KSB |  |  | 1 | Duplex pump, SEAT (BLDG 310)