## PWD WASH MASTER
PWD | Supported Command | Building/ Parcel | Location /Description | Service Level | Spec. Item | Service | UOM | Qty | Size | Notes
WASH | MBW | Zone 1 | Toro Custom Controller Irrigation System- Fornt by post 4 | Prestige | 3.1.1.4 | Irrigation | EA | 16 | Super 800-15 570Z- 1 | 7th & L Annex
WASH | MBW | Zone 2 | Toro Custom Controller Irrigation System- Valve box in same area as heads | Prestige | 3.1.1.4 | Irrigation | EA | 19 | Super 800-12 570Z- 7 | 7th & L Annex
WASH | MBW | Zone 3 | Toro Custom Controller Irrigation System- Along Virginia ave fenceline west end | Prestige | 3.1.1.4 | Irrigation | EA | 18 | Super 800-18 | 7th & L Annex
WASH | MBW | Zone 4 | Toro Custom Controller Irrigation System- Along Auther Capper fence line | Prestige | 3.1.1.4 | Irrigation | EA | 17 | Super 800-12 570Z- 5 | 7th & L Annex
WASH | MBW | Zone 5 | Toro Custom Controller Irrigation System- Next to loading dock & down hill along bldg | Prestige | 3.1.1.4 | Irrigation | EA | 16 | Super 800-16 | 7th & L Annex
WASH | MBW | Zone 6 | Toro Custom Controller Irrigation System- 3 serve the north front flower bed | Prestige | 3.1.1.4 | Irrigation | EA | 20 | 570Z- 20 | 7th & L Annex
WASH | MBW | Zone 7 | Toro Custom Controller Irrigation System- by obstacle course | Prestige | 3.1.1.4 | Irrigation | EA | 16 | Super 800-14 570Z- 2 | 7th & L Annex
WASH | MBW | Zone 8 | Toro Custom Controller Irrigation System- along bldg by gym and BB court, garage, conses stand | Prestige | 3.1.1.4 | Irrigation | EA | 31 | Super 800-11 570Z- 20 | 7th & L Annex
WASH | MBW | Zone 9 | Toro Custom Controller Irrigation System- Behind parking garage | Prestige | 3.1.1.4 | Irrigation | EA | 15 | 570Z- 15 | 7th & L Annex
WASH | MBW | Zone 10 | Toro Custom Controller Irrigation System- along perimeter fence line east of firelane | Prestige | 3.1.1.4 | Irrigation | EA | 6 | Super 800-6 | 7th & L Annex
WASH | MBW | Zone 11 | Toro Custom Controller Irrigation System- along arcade & sidewalk | Prestige | 3.1.1.4 | Irrigation | EA | 12 | Super 800-12 | 7th & L Annex
WASH | MBW | Zone 12 | Toro Custom Controller Irrigation System- along perimeter fence line across from vending door | Prestige | 3.1.1.4 | Irrigation | EA | 10 | Super 800-10 | 7th & L Annex
WASH | MBW | Zone 13 | Toro Custom Controller Irrigation System- in front of Sousa statue and front southeast corner | Prestige | 3.1.1.4 | Irrigation | EA | 11 | Super 800-11 | 7th & L Annex
WASH | MBW | Zone 14 | Toro Custom Controller Irrigation System- 4 flower beds and bushes | Prestige | 3.1.1.4 | Irrigation | EA | 16 | Super 800-1 570Z- 15 | 7th & L Annex
WASH | MBW | Zone 15 | Toro Custom Controller Irrigation System- hillside behind curb parking & fence line | Prestige | 3.1.1.4 | Irrigation | EA | 12 | Super 800-12 | 7th & L Annex
WASH | MBW | Parade Deck | 3 zones on deck and 5 zones behind bleachers - Weathermatic with cell access | Prestige | 3.1.1.4 | Irrigation | EA | 8 |  | Marine Barracks
WASH | MBW | CMC's Back Yard | 15 zones in CMC garden- Weathermatic with cell access | Prestige | 3.1.1.4 | Irrigation | EA | 15 |  | Marine Barracks
WASH | MBW | CMC's Front Yard | 115 zones +/- Make unknown (possibly Hunter). Located on the left of the main steps behind the boxwood. | Prestige | 3.1.1.4 | Irrigation | EA | 115 |  | Marine Barracks
WASH | NSAW | Leutze Park | Sytem No. 1- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 10
WASH | NSAW | West Leutze Park | Sytem No. 2- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 10
WASH | NSAW | Bldg.1 | Sytem No. 3- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 6
WASH | NSAW | Bldg.111 | Sytem No. 4- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 4
WASH | NSAW | Willard Park | Sytem No. 5- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 11
WASH | NSAW | NAVSEA C1 Bldg.197 | Sytem No. 6- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 48
WASH | NSAW | Bldg.405 | Sytem No. 8- Rain Bird Electronic | Prestige | 3.1.1.4 | Irrigation | EA | 9

## NSAW
PWD | Supported Command | Building/ Parcel | Location /Description | Service Level | Spec. Item | Service | UOM | Qty | Size | Notes
WASH | NSAW | Leutze Park | Sytem No. 1- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 10
WASH | NSAW | West Leutze Park | Sytem No. 2- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 10
WASH | NSAW | Bldg.1 | Sytem No. 3- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 6
WASH | NSAW | Bldg.111 | Sytem No. 4- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 4
WASH | NSAW | Willard Park | Sytem No. 5- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 11
WASH | NSAW | NAVSEA C1 Bldg.197 | Sytem No. 6- Rain Bird System | Prestige | 3.1.1.4 | Irrigation | EA | 48
WASH | NSAW | Bldg.405 | Sytem No. 8- Rain Bird Electronic | Prestige | 3.1.1.4 | Irrigation | EA | 9

## MBW
PWD | Supported Command | Building/ Parcel | Location /Description | Service Level | Spec. Item | Service | UOM | Qty | Size | Notes
WASH | MBW | Zone 1 | Toro Custom Controller Irrigation System- Fornt by post 4 | Prestige | 3.1.1.4 | Irrigation | EA | 16 | Super 800-15 570Z- 1 | 7th & L Annex
WASH | MBW | Zone 2 | Toro Custom Controller Irrigation System- Valve box in same area as heads | Prestige | 3.1.1.4 | Irrigation | EA | 19 | Super 800-12 570Z- 7 | 7th & L Annex
WASH | MBW | Zone 3 | Toro Custom Controller Irrigation System- Along Virginia ave fenceline west end | Prestige | 3.1.1.4 | Irrigation | EA | 18 | Super 800-18 | 7th & L Annex
WASH | MBW | Zone 4 | Toro Custom Controller Irrigation System- Along Auther Capper fence line | Prestige | 3.1.1.4 | Irrigation | EA | 17 | Super 800-12 570Z- 5 | 7th & L Annex
WASH | MBW | Zone 5 | Toro Custom Controller Irrigation System- Next to loading dock & down hill along bldg | Prestige | 3.1.1.4 | Irrigation | EA | 16 | Super 800-16 | 7th & L Annex
WASH | MBW | Zone 6 | Toro Custom Controller Irrigation System- 3 serve the north front flower bed | Prestige | 3.1.1.4 | Irrigation | EA | 20 | 570Z- 20 | 7th & L Annex
WASH | MBW | Zone 7 | Toro Custom Controller Irrigation System- by obstacle course | Prestige | 3.1.1.4 | Irrigation | EA | 16 | Super 800-14 570Z- 2 | 7th & L Annex
WASH | MBW | Zone 8 | Toro Custom Controller Irrigation System- along bldg by gym and BB court, garage, conses stand | Prestige | 3.1.1.4 | Irrigation | EA | 31 | Super 800-11 570Z- 20 | 7th & L Annex
WASH | MBW | Zone 9 | Toro Custom Controller Irrigation System- Behind parking garage | Prestige | 3.1.1.4 | Irrigation | EA | 15 | 570Z- 15 | 7th & L Annex
WASH | MBW | Zone 10 | Toro Custom Controller Irrigation System- along perimeter fence line east of firelane | Prestige | 3.1.1.4 | Irrigation | EA | 6 | Super 800-6 | 7th & L Annex
WASH | MBW | Zone 11 | Toro Custom Controller Irrigation System- along arcade & sidewalk | Prestige | 3.1.1.4 | Irrigation | EA | 12 | Super 800-12 | 7th & L Annex
WASH | MBW | Zone 12 | Toro Custom Controller Irrigation System- along perimeter fence line across from vending door | Prestige | 3.1.1.4 | Irrigation | EA | 10 | Super 800-10 | 7th & L Annex
WASH | MBW | Zone 13 | Toro Custom Controller Irrigation System- in front of Sousa statue and front southeast corner | Prestige | 3.1.1.4 | Irrigation | EA | 11 | Super 800-11 | 7th & L Annex
WASH | MBW | Zone 14 | Toro Custom Controller Irrigation System- 4 flower beds and bushes | Prestige | 3.1.1.4 | Irrigation | EA | 16 | Super 800-1 570Z- 15 | 7th & L Annex
WASH | MBW | Zone 15 | Toro Custom Controller Irrigation System- hillside behind curb parking & fence line | Prestige | 3.1.1.4 | Irrigation | EA | 12 | Super 800-12 | 7th & L Annex
WASH | MBW | Parade Deck | 3 zones on deck and 5 zones behind bleachers - Weathermatic with cell access | Prestige | 3.1.1.4 | Irrigation | EA | 8 |  | Marine Barracks
WASH | MBW | CMC's Back Yard | 15 zones in CMC garden- Weathermatic with cell access | Prestige | 3.1.1.4 | Irrigation | EA | 15 |  | Marine Barracks
WASH | MBW | CMC's Front Yard | 115 zones +/- Make unknown (possibly Hunter). Located on the left of the main steps behind the boxwood. | Prestige | 3.1.1.4 | Irrigation | EA | 115 |  | Marine Barracks