## PWD WASH Master SWD Inventory
PWD | Supported Command | Building/ Parcel | Location /Description | Service Level | Spec. Item | Service | UOM | Qty | Size | Notes
WASH | Carderock | CAR 001 | Open fields, roads, parking lots and rain leaders from Buildings 4 and 4E. | Per Spec | 3.3 | Storm Drainage Systems | AC | 9 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 002 | Open fields, roads, parking lots and rain leaders from numerous buildings. This outfall typically has flow due to groundwater inflows and is also authorized to discharge water from Navy research basins and non-contact cooling water. Outfalls 025-028 drain into the 002 system. | Per Spec | 3.3 | Storm Drainage Systems | AC | 52 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 003 | Rain leaders on the south and west side of Building 18. This outfall is also authorized to discharge Navy research basin water. | Per Spec | 3.3 | Storm Drainage Systems | AC | 5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 004 | Rain leaders, floor drains and drop inlets from Buildings 12, 13, 68, and 157. This outfall is also authorized to discharge water from non-contact cooling water. This outfall typically discharges because of groundwater infiltration and sump pumps. | Per Spec | 3.3 | Storm Drainage Systems | AC | 2 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 005 | Roads and parking lots a portion of Building 157and a sump pump in Building 187. | Per Spec | 3.3 | Storm Drainage Systems | AC | 4 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 006 | Drop inlets around Building 40. | Per Spec | 3.3 | Storm Drainage Systems | AC | 2 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 007 | Rain leaders on the north and west side of Building 18. | Per Spec | 3.3 | Storm Drainage Systems | AC | 4 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 008 | Open fields, roads, parking lots and rain leaders from Buildings 4S and 4E. This outfall is also authorized to discharge water from Navy research basins and non-contact cooling water. | Per Spec | 3.3 | Storm Drainage Systems | AC | 4 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 009 | Drop inlets around Building 21. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 010 | Open fields, roads, parking lots and rain leaders from Buildings 4 (North), 9, 147, and 200. This outfall and the upstream manhole are typically surcharged by flow from the receiving stream. | Per Spec | 3.3 | Storm Drainage Systems | AC | 4 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 011 | Open field and serves as conveyance for draining the 2,000,000-gallon water tank located in CAR008. This outfall is also authorized to discharge water from Navy research basins. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.99 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 013 | Various discharge points, swales, roads, and parking lots adjacent to Buildings 17, 21, 29, 31 L, 188, 189, and 193. | Per Spec | 3.3 | Storm Drainage Systems | AC | 9 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 014 | Roads, parking lots and rain leaders from Buildings 11, 68, and 60. It includes a 5,676-square-foot stormwater retention pond. | Per Spec | 3.3 | Storm Drainage Systems | AC | 7 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 015 | Witek Road, just west of the access road to Building 200. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 016 | Overflow from adjacent wet pond at Building 80 which provides treatment for the Building 80 roof drains and adjacent pavement. | Per Spec | 3.3 | Storm Drainage Systems | AC | 2.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 017 | Pavement and parking lots adjacent to the northwest side of Building 18. | Per Spec | 3.3 | Storm Drainage Systems | AC | 3 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 018 | Parking lots and roof drains from Buildings 52 and 152. | Per Spec | 3.3 | Storm Drainage Systems | AC | 3 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 019 | A non-jurisdictional ditch system that drains paved road (Bill Morgan Road) and Building 83. This outfall typically has flow due to groundwater inflows. The 2015 sampling was performed at a 4-in. PVC line upstream of Bill Morgan Road as the only discharge to the outfall. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 020 | Building 82 basement sump and adjacent overland flow. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 024 | Open field and rain leaders from Building 60. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 025 | Overflow from adjacent bioretention area at Building 20, which provides treatment for the Building 20 roof drains and adjacent pavement. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 026 | Roads, parking lots and rain leaders from southeast end of Building 20. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 027 | Roads, parking lots and rain leaders from northeast end of Building 20. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 028 | Runoff from Forrestal Road and the east side of Building 60. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 035 | Access road to Building 9. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 037 | Witek Road, along the access road to Building 9. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 038 | Tennis court and adjacent parking lots along Witek Road. | Per Spec | 3.3 | Storm Drainage Systems | AC | 5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 039 | A portion of the north side of Building 4 and surrounding storage and pavement. | Per Spec | 3.3 | Storm Drainage Systems | AC | 2.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 040 | Building 28 and Witek Road in vicinity of intersection with Atlanta Road. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 041 | Witek Road, northeast of Building 159. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 042 | Paved areas west of Building 9 (North). | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 043 | Building 9 (North) and pavement and parking areas around it. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 045 | Pavement and parking areas of T-19, Buildings 116 and 100. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 050 | Paved areas adjacent to Building 128. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 052 | Roof leaders of Buildings 24, 199, 148 and a portion of the parking area north of them. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 053 | Underdrain and overflow from bioretention areas at Building 125. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | NSAW | WNY1 | SE Parking Lot, South Bldg 166 | Per Spec | 3.3 | Storm Drainage Systems | SF | 1590 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY2 | SE Parking Lot, South Bldg 166 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2210 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY3 | SE Parking Lot, South Bldg 166 | Per Spec | 3.3 | Storm Drainage Systems | SF | 300 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY4 | South of 197, bioretention | Per Spec | 3.3 | Storm Drainage Systems | SF | 150 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY5 | Isaac Hull Ave, South Bldg 197A | Per Spec | 3.3 | Storm Drainage Systems | SF | 670 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY7 | Parking Lot, SW Corner Bldg 70 | Per Spec | 3.3 | Storm Drainage Systems | SF | 1140 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY8 | Parking Lot, South Bldg 292 | Per Spec | 3.3 | Storm Drainage Systems | SF | 750 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY9 | Parking Lot, SE Corner Bldge 292 | Per Spec | 3.3 | Storm Drainage Systems | SF | 130 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY10 | Parking Lot, South Bldg 292 | Per Spec | 3.3 | Storm Drainage Systems | SF | N/A |  | See J-1503050-11(a1)- rain barrel
WASH | NSAW | WNY11 | Parking Lot, East of Willard Park | Per Spec | 3.3 | Storm Drainage Systems | SF | 2700 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY12 | East Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 720 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY13 | in courtyard of 183 | Per Spec | 3.3 | Storm Drainage Systems | SF | 85 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY14 | East of Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 300 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY15 | East of Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 90 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY16 | East Bldg 76 | Per Spec | 3.3 | Storm Drainage Systems | SF | 660 |  | See J-1503050-11(a1)- bioretention (rain garden)
WASH | NSAW | WNY17 | East Bldg 76 | Per Spec | 3.3 | Storm Drainage Systems | SF | 200 |  | See J-1503050-11(a1)- bioretention (rain garden)
WASH | NSAW | WNY19 | North Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 325 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY20 | North Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 250 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY21 | North Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 675 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY27 | South Bldg 211 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2990 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY31 | 9th St SE, North Bldg 58 | Per Spec | 3.3 | Storm Drainage Systems | SF | 50 |  | See J-1503050-11(a1)- tree box
WASH | NSAW | WNY32 | North Bldg 200 | Per Spec | 3.3 | Storm Drainage Systems | SF | 100 |  | See J-1503050-11(a1)- tree box
WASH | NSAW | WNY39 | Bldg 197 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2050 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY40 | Bldg 197 | Per Spec | 3.3 | Storm Drainage Systems | SF | 3370 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY41 | Visitor Center | Per Spec | 3.3 | Storm Drainage Systems | SF | 130 |  | See J-1503050-11(a1)- rain garden
WASH | NSAW | WNY42 | Bldg 190 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2270 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY43 | Bldg 208 | Per Spec | 3.3 | Storm Drainage Systems | SF | 200 |  | See J-1503050-11(a1)- planter box
WASH | NSAW | WNY44 | Parking Lot, West of Bldg 70 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2665 |  | See J-1503050-11(a1)- bioretention

## WNY SWD Inventory
PWD | Supported Command | Building/ Parcel | Location /Description | Service Level | Spec. Item | Service | UOM | Qty | Size | Notes
WASH | NSAW | WNY1 | SE Parking Lot, South Bldg 166 | Per Spec | 3.3 | Storm Drainage Systems | SF | 1590 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY2 | SE Parking Lot, South Bldg 166 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2210 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY3 | SE Parking Lot, South Bldg 166 | Per Spec | 3.3 | Storm Drainage Systems | SF | 300 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY4 | South of 197, bioretention | Per Spec | 3.3 | Storm Drainage Systems | SF | 150 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY5 | Isaac Hull Ave, South Bldg 197A | Per Spec | 3.3 | Storm Drainage Systems | SF | 670 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY7 | Parking Lot, SW Corner Bldg 70 | Per Spec | 3.3 | Storm Drainage Systems | SF | 1140 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY8 | Parking Lot, South Bldg 292 | Per Spec | 3.3 | Storm Drainage Systems | SF | 750 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY9 | Parking Lot, SE Corner Bldge 292 | Per Spec | 3.3 | Storm Drainage Systems | SF | 130 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY10 | Parking Lot, South Bldg 292 | Per Spec | 3.3 | Storm Drainage Systems | SF | N/A |  | See J-1503050-11(a1)- rain barrel
WASH | NSAW | WNY11 | Parking Lot, East of Willard Park | Per Spec | 3.3 | Storm Drainage Systems | SF | 2700 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY12 | East Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 720 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY13 | in courtyard of 183 | Per Spec | 3.3 | Storm Drainage Systems | SF | 85 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY14 | East of Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 300 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY15 | East of Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 90 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY16 | East Bldg 76 | Per Spec | 3.3 | Storm Drainage Systems | SF | 660 |  | See J-1503050-11(a1)- bioretention (rain garden)
WASH | NSAW | WNY17 | East Bldg 76 | Per Spec | 3.3 | Storm Drainage Systems | SF | 200 |  | See J-1503050-11(a1)- bioretention (rain garden)
WASH | NSAW | WNY19 | North Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 325 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY20 | North Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 250 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY21 | North Bldg 22 | Per Spec | 3.3 | Storm Drainage Systems | SF | 675 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY27 | South Bldg 211 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2990 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY31 | 9th St SE, North Bldg 58 | Per Spec | 3.3 | Storm Drainage Systems | SF | 50 |  | See J-1503050-11(a1)- tree box
WASH | NSAW | WNY32 | North Bldg 200 | Per Spec | 3.3 | Storm Drainage Systems | SF | 100 |  | See J-1503050-11(a1)- tree box
WASH | NSAW | WNY39 | Bldg 197 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2050 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY40 | Bldg 197 | Per Spec | 3.3 | Storm Drainage Systems | SF | 3370 |  | See J-1503050-11(a1)- bioretention
WASH | NSAW | WNY41 | Visitor Center | Per Spec | 3.3 | Storm Drainage Systems | SF | 130 |  | See J-1503050-11(a1)- rain garden
WASH | NSAW | WNY42 | Bldg 190 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2270 |  | See J-1503050-11(a1)- permeable pavement
WASH | NSAW | WNY43 | Bldg 208 | Per Spec | 3.3 | Storm Drainage Systems | SF | 200 |  | See J-1503050-11(a1)- planter box
WASH | NSAW | WNY44 | Parking Lot, West of Bldg 70 | Per Spec | 3.3 | Storm Drainage Systems | SF | 2665 |  | See J-1503050-11(a1)- bioretention

## Ccarderock SWD Inventory
PWD | Supported Command | Building/ Parcel | Location /Description | Service Level | Spec. Item | Service | UOM | Qty | Size | Notes
WASH | Carderock | CAR 001 | Open fields, roads, parking lots and rain leaders from Buildings 4 and 4E. | Per Spec | 3.3 | Storm Drainage Systems | AC | 9 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 002 | Open fields, roads, parking lots and rain leaders from numerous buildings. This outfall typically has flow due to groundwater inflows and is also authorized to discharge water from Navy research basins and non-contact cooling water. Outfalls 025-028 drain into the 002 system. | Per Spec | 3.3 | Storm Drainage Systems | AC | 52 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 003 | Rain leaders on the south and west side of Building 18. This outfall is also authorized to discharge Navy research basin water. | Per Spec | 3.3 | Storm Drainage Systems | AC | 5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 004 | Rain leaders, floor drains and drop inlets from Buildings 12, 13, 68, and 157. This outfall is also authorized to discharge water from non-contact cooling water. This outfall typically discharges because of groundwater infiltration and sump pumps. | Per Spec | 3.3 | Storm Drainage Systems | AC | 2 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 005 | Roads and parking lots a portion of Building 157and a sump pump in Building 187. | Per Spec | 3.3 | Storm Drainage Systems | AC | 4 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 006 | Drop inlets around Building 40. | Per Spec | 3.3 | Storm Drainage Systems | AC | 2 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 007 | Rain leaders on the north and west side of Building 18. | Per Spec | 3.3 | Storm Drainage Systems | AC | 4 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 008 | Open fields, roads, parking lots and rain leaders from Buildings 4S and 4E. This outfall is also authorized to discharge water from Navy research basins and non-contact cooling water. | Per Spec | 3.3 | Storm Drainage Systems | AC | 4 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 009 | Drop inlets around Building 21. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 010 | Open fields, roads, parking lots and rain leaders from Buildings 4 (North), 9, 147, and 200. This outfall and the upstream manhole are typically surcharged by flow from the receiving stream. | Per Spec | 3.3 | Storm Drainage Systems | AC | 4 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 011 | Open field and serves as conveyance for draining the 2,000,000-gallon water tank located in CAR008. This outfall is also authorized to discharge water from Navy research basins. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.99 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 013 | Various discharge points, swales, roads, and parking lots adjacent to Buildings 17, 21, 29, 31 L, 188, 189, and 193. | Per Spec | 3.3 | Storm Drainage Systems | AC | 9 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | CAR 014 | Roads, parking lots and rain leaders from Buildings 11, 68, and 60. It includes a 5,676-square-foot stormwater retention pond. | Per Spec | 3.3 | Storm Drainage Systems | AC | 7 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 015 | Witek Road, just west of the access road to Building 200. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 016 | Overflow from adjacent wet pond at Building 80 which provides treatment for the Building 80 roof drains and adjacent pavement. | Per Spec | 3.3 | Storm Drainage Systems | AC | 2.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 017 | Pavement and parking lots adjacent to the northwest side of Building 18. | Per Spec | 3.3 | Storm Drainage Systems | AC | 3 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 018 | Parking lots and roof drains from Buildings 52 and 152. | Per Spec | 3.3 | Storm Drainage Systems | AC | 3 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 019 | A non-jurisdictional ditch system that drains paved road (Bill Morgan Road) and Building 83. This outfall typically has flow due to groundwater inflows. The 2015 sampling was performed at a 4-in. PVC line upstream of Bill Morgan Road as the only discharge to the outfall. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 020 | Building 82 basement sump and adjacent overland flow. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 024 | Open field and rain leaders from Building 60. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 025 | Overflow from adjacent bioretention area at Building 20, which provides treatment for the Building 20 roof drains and adjacent pavement. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 026 | Roads, parking lots and rain leaders from southeast end of Building 20. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 027 | Roads, parking lots and rain leaders from northeast end of Building 20. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 028 | Runoff from Forrestal Road and the east side of Building 60. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 035 | Access road to Building 9. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 037 | Witek Road, along the access road to Building 9. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 038 | Tennis court and adjacent parking lots along Witek Road. | Per Spec | 3.3 | Storm Drainage Systems | AC | 5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 039 | A portion of the north side of Building 4 and surrounding storage and pavement. | Per Spec | 3.3 | Storm Drainage Systems | AC | 2.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 040 | Building 28 and Witek Road in vicinity of intersection with Atlanta Road. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 041 | Witek Road, northeast of Building 159. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 042 | Paved areas west of Building 9 (North). | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 043 | Building 9 (North) and pavement and parking areas around it. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.49 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 045 | Pavement and parking areas of T-19, Buildings 116 and 100. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 050 | Paved areas adjacent to Building 128. | Per Spec | 3.3 | Storm Drainage Systems | AC | 0.5 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 052 | Roof leaders of Buildings 24, 199, 148 and a portion of the parking area north of them. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)
WASH | Carderock | Outfall 053 | Underdrain and overflow from bioretention areas at Building 125. | Per Spec | 3.3 | Storm Drainage Systems | AC | 1 |  | See J-1503050-13(a5) & J-1503050-13(a4)