36C26326Q0448 – INTENT TO SOLE SOURCE DESCRIPTION AND INSTRUCTIONS

The Department of Veterans Affairs intends to award a sole source purchase order to Scintica, Inc. for a

3D Bioprinter which is an integral component of a VA research project being conducted by the Iowa City VA Healthcare System Research Department.

The NAICS code is 334516 and the size standard is 1000 employees. The PSC is 6515. This sole source procurement will be issued under Revolutionary FAR Overhaul, FAR 12.102 Restricting Competition.

This notice of intent is not a request for competitive quotations. However, all responsible sources who believe their 3D Bioprinter can meet the specifications described below may submit their brand and model of 3D Bioprinter along with a capability statement, which shall be considered by the Government. The Government will consider responses received by the closing date of this notice.

Information received will be considered solely for the purpose of determining whether or not to conduct a full and open competitive procurement or a small business set-aside competitive procurement. The Government will not pay for any information received in response to this announcement.

If the Government decides to issue a competitive solicitation in the open market, a synopsis shall be issued utilizing the combined synopsis solicitation procedures identified in FAR 12 of the Revolutionary FAR Overhaul.

A determination to not use competitive solicitation procedures based on the responses to this notice is solely within the discretion of the Government.

DESCRIPTION OF THE REQUIREMENT:

The required 3D Bioprinter is the centerpiece of a grant funded research project by the Department of Veterans Affairs Research Department.  The research explores using 3D bio-printed human corneal endothelial grafts as a renewable source for endothelial keratoplasty transplantations.

Technical Specifications:

U-FAB Activo 3D Bioprinter

-Equipment size : 636.5(D) x 778(W) X 708.5(H) mm, Equipment Weight : 120kg(264 lb)

-Build Volume : 150(D) x 150(W) X 50(H) mm

-Channel Variation: Three U-BIOLET dispensers (Low Viscosity Droplet) & ONE U-BIOXT-HV extruder (High Viscosity, Low ~High Temperature)

-Crosslinking Method : UV / Temperature / Chemical / Enzymatic /Ph- Sensitive

-Max. pneumatic Pressure : 8bar

-Interface : PC ,Windows

-Camera : 720p HD Camera

-Power : 220V / AC 2.1A 460W

-Perform high-precision material deposition on curved surfaces

U-FAB Activo USB Camera and Accessories

-3D Printed Camer Holder

-S mount USB 3.0 Camera

U-FAB Activo Standard Maintenance Support

-1-year warranty.

-Remote or on-site support will be provided as needed to repair or replace defective components.

Required Features:

a)	Can combine extrusion printing for high-viscosity biomaterials with droplet-based nanoliter deposition. Capable of printing cells with high viability.

b)	Enables drop-by-drop spraying (10–50 nL) of low-viscosity biomaterials such as collagen, with in-situ crosslinking.

c)	Performs 5-way multi-crosslinking capabilities (UV 365/405 nm, temperature, chemical, enzymatic, pH-sensitive) allows precise stabilization of diverse biomaterials.

d)	Circulates biomaterial suspensions within the syringe to prevent density gradients, ensuring consistent quality during long print runs.

e)	Since each patient’s contact lens varies in shape and size, precise spatial targeting is critical.  System shall include Camera-guided printing. The Activo includes a high-resolution camera directly on the printhead block that supports real-time printing path adjustments and integration with external objects or devices.

f)	Enables contact lens specific printing capability which defines exact printing path detecting by camera.

g)	Software allows the user to determine the exact printing location in real-time via the camera feed.

h)	To achieve effective in-situ crosslinking on the lens, allows simultaneous or sequential printing from multiple droplet channels. This ensures that the treatment agent and the crosslinking agent interact precisely at the target site.

i)	Enables integration of the bioprinter with an external object – for example, a hard contact lens or other cellular delivery vehicle made from the measurements of individual eyes.

HOW TO RESPOND:

All responses must have the VA Identifier: 36C26326Q0448 in the subject line of the email.

All responses must be received no later than: 05:00pm Central Time, Thursday March 19, 2026.

All responses must be submitted to this email address:  Joseph.Bennett@va.gov

PROVIDE THE FOLLOWING INFORMATION IN YOUR RESPONSE:

1. Company name, address, primary contact(s), e-mail address & phone number.

2. A letter from the manufacturer stating your firm is an authorized distributor of theirs. This letter shall be signed by the manufacturer and dated not more than one year ago.

3. SAM UEI number.

4. State if your firm, under the NAICS code, is a large business, small business, service-disabled- veteran-owned small business, veteran-owned small business, HUB zone 8(a), women-owned small business or a small-disadvantaged business.

5. State if your firm has the required items on Schedule (FSS, GSA, SEWP, other…). If so, state the contract number.

6. If your firm is a Socio-economic small business (WOSB, VOSB, SDVOSB…), state if your firm is a Non-Manufacturer under the Nonmanufacturer Rule.

Per the Nonmanufacturer Rule, if your firm is a Socio-economic small business, indicate which lines apply:

a. ____ Business size does not exceed the 500 employee alternative size standard for nonmanufacturers.

b. ____ Firm is primarily engaged in the retail or wholesale trade and normally sells the type of products being supplied.

c. ____ Firm takes ownership or possession of the item(s) with its personnel, equipment, or facilities in a manner consistent with industry practice.

d. ____ Supplies the end products of a small business manufacturer or processor made in the United States.

Information regarding the Non-Manufacturer Rule can be found at this link:

https://www.sba.gov/partners/contracting-officials/small-business-procurement/nonmanufacturer-rule#:~:text=What%20is%20the%20nonmanufacturer%20rule,if%20it%20is%20a%20nonmanufacturer

*** End ***