# Purchase Description

Procurement of Multifunction Reference Thermometer Readout

The U.S. Army TMDE Activity (USATA) has a requirement to implement a brand name purchase of one (1) Multifunction Reference Thermometer Readout w/Temperature model or equivalent that will be a suitable replacement for the Hart Black Stack (20+years old) for Temperature Calibrations in comparison to Type-S thermocouples. This unit has a wide range of additional functions that will allow further use throughout the Temperature Laboratory. The ADT286-TS-PKG-110V Thermometer Readout w/Temperature shall include the following specifications or equivalent (if not brand name):

- Requirements:

- Additel ADT286-TS-PKG—110V, Multifunction Reference Thermometer                       Qty: 1

Temperature Scanner Module

110 Voltage

- Delivery Requirements

Shipping Address: U.S. Army TMDE Activity, Attn: Matthew Watts, Building 5435, Redstone Arsenal, AL 35898