# Purchase Description

Procurement of Lab Standard Microphone System

The U.S. Army TMDE Activity (USATA) has a requirement to implement a brand name purchase of one (1) Lab Standard Microphone System model or equivalent that will be a suitable replacement for the 4180/4160 Microphones are the main standard for the Acoustics Lab. Three standards have been lost due to damage. Reciprocity calibration requires three microphones of the same model to function appropriately. APSL needs to replace these standards to prevent a potential shutdown of the acoustics laboratory. All accredited parameters within the acoustics lab are tied to these laboratory grade Microphones. The Lab Standard Microphone System shall include the following specifications or equivalent (if not brand name):

- Requirements:

4180—PTO   1/2" Calibration Condenser Microphone, laboratory standard.                                          Qty: 1

ET-2014-W-002- Primary DPLA Microphone Calibration 1/3 octave frequencies 10Hz to 25 kHz for type 4180												   Qty: 1

4160—PTO      1" Laboratory Standard Pressure Microphone, 200V Polarization.                                   Qty: 1

ET-2014-W-001-Primary DPLA Microphone Calibration 1/3 octave frequencies 2Hz to 10kHz for type 4160. Results calculated according to IEC 61094-2:2009/AMD1:2022                                                                   Qty:1

AO-0087-D-012- Cable, coax single screen, BNC (M) to BNC (M), 1,2m (4.0ft), max.+85°C (185°F)       Qty:1

Shipping        											    Qty:2

- Delivery Requirements

Shipping Address: U.S. Army TMDE Activity, Attn: Ricardo Gutierrez, Building 5435, Redstone Arsenal, AL 35898