STATEMENT OF WORK

FOR

CHEYENNE VA MEDICAL CENTER

EMERGENCY DEPARTMENT EXPANSION PROJECT

2360 E. PERSHING BLVD, CHEYENNE, WY 82001

REQUIREMENT:

The Cheyenne VAMC has a requirement for purchase and installation of Nine (9) Ceiling Mounted patient lifts for the Emergency Department Expansion project. The overhead ceiling patient lift system shall be complete with track system, lift units, motors and complete structural mounting system to attach to the new structural roof system.  The contractor shall provide and install a complete XY or H Track Configuration with continuous charge based on the need of each room. Room drawings will be included in the procurement request.

BACKGROUND:

The Emergency Department Expansion project is currently under construction, the patient ceiling lift systems will need to be installed during the final phase of interior construction estimated September 2026.

SPECIFICATIONS: Equipment and installation

Contractor shall provide the following equipment and installation

| Qty | Description |
| --- | --- |
| 5 | Patient Lift-1000LB Bariatric 8' x 10' |
| 1 | Patient Lift 1000lb with Bath RH 8’ X 10’ |
| 1 | Patient Lift 1000lb with Bath LH 8’ X10’ |
| 2 | Patient Lift-1000LB Bariatric 6' x 10' |
| 9 | Installation labor – Ceiling mounted patient lifts |
| 9 | Installation Hardware/Material |
| 9 | Carry Bar 2H 544KG |
| 9 | Charger Holder |
| 18 | Powerpro One Mult—material Screw |
| 9 | Decal weight load test |
| 9 | XY Gabtry System Trolley 1000lbs |
| 7 | Super Track T Strip (2.50M 10’-0”) |
| 12 | Regular Track T Strip (2.50M 8’-2”) |
| 2 | Regular Track T Strip (3.66M 12”-0”) |
| 9 | Transstrip (length – 20’) |
| 64 | 3” Ceiling Bracket Assy – ½” Slot |
| 38 | White Molded Styrene end cap |
| 14 | Super Single Track end Cap |
| 36 | Track End-stop (w/pin & ring) |
| 1 | 1000lb trans Gate for Track Plus – RW w/spring |
| 1 | 1000lb Transaction Gate Mount for Track Plus - LH |
| 2 | TrackPlus T Strip (3.97M 13’0”) |
| 2 | Regular Track T Strip (3.01M 10’2”) |
| 4 | Curved Regular Track Outside 45 Degree |
| 2 | Transstrip Ramp |
| 4 | 6” Connector Bracket Assembly ½” Slot |
| 2 | Track Plus End Cap |
| 1 | Stamped Structural Calculations & Drawings |

PLACE OF PERFORMANCE:

Cheyenne VA Medical Center

2360 E. Pershing Blvd.

Cheyenne, WY 82001