| SUBJECT* | BRAND NAME OR EQUAL HOSPITAL ICU BEDS |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 71306-9004 |
| --- | --- |
| SOLICITATION NUMBER* | 36C25626Q0481 |
| RESPONSE DATE/TIME/ZONE | 03-20-2026 8AM CENTRAL TIME, CHICAGO, USA |
| ARCHIVE | 90 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | 6530 |
| NAICS CODE* | 339113 |
| CONTRACTING OFFICE ADDRESS | ALEXANDRIA VA HEALTH CARE SYSTEM NETWORK CONTRACTING OFFICE 16 ALEXANDRIA VA HEALTH CARE SYSTEM PO BOX 69004 ALEXANDRIA LA 71306-9004 |
| POINT OF CONTACT* | Contracting Officer Arlene A. Blade arlene.blade@va.gov (318) 466-4281 |

PLACE OF PERFORMANCE

| ADDRESS | Department of Veterans Affairs |
| --- | --- |
|  | Central Arkansas Veterans Healthcare System |
|  | 2200 Fort Roots Drive |
|  | North Little Rock AR |
| POSTAL CODE | 72114 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

THIS IS A SOURCES SOUGHT NOTICE ONLY. This is not a solicitation for bids, proposals, proposal abstracts, or quotations.  The purpose of this Sources Sought Notice is to obtain information regarding the availability and capability of all qualified sources to perform a potential requirement and to gain knowledge of potential qualified Service-Disabled Veteran Owned Small Businesses (SDVOSBs, Veteran Owned Small Businesses (VOSBs) and other small businesses interested and capable of providing the items requested, as well as any large business interested and capable. This REQUEST FOR INFORMATION/SOURCES SOUGHT NOTICE is in support of the Central Arkansas Veterans Healthcare System, North Little Rock, AR is for market research purposes only to determine the availability of potential contractors with capability to provide the requirement described below.  This Sources Sought Notice is for informational and planning purposes only.  This Sources Sought Notice does not obligate the Government to award a contract or otherwise pay for the information provided in response to this notice.  Respondents will not be notified of the results of the market research.  Results will be used to determine if a set aside is appropriate for this requirement.

The intended contract is a firm-fixed price purchase.

Interested parties shall provide, at a minimum, the following information:

1)  . Company name, address, point of contact, and point of contact email address and phone number.

2) SAM.gov UEI

3) The Anticipated North American Industry Classification System (NAICS) code is 339113 (Surgical & Appliance & Supplies Manufacturing). To qualify as a small business for Federal Government programs the largest a firm can be is no more than 800 employees.  Please indicate whether your company is a Small Business, SDVOSB, VOSB, Small Business manufacturer, Other Small Business, or Large Business and whether you are the manufacturer of the item listed below?

5.  If you are not a manufacturer, only authorized representative/providers/distributors of the manufacturer will be considered.  Please provide a proof of authorized dealer or reseller letter from the manufacturer. If a nonmanufacturer, will vendor provide the items of a small business manufacturer?

6.  If you are the manufacturer, do you have any designated or authorized distributors or resellers?  If so, please provide their name, telephone number, and point of contact and size status (if available).

7.  Please provide the manufacturing country of origin.

8.  This is a “brand name or equal” requirement.  Please identify manufacturer name (OEM) and manufacturer part number, as well as any warranty information, for the proposed equipment.  Equipment must be new; no used or refurbished equipment is acceptable.

9.  Please provide a courtesy quote in response to this request to assist in evaluating price reasonableness for any set-aside determination.

10.  Please provide any existing Government Contract Number and the contract scope and expiration date.

It is the intent of the Government to use the information gathered from this Request for Information/Sources Sought Notice for market research purposes only.  If a formal solicitation is released, it will be posted via the Contracting Opportunities website located at www.sam.gov or GSA eBuy.

DESCRIPTION OF REQUIREMENT:

The Department of Veterans Affairs, Network Contracting Office (NCO) 16, is looking to obtain information on vendors who can provide the product as outlined below.  This is an Unrestricted/Open Market Brand Name or Equal Request for Information/Sources Sought Notice.

Delivery Address:

CAVHS

2200 Fort Roots Drive

Building 182 (Warehouse)

NLR, Arkansas 72114

**Draft Salient Characteristics**

Item:  Brand Name or Equal Baxter/Hill-Rom Progressa + ICU Bed System (Qty 10)

Standard features required:

Flex-A-Foot Retractable Foot Control

SlideGuard™ Frame Technology

30/45 Degree Head of Bed Alarm

Night Light

Hands Free Emergency CPR

Trendelenburg

Point of Care Siderail Controls

Obstacle Detect System

Drainage Bag Holders

Four IV Sockets

Patient Controls Backlighting

Push Handles

Bed Controls

Line Manager

PPM 3 Level Advanced Bed Exit

Foot Controls Module

Oxygen Tank Holder

Point of Care Touch Screen on Both Sides

6" Casters

Radiolucent Deck

Included Options:

Included Options:

36" Frame Width

StayInPlace Patient Migration

Includes Cont. Low Pressure

English Language Labels

Voltage: 120

Power Plug: NEMA5-15P (US)

Accessory Outlet

Caregiver Pendant

X-Ray Sleeve

In-Bed Scale

O2 Tank Holder Module 107.95mm and 112.7mm

Wi-Fi Module

Open Market

Frame Part Number: P7501A000032

ICU Bed System must have

- Progressa + Bed Frame

- Chair Egress Position

•	Patient exit assist.

•	Patient Migration System (Stay in Place tech) attached study how it cuts down on      patient movement and migration in the bed which effects shear and friction on the skin.

•	 Percussion and Vibration Therapies.

•	Advanced Microclimate technology – not just LAL for heat but also remove moisture.

•	Comfort Adjust on the Surface – Allows you to control the comfort on the surface in different sections.

•	Sleep mode on the surface – Softens automatic adjustments for 8 hrs.

•	Opti-rest - Supplies a wave like movement on the surface to help relax the patient.

•	3 mode bed exit alarm standard.

•	Integrated dual Oxygen Tank Holder.

•	Caregiver foot controls.

- 40” Wide Surface Option

- Proning Accessory

- X-ray Cassette Sleeve and Radiolucent Deck

Vendor will provide delivery FOB destination, set-up, training, and (2) copies of Operator’s and Service Manuals

If your business is interested and capable of meeting this requirement, please send the capability statement  (Responses to #1 through #10) outlined above and a courtesy market research quote to Arlene A. Blade at arlene.blade@va.gov no later than 8:00 am (CST) on March 20, 2026.  Please include SSN Number 36C25626Q0481 – Hospital ICU Bed  in the subject line of your email response.

NO TELEPHONE CALLS WILL BE ACCEPTED.