PERFORMANCE WORK STATEMENT (PWS)

(Steris Washers)

03/16/2026

PART 1

GENERAL INFORMATION

1. General: This is a non-personal services contract under which the personnel rendering the services are not subject, either by the contract’s terms or by the manner of its administration, to the supervision and control usually prevailing in relationships between the government and its employees.

1.1 Description of Services/Introduction: This is a non-personal service(s) contract to provide full-service maintenance support and troubleshooting. Contractor shall furnish all parts, labor, equipment, materials, travel, and transportation to perform all scheduled and unscheduled maintenance for the equipment listed in Table 1.

Table 1 - Equipment List

| Nomenclature | Serial Number | Model | Manufacture |
| --- | --- | --- | --- |
| Washer/Decontamination Unit | 3629224017 | AMSCO 5052 | Steris Corp |
| Washer/Decontamination Unit | 3629224016 | AMSCO 5052 | Steris Corp |
| Washer/Decontamination Unit | 3629624012 | AMSCO 5052 | Steris Corp |
| Washer/Decontamination Unit | 3614523009 | AMSCO 7052HP | Steris Corp |
| Washer/Decontamination Unit | 3614523006 | AMSCO 7052HP | Steris Corp |
| Washer/Decontamination Unit | 3628622010 | AMSCO 7052HP | Steris Corp |

1.2 Background: These Steris washers are essential for cleaning and sterilizing medical instruments. Full maintenance service ensures these units operate safely and effectively by providing regular inspections, repair, and part replacements. Ongoing maintenance is critical to prevent equipment failure, ensure compliance with standards, and support uninterrupted sterile processing operations. Equipment repair turnaround time is vital for the patient care mission.

1.3 Scope: The Contractor shall provide non-personal services consisting of full-service repairs, furnishing and installing only original equipment manufacturer (OEM) repair parts and OEM-recommended substitution/ modifications as required, ensuring proper and safe operation of the equipment. All equipment shall be repaired to always meet manufacturer specifications. All personnel, equipment, supplies, facilities, transportation, tools, materials, supervision, and other items necessary to perform these services as described in this PWS and associated contract documents, except for those items specified in Part 3, Government Property and Services. The Contractor shall perform to the standards and acceptable quality levels identified in this PWS and associated contract documents. The technician assigned to service the equipment shall be certified by the manufacturer or qualified as an OEM technician. Proof of certification or qualification must be provided prior to performing any maintenance or repair work on the equipment.

1.4 Objectives:

- All repairs shall be accomplished and the unit fully operational within three (3) working days of telephonic notification of a malfunction. Delays caused by the government shall be promptly communicated to the contracting officer’s (KO) representative (COR) and will not be counted against the repair completion time frame.

- The Contractor shall respond telephonically within four (4) hours during normal duty hours days and within six (6) hours after normal duty hours/or weekends/holidays.

- The Contractor shall provide for all replacements of worn and/or defective parts necessary to restore the equipment to 100% operational condition as specified by the OEM.

- Contractor shall obtain the most current legal editions of the OEM literature or approved copies.

- Contractor shall furnish and install only OEM repair parts and OEM-recommended substitution/ modifications, as required ensuring proper and safe operation of the equipment.

- Contractor shall have knowledge of, furnish and install all OEM-sponsored modifications at the next interval.

- If the Contractor is unable to repair the unit and subcontracts out to a third party, the Contractor shall not stop the third party in the middle of the repair job and shall not charge the government for the subcontracted labor.

1.5 General Information:

1.5.1 Quality Control (QC) Plan (QCP): The Contractor shall develop and maintain a QCP to ensure services are performed in accordance with (IAW) this PWS. The Contractor shall develop and implement procedures to identify, prevent, and ensure non-recurrence of defective services. The Contractor's QCP is how it assures that the work provided complies with the requirements of this contract.

The Contractor’s Proposed QCP shall be submitted to the KO through the COR for review within ten (10) days after contract award.

The government will review and either notify the Contractor in writing of acceptance of the plan or return their comments to the Contractor within ten (10) days. If the government has provided comments, the Contractor shall then have ten (10) days to submit a final QCP. After receiving the final QCP, the Contractor may receive the KO’s acceptance in writing. Any proposed changes to the accepted QCP are required to be resubmitted for KO acceptance no later than (NLT) ten (10) days prior to the anticipated change and before implementation by the Contractor. The timeline noted above will apply for review and acceptance for proposed changes. At minimum, the QCP shall include and answer the following to be acceptable:

(a) A chart showing the organizational structure and lines of authority, the names, qualifications, duties, responsibilities, and classification of each member of the Contractor's QC team.

(b) How the Contractor will monitor work to ensure performance complies with all deliverables (etc. timelines, deadlines, and goals).

(c) How the Contractor will monitor work to ensure performance complies with all specifications and requirements of the contract, including the contract’s clauses.

(d) How the Contractor will monitor and ensure staff qualifications remain current and valid including Department of War (DoW) Contractor Personnel Office (DOCPER) processes/approvals throughout contract performance.

(e) How the Contractor will ensure all keys issued will remain controlled items (Paragraph 1.7 Key Control).

(f) How the Contractor will inventory and track maintenance of all government-furnished equipment (GFE)/materials (GFM).

(g) How the Contractor will identify, investigate, and correct any non-conforming performance and prevent similar deficiencies in the future.

(h) How the Contractor will file and save all QC related documents for the life of this contract plus five years.

1.5.1.2 The Contractor shall inform the COR of issues or potential issues that might affect the performance within four (4) hours during normal duty hours days of identifying those issues. Verbal reports shall be followed up by written reports within two (2) days.

1.5.2 Quality Assurance (QA): The government will evaluate the Contractor’s performance under this contract in accordance with (IAW) the QA Surveillance Plan (QASP). This plan is primarily focused on what the government will do to ensure that the Contractor has performed IAW performance standards. It defines how the performance standards will be applied, the frequency of surveillance, and the acceptable quality levels (AQL)(performance thresholds).

1.5.3 Recognized Holidays: The following provides information on recognized holidays for the purpose of this PWS. If submittal of any documentation (e.g. deliverables, submittals, etc.) deadlines fall on a holiday, the closest work day prior to the holiday will apply as the deadline for submittal.

1.5.3.1 US Holidays: Work shall not be performed on US federally recognized holidays occurring during the normal workweek unless otherwise directed by the KO. When a US holiday occurs on a Saturday or a Sunday, the holiday is observed on the preceding Friday or following Monday, respectively.

New Year’s Day – January 1st

Martin Luther King – 3rd Monday of January

Presidents’ Day – 3rd Monday of February

Juneteenth – June 19th

Labor Day – 1st Monday of September

Veteran’s Day – November 11th

Christmas Day – December 25th

Memorial Day – last Monday of May

Independence Day – July 4th

Columbus Day – 2nd Monday of October

Thanksgiving Day – 4th Thursday of November

1.5.4 Operating Hours: The government facility office hours, facility operating hours, and the Contractor support hour requirements often coincide, however, they may differ. Please refer to the following.

1.5.4.1 Government Facility Office Hours: The government facility; William Beaumont Army Medical Center (WBAMC), Healthcare Technology Management Sustainment (HTMS) Section office hours are 07:30 A.M. thru 04:30 P.M., MT, Monday thru Friday except US holidays identified in paragraph 1.5.3.1 above or when the government facility is closed due to local or national emergencies, administrative closings, or similar government-directed facility closings.

1.5.4.2 Government Facility Operating Hours: The government facility operates 24 hours a day Monday through Sunday. The government facility is open during local or national emergencies, administrative closings, or similar government-directed facility closings. In the event the government facility closes because of local or national emergencies, administrative closings, or similar government-directed facility closings, the Contractor will be notified by the KO.

1.5.4.3 Contractor Support Hours: The Contractor shall provide support between the hours of 07:30 A.M. thru 04:30 P.M., MT, Monday thru Friday except US holidays identified above or when the government facility is closed because of local or national emergencies, administrative closings, or similar government-directed facility closings. The Contractor shall always maintain an adequate workforce for the uninterrupted performance of all tasks defined within this PWS when the government facility is not closed for the above reasons. When hiring personnel, the Contractor shall keep in mind that the stability and continuity of the workforce is essential.

1.5.5 Training Holidays: Historically, certain government entities have granted military personnel training holidays as compensation for time that they spent in field training. These are typically combined with regular holiday leave schedules (for example, Christmas half days or day on day off schedules). Training holidays may affect access to military operated facilities. If scheduled work or access to facilities is required, coordination with occupants will be necessary or the work in affected facilities shall be rescheduled after the training holiday. However, announced training holidays or exodus of military personnel may provide the Contractor with an opportunity for unrestricted access to facilities and areas. The Contractor shall take full advantage of such opportunities by planning maintenance or actions that are better accomplished when such areas are vacant.

1.5.6 Place of Performance: The work performed under this contract shall be at WBAMC, located at 18511 Highlander Medics Way, Fort Bliss, TX 79918.

1.6 Security Requirements: The following information is provided on security related matters.

1.6.1 Security Program: Contractor personnel performing work under this contract shall have Anti-terrorism (AT) Level I Training and maintain the level of security required for the life of this contract.

1.6.2 Personnel Security Clearance Requirements: As determined by the COR.

1.6.3 Installation Access: Access to US installations, buildings and controlled areas is limited to personnel who meet security criteria and are authorized. Failure to submit required information/data and obtain required documentation or clearances will be grounds for denying access to said US installations, buildings and controlled areas. The Contractor shall ensure that subcontractors used in performance of this contract comply with these requirements and that all employees, of both the Contractor and any subcontractor utilized by the Contractor, are made aware of and comply with these requirements.

The Contractor shall be aware of and comply with the requirements associated with installation access control (IAC). The government is not liable for any costs associated with performance delays due solely to the Contractor’s failure to comply with IAC System (IACS) processing requirements.

The Contractor shall return installation passes to the issuing IACS office when the contract is completed and when a Contractor employee no longer requires access.

1.6.3.1 Installation Pass Log: The Contractor shall obtain an installation access pass to access WBAMC.

1.6.3.2 Individual Termination or Expiration of Employment: The Contractor shall collect installation access passes the same day employment of an individual has expired or has been terminated and shall return them to the issuing office within seven (7) days.

1.6.3.3 Contract Termination or Cancellation: Upon termination or cancellation of this contract, the Contractor shall collect all outstanding installation access passes and return them to the issuing office within seven (7) days.

1.6.4 Background Checks: The requiring activity (RA) will consult with the responsible Security Office and Activity Manager applicable to locations associated with this PWS and identify the level of background check, supported by applicable regulation.

1.6.5 Physical Security: The Contractor shall safeguard all government equipment, information, and property provided for Contractor use.

1.6.6 Operations Security (OPSEC) Requirements: The Contractor shall safeguard all unclassified information categories as contained in the Critical Information and Indicators List (CIIL).

1.6.7 Contractor Training Requirements: The Contractor shall complete training requirements for iWatch, Threat Awareness Reporting Program (TARP), Anti-terrorism (AT) Level I, and OPSEC Level 1 as required by the medical treatment facility (MTF).

1.7 Post-Award Conference/Periodic Progress Meetings: The Contractor shall attend any post-award conference convened by the contracting activity or contract administration office IAW FAR Subpart 42.5. The KO, COR and other government personnel, as appropriate, may meet periodically with the Contractor to review the Contractor's performance. At these meetings the KO will appraise the Contractor of how the government views the Contractor's performance and the Contractor shall appraise the government of problems, if any, being experienced. Appropriate action shall be taken to resolve outstanding issues. These meetings shall be at no additional cost to the government.

1.8.1 The Contractor shall attend, participate in, and furnish input to scheduled and unscheduled meetings, conferences, and briefings that relate to the functions and services herein as required by the government to provide effective communication and impart necessary information. The Contract Manager (CM) or designated representative shall attend meetings as requested by the government. Meeting attendees shall always include Contractor managerial, supervisory, and other personnel knowledgeable of the subject matter. Meetings may start or end outside of regular duty hours.

1.9 Contracting Officer’s Representative (COR):  Refer to Part 2 of this PWS for the definition of a COR. As determined by the KO, a COR will be appointed and identified by letter of designation, a copy of which will be provided to the Contractor by the KO. The designation letter states the responsibilities and limitations of the COR, especially with regard to changes in cost or price, estimates, or changes in delivery dates. The COR is not authorized to change any of the terms and conditions of the resulting order. The COR monitors all technical aspects of the contract and assists in contract administration. The COR is not authorized to obligate the government. If the work is not written in the contract, the COR is not authorized to request new work. The COR is authorized to perform the following functions: assure that the Contractor performs the technical requirements of the contract, perform inspections necessary in connection with contract performance, maintain written and oral communications with the Contractor concerning technical aspects of the contract, issue written interpretations of technical requirements, including government drawings, designs, specifications, monitor Contractor's performance and notifies both the KO and Contractor of any deficiencies, coordinate availability of government property, and coordinate site entry of Contractor personnel.

1.10 Key Personnel: The following personnel are considered key personnel by the government: The Contractor shall provide a Program/Contract Manager (PM/CM) who shall be responsible for performance of work. The name of this person and an alternate PM/CM (APM/ACM) who shall act for the Contractor when the PM/CM is absent. The CM and ACM shall have full authority to act for the Contractor on all contract matters relating to daily operation of this contract.

a.  Primary POC: Contracting Officer’s Representative., Ms. Jazzmine Mckoy, (915)- 742-0179, jazzmine.l.mckoy.civ@health.mil

b.  Primary POC: HTM Sustainment Supervisor/C.O.R., Mr. Gilberto Lechuga, (915)-569-1675, gilberto.lechuga.civ@health.mil

c. Alternate POC: Chief, Medical Maintenance Branch, CW2 Sean P. Mahany, (915)-569-1042, sean.p.mahany.mil@health.mil

1.11 Identification of Contractor Employees: All Contractor personnel attending meetings, answering government telephones, and working in other situations where their Contractor status is not obvious to third parties shall identify themselves, to include proper marking of signature blocks in correspondence, to avoid creating an impression in the minds of members of the public that they are government officials. The Contractor shall ensure that all documents or reports, produced by Contractors are suitably marked as Contractor products or that Contractor participation is appropriately disclosed.

1.12 Other Direct Costs (ODC): Shipping costs for replacement parts, calibration, emergency repairs, and/or replacement parts shall be borne by the Contractor.

1.13 Data Rights: The government has unlimited rights to all documents and materials produced under this contract. All documents and materials, including source codes of software, produced under this contract shall be government-owned and are the property of the government with all rights and privileges of ownership and copyright belonging exclusively to the government. These documents and materials may not be used or sold by the Contractor without written permission from the KO. All materials supplied to the government shall be the sole property of the government and may not be used for any other purpose. This right does not abrogate any other government rights.

1.14 Non-Disclosure Requirements: Performance under this contract may require the Contractor to access data and information proprietary to a government agency, another government contractor, or of such nature that its dissemination or use other than as specified in this work statement would be averse to the interests of the government or others. The Contractor and Contractor personnel shall not divulge, or release data or information developed or obtained under performance of this PWS, except to authorized government personnel or upon written approval of the KO. The Contractor shall not use, disclose, or reproduce proprietary data, which bears a restrictive legend, other than as specified in this PWS. All documentation showing individual names or other personal information shall be controlled and protected under the provisions of the Privacy Act of 1974, Public Law 93-579, 5 United States Code (U.S.C.) Section 552a.

1.15 Protection of Government and Contract Information: Per Public Use Notice of Limitations stated by Defense imagery Management operations Center and contained at  www.dimoc.mil/resources/limitations/ , the Contractor shall not cite any information (e.g., contract information, pictures, locations, etc.) obtained through this contract on any hard copy or digital marketing tools to include its company website.

1.16 Organizational Conflict of Interest (OCI): Contractor and subcontractor personnel performing work under this contract may receive, have access to or participate in the development of proprietary or source selection information (e.g., cost or pricing information, budget information or analyses, specifications or work statements, etc.) or perform evaluation services which may create a current or subsequent OCI as defined in FAR Subpart 9.5. The Contractor shall notify the KO immediately whenever it becomes aware that such access or participation may result in any actual or potential OCI and shall promptly submit a plan to the KO to avoid or mitigate any such OCI. The Contractor’s OCI Mitigation Plan will be determined to be acceptable solely at the discretion of the KO. In the event the KO unilaterally determines that any such OCI cannot be satisfactorily avoided or mitigated, the KO may effect other remedies as he or she deems necessary, including prohibiting the Contractor from participation in subsequent contracted requirements which may be affected by the OCI.

1.17 Safety: Information pertaining to Safety and Accident Prevention will be disclosed by the COR.

1.18 Required Training: The following provides information on training requirements.

1.18.1 Anti-Terrorism (AT) Level I Training: All Contractor employees, including subcontractor employees, who are employed under this contract, shall complete AT Level I Training within thirty (30) days as required on the AT/OPSEC Cover Sheet after contract start date or effective date of incorporation of this requirement into the contract, whichever applies, or thirty (30) days after employment of new personnel. Contractor personnel travelling overseas shall complete area of responsibility (AOR) specific AT awareness training for US based Contractor employees and associated subcontractor employees. The Contractor shall submit certificates of completion to the COR for each affected Contractor employee and subcontractor employee within thirty (30) days after completion of this training by all employees and subcontractor personnel. AT Level I awareness training is available at https://jkodirect.jten.mil. Contractor personnel shall complete refresher training every twelve (12) months except AOR specific AT Level I training which shall be completed as required by local AT policies.

If training cannot be conducted on the website, the Contractor shall coordinate with the COR who will contact the local AT Officer at their assigned location for classroom training. Contractor personnel completing training in the classroom will receive a certificate or the training attendance roster signed by the AT Officer. Verification of the training shall be provided to the COR within thirty (30) days after completion of the training.

1.18.2 OPSEC Training: Per DHA-AI 5200.03, Operations Security, Contractor employees shall complete Level I OPSEC Awareness training. New employees shall be trained within 30 calendar days of their reporting for duty and annually thereafter. OPSEC Level 1 training is available at https://jkodirect.jten.mil. If training cannot be conducted on the website, the Contractor shall coordinate with the COR who will contact the local OPSEC Officer at their assigned location for classroom training. Contractor personnel completing training in the classroom will receive a certificate or the training attendance roster signed by the OPSEC Officer. Verification of the training shall be provided to the COR within thirty (30) days after completion of the training.

1.18.3 iWATCH Training: The Contractor and all associated subcontractors shall brief all employees on the local iWATCH program (training standards provided by the requiring activity ATO). This locally developed training will be used to inform employees of the types of behavior to watch for and instruct employees to report suspicious activity to the COR. This training shall be completed within thirty (30) days after the contract is awarded and within thirty (30) days after new employees commence contract performance, with the results reported to the COR within thirty (30) days after the contract is awarded and within thirty (30) days after new employees commence contract performance. Verification of the training shall be provided to the COR within thirty (30) days after completion of the training. Training slides can be found on the Army OneSource website: http://www.myarmyonesource.com/familyprogramsandservices/iwatchprogram/default.aspx

1.18.4 Personally Identifiable Information (PII): Contractor employees, including subcontractors, performing services under this contract with access to PII and government information shall complete “Identifying and Safeguarding PII” within thirty (30) calendar days of employment. Contractor personnel shall complete refresher training every twelve (12) months from initial completion. The Contractor shall provide the COR a copy of the training certificates for its employees NLT five (5) days after completion.  Training is available at http://iatraining.disa.mil/eta/piiv2/launchPage.html

1.18.5 Threat Awareness Reporting Program (TARP): All Contractor employees, including subcontractor employees, who are employed under the contract, shall complete Threat Awareness Reporting Program (TARP) Training within thirty (30) days as required on the AT/OPSEC Cover Sheet after contract start date or effective date of incorporation of this requirement into the contract, whichever applies, or thirty (30) days after employment of new personnel. The Contractor shall submit certificates of completion to the COR for each affected Contractor employee and subcontractor employee within thirty (30) days after completion of this training by all employees and subcontractor personnel. TARP training is available at https://jkodirect.jten.mil. Contractor personnel shall complete refresher training every twelve (12) months or as required by local AT policies.

1.25 Notice to Proceed: The notice to proceed will be provided as indicated below.

☒ The effective date of contract will constitute the date of notice to proceed.

☐ A notice to proceed letter will be issued.

☐ The date of the letter transmitting the contract will constitute the date of the notice to proceed.

PART 2

DEFINITIONS & ACRONYMS

2. Definitions and Acronyms

2.1 Definitions: Although not inclusive of every term used within this PWS, the following provides a list of definitions used throughout this PWS and commonly used in the acquisition field.

Contracting Officer (KO) – means a person with the authority to enter, administer, and/or terminate contracts and make related determinations and findings on behalf of the government (Note: The only individual who can legally bind the government).

Contracting Officer's Representative (COR) – as defined in DFARS 202.101, means an individual designated and authorized in writing by the KO to perform specific technical or administrative functions. DoD Instruction (DoDI) 5000.72, Part II Definitions states the following when defining a COR: “Defined in subpart 202.101 of Reference (f). Any individual delegated responsibilities pursuant to subpart 1.602-2 of Reference (e), regardless of local terminology, must be certified IAW this instruction. For example, local terminology can be COR, KO’s technical representative (COTR), technical point of contact, technical representative, alternate COR, administrative COR, assistant COR, line item manager, task order manager, quality assurance personnel, quality assurance evaluator, or COR management.” In addition, Army Regulation 70-13, Chapter 2, paragraph 2-2g, states, in part, the following when providing other surveillance support personnel to assist the COR when needed, “…These other surveillance support personnel may serve as on-site representatives of the COR in performance of actual contract surveillance if they meet all COR requirements and have been appointed by the KO as alternate CORs.”

Contractor – means a supplier or vendor awarded a contract to provide specific supplies or service to the government. The term used in this contract refers to the prime.

Contractor-acquired Property – means property acquired, fabricated, or otherwise provided by the Contractor for performing a contract and to which the government has title.

Day – means, unless otherwise specified, a calendar day.

Defective Service – means a service output that does not meet the standard of performance associated with the Performance Work Statement.

Deliverable – means anything that can be physically delivered, but may include non-manufactured things such as meeting minutes or reports.

Government-furnished Property – as reflected in FAR 52.245-1, Government-furnished Property “means property in the possession of, or directly acquired by, the government and subsequently furnished to the Contractor for performance of a contract. Government-furnished property includes, but is not limited to, spares and property furnished for repair, maintenance, overhaul, or modification. Government-furnished property also includes Contractor-acquired property if the Contractor-acquired property is a deliverable under a cost contract when accepted by the government for continued use under the contract.

Government Property – means all property owned or leased by the government. Government property includes both government-furnished and Contractor-acquired property. Government property includes material, equipment, special tooling, special test equipment, and real property. Government property does not include intellectual property and software.

Property Administrator – means an authorized representative of the KO appointed IAW agency procedures, responsible for administering the contract requirements and obligations relating to government property in the possession of a Contractor.

Physical Security – means that part of security concerned with physical measures designed to safeguard personnel, to prevent unauthorized access to equipment, installations, material, and documents, and to safeguard against espionage, sabotage, damage, and theft.

Quality Assurance – means the various functions, including, inspection, performed by the government to determine whether a Contractor has fulfilled the contract obligations pertaining to quality and quantity.

Quality Assurance Surveillance Plan (QASP) – means the key government-developed surveillance process document and is applied to Performance-Based Service Contracting (PBSC). The QASP is used for managing Contractor performance assessment by ensuring that systematic quality assurance methods validate that Contractor QC efforts are timely, effective, and deliver the results specified in this contract. The QASP directly corresponds to the performance objectives and standards (i.e., quality, quantity, timeliness) specified in this PWS. It provides specific details on how the government will survey, observe, test, sample, evaluate, and document Contractor performance results to determine if the Contractor has met the required standards for each objective in the PWS. The QASP, with very few if any exceptions, is internal to the government.

Quality Control – means all necessary measures taken by the Contractor to assure that the quality of an end product or service meets contract requirements.

Statement – means the specific results-based activities required to satisfy high level objectives (HLO). A statement contains a result, the context of the statement, and the required action. Statements focus on “what” is to be accomplished; however they are not prescriptive in describing “how” the outcome is to be achieved. Each HLO may have several statements to flesh out the areas necessary to meet the objective. Statements are similar to Level 3 in a Work Breakdown Structure.

Subcontractor – means one that enters into a contract with a prime Contractor. The government does not have privity of contact with the subcontractor.

Workday – The number of hours per day the Contractor provides services IAW this contract.

Work Week – Monday through Friday, unless otherwise specified.

2.2 Acronyms: Although not inclusive of every term used within this PWS, or that may be included in an acquisition, the following provides a list of acronyms commonly used in the acquisition field.

ACOR			alternate contracting officer's representative

AE 			Army in Europe

AFARS		Army Federal Acquisition Regulation Supplement

AHA			Activity Hazard Analysis

AOR			area of responsibility

AR			Army Regulation

AT			anti-terrorism

ATCTS		Army Training Certification Tracking System

CAC			common access card

CCE			Contracting Center of Excellence

CFE 			Conventional Forces Europe

CFR			Code of Federal Regulations

CIIL			Critical Information and Indicators List

CONUS		continental United States (excludes Alaska and Hawaii)

COR			contracting officer’s representative

COTS			commercial-off-the-shelf

DA			Department of the Army

DD250		Department of Defense Form 250 (Receiving Report)

DD254		Department of Defense Contract Security Requirement List

DFARS		Defense Federal Acquisition Regulation Supplement

DMDC			Defense Manpower Data Center

DoW			Department of War

FAR			Federal Acquisition Regulation

FRG			Federal Republic of Germany

GFP			government-furnished property

HLO			high level objective

HIPAA		Health Insurance Portability and Accountability Act of 1996

IA			information awareness

IAC			installation access control

IACO			Installation Access Control Office

ID			identification

IGE			independent government estimate

IT			information technology

JTR			Joint Travel Regulation

JPAS			Joint Personnel Adjudication System

KO			contracting officer

OCI			organizational conflict of interest

OCONUS		outside continental United States (includes Alaska and Hawaii)

ODC 			other direct cost

OPSEC		operations security

PA			property administrator

PII			personally identifiable information

PIPO			phase-in/phase-out

POC			point of contact

PRS			performance requirements summary

PWS			performance work statement

QA			quality assurance

QAP			quality assurance program

QASP			quality assurance surveillance plan

QC			quality control

QCP			quality control program

RA			requiring activity

RCO			Regional Contracting Office

SIGE			Safety and Health Protection Plan

TE			Technical Exhibit

USAG                      United States Army Garrison

USAREUR		United States Army Europe
UOM 			unit of measure

PART 3

GOVERNMENT-FURNISHED PROPERTY (GFP) AND SERVICES (GFS)

RESERVED

PART 4

CONTRACTOR-FURNISHED ITEMS AND SERVICES

4. Contractor-Furnished Property and Services

4.1 General: The Contractor shall furnish all personnel, equipment, supplies, facilities, transportation, tools, materials, supervision, and other items necessary to perform services as described in this PWS and associated contract documents, except for those items specified in Part 3, Government-Furnished Property and Services.

4.2 Materials: All materials, other than those materials specified as government-furnished, required in the performance of this contract shall be furnished by the Contractor. Availability of manufacturer’s service literature needed in the performance of the contract will be Contractor’s responsibility and will remain Contractor-owned upon termination of this contract.

4.3 Vehicles and Equipment: Equipment maintenance performance under this contract includes the unlimited replacement of defective repair parts that the Contractor determined to have failed under proper use during the term of the service agreement.

4.4 Background Checks: The Contractor shall provide background checks IAW this PWS and as determined by the government.

PART 5

SPECIFIC TASKS

5.1 Basic Services: The Contractor shall provide non-personal services. Contractor shall provide all labor, supplies, tools, material, transportation, parts, and technical support to perform repairs of Steris washers. This includes unlimited telephonic assistance and unlimited exchange requests.

5.2 Tasks: Tasks consist of the following:

(a) Ensure timely and effective repair services to minimize equipment downtime; Contractor shall provide repair service support and unit fully operational within three (3) days of telephonic notification of a malfunction.

(b) Ensure the equipment is restored to full operational condition to support laboratory operations; Contractor shall provide for all replacements of worn and/or defective parts necessary to restore the equipment to 100% operational condition as specified by the OEM within thirty (30) days of award.

(c) Ensure prompt communication and response to service requests to support uninterrupted operations; The Contractor shall respond telephonically within four (4) hours during normal duty hours days and within six (6) hours after normal duty hours/or weekends/holidays.

(d) Contractor shall furnish and install only OEM repair parts and OEM recommended substitution/ modifications, as required ensuring proper and safe operation of the equipment.

(e) Contractor shall have knowledge of, furnish and install all OEM-sponsored modifications at the next interval.

(f) Ensure effective communication and documentation for replacement parts to support equipment maintenance and minimize downtime; Contractor shall provide COR with supporting documentation and tracking information for any requested parts or replacement parts.

(g) Delays caused by the government shall be promptly communicated to the COR and not be counted against the repair completion time frame.

(h) Ensure invoices are submitted promptly to the Wide Area Workflow (WAWF) system monthly, IAW the terms and conditions of this contract. Timely submission is essential to ensure proper and efficient payment processing.

5.2.1 Contractor Resources Management

5.2.1.1 Work Order Reception: Contractor shall establish a work reception system for tracking all requests for recurring and preventative maintenance work or services and maintaining active and historical workload records.

STD: The Work Reception shall assign classification to orders upon receipt IAW priority definitions in Part 2 of this PWS and the CORs outline.

AQL: No more than 5 deficiencies per month.

5.2.1.2 Contractor Project Management: Contractor shall manage all assigned projects from initial receipt until project completion, ensuring all projects are completed IAW the Contractor's approved schedule and project cost as noted below.

STD: The Contractor shall complete each project within +/- 5% of the approved schedule completion date.

AQL:  Pass or Fail

5.3 Service Contract Reporting

5.3.1 System for Award Management (SAM) Service Contract Report (SCR): The Contractor shall report all Contractor labor hours (including subcontractor labor hours) required for performance of services provided under this contract for WBAMC via a secure data collection site. The Contractor shall completely fill in all required data fields through the following web address: www.sam.gov. Reporting inputs will be for the labor executed during the period of performance during each government fiscal year (FY), which runs from October 1 through September 30. While inputs may be reported any time during the FY, all data shall be reported NLT October 31 of each calendar year. Contractors may direct questions to the help desk by clicking “View Assistance for SAM.gov” which is located at the top of the SAM.gov website. From there, you can the select “Contact Our Service Desk” which will allow you to contact SAM.gov directly. If contract period of performance ends prior to September 30, the Contractor has 30 calendar days from end date of the contract to complete the SAM SCR requirement.

Steps for Submitting a Service Contract Report (SCR)

- Go to www.sam.gov and log in.

- Select Entity Registrations and then select Service Contract Reporting.

- SAM displays your entities which have service contracts and meet the reporting criteria. Select View by entity to see the service contracts for each entity.

- Next, select Add for the service contract against which you want to create a Service Contract Report. Each service contract which meets the FAR Subpart 4.1703 reporting thresholds is displayed.

- You will be taken to the Complete Service Contract Report page. SAM displays the contract details and allows you to report. You are required to enter the following information:

- Total Amount Invoiced: Total dollar amount invoiced for services performed during the previous Government fiscal year under the contract (this amount should include the prime and any subcontract amount).

- Prime Contractor Hours Expended: Prime contractor direct labor hours expended on the services performed during the previous Government fiscal year. The amount you enter is automatically divided by 2,080 hours to calculate a Full Time Employee (FTE) equivalent, displayed under the Prime Contractor Hours Expended as Prime Contractor FTEs.

- Report any required Tier 1 subcontractor information by selecting the Add Tier 1 Subcontract Information button.

- When you are ready to submit the report, select Submit. This saves your report and returns you to the Select Service Contract page where you can create other SCRs or edit an existing SCR.

Steps for Editing a Submitted Report

- Follow steps 1-4 above. Any previously submitted SCR will have a View/Edit button instead of an Add button.

- Select View/Edit. You will be able to view the current SCR, edit available fields, and resubmit the record. You can also delete previously entered information altogether.

STD:  All information provided by the Contractor shall be accurate, complete, and not exceed suspense dates noted in corresponding paragraph above.

AQL: 100% Compliant

	STD: All information provided by the Contractor shall be accurate, complete, and not exceed suspense dates noted in corresponding paragraph above.

	AQL: 100% Compliant

- Minimum of 95% of the Steris Washers repair turn-around time.

PART 6

APPLICABLE PUBLICATIONS

6. Applicable Publications (Current Editions): The following publications, manuals, regulations, etc. are mentioned in this PWS and are listed below.

6.1.1	Department Of Defense Contract Security Classification Specification (DD Form 254)

6.1.2	Department of Defense Security Agreement (DD Form 441)

6.1.3	National Industrial Security Program Operating Manual (DoD 5220.22-M)

6.1.4	Installation Access Control (AE Reg 190-16)

6.1.5	The Army Physical Security Program (AR 190-13)

6.1.6	Contractor Identification (AE Reg 27-715)

6.1.7	U.S. Army Corps of Engineers Safety and Health Requirements Manual (EM 385-1-1)

6.1.8	Information Assurance Workforce Improvement Program (DoD 8570-M)

6.1.9	Information Assurance Training Certification and Workforce Management Directive (DoDD 8570.01)

6.1.10	Information Assurance (AR 25-2)

6.1.11	Electromagnetic Compatibility Directive (2004/108/EC)

6.1.12	Policies and Procedures for Property Accountability (AR 735-5)

6.1.13	AR 40-5 Preventive Medicine

6.1.14 AR 40-61, Medical Logistics Policies and Procedures

6.1.15 SB8-75-11 Supplement to AR 40-61

6.1.16 TB MED 7, Maintenance Expenditure Limits for Medical Equipment

6.1.17 TB MED 750-1, Operating Guide for Medical Equipment Maintenance

6.1.18 DHA AI 6430.11 Healthcare Technology Management (HTM) Biomedical Equipment Program

PART 7

ATTACHMENT AND TECHNICAL EXHIBIT LISTING

7. Attachment and Technical Exhibit List

TECHNICAL EXHIBIT A

Deliverables/Technical Schedule

| Deliverable | Frequency | Medium/Format | Submit To: |
| --- | --- | --- | --- |
| A. 001 Quality Control Plan (Paragraph 1.5.1) | Once within ten (10) days after date of contract award. | Provide COR with QCP via email. | Primary POC: COR., Ms. Jazzmine Mckoy, (915)-742-0179, jazzmine.l.mckoy.civ@health.mil |
| B. 002 Training Requirements (Paragraph 1.23 – 1.23.6) | Once within thirty (30) days of contract award. | Provide COR training requirement certificate of completion using via email. | Primary POC: COR., Ms. Jazzmine Mckoy, (915)-742-0179, jazzmine.l.mckoy.civ@health.mil |

TECHNICAL EXHIBIT B

Performance Requirements Summary

| PERFORMANCE OBJECTIVE | STANDARD | PERFORMANCE THRESHOLD ACCEPTABLE QUALITY LEVELS (AQLs) | METHOD OF SURVEILLANCE |
| --- | --- | --- | --- |
| PRS#1 - PWS Para-5.2 (a) Ensure timely and effective repair services to minimize equipment downtime | Contractor shall provide repair service support and unit fully operational within three (3) days of telephonic notification of a malfunction. | 95% Compliance; No more than 5 deficiencies per month. | Periodic Inspection Monthly Performance Evaluation |
| PRS#2 - PWS Para- 5.2 (b) Ensure the equipment is restored to full operational condition to support laboratory operations. | Contractor shall provide for all replacements of worn and/or defective parts necessary to restore the equipment to 100% operational condition as specified by the OEM within thirty (30) days of award. | 95% Compliance; No more than 5 deficiencies per month. | Periodic Inspection Monthly Performance Evaluation |
| PRS#3 - PWS Para- 5.2 (c) Ensure prompt communication and response to service requests to support uninterrupted operations. | The Contractor shall respond telephonically within four (4) hours during normal duty hours days and within six (6) hours after normal duty hours/or weekends/holidays. | 95% Compliance; No more than 5 deficiencies per month. | Periodic Inspection Monthly Performance Evaluation |
| PRS#3 - PWS Para- 5.2 (f) Ensure effective communication and documentation for replacement parts to support equipment maintenance and minimize downtime. | Contractor shall provide COR with supporting documentation and tracking information for any requested parts or replacement parts. | 95% Compliance; No more than 5 deficiencies per month. | Periodic Inspection Monthly Performance Evaluation |
| PRS#5 - PWS Para- 5.2 (h) Ensure accurate and timely submission of monthly invoices to the Wide Area Workflow (WAWF) system in compliance with contract requirements. | Invoices shall be submitted to the WAWF system monthly, accurately and promptly, in accordance with the terms and conditions of the contract to ensure timely payment processing. | 95% Compliance; No more than 5 deficiencies per month. | Periodic Inspection Monthly Performance Evaluation |

(End of PWS)