| SUBJECT* | SPS RO System Replacement, bld 143 |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 23667 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24626Q0371 |
| RESPONSE DATE/TIME/ZONE | 03-18-2026 10:00AM EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 99 DAYS AFTER THE RESPONSE DATE |
| SET-ASIDE | SDVOSBC |  |
| PRODUCT SERVICE CODE* | J046 |  |
| NAICS CODE* | 221310 |  |
| PLACE OF PERFORMANCE | Salem VAMC |  |
|  | 1970 Roanoke Blvd |  |
|  | Salem VA |  |
| POSTAL CODE | 24153 |  |
| COUNTRY |  |  |

CONTACT INFORMATION

| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office 6 100 Emancipation Drive Hampton VA 23667 |
| --- | --- |
| POINT OF CONTACT* | Contract Specialist Kristine Woodbury kristine.woodbury@va.gov 757-728-3449 |

ADDITIONAL INFORMATION

| AGENCY’S URL | https://www.va.gov/ |
| --- | --- |
| URL DESCRIPTION | Department of Veterans Affairs |
| AGENCY CONTACT’S EMAIL ADDRESS | kristine.woodbury@va.gov |
| EMAIL DESCRIPTION | kristine.woodbury@va.gov |

DESCRIPTION

This is a Pre-solicitation notice. This Pre-solicitation notice is not a request for formal proposals or quotes.  Solicitation, 36C24626Q0371, will be issued on or about 27 February 2026.  The Department of Veterans Affairs, Salem VA Medical Center, Salem, VA has a requirement for an SPS RO System Replacement Service. The project will include:

Repair the RO water system in the sub-basement of building 143 at the Salem VA Medical Center Campus.

The Contractor shall perform the following tasks:

- Replace 3 membrane housings on RO system 1 to include all six end caps

- Replace 6 membranes on RO system 1 and 2

- Repair leak on RO system 2

- Replace system recirculation pump

- Supply replacement system recirculation pump for back stock

- Re-pipe CPVC from recirculation pump to UV filters in 1-1/2”

- Re-pipe current supply and return 3” CPVC with 1-1/2” CPVC

- Re-bed carbon tank on RO system 2

- Re-pipe RO system 1 and 2 for DI tanks to scrub RO water before it goes into storage tank

- Work shall be performed to minimize disruption to VA Medical Center activities, operations, and movement.

Contractor shall be required to comply with all applicable national, state, and local codes adopted in use by the VA.

The applicable NAICS Code is 221310.  All correspondence and responses shall be via e-mail to Kristine.woodbury@va.gov .   Telephone requests for information or questions will NOT be accepted.

Offerors are responsible for downloading all documents including amendments at the Contract Opportunities website without further notification from the Contracting Officer.

SPS RO System Replacement