## STATEMENT OF WORK (SOW)

Eastern Colorado VA Health Care System

Replacement of an Automatic Medication Dispensing System

BACKGROUND:

The Eastern Colorado (ECH) VA Health Care System is seeking:

- A Carousel replacement at the Rocky Mountain Regional VA medical center (RMR VAMC)

- Replacement of its existing automatic medication dispensing system at the RMR VAMC and VA Community Based Outpatient Clinics (CBOCs).

- Additional Automated Dispensing Cabinets (ADCs) and other equipment for patient care areas as outlined below at the RMR VAMC and CBOCs

The contractor shall provide the equipment and perform services to the Department of Veterans Affairs (VA) in accordance with the tasks and deliverables as described in this Statement of Work (SOW). Contractor must provide the hardware, licenses, and software to set up virtual servers and to operate a fully automated dispensing cabinet system.  The contractor shall provide technical support for the installation of each device as well as clinical support for the quality improvement, medication management, reporting infrastructure and Electronic Health Record (EHR) system integration.  It shall include de-installation of the current system with an optional trade-in. The vendor shall provide a list of specific facility modifications needed to add their technology to the facility—such as power outlets, data drops, ceiling modifications needed for carousel placement, floor, etc with their proposal.  In addition, the contractor shall provide clinical and technical user training, as needed, to ensure safe operation of the new ADC system. Final acceptance is completed once all equipment has been delivered, training, implementation, and any integration has been accomplished, and turnover/go-live has been completed.

FUNCTIONAL AND TECHNICAL SPECIFICATIONS

- The requirement is for the addition and replacement of automatic medication dispensing cabinets and carousel utilized amongst the main Rocky Mountain Regional medical center and the ten (10) offsite VA clinic locations. The medication dispensing system shall be able to store, manage, and dispense controlled substances. The system shall include cabinets, workstations, refrigerators, and utilize barcode scanning.  The system shall provide inventory management and an automated audit trail. The barcode scanning system shall be able to assist in the receipt, distribution, and return of medications.   The proposal shall include all software and licenses to fully operate the system using virtual servers provided by ECH.

- Parts, consumables, and product support shall be available for the useful life of the device.

- Remediation, vulnerability fixes, and upgrade services pertaining to recalls and medical device correction notices shall be available at no-cost to VA for the useful life of the device.

- Vendor/offeror shall be an Original Equipment Manufacturer (OEM) authorized dealer, authorized distributor or authorized reseller for the proposed equipment/system such that OEM warranty and service are provided and maintained by the OEM. All software licensing, warranty and service associated with the equipment/system shall be in accordance with the OEM terms and conditions.

- The purchase of the Automated Medication Distribution System will cover all installed equipment at the facility.  This includes:

- Qty 61: Automated Dispensing Cabinets configuration (ADCs - that act like vending machines at point of care locations like wards, CBOC’s or clinics) with the ability to add additional storage cabinets or auxiliary units if needed.

  - ADCs will be distributed at the Aurora main VA medical center, VA CBOC and other clinic locations and shall be a combination of both full size and half size as proposed by the vendor/offeror. Vendor’s proposed cabinets shall be able to hold all medications as specified in attachment A document and include a 25% growth annually in both the number of medications and count of each medication over the next 5 years.

| Facility Name | Location | Minimum number of cabinets |
| --- | --- | --- |
| Rocky Mountain Regional VA Medical Center | 1700 N. Wheeling Street, Aurora CO 80045 | At least 43 ADCs. Each department below needs at least 1 ADC: -Research -Cardiology -Pharmacy IV room -Dialysis -Bronchoscopy -PACT #1 -EP Cath Lab #1 -PACT #2 -EP Cath Lab #2 -PACT #3 -Dental Corridor -PFT Lab -Derm/Podiatry -PTSD -Emergency Room -Radiology -Anesthesia Workroom -Eye Clinic Procedure Room -GI/Colonoscopy Med Room -ICU Med Room #1 -ICU Med Room #2 -Infusion Clinic Med Room -Inpatient Medicine A -Inpatient Medicine B -Mental Health #1 -Mental Health #2 -CT Control Room -Ortho/ENT/AMB Blood Draw -OP Mental Health A1 -OP Mental Health A4 -PACU Med Room #3 -PACU/Preop Med Room #2 -PACU/Preop Med Room #1 -Physical Medicine and Rehab -IR Procedure Room -SCI Inpatient Med Room A -SCI Inpatient Med Room B -SCI Outpatient -Cysto/Specialty/Eye -Surgery/Rehab Med Room A -Surgery/Rehab Med Room B -Surgery Clean Core |
| PFC Floyd K Lindstrom Department of Veterans Affairs Clinic | 3141 Centennial Boulevard Colorado Springs, CO 80907 | At least 6 ADCs. At least 1 for each department: Mental Health, Dental, Primary Care, Specialty, Radiology, and Infusion clinics |
| Space Center VA Clinic | 565 Space Center Drive, Suite 130 Colorado Springs, CO 80915 | At least 1 ADC |
| Union Boulevard VA Clinic | 3920 North Union Boulevard, Premier Health Plaza Colorado Springs, CO 80907 | At least 2 ADCs |
| Valor Point VA Domiciliary | 7350 West Eastman Place Lakewood, CO 80227 | At least 1 ADC |
| PFC James Dunn VA Clinic | 4776 Eagleridge Circle Pueblo, CO 81008 | At least 1 ADC |
| Castle Rock VA Clinic | 3753 Dacoro Lane Castle Rock, CO 80109 | At least 1 ADC |
| Englewood | 500 E Hampden Englewood, CO 80113 | At least 1 ADC |
| Lieutenant Colonel John W. Mosley VA Clinic | 21825 East Quincy Avenue Aurora, CO 80018 | At least 2 ADCs |
| Golden VA Clinic | 1020 Johnson Road Golden, CO 80401 | At least 2 ADCs |
| Pueblo VA Community Living Center | 2600 Oakshire Lane Pueblo, CO 81001 | At least 1 ADC |

- One (1) Drug Storage Carousel (medication store and retrieval shelves which spin to a selected drug location) at the RMR VAMC

- Fourteen (1) Anesthesia Stations (provide medication security and safe dispensing for the anesthesia providers during the intraoperative period)

- Thirty-Six (36) refrigerators allowing secure storage of refrigerated medications with inventory tracking and integration into the main system.

- If existing AIOs cannot be used, will need eleven (11) All in One Workstations/Pharmacy Consoles

- One (1) Controlled Substance Safe  with at least 11 locking storage doors with adjustable - shelfs inside each compartment).

- Auxiliary Equipment

- All licenses and software to provide a comprehensive system of medication accountability.

- At least a 12 mo. Warranty that includes hardware repairs and software support or if the warranty does not cover all of these items, then the vendor shall include the appropriate support program for coverage to total at least 12 months.

- User Training

*Reference attached ‘Attachment A – ADC Capacity per Location’ document to determine appropriate design, size, and quantity to ensure vendor can meet each location’s specific storage capacity needs.*

- System will work with the current VISTA and Prime Vendor systems.

- All equipment shall be FDA cleared.

- All equipment, hardware and software, shall be new and the latest technology available by the contractor at the time of delivery.

- System will include inventory management and suggested orders for ADCs.

- System will have a drug formulary that can link drug names (brand, and generic names) and dose forms (liquids).  The formulary must require at least a 5-letter medication name search.

- The system shall be configured to print reports and can access reports from a computer.  System reports must include the ability to show null or cancelled cabinet activity report. A strength rating shall be applied if they can be configured to print reports automatically. **

- The system shall print patient specific label with drug and dose information when withdrawing from a multi-dose container. Label printers shall be included within the quote.

- A strength rating shall be applied if the system can access the data server from multiple computers at multiple locations. **

- A strength rating shall be applied if the system provides Web-access/dashboard for tracking out of stock items, discrepancies, etc. at all locations **

- Shall be able to assist in the receipt, distribution, and return of medications

- The barcode scanners shall be able to read 2D barcodes, shall be heavy duty and able to handle constant use.  They shall be able to interface with ADCs, controlled substance cabinets, and inventory systems.  They shall be hard wired or integrated into the cabinet for ADCs, controlled substance storage, and wireless for carousels.

- All auxiliary equipment will interface with the ADCs, controlled substance cabinets and the main systems controlling the distribution and security of medications. They will ensure that medications will be accounted for and secured. All auxiliary equipment, such as waste or return to Pharmacy bins, must be a part of the system that will restrict access and be secured to the system as not allow the removal of the auxiliary equipment.

- The proposal must include a site preparation list of specific facility modifications required to install and operate the system.  This includes, but is not limited to, power outlets, data ports, wall mounts, ceiling modifications etc.  A general site prep or installation guide does not meet this requirement.  The list must be specific to ECH and the clinics.

- Information Security. All VA sensitive information shall be protected at all times, in accordance with VA Handbook 6500.6 Appendix A. The contractor shall follow all VA rules and regulations regarding information security to prevent disclosure of sensitive information to unauthorized individuals or organizations, and shall adhere to all VA Privacy & Security, the Privacy Act, and Health Insurance Portability and Accountability Act (HIPPA) requirements when obtaining and reviewing information.

- The contractor shall report any known or expected security/privacy incidents, or any unauthorized disclosure of sensitive information, to the Contractor Officer’s Representative (COR) within 24 hours of discovery or as soon as possible per the Vendor’s policies.

- The vendor shall obtain and maintain an Active MOU/ISA for the life of the equipment.

- The vendor shall agree to work their system through the TRM approval process. A strength rating shall be applied if the system is already TRM approved.

- The system shall have an OS with current commercial support. All major component software applications (SQL, IIS, .Net, etc.) have current commercial support.  A strength rating shall be applied if the OS or the component software applications have 60 months of commercial support.

- The vendor shall provide the MDS2.

- Manuals. Two (2) electronic copies of operator instruction manuals, Two (2) electronic copies of Indications for Use (IFU) and Two (2) electronic copies of service manuals shall be provided upon delivery of the equipment to the Aurora Main Facility.    The manuals shall be permitted to be uploaded to VA’s OneSource application and have unlimited access online through a user portal regardless of the type of maintenance support purchased.

- Integration and Project Management

- The vendor shall identify a project manager.  The vendor shall provide a schedule with deliverables, milestones, site prep work, training plan, risk management plan, and operations and maintenance plan.  The vendor shall meet weekly or as-needed with the VA.

- The vendor shall provide professional services to install and configure the system at each site.  This may include, but is not limited to, workflow re-evaluation, recommendation and testing, integration testing with Vista/CPRS and/or associate medical equipment, report building/report configuration, post deployment assessment 6 months after the Go Live, etc. The Contractor shall coordinate with other Vendors and/or Contractors when necessary to accomplish this task.

- Prior to device delivery, the contractor shall provide the following:

  - Finalized Server and workstation specifications.

  - Serial numbers.

  - MAC addresses of any wireless devices.

- The contractor shall provide on-site installation services, to include the following (if applicable):

- Unboxing.

- Staging of equipment.

- Incoming inspection

- Download of medication libraries

- Asset sticker tagging.

- Maintenance sticker tagging.

- Disinfection of equipment.

- Removal of trash.

- Installation at all sites listed

- The contractor shall connect all applicable devices to the wireless network and server. Performance shall be validated and documented.

- The contractor shall provide project management services, including, but not limited to, the following:

- Determining project tasks.

- Scheduling meetings with stakeholders.

- Developing timelines.

- Closing out project with sustainment plan.

- Ensure the system is completely operational and performs all required functions prior to close out.

- The contractor shall provide a formal report at the conclusion of deployment to include the following for each item:

- Model.

- Serial number.

- Asset number.

- Original deployment location.

- Incoming inspection results.

- Manufacturer inspection results (if applicable).

- The cost of travel for onsite installation, training, implementation, and integration services must not exceed the federal Joint Travel Regulations (JTR) rates.

SALIENT CHARACTERISTICS:

  - Line Item 0001: Automated Dispensing Cabinets (ADC) **QTY: Minimum of 61 – Final quantity to be determined by the vendor/offeror**

At least 43 at the RMR VAMC, 6 at the Colorado Springs Lindstrom CBOC, 2 at the Golden, Aurora, Union CBOCs and 1 at each of the other 6 Clinics as specified in the above table.

Each ADC shall:

    - Include a fingerprint scanner, touch screen, keyboard, touchpad, barcode scanner, and label printer for each cabinet.

    - Include pockets or cubies which have locking lids. They shall be able to store patient specific medications in a location with a locking mechanism.  A strength rating shall be applied if the multiple single-patients’ medications can be found in a single drawer with individual bins that have locking lids. Also, the storage pockets or cubies shall be configurable, and provide flexibility to reconfigure secure storage drawers or areas within drawers to accommodate changing medications requirements at no additional cost. After the award, the VA will configure the cabinet to meet that area’s requirements. Drawers and pockets or cubies shall have mechanisms to prevent tampering using physical methods.  Secure cabinets must be a unit in which inventory may only be accessed with bio id, fingerprinting, or unique codes per individual.

    - Store large bulky items such as IV fluids. Identification of which cabinets will store bulky items will be identified prior to delivery depending on cabinet location.

    - Be able to securely dispense refrigerated or non-refrigerated medications while keeping track of inventory of items in refrigeration. Provide secure dispensing of controlled substances with single unit dispensing restricting access to more than required dose.

    - Have inventory reports to optimize station inventory and diversion reports.  A strength rating shall be applied if the system can track inventory of patient specific medications (e.g. patient name and drug name). Must be able to report inventory, stock levels, access reports, refill reports, medication tracking, and work with all current VA systems at the facility to maintain inventory and security.

    - Alert users for quantities removed greater or less than ordered and require witness verification of inventory, waste, or discrepancies using unique individual access steps. The system shall allow an end user (Nurse) or Pharmacy staff member to select multiple medications for a single patient using a single scan of the badge, without access to other patient’s medications.

    - User access: ADCs will have security and various levels of access for individual users.  Shall allow for management of users and enable termination or initiation of users from a web-based server interface or similar. The ADC will have a mechanism in place to prevent the addition of temporary users and to allow access to a float user.  System shall allow some users to have multiple levels of access.   The system shall have the option for increasing security when dispensing controlled substances or other high alert medications (e.g. only access to the needed doses to dispense). The system will leverage bio-ID technology for fingerprint scanning for security.  The system shall have to capability to “lock” a user after no more than 5 failed attempts.  Pharmacy and other authorized users must be able to manage drug formulary, inventory, users, device settings, run reports, and server setting from the server interface.

    - Communicate with pharmacy systems using the same server to transfer admissions, transfers, discharges, and orders in real time.

    - Be compatible with VISTA PADE HL7 interface, be HL7 messaging compatible with VISTA,  and interface, via HL7 or other means, with other ADCs, carousels, safes, refrigerators, and all medication management systems.

    - If communication between the server and ADC fails, the system shall be able to dispense medications (critical override).

    - Must have the ability to configure the cabinet’s database to require at least a 5-letter medication name entry.

    - Vendor/offeror shall specify the type of configuration and quantity of ADCs, for each of the following CBOCs, using the attached department medication storage list (Attachment A).   Vendor shall specify which configuration and quantity of each will go in each ward in their proposal (i.e. two full size cabinet for 2-East or three 6 drawer cabinets for 2-East).  Vendor shall identify any medicine incapable of being stored into the ADC and a short description of any limitations the cabinets would pose to existing operations.

    - The ADCs shall be able to hold all mediations provided in Attachment A and account for a 25% growth annually in both the number of medications and count of each mediation over the next 5 years.

  - Line Item 0002: One (1) Drug Storage Carousel

The Carousel shall:

    - Integrate with ADCs for replenishment of ADCs.

    - Be HL7 messaging compatible with VISTA.

    - Be able, upon receiving a new order from HL7 interface or VISTA, correctly spin to the correct drug, have a mechanism (e.g., display pointing to correct location of drug) to identify where drug is stored, print a patient specific label, group multiple order for one patient. The printers shall be included within the quote.  A strength rating shall be applied if a BCMA barcode can be incorporated.

    - Have user interfaces that will include biometrics, display, keyboard, mouse, touch screen, wireless hand scanners.

    - Have the following systems capability:  Suggested order, inventory management, usage reports, ability to add/move/remove drugs from active inventory, remote location inventory (e.g., drug inventory not stocked in carousel) and the ability to easily manage the remote inventory.

    - Be able to report current inventory, stocking activity, system changes, user access, and user actions.  User shall be able to access it from the server interface.

    - Be able to receive cart fill list via HL7 interface and will have the ability to either skip or pick items currently stocked in ADC depending on administration system settings.

    - Have the ability of a user to manually access all stored medications in the event of a total power loss, malfunction, or damage to electric motor.

    - Must be compatible with 2D barcodes to capture lots and expiration dates from compatible drug bottles barcodes and be able to store that information on the server.

    - Be able to interface with site’s prime vendor (McKesson Drug).

    - Be able to store the same drug in multiple storage bins.

    - Allow for the storage of more than one drug per storage bin.

    - Be able to discern between bulk bottles and unit dose medications for the same drug.

    - A strength rating shall be applied if the device is energy star rated. **

    - A strength rating shall be applied if the system provides storage locations outside of carousels and tracking (e.g. keep track of refrigerator stock).**

    - Have the ability to connect to all other components within the Pharmacy dispensing system. ie. ADM’s Carousel, Safes, cabinets, packager, auxiliary equipment.

    - Must include a wireless barcode scanner and printer for each carousel.

    - Each carousel shall be no larger than 155 W x 95” D x 120”H with the work counter.

  - Line Item 0003: One (1) Controlled Substance Safe (at least 11 storage compartments) at the main facility.

The safe shall:

    - Report inventory reconciliation between ADCs and product dispensed from Pharmacy Vault.

    - Be able to run reports to trace medications, individuals, or access.

    - Include drug accountability from receipt to waste.

    - Store medication under security and have levels of access for individual users.

    - Be able to store multiple drugs per storage area (e.g. one storage bin with 4 drugs stored)

    - Have the ability to print reports that includes facilitation of drug tracers, medication reconciliation, discrepancy resolution, quality assurance reports, Controlled Substance Safe inventory, ADC inventory and dispensing record, ADC suggested order or pick list.

    - Dispense patient specific medications (e.g. outpatient prescriptions) or to ADCs while tracking inventory in real time.

    - Have ability to store waste in a secure location away from other pharmacy inventory.  Contents of waste report shall be included.

    - Include a barcode scanner and printer per safe.

    - Be able to hold syringes, 1L IV bags, and at least room for 200-1000 count standard medication bottles.

    - The safe shall be no larger than 125” W x 30” D x 85” H. Vendors/offerors shall specify the clearance required to safely open the drawers and operate the system within their proposal.

    - Clear doors are preferred but not mandatory

  - Line Item 0004: (14) Anesthesia Stations

Each Anesthesia station shall:

    - Will provide a secure environment for controlled substances and non-controlled medications.

    - Will come with or be compatible with an anesthesia barcode medication labeling system.

    - Must include a bar code scanner and printer.

    - Each anesthesia ADC shall include an external storage bin.

    - Each anesthesia ADC shall be no larger than 52”W x 32”D x 65”H.

  - Line Item 0005: (14) Medication Storage Refrigerators

    - Shall be between 5-10 cu feet

    - Shall be secure by using a locking mechanism to prevent diversion.

    - A strength rating shall be applied if the system has locking refrigerator bins or drawers.

    - Allow secure storage of refrigerated controlled substances in individual locking bins or drawers that open and lock based on communication from the ADC equipment.

    - All will be delivered to main, Aurora facility.

  - Line Item 0006 (22) Medication Storage Refrigerators

    - Shall be between 12-15 cu feet

    - Shall be secure by using a locking mechanism to prevent diversion.

    - A strength rating shall be applied if the system has locking refrigerator bins or drawers.

    - Allow secure storage of refrigerated controlled substances in individual locking bins that open and lock based on communication from the ADC equipment.

  - Line Item 0007: Licenses and Software

    - All Licenses will grant permission for the use of the product while protecting personal information of patients and staff.

    - Contractor Software must protect VA systems from malware, spyware or any breach of VA information by any Non VA entity.

    - The licenses must allow for the interconnection between all locations on a single platform.

    - The system shall have an OS with current commercial support. All major component software applications (SQL, IIS, .Net, etc.)shall have current commercial support.  A strength rating shall be applied if the OS or the component software applications have 60 months of commercial support.

    - Vendor shall be in compliance with VA network security regulation according to VA Directive 6500 and 6550.

    - Software Update/Patching: Software update and/or application patching shall be included.   Vendor/offeror is responsible to coordinate with Facility Biomedical POC and work through facility change contract board prior to any update and/patching.

    - VA Biomedical POC is responsible for Window security patch after vendor approves the patch.

    - HTM shall be able to login, restart, shutdown and preform basic maintenance on servers with any vendor software loaded.

    - For Windows-based devices, the vendor shall agree to provide a complete software and application inventory for all system components.  A strength rating shall be applied if the SMAK toolkit can be installed without voiding the support agreement or warranty.   Shall allow for management of users and enable termination or initiation of users from a web-based server interface or similar.

    - ECH will build and host the virtual server.  Specifications for the virtual server shall be provided with the vendor’s proposal.

  - Line Item 0008: Auxiliary Equipment

    - To apply to equipment the vendor/offeror determines to be necessary for the proper functions of system but is not included with other line items.

  - Line Item 0009: TRAINING

USER TRAINING

    - The vendor shall provide clinical training onsite at each location.  Assume users have no experience with medication dispensing systems.  Training shall be provided in various forms of media such as, but not limited to, tutorials, manuals, computer-based training, distance, and on-site training, as appropriate.  The Contractor must provide web-based training, self-paced to include modular training for clinical, that must be shared across VISNs at no additional cost to VA. Number of users expecting training: 6 pharmacy super-users, 7 pharmacy train-the-trainer users, 2 CBOCs train-the-trainer users (at each CBOC), 40 nursing train-the-trainer users at main facility:

    - Included training shall include, but not be limited to, initial training of new personnel in operation and care of the system and reporting tools, as well as an actual demonstration of the system, and its interaction with the existing systems identified, e.g., VistA, medical device integration, Reporting Tool(s) and VA and/or commercial analytics solutions.

    - Follow-on training shall be quoted for an additional 3 users per site to be taken within one year of post go-live. The Contractor shall provide guidance on completing any adjustments or other actions that may be undertaken by operating personnel in the event of malfunction or failure.

    - The Contractor shall provide training manuals and instruction materials with implementation with each update to each attendee.

  - Line Item 0010: Warranty and Support Agreement

    - All hardware, licenses, and software shall include at least a 12-month warranty.   If the warranty does not include coverage for these items, then the vendor shall quote the required support agreement to have coverage throughout the 12 months post go-live.

  - Line Item 0011: Relocation of Existing Equipment from the RMRVAMC and CBOCs

    - The vendor shall relocate all existing equipment to a designated site within the RMR VAMC and the ECH CBOCs to a designated space for disposal by ECH personnel.  A strength rating shall be applied if a trade-in is offered and disposal by the vendor is included.

| omni_stid | omni_name | cab_type | hdwr_category | hdwr_type | hdwr_sn |
| --- | --- | --- | --- | --- | --- |
| RMAURORAMH | Aurora room 201 Mental Health | ADC XT | Console | eBox | 1414003KG05989 |
| RMAURORAMH | Aurora room 201 Mental Health | ADC XT | Frame | Cabinet0, One Cell | 140358 |
| RMAURORAMH | Aurora room 201 Mental Health | ADC XT | Drawer | Cabinet0, Zone1, Drawer3, 36 Bin Metal Locking | 1417201KAG012138 |
| RMAURORAMH | Aurora room 201 Mental Health | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 24 Bin Config Open DD | 1417151KAG002799 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Console | eBox | 1414052KG04989 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Frame | Cabinet0, Two Cell | 250311 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer1, 10 Bin Metal Locking | 1417301KAG101708 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer2, 10 Bin Metal Locking | 1417301KAG101707 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking | 1417203KAG164883 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking | 1417203KAG163774 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 27 Bin Metal Locking | 1417202KAG152419 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer6, 36 Bin Metal Locking | 1417201KAG060394 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer8, 6 Bin Metal Locking DD | 1417401KAG076823 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD | 1417401KAG076824 |
| RMAURORAPC | AURORA Room 505 Primary Care | ADC XT | FlexLock | FlexLock1 | 1415012EST001250 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Console | eBox | 1414052KG06985 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Frame | Cabinet0, Two Cell | 252368 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Drawer | Cabinet0, Zone1, Drawer1, 10 Bin Metal Locking | 1417301KAG102785 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Drawer | Cabinet0, Zone1, Drawer2, 10 Bin Metal Locking | 1417301KAG102784 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Drawer | Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking | 1417203KAG168843 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking | 1417203KAG168878 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 27 Bin Metal Locking | 1417202KAG154771 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Drawer | Cabinet0, Zone1, Drawer6, 36 Bin Metal Locking | 1417201KAG062793 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Drawer | Cabinet0, Zone1, Drawer8, 6 Bin Metal Locking DD | 1417401213000444 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | Drawer | Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD | 1417401213000447 |
| RMCRKPC | Castle Rock Primary Care - 305 | ADC XT | FlexLock | FlexLock1 | 1415012EST004029 |
| RMDENCBOC | Denver CBOC | ADC XT | Console | eBox | 1414003KG15195 |
| RMDENCBOC | Denver CBOC | ADC XT | Frame | Cabinet0, One Cell | 155250 |
| RMDENCBOC | Denver CBOC | ADC XT | Drawer | Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking | 1417203KAG027916 |
| RMDENCBOC | Denver CBOC | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 6 Bin Metal Locking DD | 1417401KAG016021 |
| RMPCGOLDEN | 1st Floor Golden Primary Care | ADC XT | Console | eBox | 1414003KG04499 |
| RMPCGOLDEN | 1st Floor Golden Primary Care | ADC XT | Frame | Cabinet0, Omni TT | 140295 |
| RMPCGOLDEN | 1st Floor Golden Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking | 1417203KAG009843 |
| RMPCGOLDEN | 1st Floor Golden Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking | 1417203KAG009838 |
| RMPCGOLDEN | 1st Floor Golden Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 48 Bin Config Open | 1417101kag011026 |
| RMPCGOLDEN | 1st Floor Golden Primary Care | ADC XT | Frame | Cabinet1, One Cell | 155103 |
| RMPCGOLDEN | 1st Floor Golden Primary Care | ADC XT | Drawer | Cabinet1, Zone1, Drawer2, 18 Bin Metal Locking | 1417203KAG028068 |
| RMPCGOLDEN | 1st Floor Golden Primary Care | ADC XT | Drawer | Cabinet1, Zone1, Drawer3, 18 Bin Metal Locking | 1417203KAG028067 |
| RMPCJEWELL | JEWELL CLINIC | ADC XT | Console | eBox | 1414052KG05063 |
| RMPCJEWELL | JEWELL CLINIC | ADC XT | Frame | Cabinet0, Omni TT | 250527 |
| RMPCJEWELL | JEWELL CLINIC | ADC XT | Drawer | Cabinet0, Zone1, Drawer1, 18 Bin Metal Locking | 1417203KAG164526 |
| RMPCJEWELL | JEWELL CLINIC | ADC XT | Drawer | Cabinet0, Zone1, Drawer2, 18 Bin Metal Locking | 1417203KAG164527 |
| RMPCJEWELL | JEWELL CLINIC | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 24 Bin Config Open DD | 1417151KAG042657 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Console | eBox | 1414003KG15179 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Frame | Cabinet0, One Cell | 155252 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer3, 10 Bin Metal Locking | 1417301KAG019565 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking | 1417203KAG027950 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 18 Bin Metal Locking | 1417203KAG027925 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking | 1417203KAG027960 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer8, 6 Bin Metal Locking DD | 1417401KAG015982 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD | 1417401KAG019591 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Frame | Cabinet1, Two Cell | 155248 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet1, Zone1, Drawer2, 18 Bin Metal Locking | 1417203KAG027874 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet1, Zone1, Drawer3, 18 Bin Metal Locking | 1417203KAG027877 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet1, Zone1, Drawer4, 27 Bin Metal Locking | 1417202KAG034343 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet1, Zone1, Drawer5, 27 Bin Metal Locking | 1417202KAG034344 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet1, Zone1, Drawer7, 6 Bin Metal Locking DD | 1417401KAG016026 |
| RMRXDOM | Valor Point Pharmacy | ADC XT | Drawer | Cabinet1, Zone1, Drawer9, 6 Bin Metal Locking DD | 1417401KAG079241 |
| RMRXGOLDEN | Room 2132 Golden Primary Care | ADC XT | Console | eBox | 1414003KG15874 |
| RMRXGOLDEN | Room 2132 Golden Primary Care | ADC XT | Frame | Cabinet0, One Cell | 155251 |
| RMRXGOLDEN | Room 2132 Golden Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer2, 18 Bin Metal Locking | 1417203KAG027931 |
| RMRXGOLDEN | Room 2132 Golden Primary Care | ADC XT | Drawer | Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking | 1417203KAG027930 |
| RMRXGOLDEN | Room 2132 Golden Primary Care | ADC XT | FlexLock | FlexLock1 | 1415004EST000838 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Console | eBox | 1414003KG15174 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Frame | Cabinet0, One Cell | 155249 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer1, 18 Bin Metal Locking | 1417203KAG027966 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer2, 18 Bin Metal Locking | 1417203KAG027965 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking | 1417203KAG028005 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking | 1417203KAG028004 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 18 Bin Metal Locking | 1417203KAG028003 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer6, 27 Bin Metal Locking | 1417202KAG034326 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer7, 27 Bin Metal Locking | 1417202KAG034325 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer8, 36 Bin Metal Locking | 1417201KAG020002 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer9, 36 Bin Metal Locking | 1417201KAG020041 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone1, Drawer10, 48 Bin Config Open | 1417101KAG024584 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone2, Drawer1, 48 Bin Config Open | 1417101KAG024583 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone2, Drawer3, 6 Bin Metal Locking DD | 1417401KAG020931 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Drawer | Cabinet0, Zone2, Drawer5, 6 Bin Metal Locking DD | 1417401KAG007261 |
| RMRXPNHCU | Pueblo CLC Pharmacy | ADC XT | Frame | Cabinet1, Two Cell | 155247 |
| VACSRAD | CO Springs Radiology Pharmacy |  | Console | eBox | 141217KG15783 |
| VACSRAD | CO Springs Radiology Pharmacy |  | Frame | Cabinet0, One Cell | 103421 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Console | eBox | 1414003KG47371 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Frame | Cabinet0, Two Cell | 218919 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer2, 6 Bin Metal Locking DD | 1417401KAG057707 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 6 Bin Metal Locking DD | 1417401KAG057706 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 10 Bin Metal Locking | 1417301KAG072673 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer6, 10 Bin Metal Locking | 1417301KAG068586 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking | 1417203KAG110755 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer8, 18 Bin Metal Locking | 1417203KAG110754 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer9, 27 Bin Metal Locking | 1417202KAG118366 |
| VARXCS1UNB | COS Union Blvd Clinic-1st floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer10, 36 Bin Metal Locking | 1417201KAG047659 |
| VARXCS2 | COS CBOC2 Rm 2236 |  | Console | eBox | 141217kg15527 |
| VARXCS2 | COS CBOC2 Rm 2236 |  | Frame | Cabinet0, Two Cell | 103424 |
| VARXCS2 | COS CBOC2 Rm 2236 |  | Drawer | Cabinet0, Zone1, Drawer1, 12 Bin Sensing | 3900230830 |
| VARXCS2 | COS CBOC2 Rm 2236 |  | Drawer | Cabinet0, Zone1, Drawer2, 6 Bin Locking | 3900251651 |
| VARXCSCBOC | COS CBOC Rm 2309 |  | Console | eBox |  |
| VARXCSCBOC | COS CBOC Rm 2309 |  | Frame | Cabinet0, Two Cell |  |
| VARXCSCBOC | COS CBOC Rm 2309 |  | Drawer | Cabinet0, Zone1, Drawer1, 12 Bin Sensing | 3900230803 |
| VARXCSCBOC | COS CBOC Rm 2309 |  | Drawer | Cabinet0, Zone1, Drawer2, 6 Bin Locking | 3900251642 |
| VARXCSDENT | COS Dental Clinic | ADC XT | Console | eBox | 1414003KG52794 |
| VARXCSDENT | COS Dental Clinic | ADC XT | Frame | Cabinet0, Omni TT | 220756 |
| VARXCSDENT | COS Dental Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer1, 18 Bin Metal Locking | 1417203KAG131448 |
| VARXCSDENT | COS Dental Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer2, 48 Bin Config Open | 1417101KAG083099 |
| VARXCSDENT | COS Dental Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 24 Bin Config Open DD | 1417151KAG033925 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Console | eBox | 1414003KG50875 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Frame | Cabinet0, Two Cell | 218918 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer2, 6 Bin Metal Locking DD | 1417401KAG057242 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 6 Bin Metal Locking DD | 1417401KAG057240 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 10 Bin Metal Locking | 1417301KAG073060 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer6, 10 Bin Metal Locking | 1417301KAG073059 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking | 1417203KAG123642 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer8, 18 Bin Metal Locking | 1417203KAG123641 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer9, 27 Bin Metal Locking | 1417202KAG118367 |
| VARXCSSPAC | COS Space Center Clinic | ADC XT | Drawer | Cabinet0, Zone1, Drawer10, 36 Bin Metal Locking | 1417201KAG050537 |
| VARXCSUNBV | COS Union Blvd Clinic-2nd floor | ADC XT | Console | eBox | 1414003KG01691 |
| VARXCSUNBV | COS Union Blvd Clinic-2nd floor | ADC XT | Frame | Cabinet0, Omni TT | 140370 |
| VARXCSUNBV | COS Union Blvd Clinic-2nd floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking | 1417203KAG009979 |
| VARXCSUNBV | COS Union Blvd Clinic-2nd floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking | 1417203KAG009970 |
| VARXCSUNBV | COS Union Blvd Clinic-2nd floor | ADC XT | Drawer | Cabinet0, Zone1, Drawer5, 48 Bin Config Open | 1417101kag011157 |
| omni_stid; omni_name; cab_type; hdwr_category; hdwr_type; hdwr_sn. RMAWRF3282; Anesthesia Workroom; ADC XT; Console; eBox; 1414003kg06117. RMAWRF3282; Anesthesia Workroom; ADC XT; Frame; Cabinet0, Two Cell; 140429. RMBRCD3206; Bronchoscopy; ADC XT; Console; eBox; 1414003KG06018. RMBRCD3206; Bronchoscopy; ADC XT; Frame; Cabinet0, One Cell; 140359. RMBRCD3206; Bronchoscopy; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking; 1417203KAG009657. RMBRCD3206; Bronchoscopy; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 48 Bin Config Open; 1417101KAG003949. RMBRCD3206; Bronchoscopy; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 48 Bin Config Open; 1417101kag011164. RMBRCD3206; Bronchoscopy; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 48 Bin Config Open; 1417101kag011165. RMBRCD3206; Bronchoscopy; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 48 Bin Config Open; 1417101kag011162. RMBRCD3206; Bronchoscopy; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006613. RMCARF2132; Cardiology; ADC XT; Console; eBox; 1414003KG52791. RMCARF2132; Cardiology; ADC XT; Frame; Cabinet0, Omni TT; 220757. RMCARF2132; Cardiology; ADC XT; Drawer; Cabinet0, Zone1, Drawer1, 18 Bin Metal Locking; 1417203KAG131435. RMCARF2132; Cardiology; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 48 Bin Config Open; 1417101KAG078424. RMCARF2132; Cardiology; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 24 Bin Config Open DD; 1417151KAG033857. RMCL1F3112; EP Cath Lab #2; ADC XT; Console; eBox; 1414003KG06120. RMCL1F3112; EP Cath Lab #2; ADC XT; Frame; Cabinet0, One Cell; 140415. RMCL1F3112; EP Cath Lab #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking; 1417203KAG010117. RMCL1F3112; EP Cath Lab #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 48 Bin Config Open; 1417101KAG011459. RMDEND2153; Dental Corridor; ADC XT; Console; eBox; 1414003KG09845. RMDEND2153; Dental Corridor; ADC XT; Frame; Cabinet0, One Cell; 146686. RMDEND2153; Dental Corridor; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking; 1417203KAG017486. RMDEND2153; Dental Corridor; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 6 Bin Metal Locking DD; 1417401KAG010814. RMDEPE1279; Derm/Podiatry; ADC XT; Console; eBox; 1414003KG05983. RMDEPE1279; Derm/Podiatry; ADC XT; Frame; Cabinet0, One Cell; 140283. RMDEPE1279; Derm/Podiatry; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 48 Bin Config Open; 1417101KAG011092. RMDEPE1279; Derm/Podiatry; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 48 Bin Config Open; 1417101KAG011094. RMDEPE1279; Derm/Podiatry; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 48 Bin Config Open; 1417101KAG011093. RMDEPE1279; Derm/Podiatry; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 48 Bin Config Open; 1417101kag011043. RMDEPE1279; Derm/Podiatry; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 48 Bin Config Open; 1417101kag011029. RMDEPE1279; Derm/Podiatry; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 48 Bin Config Open; 1417101kag011040. RMDEPE1279; Derm/Podiatry; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 48 Bin Config Open; 1417101kag011041. RMDIAG3305; Dialysis; ADC XT; Console; eBox; 1414003KG05970. RMDIAG3305; Dialysis; ADC XT; Frame; Cabinet0, One Cell; 140272. RMEPAF3118; EP Cath lab AWS; AWS XT; Console; eBox; 151023KG01231. RMEPAF3118; EP Cath lab AWS; AWS XT; Frame; Cabinet0, AWS; 140325. RMEPAF3118; EP Cath lab AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900415449. RMEPAF3118; EP Cath lab AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411746. RMEPAF3118; EP Cath lab AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414719. RMEPAF3118; EP Cath lab AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900415722. RMEPAF3118; EP Cath lab AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900413068. RMEPAF3118; EP Cath lab AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900415452. RMEPAF3118; EP Cath lab AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900415445. RMEPAF3118; EP Cath lab AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900415724. RMEPAF3118; EP Cath lab AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413120. RMEPCF3118; EP Cath Lab #1; ADC XT; Console; eBox; 1414003KG05985. RMEPCF3118; EP Cath Lab #1; ADC XT; Frame; Cabinet0, One Cell; 140387. RMEPCF3118; EP Cath Lab #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking; 1417203KAG010116. RMEPCF3118; EP Cath Lab #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006681. RMERCD3208; ERCP room #2 AWS; AWS XT; Console; eBox; 151023kg01370. RMERCD3208; ERCP room #2 AWS; AWS XT; Frame; Cabinet0, AWS; 140304. RMERCD3208; ERCP room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900413382. RMERCD3208; ERCP room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411777. RMERCD3208; ERCP room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414726. RMERCD3208; ERCP room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900416094. RMERCD3208; ERCP room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900413381. RMERCD3208; ERCP room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900413383. RMERCD3208; ERCP room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900413386. RMERCD3208; ERCP room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900416096. RMERCD3208; ERCP room #2 AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413105. RMERCD3212; ERCP room #1 AWS; AWS XT; Console; eBox; 151023KG01392. RMERCD3212; ERCP room #1 AWS; AWS XT; Frame; Cabinet0, AWS; 140282. RMERCD3212; ERCP room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900415502. RMERCD3212; ERCP room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900412829. RMERCD3212; ERCP room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414715. RMERCD3212; ERCP room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900415770. RMERCD3212; ERCP room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900584365. RMERCD3212; ERCP room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900415547. RMERCD3212; ERCP room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900415501. RMERCD3212; ERCP room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900415768. RMERCD3212; ERCP room #1 AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413487. RMERD1126A; Emergency Room; ADC XT; Console; eBox; 1414003KG05894. RMERD1126A; Emergency Room; ADC XT; Frame; Cabinet0, Two Cell; 140360. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430080. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 48 Bin Config Open; 1417101KAG011116. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 48 Bin Config Open; 1417101KAG011117. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 48 Bin Config Open; 1417101kag011150. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006608. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer1, 18 Bin Metal Locking; 1417203KAG009978. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer2, 18 Bin Metal Locking; 1417203KAG009977. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer3, 18 Bin Metal Locking; 1417203KAG009976. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer4, 18 Bin Metal Locking; 1417203KAG009975. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer5, 48 Bin Config Open; 1417101kag011148. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer6, 48 Bin Config Open; 1417101kag011149. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer8, 6 Bin Metal Locking DD; 1417401KAG006610. RMERD1126A; Emergency Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer10, 6 Bin Metal Locking DD; 1417401KAG082669. RMERD1126A; Emergency Room; ADC XT; Frame; Cabinet1, Two Cell; 140349. RMEYPE3209; Eye Clinic Procedure Room; ADC XT; Console; eBox; 1414003KG05969. RMEYPE3209; Eye Clinic Procedure Room; ADC XT; Frame; Cabinet0, One Cell; 140280. RMEYPE3209; Eye Clinic Procedure Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer1, 48 Bin Config Open; 1417101KAG011054. RMEYPE3209; Eye Clinic Procedure Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 48 Bin Config Open; 1417101KAG011057. RMEYPE3209; Eye Clinic Procedure Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 48 Bin Config Open; 1417101KAG011055. RMEYPE3209; Eye Clinic Procedure Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 24 Bin Config Open DD; 1417151KAG002797. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Console; eBox; 1414003KG06139. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Frame; Cabinet0, Two Cell; 140432. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430024. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG010163. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG010164. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 48 Bin Config Open; 1417101KAG011451. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006605. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer2, 48 Bin Config Open; 1417101KAG011448. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer3, 48 Bin Config Open; 1417101KAG011449. RMGICD3218; GI/Colonoscopy Med Room; ADC XT; Drawer; Cabinet0, Zone4, Drawer5, 6 Bin Metal Locking DD; 1417401KAG001236. RMIC1H3212; ICU Med Room #1; ADC XT; Console; eBox; 1414003KG06031. RMIC1H3212; ICU Med Room #1; ADC XT; Frame; Cabinet0, Three Cell; 140300. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430023. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG010032. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 27 Bin Metal Locking; 1417202KAG014538. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 27 Bin Metal Locking; 1417202KAG014528. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006575. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer1, 27 Bin Metal Locking; 1417202KAG014536. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer2, 27 Bin Metal Locking; 1417202KAG014535. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer3, 27 Bin Metal Locking; 1417202KAG014524. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer4, 27 Bin Metal Locking; 1417202KAG014523. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer5, 27 Bin Metal Locking; 1417202KAG014522. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer6, 27 Bin Metal Locking; 1417202KAG014521. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer7, 27 Bin Metal Locking; 1417202KAG014519. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer8, 27 Bin Metal Locking; 1417202KAG014520. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006576. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone7, Drawer3, 48 Bin Config Open; 1417101KAG011124. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone7, Drawer4, 48 Bin Config Open; 1417101KAG013113. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone7, Drawer5, 36 Bin Metal Locking; 1417201KAG004069. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone7, Drawer6, 27 Bin Metal Locking; 1417202KAG014527. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone7, Drawer8, 6 Bin Metal Locking DD; 1417401KAG006555. RMIC1H3212; ICU Med Room #1; ADC XT; Drawer; Cabinet0, Zone7, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006556. RMIC1H3212; ICU Med Room #1; ADC XT; Frame; Cabinet1, One Cell; 146587. RMIC2H3229; ICU Med Room #2; ADC XT; Console; eBox; 1414003KG06019. RMIC2H3229; ICU Med Room #2; ADC XT; Frame; Cabinet0, Three Cell; 140339. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430073. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG009998. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 27 Bin Metal Locking; 1417202KAG014955. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 27 Bin Metal Locking; 1417202KAG014954. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006551. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone4, Drawer1, 27 Bin Metal Locking; 1417202KAG014932. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone4, Drawer2, 27 Bin Metal Locking; 1417202KAG014926. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone4, Drawer3, 27 Bin Metal Locking; 1417202KAG014842. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone4, Drawer4, 27 Bin Metal Locking; 1417202KAG014923. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone4, Drawer5, 27 Bin Metal Locking; 1417202KAG014922. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone4, Drawer6, 27 Bin Metal Locking; 1417202KAG014779. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone4, Drawer7, 27 Bin Metal Locking; 1417202KAG014925. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone4, Drawer8, 27 Bin Metal Locking; 1417202KAG014924. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone4, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006583. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone7, Drawer3, 48 Bin Config Open; 1417101kag011152. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone7, Drawer4, 48 Bin Config Open; 1417101kag011153. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone7, Drawer5, 36 Bin Metal Locking; 1417201KAG012094. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone7, Drawer6, 27 Bin Metal Locking; 1417202KAG012966. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone7, Drawer8, 6 Bin Metal Locking DD; 1417401KAG006582. RMIC2H3229; ICU Med Room #2; ADC XT; Drawer; Cabinet0, Zone7, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006553. RMIC2H3229; ICU Med Room #2; ADC XT; Frame; Cabinet1, Two Cell; 140357. RMINFE3283; Infusion clinic med room; ADC XT; Console; eBox; 1414003KG06021. RMINFE3283; Infusion clinic med room; ADC XT; Frame; Cabinet0, Two Cell; 140290. RMINFE3283; Infusion clinic med room; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430070. RMINFE3283; Infusion clinic med room; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 18 Bin Metal Locking; 1417203KAG009995. RMINFE3283; Infusion clinic med room; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 48 Bin Config Open; 1417101kag011145. RMINFE3283; Infusion clinic med room; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 48 Bin Config Open; 1417101KAG011142. RMMDK2232A; Inpatient Medicine A; ADC XT; Console; eBox; 1414003KG05961. RMMDK2232A; Inpatient Medicine A; ADC XT; Frame; Cabinet0, Two Cell; 140362. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17500059. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG009972. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG009971. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 48 Bin Config Open; 1417101kag011167. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 48 Bin Config Open; 1417101kag011166. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 48 Bin Config Open; 1417101kag011160. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone2, Drawer1, 48 Bin Config Open; 1417101kag011161. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone2, Drawer3, 6 Bin Metal Locking DD; 1417401KAG006602. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone2, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006579. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone4, Drawer4, 36 Bin Metal Locking; 1417201KAG010709. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone4, Drawer5, 36 Bin Metal Locking; 1417201KAG010761. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone4, Drawer6, 27 Bin Metal Locking; 1417202KAG014484. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone4, Drawer7, 27 Bin Metal Locking; 1417202KAG014483. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone4, Drawer8, 27 Bin Metal Locking; 1417202KAG013444. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone4, Drawer9, 48 Bin Config Open; 1417101kag011158. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone4, Drawer10, 48 Bin Config Open; 1417101kag011159. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone5, Drawer1, 48 Bin Config Open; 1417101kag011156. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone5, Drawer3, 6 Bin Metal Locking DD; 1417401KAG006603. RMMDK2232A; Inpatient Medicine A; ADC XT; Drawer; Cabinet0, Zone5, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006580. RMMDK2232A; Inpatient Medicine A; ADC XT; Frame; Cabinet1, Two Cell; 140351. RMMDK2232B; Inpatient Medicine B; ADC XT; Console; eBox; 1414003KG05360. RMMDK2232B; Inpatient Medicine B; ADC XT; Frame; Cabinet0, Two Cell; 140361. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430039. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG008811. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG010001. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 48 Bin Config Open; 1417101KAG003959. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 48 Bin Config Open; 1417101KAG019640. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 48 Bin Config Open; 1417101KAG003960. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone2, Drawer1, 48 Bin Config Open; 1417101KAG003963. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone2, Drawer3, 6 Bin Metal Locking DD; 1417401KAG006542. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone2, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006522. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone4, Drawer4, 36 Bin Metal Locking; 1417201KAG010762. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone4, Drawer5, 36 Bin Metal Locking; 1417201KAG010710. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone4, Drawer6, 27 Bin Metal Locking; 1417202KAG013443. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone4, Drawer7, 27 Bin Metal Locking; 1417202KAG013424. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone4, Drawer8, 27 Bin Metal Locking; 1417202KAG013475. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone4, Drawer9, 48 Bin Config Open; 1417101KAG009454. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone4, Drawer10, 48 Bin Config Open; 1417101KAG009455. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone5, Drawer1, 48 Bin Config Open; 1417101KAG003951. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone5, Drawer3, 6 Bin Metal Locking DD; 1417401KAG016188. RMMDK2232B; Inpatient Medicine B; ADC XT; Drawer; Cabinet0, Zone5, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006543. RMMDK2232B; Inpatient Medicine B; ADC XT; Frame; Cabinet1, Two Cell; 140352. RMMH1H2106; Mental Health #1; ADC XT; Console; eBox; 1414003KG06033. RMMH1H2106; Mental Health #1; ADC XT; Frame; Cabinet0, Two Cell; 140368. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430037. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG010010. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG010007. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 18 Bin Metal Locking; 1417203KAG010005. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 48 Bin Config Open; 1417101KAG000121-1. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 48 Bin Config Open; 1417101KAG008952-1. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer2, 27 Bin Metal Locking; 1417202KAG014479. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer3, 27 Bin Metal Locking; 1417202KAG014515. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer4, 36 Bin Metal Locking; 1417201KAG004059. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer6, 6 Bin Metal Locking DD; 1417401KAG006604. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer8, 6 Bin Metal Locking DD; 1417401KAG006577. RMMH1H2106; Mental Health #1; ADC XT; Drawer; Cabinet0, Zone4, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006601. RMMH2H2235; Mental Health #2; ADC XT; Console; eBox; 1414003KG05901. RMMH2H2235; Mental Health #2; ADC XT; Frame; Cabinet0, Three Cell; 140281. RMMH2H2235; Mental Health #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430040. RMMH2H2235; Mental Health #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG009824. RMMH2H2235; Mental Health #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG009822. RMMH2H2235; Mental Health #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 18 Bin Metal Locking; 1417203KAG009827. RMMH2H2235; Mental Health #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 18 Bin Metal Locking; 1417203KAG009828. RMMH2H2235; Mental Health #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 27 Bin Metal Locking; 1417202KAG014782. RMMH2H2235; Mental Health #2; ADC XT; Drawer; Cabinet0, Zone2, Drawer1, 36 Bin Metal Locking; 1417201KAG012213. RMMH2H2235; Mental Health #2; ADC XT; Drawer; Cabinet0, Zone2, Drawer2, 48 Bin Config Open; 1417101KAG011089. RMMH2H2235; Mental Health #2; ADC XT; Drawer; Cabinet0, Zone2, Drawer4, 6 Bin Metal Locking DD; 1417401KAG006567. RMMRID1262; CT Control room; ADC XT; Console; eBox; 1414003KG04496. RMMRID1262; CT Control room; ADC XT; Frame; Cabinet0, Omni TT; 140296. RMMRID1262; CT Control room; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking; 1417203KAG009852. RMMRID1262; CT Control room; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 48 Bin Config Open; 1417101kag011144. RMMRID1262; CT Control room; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 48 Bin Config Open; 1417101KAG011095. RMOEAE1225; Ortho/ENT/AMB Blood Draw; ADC XT; Console; eBox; 1414003KG05964. RMOEAE1225; Ortho/ENT/AMB Blood Draw; ADC XT; Frame; Cabinet0, One Cell; 140284. RMOEAE1225; Ortho/ENT/AMB Blood Draw; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 48 Bin Config Open; 1417101KAG011048. RMOEAE1225; Ortho/ENT/AMB Blood Draw; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 48 Bin Config Open; 1417101KAG011049. RMOEAE1225; Ortho/ENT/AMB Blood Draw; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 48 Bin Config Open; 1417101KAG010942. RMOEAE1225; Ortho/ENT/AMB Blood Draw; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 48 Bin Config Open; 1417101KAG010943. RMOEAE1225; Ortho/ENT/AMB Blood Draw; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 48 Bin Config Open; 1417101KAG011052. RMOEAE1225; Ortho/ENT/AMB Blood Draw; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 48 Bin Config Open; 1417101KAG010945. RMOEAE1225; Ortho/ENT/AMB Blood Draw; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 48 Bin Config Open; 1417101KAG010946. RMOMHA1309; OP Mental Health A1-309; ADC XT; Console; eBox; 1414003KG06028. RMOMHA1309; OP Mental Health A1-309; ADC XT; Frame; Cabinet0, One Cell; 140289. RMOMHA1309; OP Mental Health A1-309; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking; 1417203KAG014190. RMOMHA1309; OP Mental Health A1-309; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006578. RMOMHA4351; OP Mental Health A4; ADC XT; Console; eBox; 1414003KG05971. RMOMHA4351; OP Mental Health A4; ADC XT; Frame; Cabinet0, One Cell; 140274. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Console; eBox; 151023kg01374. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Frame; Cabinet0, AWS; 140311. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 4010071638. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411752. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414723. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900416092. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900413067. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900413065. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900413064. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900416091. RMOR1F3228; OR-1 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413110. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Console; eBox; 151023KG01233. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Frame; Cabinet0, AWS; 140313. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900466081. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411750. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414722. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900415728. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 4010013618. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900413051. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900413052. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900415726. RMOR2F3234; OR-2 General surgery AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413107. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Console; eBox; 151023kg01232. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Frame; Cabinet0, AWS; 140316. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900415443. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411749. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414721. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900415729. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900415442. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900415440. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900415434. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900415727. RMOR3F3242; OR-3 General Neuro AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413111. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Console; eBox; 151023kg01234. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Frame; Cabinet0, AWS; 140320. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900415441. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411748. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414720. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900415725. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 4010062290. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900415432. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900415431. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900415730. RMOR4F3248; OR-4 Ortho AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413116. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Console; eBox; 151023kg01193. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Frame; Cabinet0, AWS; 140324. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900413050. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411747. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414718. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900415721. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900415448. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900415446. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900415444. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900415723. RMOR5F3287; OR-5 Urology Divinci AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413118. RMOR6F3283; OR-6 Heart AWS; AWS XT; Console; eBox; 151023kg00357-1. RMOR6F3283; OR-6 Heart AWS; AWS XT; Frame; Cabinet0, AWS; 140305. RMOR6F3283; OR-6 Heart AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900413053. RMOR6F3283; OR-6 Heart AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 4010040139. RMOR6F3283; OR-6 Heart AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414716. RMOR6F3283; OR-6 Heart AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 4010072441. RMOR6F3283; OR-6 Heart AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900554820. RMOR6F3283; OR-6 Heart AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900404808. RMOR6F3283; OR-6 Heart AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900409360. RMOR6F3283; OR-6 Heart AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900415748. RMOR6F3283; OR-6 Heart AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413121. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Console; eBox; 151023kg00261-1. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Frame; Cabinet0, AWS; 140330. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 4010071639. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900412817. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414717. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900415746. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900415464. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900415461. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900415463. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900415745. RMOR7F3275; OR-7 Hybrid AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413114. RMPACF3210; PACU med room #3; ADC XT; Console; eBox; 1414003KG06153. RMPACF3210; PACU med room #3; ADC XT; Frame; Cabinet0, One Cell; 140385. RMPACF3210; PACU med room #3; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430019. RMPACF3210; PACU med room #3; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG016127. RMPACF3210; PACU med room #3; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG010173. RMPACF3210; PACU med room #3; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 27 Bin Metal Locking; 1417202KAG015236. RMPACF3210; PACU med room #3; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006778. RMPACF3210; PACU med room #3; ADC XT; Drawer; Cabinet0, Zone2, Drawer2, 6 Bin Metal Locking DD; 1417401KAG006777. RMPACF3210; PACU med room #3; ADC XT; Drawer; Cabinet0, Zone2, Drawer5, 24 Bin Config Open DD; 1417151KAG002886. RMPAPD3322; PACU/Preop med room #2; ADC XT; Console; eBox; 1414003KG06162. RMPAPD3322; PACU/Preop med room #2; ADC XT; Frame; Cabinet0, One Cell; 140383. RMPAPD3322; PACU/Preop med room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17490030. RMPAPD3322; PACU/Preop med room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG010177. RMPAPD3322; PACU/Preop med room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG010013. RMPAPD3322; PACU/Preop med room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 27 Bin Metal Locking; 1417202KAG015207. RMPAPD3322; PACU/Preop med room #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006722. RMPAPD3322; PACU/Preop med room #2; ADC XT; Drawer; Cabinet0, Zone2, Drawer2, 6 Bin Metal Locking DD; 1417401KAG006721. RMPAPD3322; PACU/Preop med room #2; ADC XT; Drawer; Cabinet0, Zone2, Drawer5, 24 Bin Config Open DD; 1417151KAG002925. RMPAPD3322; PACU/Preop med room #2; ADC XT; Frame; Cabinet1, Two Cell; 140356. RMPAPD3350; PACU/Preop med room #1; ADC XT; Console; eBox; 1414003KG06132. RMPAPD3350; PACU/Preop med room #1; ADC XT; Frame; Cabinet0, Three Cell; 140350. RMPAPD3350; PACU/Preop med room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17490044. RMPAPD3350; PACU/Preop med room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 10 Bin Metal Locking; 1417301KAG008154. RMPAPD3350; PACU/Preop med room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 10 Bin Metal Locking; 1417301KAG008158. RMPAPD3350; PACU/Preop med room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 18 Bin Metal Locking; 1417203KAG010195. RMPAPD3350; PACU/Preop med room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 18 Bin Metal Locking; 1417203KAG010260. RMPAPD3350; PACU/Preop med room #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 27 Bin Metal Locking; 1417202KAG015237. RMPAPD3350; PACU/Preop med room #1; ADC XT; Drawer; Cabinet0, Zone2, Drawer2, 6 Bin Metal Locking DD; 1417401KAG006780. RMPAPD3350; PACU/Preop med room #1; ADC XT; Drawer; Cabinet0, Zone2, Drawer4, 24 Bin Config Open DD; 1417151KAG002885. RMPC1E2229; PACT #1; ADC XT; Console; eBox; 1414003KG04812. RMPC1E2229; PACT #1; ADC XT; Frame; Cabinet0, One Cell; 140285. RMPC1E2229; PACT #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 18 Bin Metal Locking; 1417203KAG009992. RMPC1E2229; PACT #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 48 Bin Config Open; 1417101KAG011140. RMPC1E2229; PACT #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 48 Bin Config Open; 1417101KAG011141. RMPC1E2229; PACT #1; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 48 Bin Config Open; 1417101KAG011138. RMPC2E2216; PACT #2; ADC XT; Console; eBox; 1414003KG06022. RMPC2E2216; PACT #2; ADC XT; Frame; Cabinet0, One Cell; 140286. RMPC2E2216; PACT #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 18 Bin Metal Locking; 1417203KAG009993. RMPC2E2216; PACT #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 6 Bin Metal Locking DD; 1417401KAG006584. RMPC2E2216; PACT #2; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 48 Bin Config Open; 1417101KAG000022-1. RMPC3E2279; PACT #3; ADC XT; Console; eBox; 1414003KG05893. RMPC3E2279; PACT #3; ADC XT; Frame; Cabinet0, One Cell; 140288. RMPC3E2279; PACT #3; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 18 Bin Metal Locking; 1417203KAG009836. RMPC3E2279; PACT #3; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 48 Bin Config Open; 1417101KAG011135. RMPC3E2279; PACT #3; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 48 Bin Config Open; 1417101kag011168. RMPC3E2279; PACT #3; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 48 Bin Config Open; 1417101kag011169. RMPFTF2232; PFT Lab Tabletop; ADC XT; Console; eBox; 1414003KG04498. RMPFTF2232; PFT Lab Tabletop; ADC XT; Frame; Cabinet0, Omni TT; 140291. RMPFTF2232; PFT Lab Tabletop; ADC XT; Drawer; Cabinet0, Zone1, Drawer1, 18 Bin Metal Locking; 1417203KAG009849. RMPFTF2232; PFT Lab Tabletop; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 6 Bin Metal Locking DD; 1417401KAG006570. RMPFTF2232; PFT Lab Tabletop; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006526. RMPHRG1324; PHYSICAL MEDICINE AND REHAB; ADC XT; Console; eBox; 1414003KG01691. RMPHRG1324; PHYSICAL MEDICINE AND REHAB; ADC XT; Frame; Cabinet0, Omni TT; 140370. RMPHRG1324; PHYSICAL MEDICINE AND REHAB; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking; 1417203KAG009979. RMPHRG1324; PHYSICAL MEDICINE AND REHAB; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking; 1417203KAG009970. RMPHRG1324; PHYSICAL MEDICINE AND REHAB; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 48 Bin Config Open; 1417101kag011157. RMPRCD3229; Procedure room #1 AWS; AWS XT; Console; eBox; 151023kg01369. RMPRCD3229; Procedure room #1 AWS; AWS XT; Frame; Cabinet0, AWS; 140306. RMPRCD3229; Procedure room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900413058. RMPRCD3229; Procedure room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411753. RMPRCD3229; Procedure room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414725. RMPRCD3229; Procedure room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900416100. RMPRCD3229; Procedure room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900413059. RMPRCD3229; Procedure room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900413367. RMPRCD3229; Procedure room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900413370. RMPRCD3229; Procedure room #1 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900416095. RMPRCD3229; Procedure room #1 AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413109. RMPRCD3231; Procedure room #2 AWS; AWS XT; Console; eBox; 151023kg01367. RMPRCD3231; Procedure room #2 AWS; AWS XT; Frame; Cabinet0, AWS; 140309. RMPRCD3231; Procedure room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900413369. RMPRCD3231; Procedure room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411754. RMPRCD3231; Procedure room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414727. RMPRCD3231; Procedure room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900416097. RMPRCD3231; Procedure room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900413375. RMPRCD3231; Procedure room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900413366. RMPRCD3231; Procedure room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900413368. RMPRCD3231; Procedure room #2 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900415578. RMPRCD3231; Procedure room #2 AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413104. RMPRCD3233; Procedure room #3 AWS; AWS XT; Console; eBox; 151023kg01372. RMPRCD3233; Procedure room #3 AWS; AWS XT; Frame; Cabinet0, AWS; 140312. RMPRCD3233; Procedure room #3 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer1, Single Deep Anesthesia; 3900413062. RMPRCD3233; Procedure room #3 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer2, 12 Bin Locking; 3900411751. RMPRCD3233; Procedure room #3 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer3, 8 Bin Locking; 3900414724. RMPRCD3233; Procedure room #3 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer4, Double Deep Anesthesia; 3900416093. RMPRCD3233; Procedure room #3 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer6, Single Deep Anesthesia; 3900413063. RMPRCD3233; Procedure room #3 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer7, Single Deep Anesthesia; 3900413387. RMPRCD3233; Procedure room #3 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer8, Single Deep Anesthesia; 3900413388. RMPRCD3233; Procedure room #3 AWS; AWS XT; Drawer; Cabinet0, Zone1, Drawer9, Double Deep Anesthesia; 3900416099. RMPRCD3233; Procedure room #3 AWS; AWS XT; Drawer; Cabinet0, Zone2, Drawer2, Triple Deep Anesthesia; 3900413106. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Console; eBox; 1414024KG05053. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Frame; Cabinet0, One Cell; 241292. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Drawer; Cabinet0, Zone1, Drawer1, 10 Bin Metal Locking; 1417301KAG093310. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 10 Bin Metal Locking; 1417301KAG093311. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking; 1417203KAG149815. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking; 1417203KAG149814. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 27 Bin Metal Locking; 1417202KAG139420. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 36 Bin Metal Locking; 1417201KAG056846. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 6 Bin Metal Locking DD; 1417401KAG070760. RMPTSQ1128; PTSD - Located Q1-128; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG070759. RMRADD1233; Radiology med room; ADC XT; Console; eBox; 1414003KG06032. RMRADD1233; Radiology med room; ADC XT; Frame; Cabinet0, Two Cell; 140363. RMRADD1233; Radiology med room; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking; 1417203KAG010004. RMRADD1233; Radiology med room; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006525. RMRADD1233; Radiology med room; ADC XT; Frame; Cabinet1, Two Cell; 140353. RMRADF3131; IR Procedure Room; ADC XT; Console; eBox; 1414003KG15872. RMRADF3131; IR Procedure Room; ADC XT; Frame; Cabinet0, One Cell; 155253. RMRADF3131; IR Procedure Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer1, 18 Bin Metal Locking; 1417203KAG027961. RMRADF3131; IR Procedure Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 18 Bin Metal Locking; 1417203KAG027962. RMRADF3131; IR Procedure Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 48 Bin Config Open; 1417101KAG024524. RMRADF3131; IR Procedure Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 6 Bin Metal Locking DD; 1417401KAG004401. RMRESRCH; RESEARCH; ADC XT; Console; eBox; 1414003KG04487. RMRESRCH; RESEARCH; ADC XT; Frame; Cabinet0, Omni TT; 140299. RMRESRCH; RESEARCH; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 18 Bin Metal Locking; 1417203KAG009912. RMRESRCH; RESEARCH; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006406. RMRXIF3147; Pharmacy Grand IV Room; ADC XT; Console; eBox; 1414003KG06034. RMRXIF3147; Pharmacy Grand IV Room; ADC XT; Frame; Cabinet0, One Cell; 140371. RMRXIF3147; Pharmacy Grand IV Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer1, 10 Bin Metal Locking; 1417301KAG006705. RMRXIF3147; Pharmacy Grand IV Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 10 Bin Metal Locking; 1417301KAG006755. RMRXIF3147; Pharmacy Grand IV Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 10 Bin Metal Locking; 1417301KAG007796. RMRXIF3147; Pharmacy Grand IV Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking; 1417203KAG010000. RMRXIF3147; Pharmacy Grand IV Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 24 Bin Config Open DD; 1417151KAG002448. RMRXIF3147; Pharmacy Grand IV Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 6 Bin Metal Locking DD; 1417401KAG006541. RMRXIF3147; Pharmacy Grand IV Room; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006524. RMRXVFS121; PHARMACY VAULT; CSM; Frame; Cabinet0, Two Cell; KAG1718AF0685. RMRXVFS121; PHARMACY VAULT; CSM; Frame; Cabinet1, Three Cell; KAG1718AF1218. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Console; eBox; 1414003KG05972. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Frame; Cabinet0, Three Cell; 140293. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430027. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG009946. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG000440. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 18 Bin Metal Locking; 1417203KAG009945. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 18 Bin Metal Locking; 1417203KAG009837. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 27 Bin Metal Locking; 1417202KAG014928. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Drawer; Cabinet0, Zone2, Drawer1, 36 Bin Metal Locking; 1417201KAG012137. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Drawer; Cabinet0, Zone2, Drawer2, 48 Bin Config Open; 1417101KAG011134. RMSCH1128A; SCI Inpatient Med Room A; ADC XT; Drawer; Cabinet0, Zone2, Drawer4, 6 Bin Metal Locking DD; 1417401KAG006550. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Console; eBox; 1414003KG05991. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Frame; Cabinet0, Three Cell; 140345. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430076. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG001284. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG009967. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 18 Bin Metal Locking; 1417203KAG009965. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006581. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer4, 36 Bin Metal Locking; 1417201KAG012095. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer5, 48 Bin Config Open; 1417101KAG011136. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer6, 48 Bin Config Open; 1417101KAG017662. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer8, 6 Bin Metal Locking DD; 1417401KAG006585. RMSCH1128B; SCI Inpatient Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006586. RMSCK1228; SCI Outpatient K1-228; ADC XT; Console; eBox; 1414003KG15893. RMSCK1228; SCI Outpatient K1-228; ADC XT; Frame; Cabinet0, Two Cell; 155254. RMSCK1228; SCI Outpatient K1-228; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 10 Bin Metal Locking; 1417301KAG019599. RMSCK1228; SCI Outpatient K1-228; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 10 Bin Metal Locking; 1417301KAG019597. RMSCK1228; SCI Outpatient K1-228; ADC XT; Drawer; Cabinet0, Zone1, Drawer4, 18 Bin Metal Locking; 1417203KAG028055. RMSCK1228; SCI Outpatient K1-228; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 18 Bin Metal Locking; 1417203KAG028076. RMSCK1228; SCI Outpatient K1-228; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 48 Bin Config Open; 1417101KAG024653. RMSCK1228; SCI Outpatient K1-228; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 24 Bin Config Open DD; 1417151KAG009147. RMSPCE3231; Cysto/Specialty/Eye; ADC XT; Console; eBox; 1414003KG05919. RMSPCE3231; Cysto/Specialty/Eye; ADC XT; Frame; Cabinet0, One Cell; 140277. RMSPCE3231; Cysto/Specialty/Eye; ADC XT; Drawer; Cabinet0, Zone1, Drawer1, 48 Bin Config Open; 1417101KAG011053. RMSPCE3231; Cysto/Specialty/Eye; ADC XT; Drawer; Cabinet0, Zone1, Drawer2, 48 Bin Config Open; 1417101KAG011050. RMSPCE3231; Cysto/Specialty/Eye; ADC XT; Drawer; Cabinet0, Zone1, Drawer3, 48 Bin Config Open; 1417101KAG011051. RMSPCE3231; Cysto/Specialty/Eye; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, 24 Bin Config Open DD; 1417151KAG002816. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Console; eBox; 1414003KG03687. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Frame; Cabinet0, Two Cell; 140364. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430095. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG009949. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG009947. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 27 Bin Metal Locking; 1417202KAG014525. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 27 Bin Metal Locking; 1417202KAG014526. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 48 Bin Config Open; 1417101KAG011122. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone2, Drawer1, 48 Bin Config Open; 1417101KAG011123. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone2, Drawer3, 6 Bin Metal Locking DD; 1417401KAG006606. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone2, Drawer5, 6 Bin Metal Locking DD; 1417401KAG026179. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone4, Drawer3, 48 Bin Config Open; 1417101KAG011120. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone4, Drawer4, 48 Bin Config Open; 1417101KAG011121. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone4, Drawer5, 48 Bin Config Open; 1417101KAG011118. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone4, Drawer6, 48 Bin Config Open; 1417101KAG011119. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone4, Drawer8, 6 Bin Metal Locking DD; 1417401KAG006612. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Drawer; Cabinet0, Zone4, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006611. RMSRK3234A; Surgery/Rehab Med Room A; ADC XT; Frame; Cabinet1, Two Cell; 140354. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Console; eBox; 1414003kG09362. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Frame; Cabinet0, Two Cell; 140294. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer5, Controlled Substance Dispenser; 1212001EST17430052. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer6, 18 Bin Metal Locking; 1417203KAG009833. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer7, 18 Bin Metal Locking; 1417203KAG009832. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer8, 27 Bin Metal Locking; 1417202KAG014756. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer9, 27 Bin Metal Locking; 1417202KAG014755. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone1, Drawer10, 48 Bin Config Open; 1417101KAG011091. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone2, Drawer1, 48 Bin Config Open; 1417101KAG011088. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone2, Drawer3, 6 Bin Metal Locking DD; 1417401KAG006547. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone2, Drawer5, 6 Bin Metal Locking DD; 1417401KAG006546. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer3, 48 Bin Config Open; 1417101KAG011062. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer4, 48 Bin Config Open; 1417101KAG011063. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer5, 48 Bin Config Open; 1417101KAG011097. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer6, 48 Bin Config Open; 1417101KAG011090. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer8, 6 Bin Metal Locking DD; 1417401KAG006549. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Drawer; Cabinet0, Zone4, Drawer10, 6 Bin Metal Locking DD; 1417401KAG006548. RMSRK3234B; Surgery/Rehab Med Room B; ADC XT; Frame; Cabinet1, Two Cell; 140355. RMSURGCORE; Surgery Clean Core; ADC XT; Console; eBox; 1414003KG06020. RMSURGCORE; Surgery Clean Core; ADC XT; Frame; Cabinet0, Three Cell; 140298. |  |  |  |  |  |

IV. OTHER TERMS AND CONDITIONS

1. GENERAL. This entire section applies to all acquisitions requiring any Information

Security and Privacy language. Contractors, contractor personnel, subcontractors

and subcontractor personnel will be subject to the same federal laws, regulations,

standards, VA directives and handbooks, as VA personnel regarding information and

information system security and privacy.

2. VA INFORMATION CUSTODIAL LANGUAGE. This entire section applies to all

acquisitions requiring any Information Security and Privacy language.

a. The Government shall receive unlimited rights to data/intellectual property first produced and delivered in the performance of this contract or order (hereinafter “contract”) unless expressly stated otherwise in this contract. This includes all rights to source code and all documentation created in support thereof. The primary clause used to define Government and Contractor data rights is FAR 52.227-14 Rights in Data – General. The primary clause used to define computer software license (not data/intellectual property first produced under this contractor or order) is FAR 52.227-19, Commercial Computer Software License.

b. Information made available to the contractor by VA for the performance or administration of this contract will be used only for the purposes specified in the service agreement, SOW, PWS, PD, and/or contract. The contractor shall not use VA information in any other manner without prior written approval from a VA Contracting Officer (CO). The primary clause used to define Government and Contractor data rights is FAR 52.227-14 Rights in Data – General.

c. VA information will not be co-mingled with any other data on the contractor’s information systems or media storage systems. The contractor shall ensure compliance with Federal and VA requirements related to data protection, data encryption, physical data segregation, logical data segregation, classification requirements and media sanitization.

d. VA reserves the right to conduct scheduled or unscheduled audits, assessments, or investigations of contractor Information Technology (IT) resources to ensure information security is compliant with Federal and VA requirements. The contractor shall provide all necessary access to records (including electronic and documentary materials related to the contracts and

subcontracts) and support (including access to contractor and subcontractor staff associated with the contract) to VA, VA's Office Inspector General (OIG), and/or Government  accountability Office (GAO) staff during periodic control assessments, audits, or investigations.

e. The contractor may only use VA information within the terms of the contract and applicable Federal law, regulations, and VA policies. If new Federal information security laws, regulations or VA policies become applicable after execution of the contract, the parties agree to negotiate contract modification and adjustment necessary to implement the new laws, regulations, and/or policies.

f. The contractor shall not make copies of VA information except as specifically authorized and necessary to perform the terms of the contract. If copies are made for restoration purposes, after the restoration is complete, the copies shall be destroyed in accordance with VA Directive 6500, VA Cybersecurity Program and VA Information Security Knowledge Service.

g. If a Veterans Health Administration (VHA) contract is terminated for default or cause with a business associate, the related local Business Associate Agreement (BAA) shall also be terminated and actions taken in accordance with VHA Directive 1605.05, Business Associate Agreements. If there is an executed national BAA associated with the contract, VA will determine what actions are appropriate and notify the contactor.

h. The contractor shall store and transmit VA sensitive information in an encrypted form, using VA-approved encryption tools which are, at a minimum, Federal Information Processing Standards (FIPS) 140-2, Security Requirements for Cryptographic Modules (or its successor) validated and in conformance with VA Information Security Knowledge Service requirements. The contractor shall transmit VA sensitive information using VA approved Transport Layer Security (TLS) configured with FIPS based cipher suites in conformance with National Institute of Standards and Technology (NIST) 800-52, Guidelines for the Selection, Configuration and Use of Transport Layer Security (TLS) Implementations.

i. The contractor’s firewall and web services security controls, as applicable, shall

meet or exceed VA’s minimum requirements.

j. Except for uses and disclosures of VA information authorized by this contract for performance of the contract, the contractor may use and disclose VA information only in two situations: (i) in response to a qualifying order of a court for competent jurisdiction after notification to VA CO (ii) with written approval from the VA CO. The contractor shall refer all requests for, demands for production of or inquiries about, VA information and information systems to the VA CO for response.

k. Notwithstanding the provision above, the contractor shall not release VA records protected by Title 38 U.S.C. § 5705, Confidentiality of medical quality assurance records and/or Title 38 U.S.C. § 7332, Confidentiality of certain medical records pertaining to drug addiction, sickle cell anemia, alcoholism or alcohol abuse or infection with Human Immunodeficiency Virus (HIV). If the contractor is in receipt of a court order or other requests for the abovementioned information, the contractor shall immediately refer such court order or other requests to the VA CO for response.

l. Information made available to the contractor by VA for the performance or administration of this contract or information developed by the contractor in performance or administration of the contract will be protected and secured in accordance with VA Directive 6500 and Identity and Access Management (IAM) Security processes specified in the VA Information Security Knowledge Service.

m. Any data destruction done on behalf of VA by a contractor shall be done in accordance with National Archives and Records Administration (NARA) requirements as outlined in VA Directive 6300, Records and Information Management, VA Handbook 6300.1, Records Management Procedures, and applicable VA Records Control Schedules.

n. The contractor shall provide its plan for destruction of all VA data in its possession according to VA Directive 6500 and NIST 800-88, Guidelines for Media Sanitization prior to termination or completion of this contract. If directed by the COR/CO, the contractor shall return all Federal Records to VA for disposition.

o. Any media, such as paper, magnetic tape, magnetic disks, solid state devices or optical discs that is used to store, process, or access VA information that cannot be destroyed shall be returned to VA.The contractor shall hold the appropriate material until otherwise directed by the Contracting Officer’s Representative (COR) or CO. Items shall be returned securely via VA-approved methods. VA sensitive information must be transmitted utilizing VA-approved encryption tools which are validated under FIPS 140-2 (or its successor) and NIST 800-52. If mailed, the contractor shall send via a trackable method (USPS, UPS, FedEx, etc.) and immediately provide the COR/CO with the

tracking information. Self-certification by the contractor that the data destruction

requirements above have been met shall be sent to the COR/CO within 30

business days of termination of the contract.

p. All electronic storage media (hard drives, optical disks, CDs, back-up tapes, etc.) used to store, process or access VA information will not be returned to the contractor at the end of lease, loan, or trade-in. Exceptions to this paragraph will only be granted with the written approval of the VA CO.

3. ACCESS TO VA INFORMATION AND VA INFORMATION SYSTEMS.

a. A contractor/subcontractor shall request logical (technical) or physical access to VA information and VA information systems for their employees and subcontractors only to the extent necessary to perform the services specified in the solicitation or contract. This includes indirect entities, both affiliate of contractor/subcontractor and agent of contractor/subcontractor.

b. Contractors and subcontractors shall sign the VA Information Security Rule of

Behavior (ROB) before access is provided to VA information and information systems (see Section 4, Training, below). The ROB contains the minimum user compliance requirements and does not supersede any policies of VA facilities or other agency components which provide higher levels of protection to VA’s information or information systems. Users who require privileged access shall complete the VA elevated privilege access request processes before privileged access is granted.

c. All contractors and subcontractors working with VA information are subject to the same security investigative and clearance requirements as those of VA appointees or employees who have access to the same types of information. The level and process of background security investigations for contractors shall be in accordance with VA Directive and Handbook 0710, Personnel Suitability and Security Program. The Office of Human Resources and Administration/Operations, Security and Preparedness (HRA/OSP) is responsible for these policies and procedures. Contract personnel who require access to classified information or information systems shall have an appropriate security clearance. Verification of a Security Clearance shall be processed through the Special Security Officer located in HRA/OSP. Contractors shall conform to all requirements stated in the National Industrial Security Program Operating Manual (NISPOM).

d. All contractors and subcontractors shall comply with conditions specified in

VAAR 852.204-71(d); Contractor operations required to be in United States. All contractors and subcontractors working with VA information must be permanently located within a jurisdiction subject to the law of the United States or its Territories to the maximum extent feasible. If services are proposed to be performed abroad the contractor must state where all non-U.S. services are provided. The contractor shall deliver to VA a detailed plan specifically addressing communications, personnel control, data protection and potential legal issues. The plan shall be approved by the COR/CO in writing prior to access being granted.

e. The contractor shall notify the COR/CO in writing immediately (no later than 24

hours) after personnel separation or occurrence of other causes. Causes may include the following:

(1) Contractor/subcontractor personnel no longer has a need for access to VA information or VA information systems.

(2) Contractor/subcontractor personnel are terminated, suspended, or otherwise has their work on a VA project discontinued for any reason.

(3) Contractor believes their own personnel or subcontractor personnel may pose a threat to their company’s working environment or to any company owned property. This includes contractor-owned assets, buildings, confidential data, customers, employees, networks, systems, trade secrets and/or VA data.

(4) Any previously undisclosed changes to contractor/subcontractor background history are brought to light, including but not limited to changes to background investigation or employee record.

(5) Contractor/subcontractor personnel have their authorization to work in the

United States revoked.

(6) Agreement by which contractor provides products and services to VA has either been fulfilled or terminated, such that VA can cut off electronic and/or physical access for contractor personnel.

f. In such cases of contract fulfillment, termination, or other causes; the contractor

shall take the necessary measures to immediately revoke access to VA network, property, information, and information systems (logical and physical) by contractor/subcontractor personnel. These measures include (but are not limited to): removing and then securing Personal Identity Verification (PIV) badges and PIV – Interoperable (PIV-I) access badges, VA-issued photo badges, credentials for VA facilities and devices, VA-issued laptops, and authentication tokens. Contractors shall notify the appropriate VA COR/CO immediately to initiate access removal.

g. Contractors/subcontractors who no longer require VA accesses will return VA issued

property to VA. This property includes (but is not limited to): documents, electronic equipment, keys, and parking passes. PIV and PIV-I access badges shall be returned to the nearest VA PIV Badge Issuance Office. Once they have had access to VA information, information systems, networks and VA property in their possessions removed, contractors shall notify the appropriate VA COR/CO.

4. TRAINING.

a. All contractors and subcontractors requiring access to VA information and VA

information systems shall successfully complete the following before being

granted access to VA information and its systems:

(1) VA Privacy and Information Security Awareness and Rules of Behavior course (Talent Management System (TMS) #10176) initially and annually thereafter.

(2) Sign and acknowledge (electronically through TMS #10176) understanding of and responsibilities for compliance with the Organizational Rules of Behavior, relating to access to VA information and information systems initially and annually thereafter; and

(3) Successfully complete any additional cyber security or privacy training, as

required for VA personnel with equivalent information system or information access [to be defined by the VA program official and provided to the VA CO for inclusion in the solicitation document – i.e., any rolebased information security training].

b. The contractor shall provide to the COR/CO a copy of the training certificates and certification of signing the Organizational Rules of Behavior for each applicable employee within five days of the initiation of the contract and annually thereafter, as required.

c. Failure to complete the mandatory annual training is grounds for suspension or

termination of all physical or electronic access privileges and removal from work

on the contract until such time as the required training is complete.

5. SECURITY INCIDENT INVESTIGATION.

a. The contractor, subcontractor, their employees, or business associates shall

immediately (within one hour) report suspected security / privacy incidents to the VA OIT’s Enterprise Service Desk (ESD) by calling (855) 673-4357 (TTY: 711). The ESD is OIT’s 24/7/365 single point of contact for IT-related issues. After reporting to the ESD, the contractor, subcontractor, their employees, or business associates shall, within one hour, provide the COR/CO the incident number received from the ESD.

b. To the extent known by the contractor/subcontractor, the contractor/ subcontractor's notice to VA shall identify the information involved and the circumstances surrounding the incident, including the following:

(1) The date and time (or approximation of) the Security Incident occurred.

(2) The names of individuals involved (when applicable).

(3) The physical and logical (if applicable) location of the incident.

(4) Why the Security Incident took place (i.e., catalyst for the failure).

(5) The amount of data belonging to VA believed to have been compromised.

(6) The remediation measures the contractor is taking to ensure no future

incidents of a similar nature.

c. After the contractor has provided the initial detailed incident summary to VA, they will continue to provide written updates on any new and relevant circumstances or facts they discover. The contractor, subcontractor, and their employes shall fully cooperate with VA or third-party entity performing an independent risk analysis on behalf of VA. Failure to cooperate may be deemed a material breach and grounds for contract termination.

d. VA IT contractors shall follow VA Handbook 6500, Risk Management Framework for VA Information Systems VA Information Security Program, and VA Information Security Knowledge Service guidance for implementing an Incident Response Plan or integrating with an existing VA implementation.

e. In instances of theft or break-in or other criminal activity, the contractor/subcontractor must concurrently report the incident to the appropriate law enforcement entity (or entities) of jurisdiction, including the VA OIG, and the VA Office of Security and Law Enforcement. The contractor, its employees, and its subcontractors and their employees shall cooperate with VA and any law enforcement authority responsible for the investigation and prosecution of any possible criminal law violation(s) associated with any incident. The contractor/subcontractor shall cooperate with VA in any civil

litigation to recover VA information, obtain monetary or other compensation from a third party for damages arising from any incident, or obtain injunctive relief against any third party arising from, or related to, the incident.

f. The contractor shall comply with VA Handbook 6500.2, Management of Breaches Involving Sensitive Personal Information, which establishes the breach management policies and assigns responsibilities for the oversight, management and reporting procedures associated with managing of breaches.

g. With respect to unsecured Protected Health Information (PHI), the contractor is

deemed to have discovered a data breach when the contractor knew or should have known of breach of such information. When a business associate is part of VHA contract, notification to the covered entity (VHA) shall be made in accordance with the executed BAA.

h. If the contractor or any of its agents fails to protect VA sensitive personal information or otherwise engages in conduct which results in a data breach involving any VA sensitive personal information the contractor/subcontractor processes or maintains under the contract; the contractor shall pay liquidated damages to the VA as set forth in clause 852.211-76, Liquidated Damages— Reimbursement for Data Breach Costs.

6. INFORMATION SYSTEM DESIGN AND DEVELOPMENT. This entire section

applies to information systems, systems, major applications, minor applications, enclaves, and platform information technologies (to include the subcomponents of

each) designed or developed for or on behalf of VA by any non-VA entity.

a. Information systems designed or developed on behalf of VA at non-VA facilities

shall comply with all applicable Federal law, regulations, and VA policies. This includes standards for the protection of electronic Protected Health Information (PHI), outlined in 45 C.F.R. Part 164, Subpart C and information and system security categorization level designations in accordance with FIPS 199, Standards for Security Categorization of Federal Information and Information Systems and FIPS 200, Minimum Security requirements for Federal Information Systems. Baseline security controls shall be implemented commensurate with the FIPS 199 system security categorization (reference VA Handbook 6500 and VA Trusted Internet Connections (TIC) Architecture).

b. Contracted new developments require creation, testing, evaluation, and authorization in compliance with VA Assessment and Authorization (A&A) processes in VA Handbook 6500 and VA Information Security Knowledge Service to obtain an Authority to Operate (ATO). VA Directive 6517, Risk Management Framework for Cloud Computing Services, provides the security and privacy requirements for cloud environments.

c. VA IT contractors, subcontractors and third-party service providers shall address and/or integrate applicable VA Handbook 6500, VA Handbook 6517, Risk Management Framework for Cloud Computing Services and Information Security Knowledge Service specifications in delivered IT systems/solutions, products and/or services. If systems/solutions, products and/or services do not directly match VA security requirements, the contractor shall work though the COR/CO to identify the VA organization responsible for governance or resolution. Contractors shall comply with FAR 39.1, specifically the prohibitions referenced.

d. The contractor (including producers and resellers) shall comply with Office of Management and Budget (OMB) M-22-18 and M-23-16 when using third-party software on VA information systems or otherwise affecting the VA information. This includes new software purchases and software renewals for software developed or modified by major version change after the issuance date of M- 22-18 (September 14, 2022). The term “software” includes firmware, operating systems, applications and application services (e.g., cloud-based software), as well as products containing software. The contractor shall provide a self attestation that secure software development practices are utilized as outlined by Executive Order (EO)14028 and NIST Guidance. A third-party assessment provided by either a certified Federal Risk and Authorization Management

Program (FedRAMP) Third Party Assessor Organization (3PAO) or one approved by the agency will be acceptable in lieu of a software producer's self-attestation.

e. The contractor shall ensure all delivered applications, systems and information

systems are compliant with Homeland Security Presidential Directive (HSPD) 12 and VA Identity and Access management (IAM) enterprise identity management requirements as set forth in OMB M-19-17, M-05-24, FIPS 201-3, Personal Identity Verification (PIV) of Federal Employees and Contractors (or its successor), M-21-31 and supporting NIST guidance. This applies to Commercial Off-The-Shelf (COTS) product(s) that the contractor did not develop, all software configurations and all customizations.

f. The contractor shall ensure all contractor delivered applications and systems provide user authentication services compliant with VA Handbook 6500, VA Information Security Knowledge Service, IAM enterprise requirements and NIST 800-63, Digital Identity Guidelines, for direct, assertion-based authentication and/or trust-based authentication, as determined by the design and integration patterns. Direct authentication at a minimum must include Public Key Infrastructure (PKI) based authentication supportive of PIV and/or Common Access Card (CAC), as determined by the business need and compliance with VA Information Security Knowledge Service specifications.

g. The contractor shall use VA authorized technical security baseline configurations and certify to the COR that applications are fully functional and operate correctly as intended on systems in compliance with VA baselines prior to acceptance or connection into an authorized VA computing environment. If the Defense Information Systems Agency (DISA) has created a Security Technical Implementation Guide (STIG) for the technology, the contractor may configure to comply with that STIG. If VA determines a new or updated VA configuration baseline needs to be created, the contractor shall provide required technical support to develop the configuration settings. FAR 39.1

requires the population of operating systems and applications includes all listed

on the NIST National Checklist Program Checklist Repository.

h. The standard installation, operation, maintenance, updating and patching of

software shall not alter the configuration settings from VA approved baseline configuration. Software developed for VA must be compatible with VA enterprise installer services and install to the default “program files” directory with silently install and uninstall. The contractor shall perform testing of all updates and patching prior to implementation on VA systems.

i. Applications designed for normal end users will run in the standard user context

without elevated system administration privileges.

j. The contractor-delivered solutions shall reside on VA approved operating

systems. Exceptions to this will only be granted with the written approval of the

COR/CO.

k. The contractor shall design, develop, and implement security and privacy controls in accordance with the provisions of VA security system development life cycle outlined in NIST 800-37, Risk Management Framework for Information Systems and Organizations: A System Life Cycle Approach for Security and Privacy, VA Directive and Handbook 6500, and VA Handbook 6517.

l. The Contractor shall comply with the Privacy Act of1974 (the Act), FAR 52.224-

2 Privacy Act, and VA rules and regulations issued under the Act in the design,

development, or operation of any system of records on individuals to

accomplish a VA function.

m. The contractor shall ensure the security of all procured or developed information systems, systems, major applications, minor applications, enclaves and platform information technologies, including their subcomponents (hereinafter referred to as “Information Systems”) throughout the life of this contract and any extension, warranty, or maintenance periods. This includes security configurations, workarounds, patches, hotfixes, upgrades, replacements and any physical components which may be necessary to remediate all security vulnerabilities published or known to the contractor

anywhere in the information systems (including systems, operating systems, products, hardware, software, applications and firmware). The contractor shall ensure security fixes do not negatively impact the Information Systems.

n. When the contractor is responsible for operations or maintenance of the systems, the contractor shall apply the security fixes within the timeframe specified by the associated controls on the VA Information Security Knowledge Service. When security fixes involve installing third party patches (such as Microsoft OS patches or Adobe Acrobat), the contractor shall provide written notice to the VA COR/CO that the patch has been validated as to not affecting the Systems within 10 business days.

7. INFORMATION SYSTEM HOSTING, OPERATION, MAINTENANCE OR USE.

This entire section applies to information systems, systems, major applications,

minor applications, enclaves, and platform information technologies (cloud and noncloud) hosted, operated, maintained, or used on behalf of VA at non-VA facilities.

a. The contractor shall comply with all Federal laws, regulations, and VA policies for Information systems (cloud and non-cloud) that are hosted, operated, maintained, or used on behalf of VA at non-VA facilities. Security controls for collecting, processing, transmitting, and storing of VA sensitive information, must be in place. The controls will be tested by VA or a VA sanctioned 3PAO and approved by VA prior to hosting, operation, maintenance or use of the information system or systems by or on behalf of VA. This includes conducting compliance risk assessments, security architecture analysis, routine vulnerability scanning, system patching, change management procedures and the completion of an acceptable contingency plan for each system. The

contractor’s security control procedures shall be the same as procedures used to secure VA-operated information systems.

b. Outsourcing (contractor facility, equipment, or staff) of systems or network operations, telecommunications services or other managed services require Assessment and Authorization (A&A) of the contractor’s systems in accordance with VA Handbook 6500 as specified in VA Information Security Knowledge Service. Major changes to the A&A package may require reviewing and updating all the documentation associated with the change. The contractor’s cloud computing systems shall comply with FedRAMP and VA Directive 6517 requirements.

c. The contractor shall return all electronic storage media (hard drives, optical

disks, CDs, back-up tapes, etc.) on non-VA leased or non-VA owned IT equipment used to store, process or access VA information to VA in accordance with A&A package requirements. This applies when the contract is terminated or completed and prior to disposal of media. The contractor shall provide its plan for destruction of all VA data in its possession according to VA Information Security Knowledge Service requirements and NIST 800-88. The contractor shall send a self-certification that the data destruction requirements above have been met to the COR/CO within 30 business days of termination of the contract.

d. All external internet connections to VA network involving VA information must

be in accordance with VA Trusted Internet Connection (TIC) Reference Architecture and VA Directive and Handbook 6513, Secure External Connections and reviewed and approved by VA prior to implementation. Government-owned contractor-operated systems, third party or business partner networks require a Memorandum of Understanding (MOU) and Interconnection Security Agreements (ISA).

e. Contractor procedures shall be subject to periodic, announced, or unannounced

assessments by VA officials, the OIG or a 3PAO. The physical security aspects

associated with contractor activities are also subject to such assessments. The

contractor shall report, in writing, any deficiencies noted during the above assessment to the VA COR/CO. The contractor shall use VA’s defined processes to document planned remedial actions that address identified deficiencies in information security policies, procedures, and practices. The contractor shall correct security deficiencies within the timeframes specified in the VA Information Security Knowledge Service.

f. All major information system changes which occur in the production environment shall be reviewed by the VA to determine the impact on privacy and security of the system. Based on the review results, updates to the Authority to Operate (ATO) documentation and parameters may be required to remain in compliance with VA Handbook 6500 and VA Information Security Knowledge Service requirements.

g. The contractor shall conduct an annual privacy and security self-assessment on

all information systems and outsourced services as required. Copies of the assessment shall be provided to the COR/CO. The VA/Government reserves the right to conduct assessment using government personnel or a third-party if deemed necessary. The contractor shall correct or mitigate any weaknesses discovered during the assessment.

h. VA prohibits the installation and use of personally owned or contractor-owned equipment or software on VA information systems. If non-VA owned equipment must be used to fulfill the requirements of a contract, it must be stated in the service agreement, SOW, PWS, PD or contract. All security controls required for government furnished equipment must be utilized in VA approved Other Equipment (OE). Configuration changes to the contractor OE, must be funded by the owner of the equipment. All remote systems must use a VA-approved antivirus software and a personal (host-based or enclave based) firewall with a VA-approved configuration. The contractor shall ensure software on OE is kept current with all critical updates and patches. Owners of approved OE are responsible for providing and maintaining the anti-virus software and the firewall on the non-VA owned OE. Approved contractor OE will be subject to technical inspection at any time.

i. The contractor shall notify the COR/CO within one hour of disclosure or successful exploits of any vulnerability which can compromise the confidentiality, integrity, or availability of the information systems. The system or effected component(s) need(s) to be isolated from the network. A forensic analysis needs to be conducted jointly with VA. Such issues will be remediated as quickly as practicable, but in no event longer than the timeframe specified by VA Information Security Knowledge Service. If sensitive personal information is compromised reference VA Handbook 6500.2 and Section 5, Security Incident Investigation.

j. For cases wherein the contractor discovers material defects or vulnerabilities impacting products and services they provide to VA, the contractor shall develop and implement policies and procedures for disclosure to VA, as well as remediation. The contractor shall, within 30 business days of discovery, document a summary of these vulnerabilities or defects. The documentation will include a description of the potential impact of each vulnerability and material defect, compensating security controls, mitigations, recommended corrective actions, root cause analysis and/or workarounds (i.e., monitoring). Should there exist any backdoors in the products or services they provide to VA (referring to methods for bypassing computer authentication), the contractor shall provide the VA CO/CO written assurance they have permanently remediated these backdoors.

k. All other vulnerabilities, including those discovered through routine scans or

other assessments, will be remediated based on risk, in accordance with the

remediation timelines specified by the VA Information Security Knowledge

Service and/or the applicable timeframe mandated by Cybersecurity &

Infrastructure Security Agency (CISA) Binding Operational Directive (BOD) 22-

01 and BOD 19-02 for Internet-accessible systems. Exceptions to this

paragraph will only be granted with the approval of the COR/CO.

8. SECURITY AND PRIVACY CONTROLS COMPLIANCE TESTING, ASSESSMENT

AND AUDITING.

a. Should VA request it, the contractor shall provide a copy of their (corporation’s,

sole proprietorship’s, partnership’s, limited liability company (LLC), or other business structure entity’s) policies, procedures, evidence and independent report summaries related to specified cybersecurity frameworks (International Organization for Standardization (ISO), NIST Cybersecurity Framework (CSF), etc.). VA or its third-party/partner designee (if applicable) are further entitled to perform their own audits and security/penetration tests of the contractor’s IT or systems and controls, to ascertain whether the contractor is complying with the information security, network or system requirements mandated in the agreement between VA and the contractor.

b. Any audits or tests of the contractor or third-party designees/partner VA elects

to carry out will commence within 30 business days of VA notification. Such audits, tests and assessments may include the following: (a): security/penetration tests which both sides agree will not unduly impact contractor operations; (b): interviews with pertinent stakeholders and practitioners; (c): document review; and (d): technical inspections of networks and systems the contractor uses to destroy, maintain, receive, retain, or use VA information.

c. As part of these audits, tests and assessments, the contractor shall provide all

information requested by VA. This information includes, but is not limited to, the

following: equipment lists, network or infrastructure diagrams, relevant policy

documents, system logs or details on information systems accessing,

transporting, or processing VA data.

d. The contractor and at its own expense, shall comply with any recommendations

resulting from VA audits, inspections and tests. VA further retains the right to

view any related security reports the contractor has generated as part of its own

security assessment. The contractor shall also notify VA of the existence of any

such security reports or other related assessments, upon completion and

validation.

e. VA appointed auditors or other government agency partners may be granted

access to such documentation on a need-to-know basis and coordinated

through the COR/CO. The contractor shall comply with recommendations which

result from these regulatory assessments on the part of VA regulators and

associated government agency partners.

9. PRODUCT INTEGRITY, AUTHENTICITY, PROVENANCE, ANTI-COUNTERFEIT

AND ANTI-TAMPERING.

a. The contractor shall comply with Code of Federal Regulations (CFR) Title 15

Part 7, “Securing the Information and Communications Technology and

Services (ICTS) Supply Chain”, which prohibits ICTS Transactions from foreign

adversaries. ICTS Transactions are defined as any acquisition, importation,

transfer, installation, dealing in or use of any information and communications

technology or service, including ongoing activities, such as managed services,

data transmission, software updates, repairs or the platforming or data hosting

of applications for consumer download.

b. When contracting terms require the contractor to procure equipment, the

contractor shall purchase or acquire the equipment from an Original Equipment

Manufacturer (OEM) or an authorized reseller of the OEM. The contractor shall

attest that equipment procured from an OEM or authorized reseller or distributor

are authentic. If procurement is unavailable from an OEM or authorized reseller,

the contractor shall submit in writing, details of the circumstances prohibiting

this from happening and procure a product waiver from the VA COR/CO.

c. All contractors shall establish, implement, and provide documentation for risk

management practices for supply chain delivery of hardware, software (to

include patches) and firmware provided under this agreement. Documentation

will include chain of custody practices, inventory management program,

information protection practices, integrity management program for sub-supplier

provided components, and replacement parts requests. The contractor shall

make spare parts available. All contractor(s) shall specify how digital delivery

for procured products, including patches, will be validated and monitored to

ensure consistent delivery. The contractor shall apply encryption technology to

protect procured products throughout the delivery process.

d. If a contractor provides software or patches to VA, the contractor shall publish

or provide a hash conforming to the FIPS Security Requirements for Cryptographic Modules (FIPS 140-2 or successor).

e. The contractor shall provide a software bill of materials (SBOM) for procured (to

include licensed products) and consist of a list of components and associated metadata which make up the product. SBOMs must be generated in one of the data formats defined in the National Telecommunications and Information Administration (NTIA) report “The Minimum Elements for a Software Bill of Materials (SBOM).”

f. Contractors shall use or arrange for the use of trusted channels to ship procured products, such as U.S. registered mail and/or tamper-evident packaging for physical deliveries.

g. Throughout the delivery process, the contractor shall demonstrate a capability

for detecting unauthorized access (tampering).

h. The contractor shall demonstrate chain-of-custody documentation for procured

products and require tamper-evident packaging for the delivery of this

hardware.

10. VIRUSES, FIRMWARE AND MALWARE.

a. The contractor shall execute due diligence to ensure all provided software and

patches, including third-party patches, are free of viruses and/or malware before releasing them to or installing them on VA information systems.

b. The contractor warrants it has no knowledge of and did not insert, any

malicious virus and/or malware code into any software or patches provided to

VA which could potentially harm or disrupt VA information systems. The

contractor shall use due diligence, if supplying third-party software or patches,

to ensure the third-party has not inserted any malicious code and/or virus which

could damage or disrupt VA information systems.

c. The contractor shall provide or arrange for the provision of technical justification

as to why any “false positive” hit has taken place to ensure their code’s supply

chain has not been compromised. Justification may be required, but is not

limited to, when install files, scripts, firmware, or other contractor-delivered

software solutions (including third-party install files, scripts, firmware, or other

software) are flagged as malicious, infected, or suspicious by an anti-virus

vendor.

d. The contractor shall not upload (intentionally or negligently) any virus, worm,

malware or any harmful or malicious content, component and/or corrupted

data/source code (hereinafter “virus or other malware”) onto VA computer and

information systems and/or networks. If introduced (and this clause is violated),

upon written request from the VA CO, the contractor shall:

(1) Take all necessary action to correct the incident, to include any and all

assistance to VA to eliminate the virus or other malware throughout VA’s

information networks, computer systems and information systems; and

(2) Use commercially reasonable efforts to restore operational efficiency and

remediate damages due to data loss or data integrity damage, if the virus

or other malware causes a loss of operational efficiency, data loss, or

damage to data integrity.

11. CRYPTOGRAPHIC REQUIREMENT.

a. The contractor shall document how the cryptographic system supporting the

contractor’s products and/or services protect the confidentiality, data integrity,

authentication and non-repudiation of devices and data flows in the underlying

system.

b. The contractor shall use only approved cryptographic methods as defined in FIPS 140-2 (or its successor) and NIST 800-52 standards when enabling encryption on its products.

c. The contractor shall provide or arrange for the provision of an automated remote key-establishment method which protects the confidentiality and integrity of the cryptographic keys.

d. The contractor shall ensure emergency re-keying of all devices can be remotely

performed within 30 business days.

e. The contractor shall provide or arrange for the provision of a method for

updating cryptographic primitives or algorithms.

12. PATCHING GOVERNANCE.

a. The contractor shall provide documentation detailing the patch management, vulnerability management, mitigation and update processes (to include thirdparty)

prior to the connection of electronic devices, assets or equipment to VA’s assets. This documentation will include information regarding the follow:

(1) The resources and technical capabilities to sustain the program or process (e.g., how the integrity of a patch is validated by VA); and

(2) The approach and capability to remediate newly reported zero-day vulnerabilities for contractor products.

b. The contractor shall verify and provide documentation all procured products (including third-party applications, hardware, software, operating systems, and firmware) have appropriate updates and patches installed prior to delivery to VA.

c. The contractor shall provide or arrange the provision of appropriate software and firmware updates to remediate newly discovered vulnerabilities or weaknesses for their products and services within 30 days of discovery. Updates to remediate critical or emergent vulnerabilities will be provided within seven business days of discovery. If updates cannot be made available by contractor within these time periods, the contractor shall submit mitigations, methods of exploit detection and/or workarounds to the COR/CO prior to the above deadlines.

d. The contractor shall provide or arrange for the provision of appropriate hardware, software and/or firmware updates, when those products, including open-source software, are provided to the VA, to remediate newly discovered vulnerabilities or weaknesses. Remediations of products or services provided to the VA’s system environment must be provided within 30 business days of availability from the original supplier and/or patching source. Updates to remediate critical vulnerabilities applicable to the Contractor’s use of the third party product in its system environment will be provided within seven business days of availability from the original supplier and/or patching source. If applicable third-party updates cannot be integrated, tested and made available by Contractor within these time periods, mitigations and/or workarounds will be provided to the COR/CO before the above deadlines.

13. SPECIALIZED DEVICES/SYSTEMS (MEDICAL DEVICES, SPECIAL PURPOSE

SYSTEMS, RESEARCH SCIENTIFIC COMPUTING).

a. Contractor supplies/delivered Medical Devices, Special Purpose Systems-Operational Technology (SPS-OT) and Research Scientific Computing Devices shall comply with all applicable Federal law, regulations, and VA policies. New developments require creation, testing, evaluation, and authorization in compliance with processes specified on the Specialized Device Cybersecurity Department Enterprise Risk Management (SDCD-ERM) Portal, VA Directive 6550, Pre-Procurement Assessment and Implementation of Medical Devices/Systems, VA Handbook 6500, and the VA Information Security Knowledge Service. Deviations from Federal law, regulations, and VA Policy are identified and documented as part of VA Directive 6550 and/or the VA

Enterprise Risk Analysis (ERA) processes for Specialized Devices/Systems processes.

b. All contractors and third-party service providers shall address and/or integrate applicable VA Handbook 6500 and Information Security Knowledge Service specifications in delivered IT systems/solutions, products and/or services. If systems/solutions, products and/or services do not directly match VA security equirements, the contractor shall work though the COR/CO for governance or resolution.

c. The contractor shall certify to the COR/CO that devices/systems that have completed the VA Enterprise Risk Analysis (ERA) process for Specialized Devices/Systems are fully functional and operate correctly as intended. Devices/systems must follow the VA ERA authorized configuration prior to acquisition and connection to the VA computing environment. If VA determines a new VA ERA needs to be created, the contractor shall provide required technical support to develop the configuration settings. Major changes to a previously approved device/system will require a new ERA.

d. The contractor shall comply with all practices documented by the Food Drug and Administration (FDA) Premarket Submission for Management of Cybersecurity in Medical Devices and Postmarket Management of Cybersecurity in Medical Devices.

e. The contractor shall design devices capable of accepting all applicable security patches with or without the support of the contractor personnel. If patching can only be completed by the contractor, the contractor shall commit the resources needed to patch all applicable devices at all VA locations. If unique patching instructions or packaging is needed, the contractor shall provide the necessary information in conjunction with the validation/testing of the patch. The contractor shall apply security patches within 30 business days of the patch release and have a formal tracking process for any security patches not implemented to include explanation when a device cannot be patched.

f. The contractor shall provide devices able to install and maintain VA-approved

antivirus capabilities with the capability to quarantine files and be updated as needed in response to incidents. Alternatively, a VA-approved whitelisting application may be used when the contractor cannot install an anti-virus / antimalware application.

g. The contractor shall verify and document all software embedded within the device does not contain any known viruses or malware before delivery to or installation at a VA location.

h. Devices and other equipment or systems containing media (hard drives, optical

disks, solid state, and storage via chips/firmware) with VA sensitive information will be returned to the contractor with media removed. When the contract requires return of equipment, the options available to the contractor are the following:

(1) The contractor shall accept the system without the drive, firmware and solid state.

(2) VA’s initial device purchase includes a spare drive or other replacement media which must be installed in place of the original drive at time of turn-in.

or

(3) Due to the highly specialized and sometimes proprietary hardware and software associated with the device, if it is not possible for VA to retain the hard drive, firmware, and solid state, then:

(a) The equipment contractor shall have an existing BAA if the device being traded in has sensitive information stored on it and hard drive(s) from the system are being returned physically intact.

(b) Any fixed hard drive, Complementary Metal-Oxide-Semiconductor (CMOS), Programmable Read-Only Memory (PROM), solid state and firmware on the device must be non-destructively sanitized to the greatest extent possible without negatively impacting system operation. Selective clearing down to patient data folder level is

recommended using VA approved and validated overwriting technologies/methods/tools. Applicable media sanitization specifications need to be pre-approved and described in the solicitation, contract, or order.