# ABSTRACT

# The purpose of this item is to perform reverse osmosis unit maintenance and training.

# REFERENCES

## Tech Manual T9531-AX-MMC-010, Seawater Reverse Osmosis Unit, 25,000 USGPD

## Tech Manual T6225-QT-MMC-010, Mission RO Seawater Feed Pump Assembly

## Tech Manual T6226-AP-MMC-010, Mission RO Recirculating Brominator Pump Motor Assembly

## Tech Manual T9531-BK-MMC-010, Mission RO High Pressure Pump and High Pressure Pump Motor

# ITEM LOCATION/DESCRIPTION

## Location/Quantity

### Location: Auxiliary Machinery Room (3-97-0)

### Quantity: One

## Item Description/Manufacturer’s Data

### Description: Model MLP 25,000

### Manufacturer: Aqua-Chem, Inc.

# GOVERNMENT FURNISHED EQUIPMENT/MATERIAL/SERVICE: None

# NOTES

## The contractor and all subcontractors, regardless of tier must consult the General Technical Requirements (GTR) to determine applicability to this work item. In performance of this work item, the contractor and all subcontractors regardless of tier must comply with the requirements of all applicable GTRs including but not limited to GTRs 1 through 7, 22, 23, 24, 28, and 29.

## The contractor and all subcontractors regardless of tier are advised to review other work items under this contract.  Many of the definitions relating to performance of this work item are found in Work Item 001.

## THIS SHIP CONTAINS HIGH VOLTAGE (HV) ELECTRICAL SYSTEMS. OBEY ALL POSTED AND VERBAL INSTRUCTIONS REGARDING SAFETY AND EXCLUSION FROM HIGH VOLTAGE AREAS.  AT NO TIME APPROACH, WORK ON, OR ENTER A HIGH VOLTAGE AREA WITHOUT PROPER AUTHORIZATION.

## THE ESB CLASS ELECTRICAL COLOR CODING DOES NOT FOLLOW CONSISTENT COLOR SCHEME.  THE SHIP IS KNOWN TO HAVE CURRENT CARRYING CONDUCTORS COLORED GREEN, BLUE, BLACK, AND WHITE.  ASSUME ALL ELECTRICAL CABLES ARE ENERGIZED UNTIL TESTED AND PROVEN OTHERWISE.  TEST ALL ELECTRICAL CABLES TO ENSURE THEY ARE DE-ENERGIZED PRIOR TO WORKING ON THE ITEM.

# QUALITY ASSURANCE REQUIREMENTS: None additional

# STATEMENT OF WORK REQUIRED

## Coordinate with ship’s force to have associated equipment locked and/or tagged out per ship’s lock out/tag out policy. When the maintenance is complete, coordinate with ship’s force to have associated equipment unlocked and/or tagged in per ship’s lock out/tag out policy.

## Drain and dispose of any liquid in accordance with all local, state, and federal laws.

## Provide the services of an Aqua Chem Electronics field service representative to attend the vessel and complete the following listed maintenance items using References 2.1 through 2.4 as guidance:

### Provide and install pre-programmed PLC memory module for RO unit.

### Provide and install replacement PI-109 pressure transducer.

### Utilizing ship’s onboard spare plc, update programming to match PLC provided in paragraph 7.3.1 install in system for operational testing and proving ready as spare.

### Remove ready spare and restore system as required by ship’s chief engineer.

### Provide hands-on training to crew members on programing, updating software and PLC installation.

### Provide an “as found” condition report to the Chief Engineer and MSC REP detailing any required repairs.

## Inspection/Test

### Perform operational testing upon reinstallation of all equipment in the presence of the ship’s engineer.

  - Reports

### When inspection, service and testing reveal any deficiency a condition report is to be submitted to the MSC REP with recommended repairs and parts required. Submit one electronic copy in Portable Document Format (PDF).

### Submit a report that includes “as released” condition of the reverse osmosis unit. Submit one electronic copy in Portable Document Format (PDF).

### All reports and checklists are to be completed and signed by the person who carried out the inspection and maintenance work and countersigned by the Company’s representative.

## Painting/Lagging

### Prepare, prime, paint and restore all new, soiled, and disturbed surfaces to match surrounding surfaces.

### Renew lagging where damaged or disturbed.

## Manufacturer’s Representative

### Provide the services of an OEM authorized field service representative to accomplish all work and testing on the reverse osmosis unit identified in section 3.0 ensuring compliance with the manufacturer’s standards and performance specifications.

### Possible Source

Aqua-Chem, Inc.

### Carl McMillan

### Service Manager

### T: +1 865 286 8404

### M: +1 865 850 2985

### cmcmillan@aqua-chem.com

# Preparation of Drawings: None additional

# GENERAL REQUIREMENTS: None additional