| ORDERING DATA SHEET – GENERAL |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| NOUN NAME: PUMP AND MOTOR ASSY DESCRIPTION: PUMP: 1-1/2'' INLET X 2'' OUTLET, FLANGED, 8, 7-3/4’’ IMPELLER 316 SS METAL PARTS, EPR ELASTOMERS AND CASING O-RING GOULDS 5SS1P9B2 MOTOR: 25 HP, FRAME 256TZ, TEFC, 3530 RPM, 230/460 VOLT, 50/25 AMPS, 60 HZ, 3 PHASE, CODE J, CLASS F, NEMA NOM EFF 93%, P.F. 91%, RATING 40G AMB ABB 09F367Y357G2 Manufacture/Vendor Part Number: 5SS1P9B2 or Equivalent Quantity: 1 EA. |  |  |  |  |  |  |  |
| Changes to specification or other technical requirements are not allowed without Shipyard approval via the Administrative Contracting Officer (ACO). |  |  |  |  |  |  |  |
| JOB ORDER 3626Y89714 |  | KEY OP H07 | KO ITEM 801 | REV - | IDN 5336-V036 | IDN REV - | PAGE 1 OF 1 |

2305.3 Form; Rev 09/2017