SPECIFICATION:

Rooftop Unit Air Conditions Unit Supplies:    INFO ON UNIT: York M/N ZF072N10P4BAC1A & SN# NIC2620470

SUPPLY LIST:

Condenser Fan Motors, Fuses, AC Compressors, Start Up Capacitors, Run Capacitors, Economizer Control, Modules, Supply Fan Motors, Thermistors FREON, Breaker control panels, Load Centers, Electrical wiring, Refrigerant oils, Chillers 1 & 2 relays, Magnetic Starters, Manually Aerated Disconnects – MOD’s, Condenser Fan Motor & Capacitors, Air Handlers Supplies, Fan Motor, Belts, Bearings, Cage (Squirrel), Return Air Fan Motor, Filters (Pre/Bagged) Pleated, Values, Gauges, Fuses, Logic Boards, Controllers, Actuators Belimo, Gate Values, Grease Stats

Bearing Grease

Heating Boiler Supplies INFO on UNIT: Camus Heating Boilers, Dyna force 2000, M/N DRPH – 2000- MSI, S/N 121114992

SUPPLY LIST:

Mechanical Seals, Motors (heating & cooling systems), Gauges, Values, Couplings, Impellers

Carrier Bearings

Hot Water Pumps Supplies: INFO on UNTI: Marothon S/N CR2361-02M30, M/N 215TTDBA4026AN

SUPPLY LIST:

Gas Valve Switches, Vacuum Switches, Ignitors

Flame Rods, Boiler Recirculating Pumps,

Mechanical Seals

Domestic Hot Water Boilers Supplies: INFO on UNIT: Raypak Brand, M/N WH7-0650B, GAS-Propane, S/N 2007486836

SUPPLY LIST:

Flame Sensors, Programmable Control Boards

Burners, Electronic Temperature Controls

Aqua stats, Recirculation Pumps, Check Values

Hardware supplies: 3/4” Copper Tube, 3/8” Copper Fittings, ½” Copper Pipes, ½” Copper Fitting, ¾” Copper Pipe, ¾” Copper Fitting, 1” PVC Pipes, 2” PVC Pipes, 1 ¼ PVC Pipes, PVC Fittings, Door Frames, Doors, Window Frames, Windows, welding supplies, solder supplies, galvanize pipes and fitting, electrical supplies, break, panels, electrical wires, electrical outlets, door knobs, door hinges, door closer, door locks, light tube, light fixtures, screws, bolts, nuts, washer, paint brush, paint rollers, shop rags, PPE Supplies, water fountain filters, filters for Air Handler Units.