| SUBJECT* | TONOMETER (Band Name or Equal) |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 53214-1476 |
| --- | --- |
| SOLICITATION NUMBER* | 36C25226Q0316 |
| RESPONSE DATE/TIME/ZONE | 03-11-2026 15:00 CENTRAL TIME, CHICAGO, USA |
| ARCHIVE | 30 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | 6515 |
| NAICS CODE* | 339112 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs GLAC (69D) 115 South 84th Street, Suite 101 Milwaukee WI 53214-1476 |
| POINT OF CONTACT* | Contracting Officer Waymon McNeal waymon.mcnealjr@va.gov waymon.mcnealjr@va.gov |

PLACE OF PERFORMANCE

| ADDRESS | Tomah VA Medical Center |
| --- | --- |
|  | 500 E. Veterans Street |
|  | Tomah WI |
| POSTAL CODE | 54660-3105 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

THIS IS A SOURCES SOUGHT NOTICE ONLY. THIS IS NOT A REQUEST FOR QUOTE.

The NCO 12, Great Lakes Acquisition Center, 115 S. 84th Street, Suite 101, Milwaukee, WI 53214, is performing market research to determine if there is a sufficient number of qualified: (1) Service-Disabled Veteran Owned Small Business (SDVOSB); (2) Veteran Owned Small Business (VOSB); or (3) Small or emerging small business firms, or (4) Other Than Small business firms, to provide a Brand Name or Equal TONOMETER to the Tomah VA Medical Center 500 E. Veterans Street Tomah, WI 54660-3105.

Brand Name : TONOMETER-II, ARK WITH TONOMETRY

| DESCRIPTION OF SUPPLIES |  | Manufacturer |  |  | Manufacturer Part No |  | QUANTITY |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TONOMETER-II, ARK WITH TONOMETRY |  | NIDEK |  |  | TONOMETER-II, ARK WITH TONOMETRY |  | 1 |

# General Requirements:

# Salient Characteristics:  (Brand Name or Equal)

- Refraction measurement range must be no less than -30.00D TO +25.00D (Spherical) and 0.00D to ±12.00D (cylindrical)

- Keratometry measurement range must be no less than 5.00mm to 13.00mm in radius curvature

- Intraocular Pressure Range shall be From 7mm to 60mmHg

- Axis SHALL BE NO LESS THAN 0° to 180° (1°/5° increments)

- Minimum Measurable Pupil Diameter SHALL NOT BE LESS THAN 2mm

- Radius Curvature Range must be no less than 5.00 to 13.00mm (0.01mm increments)

- Corneal Refractive Power shall not be less than 25.96D to 67.50D (n=1.3375), (0.01/0.12/0.25D increments)

- Must be able to Auto Track & Automatic Data Capture X-Y-Z direction, Automatic Data Capture

- PD Measurable range no less than 30.00mm to 85.00mm (indication increments: 1mm)

- Corneal Size (CS) range shall be no less than 8.1mm–14.6mm (indication increments: 0.1mm)

- Pupil Size (PS) range shall be no less than 0.8mm–12.1mm (indication increments: 0.1mm)

NON-CONTACT TONOMETER:

- Must be able to measure from 1mm Hg to 60mm hg

- Working distance no less than 11.0mm

- Must include inner fixation light

All interested firms who can meet the requirements stated above should respond, in writing,

# INCLUDING ALL THE FOLLOWING:

  - Company name.

  - Address.

  - Point of contact (name/title/telephone number/e-mail address).

  - FSS / SEWP Contract number, if applicable.

  - UIE number.

  - Tax ID number.

  - Indication of which business category (SDVOSB, VOSB, Small Business or Other Than Small Business) for which the organization qualifies.

  - A capability statement that addresses the organizations qualifications and ability to provide the requirement depicted above.

  - Documentation from manufacturer (i.e. correspondence from manufacturer) of your firm being an authorized distributor for the manufacturer.

Submit responses to the Contracting Specialist, Waymon McNeal, at Waymon.McNealjr@va.gov no later than 3:00 PM (Central Standard Time), 11 March 2026.

36C25226Q0316 TONOMETER shall be referenced on all correspondence regarding this announcement.

TELEPHONIC INQUIRIES WILL NOT BE ACCEPTED.

The NAICS Code 339112 Surgical and Medical Instrument Manufacturing, is applicable to this acquisition; the size standard is 1000 employees. Interested firms are reminded that in accordance with FAR 4.12, prospective contractors shall complete electronic annual representations and certifications in conjunction with FAR 4.11 required registration in the Systems for Award Management (SAM) database prior to award of a contract. The Government will use responses to this notice to make an appropriate acquisition decision. This is the only notice; no other copies of this notice will be provided.