Stryker S-Series Booms, Lights, and Video Integration System Upgrade (Brand Name or Equal)

Statement of Work

- Background:

The Cape Coral VA Healthcare Clinic (VAHCC), part of the Bay Pines VA Healthcare System (BPVAHCS), requires new, upgraded surgical booms; surgical lighting with integrated in-light cameras; 4K OLED monitors; an operating room video integration platform (software and hardware); and additional upgraded endoscopic surgical equipment. The S-Series–type booms, surgical lights, and integrated video system will provide surgeons and operating room staff with an ergonomically optimized workspace that allows unobstructed access to the patient.

These booms are intended to support surgical lighting and essential operating room equipment while keeping devices elevated, organized, and off the floor. This configuration improves cleanliness, enhances efficiency, and creates additional working space. Housing lighting, audiovisual components, and other necessary equipment within the booms allows the operating room team to work more effectively and maintain clear access to the surgical field.

The equipment described is intended to be Stryker brand name or equal.

- Scope of Work:

Remove existing Stryker anesthesia and equipment booms, lights, cameras, monitors, and video integration system. Install new equipment. Replacement will be staggered, to allow some Operating Rooms to remain in use while others are closed for equipment replacement. The schedule will be coordinated with COR and Surgical Staff at the Cape Coral VAHCC. This will include:

- Project Management –

Pre-installation planning and coordination with all departments, personnel, and Stryker staff.  Provide a complete schedule, Schedule all deliveries to local storage. On-site supervision and coordination.

- Interim Infection Control –

•	Provide ICRA plan.

•	Provide and install Class IV infection control. Three rooms simultaneously.

•	Tape/Plastic off all diffusers.

•	Tape HEPA filters on return air vents.

•	Tape/Plastic off all doors and cabinets.

•	Vent air scrubber, with HEPA filter, into return air vents in the room.

•	Provide plastic ante room inside of OR.

•	Provide sticky floor mats in the ante room.

•	Maintain negative air in all construction spaces, per facility infection control

•	Hospital to remove all mobile equipment prior to renovation.

•	Cover immobile equipment with plastic to protect it from dust.

- Demolition –

- Remove existing ceiling-mounted equipment

- Remove existing cabling data cabling

- Remove existing power supply box

- Equipment is to be stored onsite.

- Storage to be provided by Cape Coral VAHCC.

- Structural changes are not anticipated to be needed, therefore, not included in the SOW.

- Confirm existing mounting plates may be reused by relocated booms.

- Each boom is of similar configuration and weights/moments.

- Electrical –

No additional power is required for this project. All power will be reused like for like.

Disconnect all power to ceiling-mounted equipment prior to removal.

- Low Voltage –

Cabling for all new Stryker equipment will be the responsibility of the contractor. Stryker will be onsite to assist in opening equipment. Back pull existing data in equipment booms and anesthesia boom. Pull existing data back into the new equipment boom.

- Plumbing/Med Gas –

Disconnect all med gases to ceiling-mounted equipment. Connect med gases to new booms. Hire an independent med gas certifier to complete the purity and flow test.

- Finish Work –

Patch and paint ceiling or wall if damaged by Stryker during the upgrade or original condition.

- Schedule –

Complete detailed schedule will be submitted prior to work being started.

- Exclusions –

Modification to fire suppression system.

Asbestos abatement.

Mold remediation.

Removal, modification, testing, or installation of lead lined walls unless outlined above.

Fixing any existing conditions, not outlined above.

Special Inspections and Testing not outlined above.

Isolation panel upgrades/changes/certifications.

Permits and/or permit fees unless outlined above.

All Design work not specified above

RECORDS MANAGEMENT OBLIGATIONS

A.  Applicability

This clause applies to all Contractors whose employees create, work with, or otherwise handle Federal records, as defined in Section B, regardless of the medium in which the record exists.

B.  Definitions

“Federal record” as defined in 44 U.S.C. § 3301, includes all recorded information, regardless of form or characteristics, made or received by a Federal agency under Federal law or in connection with the transaction of public business and preserved or appropriate for preservation by that agency or its legitimate successor as evidence of the organization, functions, policies, decisions, procedures, operations, or other activities of the United States Government or because of the informational value of data in them.

The term Federal record:

- includes Bay Pines VA Healthcare System records.

- does not include personal materials.

- applies to records created, received, or maintained by Contractors pursuant to their Bay Pines VA Healthcare System contract.

- may include deliverables and documentation associated with deliverables.

C.  Requirements

- Contractor shall comply with all applicable records management laws and regulations, as well as National Archives and Records Administration (NARA) records policies, including but not limited to the Federal Records Act (44 U.S.C. chs. 21, 29, 31, 33), NARA regulations at 36 CFR Chapter XII Subchapter B, and those policies associated with the safeguarding of records covered by the Privacy Act of 1974 (5 U.S.C. 552a). These policies include the preservation of all records, regardless of form or characteristics, mode of transmission, or state of completion.

- In accordance with 36 CFR 1222.32, all data created for Government use and delivered to, or falling under the legal control of, the Government are Federal records subject to the provisions of 44 U.S.C. chapters 21, 29, 31, and 33, the Freedom of Information Act (FOIA) (5 U.S.C. 552), as amended, and the Privacy Act of 1974 (5 U.S.C. 552a), as amended and must be managed and scheduled for disposition only as permitted by statute or regulation.

- In accordance with 36 CFR 1222.32, Contractor shall maintain all records created for Government use or created in the course of performing the contract and/or delivered to, or under the legal control of the Government and must be managed in accordance with Federal law. Electronic records and associated metadata must be accompanied by sufficient technical documentation to permit understanding and use of the records and data.

- Bay Pines VA Healthcare System and its contractors are responsible for preventing the alienation or unauthorized destruction of records, including all forms of mutilation. Records may not be removed from the legal custody of Bay Pines VA Healthcare System or destroyed except for in accordance with the provisions of the agency records schedules and with the written concurrence of the Head of the Contracting Activity. Willful and unlawful destruction, damage or alienation of Federal records is subject to the fines and penalties imposed by 18 U.S.C. 2701. In the event of any unlawful or accidental removal, defacing, alteration, or destruction of records, Contractor must report to Bay Pines VA Healthcare System. The agency must report promptly to NARA in accordance with 36 CFR 1230.

- The Contractor shall immediately notify the appropriate Contracting Officer upon discovery of any inadvertent or unauthorized disclosures of information, data, documentary materials, records or equipment. Disclosure of non-public information is limited to authorized personnel with a need-to-know as described in the contract. The Contractor shall ensure that the appropriate personnel, administrative, technical, and physical safeguards are established to ensure the security and confidentiality of this information, data, documentary material, records and/or equipment is properly protected. The Contractor shall not remove material from Government facilities or systems, or facilities or systems operated or maintained on the Government’s behalf, without the express written permission of the Head of the Contracting Activity. When information, data, documentary material, records and/or equipment is no longer required, it shall be returned to Bay Pines VA Healthcare System control or the Contractor must hold it until otherwise directed. Items returned to the Government shall be hand carried, mailed, emailed, or securely electronically transmitted to the Contracting Officer or address prescribed in the contract. Destruction of records is EXPRESSLY PROHIBITED unless in accordance with Paragraph (4).

- The Contractor is required to obtain the Contracting Officer's approval prior to engaging in any contractual relationship (sub-contractor) in support of this contract requiring the disclosure of information, documentary material and/or records generated under, or relating to, contracts. The Contractor (and any sub-contractor) is required to abide by Government and Bay Pines VA Healthcare System guidance for protecting sensitive, proprietary information, classified, and controlled unclassified information.

- The Contractor shall only use Government IT equipment for purposes specifically tied to or authorized by the contract and in accordance with Bay Pines VA Healthcare System policy.

- The Contractor shall not create or maintain any records containing any non-public Bay Pines VA Healthcare System information that are not specifically tied to or authorized by the contract.

- The Contractor shall not retain, use, sell, or disseminate copies of any deliverable that contains information covered by the Privacy Act of 1974 or that which is generally protected from public disclosure by an exemption to the Freedom of Information Act.

- The Bay Pines VA Healthcare System owns the rights to all data and records produced as part of this contract. All deliverables under the contract are the property of the U.S. Government for which Bay Pines VA Healthcare System shall have unlimited rights to use, dispose of, or disclose such data contained therein as it determines to be in the public interest. Any Contractor rights in the data or deliverables must be identified as required by FAR 52.227-11 through FAR 52.227-20.

- Training.  All Contractor employees assigned to this contract who create, work with, or otherwise handle records are required to take [Agency]-provided records management training. The Contractor is responsible for confirming training has been completed according to agency policies, including initial training and any annual or refresher training.

[Note: To the extent an agency requires contractors to complete records management training, the agency must provide the training to the contractor.]

D.  Flowdown of requirements to subcontractors

- The Contractor shall incorporate the substance of this clause, its terms and requirements including this paragraph, in all subcontracts under this [contract vehicle], and require written subcontractor acknowledgment of same.

- Violation by a subcontractor of any provision set forth in this clause will be attributed to the Contractor.

VA INFORMATION AND INFORMATION SYSTEM SECURITY/PRIVACY LANGUAGE

VA INFORMATION CUSTODIAL LANGUAGE:

a. Contractors, contractor personnel, subcontractors, and subcontractor personnel shall be subject to the same Federal laws, regulations, standards, and VA Directives and Handbooks as VA and VA personnel regarding information and information system security.

b. If VA determines that the contractor has violated any of the information confidentiality, privacy, and security provisions of the contract, it shall be sufficient grounds for VA to withhold payment to the contractor or third party or terminate the contract for default or terminate for cause under Federal Acquisition Regulation (FAR) part 12.

c. A contractor/subcontractor shall request logical (technical) or physical access to VA information and VA information systems for their employees, subcontractors, and affiliates only to the extent necessary to perform the services specified in the contract, agreement, or task order.

d. All contractors, subcontractors, and third-party servicers and associates working with VA information are subject to the same investigative requirements as those of VA appointees or employees who have access to the same types of information. The level and process of background security investigations for contractors must be in accordance with VA Directive and Handbook 0710, Personnel Suitability and Security Program. The Office for Operations, Security, and Preparedness is responsible for these policies and procedures.

SECURITY INCIDENT INVESTIGATION:

a. The term “security incident” means an event that has, or could have, resulted in unauthorized access to, loss or damage to VA assets, or sensitive information, or an action that breaches VA security procedures. The contractor/subcontractor shall immediately notify the COR and simultaneously, the designated ISO and Privacy Officer for the contract of any known or suspected security/privacy incidents, or any unauthorized disclosure of sensitive information, including that contained in system(s) to which the contractor/subcontractor has access.

b. To the extent known by the contractor/subcontractor, the contractor/subcontractor’s notice to VA shall identify the information involved, the circumstances surrounding the incident (including to whom, how, when, and where the VA information or assets were placed at risk or compromised), and any other information that the contractor/subcontractor considers relevant.

c. With respect to unsecured protected health information, the business associate is deemed to have discovered a data breach when the business associate knew or should have known of a breach of such information. Upon discovery, the business associate must notify the covered entity of the breach. Notifications need to be made in accordance with the executed business associate agreement.

d. In instances of theft or break-in or other criminal activity, the contractor/subcontractor must concurrently report the incident to the appropriate law enforcement entity (or entities) of jurisdiction, including the VA OIG and Security and Law Enforcement. The contractor, its employees, and its subcontractors and their employees shall cooperate with VA and any law enforcement authority responsible for the investigation and prosecution of any possible criminal law violation(s) associated with any incident. The contractor/subcontractor shall cooperate with VA in any civil litigation to recover VA information, obtain monetary or other compensation from a third party for damages arising from any incident, or obtain injunctive relief against any third party arising from, or related to, the incident.

LIQUIDATED DAMAGES FOR DATA BREACH:

a. Consistent with the requirements of 38 U.S.C. §5725, a contract may require access to sensitive personal information. If so, the contractor is liable to VA for liquidated damages in the event of a data breach or privacy incident involving any SPI the contractor/subcontractor processes or maintains under this contract.

b. The contractor/subcontractor shall provide notice to VA of a “security incident” as set forth in the Security Incident Investigation section above. Upon such notification, VA must secure from a non-Department entity or the VA Office of Inspector General an independent risk analysis of the data breach to determine the level of risk associated with the data breach for the potential misuse of any sensitive personal information involved in the data breach. The term 'data breach' means the loss, theft, or other unauthorized access, or any access other than that incidental to the scope of employment, to data containing sensitive personal information, in electronic or printed form, that results in the potential compromise of the confidentiality or integrity of the data. Contractor shall fully cooperate with the entity performing the risk analysis. Failure to cooperate may be deemed a material breach and grounds for contract termination.

SECURITY CONTROLS COMPLIANCE TESTING :

On a periodic basis, VA, including the Office of Inspector General, reserves the right to evaluate any or all of the security controls and privacy practices implemented by the contractor under the clauses contained within the contract. With 10 working-day’s notice, at the request of the government, the contractor must fully cooperate and assist in a government-sponsored security controls assessment at each location wherein VA information is processed or stored, or information systems are developed, operated, maintained, or used on behalf of VA, including those initiated by the Office of Inspector General. The government may conduct a security control assessment on shorter notice (to include unannounced assessments) as determined by VA in the event of a security incident or at any other time.

TRAINING:

a. All contractor employees and subcontractor employees requiring access to VA information and VA information systems shall complete VA Privacy and Information Security Awareness and Rules of Behavior Training before being granted access to VA information and its systems.

(1) Sign and acknowledge (either manually or electronically) understanding of and responsibilities for compliance with the Rules of Behavior before being granted access to VA information and its systems.

b. The contractor shall provide to the contracting officer and/or the COR a copy of the training certificates and certification of signing the Rules of Behavior for each applicable employee within 1 week of the initiation of the contract and annually thereafter, as required.

c. Failure to complete the mandatory annual training and sign the Rules of Behavior annually, within the timeframe required, is grounds for suspension or termination of all physical or electronic access privileges and removal from work on the contract until such time as the training and documents are complete.