STATEMENT OF WORK

Electric Distribution Services

Bureau of Indian Affairs, Truxton Canon Agency

# NEED

The Bureau of Indian Affairs (BIA), Truxton Canon Agency (TCA) must ensure the safe, reliable, and consistent distribution of power through the electric power network that runs through the Havasupai Reservation, henceforth referred to as “Supai”.  TCA must contract firm electric service directly with Mohave Electric Cooperative, Inc. (MEC), as MEC is the only electric utility available within the area.

# RISK

Supai is one of the most remote Native American reservations in the continental United States.  MEC is the only electric utility within the area.  The next closest electric utility is UNS Electric Inc., ~100 miles from Supai.  Without MEC to supply continuous firm electric service to Supai, the BIA will be required to purchase large amounts of petroleum fuels and run a power generator 24/7.  This option will add extra financial burden on the TCA electric customers.  Supai is a disadvantaged community as it lies within the Grand Canyon, which is only accessible by foot or helicopter.  This financial burden will damage the Native American Tribe and its peoples.

# OBJECTIVE

A key goal for BIA, TCA is to provide economical and reliable power to Supai.

The objective of this effort is for MEC to supply firm electric service to TCA.

# BACKGROUND

The first known sources of electric power at the Supai Village were small electric generators that served individual service locations.  Fuel for the generators had to be hauled to the Supai Village on pack animals.  In the 1970’s, the BIA initiated a project to install a diesel-powered electric generator on the remote rim of Long Mesa, which would power the newly installed distribution power line that began at the Long Mesa Generator and descended ~3,000 feet to the Supai village.   The newly installed generator and power lines provided a more reliable supply of electricity for the BIA school and other government facilities, as well powering a few tribally owned locations.  As the demand for electric power increased, the BIA installed additional generators at Long Mesa and expanded the power distribution system throughout the Supai Village.   Initially the project was successful, but did experience logistic issues during the winter months, in delivering the much-needed diesel fuel to Long Mesa.

Due to the logistical issues and the constant need to refuel the generators the BIA began exploring options to replace electric generators as the primary source of electric power and interconnect to an existing electric utility.  The new interconnect would provide firm electric service for the Supai Village.  Initially MEC declined the opportunity to provide firm electric service to all the individual customers throughout Supai.  MEC later accepted the offer to provide firm electric service to a demarcation point at Long Mesa.  At the demarcation point the BIA would accept the firm electric power from MEC and then transmit the electric power to the Supai Village.  The existing generators became the emergency backup power supply for the Supai Village.  In 1982, the BIA awarded an electric service contract to MEC to construct a 70-mile power line to the demarcation point at Long Mesa.  Since the completion of the 70-mile power line to Supai, MEC has been the sole provider of firm electricity to the BIA for use throughout Supai.

# SCOPE

The scope of this effort is for MEC to provide firm electric service to the BIA/MEC demarcation point at Long Mesa.  MEC shall also be responsible for all operation, maintenance, and repair of the 70-mile power leading to the BIA/MEC demarcation point at Long Mesa.

# REQUIREMENTS AND TASKS

To meet the BIA’s goals and expectations the Government requires an expert contactor with in-depth knowledge and expertise in all areas of requirements, elicitation, documentation, installation, maintenance, troubleshooting, and management to ensure that requirements are met, and deliverable services comply with business needs.

The following section of the SOW describes the requirements and tasks that shall be completed by the Contractor.

  - REQUIREMENTS

The Contractor shall be directly responsible for ensuring the accuracy, timeliness and completion of tasks assigned under this contract.

  - SPECIFIC TASKS

The MEC shall provide all management and technical services within the scope of this contract to support the following tasks.

    - TASK 1: KICK-OFF

      - MEC shall conduct a kick-off meeting no later than ten (10) business days after notice-to-proceed.

        - During the kick-off meeting MEC shall supply a five-year historical power usage report identifying previous needs, and a five-year projection of required power usage.

          - Report shall display monthly and annual figures

        - Included with the five-year power usage projection MEC shall supply a budgetary expense for each of the projected years.

        - MEC shall supply a five-year operations and maintenance plan, identifying all required work

          - If costs are to be directly passed through to TCA, MEC shall supply budgetary costs and justifications.

        - MEC shall clearly identify a Project Manager and include all contact information and alternate contact sources in the event of loss of the Project Manager.

    - TASK 2: FIRM ELECTRIC SERVICE

      - MEC shall supply firm electric service to the established BIA/MEC demarcation point at Long Mesa.

        - Firm electric service shall not fall below the established Average five-year historical usage for the project.

        - Firm electric service shall be established for the projected electric load requirements.

        - Billing for the firm electric service shall be monthly.

    - TASK 3: OPERATIONS AND MAINTENANCE OF MEC FACILITIES

      - MEC shall be responsible for all operations for all operations, maintenance, and repair of the 70-mile power leading to the BIA/MEC demarcation point at Long Mesa.

        - If costs are to be directly passed through to TCA, MEC shall supply budgetary costs and justifications.

        - Due to budgetary constraints and the need for TCA to closely manage expenses, MEC shall complete only the work that is accepted by the BIA.

        - Work that is to be paid by TCA shall be submitted in the five-year operations and maintenance plan.

          - If there are modifications to the plan made by MEC or the BIA requests modification to the work plan, MEC shall meet with the BIA to discuss the modifications and receive BIA acceptance before any work is planned and completed.

# DELIVERABLES / DELIVERY SCHEDULE

  - Activity and Deliverable Timetable: Deliverable products shall be submitted to the address shown in Section 6.3, in accordance with the following schedule:

| Item # | Description | Section # | Distribution | Acceptance Required | Due Date |
| --- | --- | --- | --- | --- | --- |
| 001 | Kick-Off Meeting | 5.1.1 | COR – One (1) electronic copy | No | 10 Days after Notice to Proceed |
| 002 | Power Usage Report | 5.1.1.2 | COR – One (1) electronic copy | Yes | 10 Days after Notice to Proceed |
| 003 | Work Plan | 5.1.1.3 | COR – One (1) electronic copy | Yes | 10 Days after Notice to Proceed |

Table 1 - Activity and Deliverable Timetable

  - Acceptance/Disapproval of Deliverables:

Unless otherwise specified, the Government will have a maximum of ten (10) working days from the day the deliverables are received to review the document, provide comments back to the Contractor, approve or disapprove the deliverable(s). The Contractor will also have a maximum of ten (10) working days from the day comments are received to incorporate all changes and submit the final deliverable to the Government.

  - Address for Deliverables:

13067 E Hwy 66, Valentine, Arizona 86437

    - Electronic Submittals of deliverables may be submitted to the email address of the identified COR.

# PLACES OF PERFORMANCE

The place of performance shall be within the boundaries of the Hualapai and Havasupai Reservation,  Peach Springs and Supai Arizona.  Mohave and Coconino County.

- Main Meeting Location:

13067 E Hwy 66, Valentine, Arizona

- Physical Locations:

Long Mesa, Supai, Arizona

# PERIOD OF PERFORMANCE

  - Period of Performance:

The period of performance for this contract will contain one (1) Base Year, plus four (4) option years from the date the notice-to-proceed is delivered from the CO.