- Page 7 of solicitation: last bullet – “Evaluation and design modifications to the existing electrical distribution system…”

Q: Are electrical distribution system upgrades part of the scope for replacing Steam & Condensate piping?

VA:  No, the A/E shall verify if all new equipment can be supported by the existing electrical system.

- Page 8 of solicitation: First bullet – “Evaluation and design modifications to existing Plumbing, Medical Gas, and Fire Protection systems….”

Q: Are plumbing, med-gas and fire protection system upgrades part of the scope for replacing Steam & Condensate piping?

VA:  Medical gas and fire protection are not in the scope of work.  Plumbing is in scope as it pertains to the steam system.

- Referenced drawings on Page 11, if these are available, where can they be downloaded?  If not, can these be made available prior to submission of SF-330’s?

VA:  These will be made available as PDF’s.

- Attachment A – are the submission checklists general checklists?  Can these be updated specific to the project deliverables?  Concerns include:

VA:  This is just a list of general checklists.  Only those specific to the project apply:  Architectural (floor and room numbers), Plumbing (drains and steam), Electrical (digital control for steam?), HVAC (steam), Equipment, Steam Distribution, Critical Path Method, Estimating, Specifications.

  - Many items appear not specific to the advertised scope of work.

  - Lead abatement is listed as a schematic design (15%) – 36 days.  Has a hazardous materials assessment been completed and will it be provided prior to project kickoff?

VA:  This is not in scope.

  - Structural – cost estimates and calculations at schematic design (15%).  Is there any anticipated structural scope for the project due to possible changes with seismic design requirements?  Is any structural information available if it is in scope?

VA:  This is not in scope.

  - Steam Generation (Section K) – is this in anticipated scope?  If so, there are many deliverables due at Schematic Design (15%).  Please provide clarification.

VA:  This is not in scope.

- Will existing drawings be available and in what format will they be provided?

VA:  These will be made available as PDF’s.