Statement of Work (SOW)

BLOOD GAS INSTRUMENT PLACEMENT

- Description of the work to be performed:

Contractor will enter into a 5- year instrument placement /reagent rental agreement with Chinle laboratory. Contractor will provide 2 Radiometer ABL 90 Flex Plus analyzers. These analyzers will replace Radiometer blood gas analyzers, which will be traded in.  The 2 analyzers includes:

2 ABL 90 Flex Plus analyzers

Warranty service for 1 year and service coverage for 4 years

Supplies and reagents sufficient to operate analyzers on a continuous basis, under normal operating conditions

Installation and user training

Full Validation kit

Analyzers are covered by depot service

II. Location of work: Chinle Comprehensive Health Care Facility

III. Period of Performance: 04/01/2026-03/31/2027

IV. Deliverable schedule:

Contractor will ship/deliver instrumentation upon receipt of PO and schedule training on mutually acceptable date.

V. Performance standards:

Contractor will provide proper invoice for billing.

Instrumentation will be replaced/repaired at manufacturer’s discretion following their internal protocols.

VI. Contracting Officer Representative: Colleen Ben, Laboratory Supervisor; (928)-674-7101; email: colleen.ben@ihs.gov