| SUBJECT* | Jackson Lift Station Repair |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 20006 |
| --- | --- |
| SOLICITATION NUMBER* | 36C10D26Q0099 |
| RESPONSE DATE/TIME/ZONE | 05-15-2026 12:00pm EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 30 DAYS AFTER THE RESPONSE DATE |
| SET-ASIDE | SDVOSBC |  |
| PRODUCT SERVICE CODE* | J045 |  |
| NAICS CODE* | 238220 |  |
| PLACE OF PERFORMANCE | Department of Veterans Affairs |  |
|  | Veterans Benefits Administration |  |
|  | Jackson Regional Office |  |
|  | 1600 East Woodrow Wilson Avenue |  |
|  | Jackson MS |  |
| POSTAL CODE | 39216 |  |
| COUNTRY | US |  |

CONTACT INFORMATION

| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Veterans Benefits Administration Acquisition Directorate 1800 G Street NW Washington DC 20006 |
| --- | --- |
| POINT OF CONTACT* | Contract Specialist Tiffany Garfield tiffany.garfield@va.gov |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION | tiffany.garfield@va.gov |

DESCRIPTION

STATEMENT OF WORK
Lift Pump Removal, Repair, and Reinstallation Services
VA Jackson Regional Office
Jackson, Mississippi

SUMMARY
This Statement of Work (SOW) outlines the requirements for the removal, off-site repair, and reinstallation of one wastewater lift pump located in the West Lift Station at the VA Jackson Regional Office. The contractor shall provide all labor, materials, equipment, transportation, and technical expertise necessary to restore the pump to full operational status. The project includes pump removal, disconnection of related piping and electrical components, off-site rebuilding with an estimated turnaround of 3–5 days, and full reinstallation with operational testing. The contractor must comply with major VA facility security and access requirements. Work shall be performed during normal business hours and coordinated with the Contracting Officer’s Representative (COR).

BACKGROUND
The VA Jackson Regional Office operates a wastewater lift station that supports critical facility operations. One wastewater lift pump (Pump #1 in the West Lift Station) requires removal, off-site repair, and reinstallation to ensure continued safe operation of the wastewater handling system.

SCOPE OF WORK
The Contractor shall provide all labor, equipment, materials, tools, supervision, and transportation necessary to perform the following tasks:

- Removal of Pump #1 from the West Lift Station control box.

- Disconnection and removal of necessary piping, electrical wiring, and pump-mounted hardware.

- Off-site pump rebuilding with an estimated lead time of 3–5 days.

- Replacement or refurbishment of worn or damaged internal components.

- Reinstallation of the repaired pump and motor assembly.

- Reconnection of all piping and electrical lines in accordance with all applicable codes and safety standards.

- Operational checks to confirm functional performance and system readiness.

All work shall be completed during normal business hours.

TECHNICAL REQUIREMENTS

The Contractor shall:

- Use OEM-equivalent or superior repair parts.

- Ensure all electrical work complies with the National Electrical Code (NEC).

- Ensure all mechanical reconnections comply with plumbing and wastewater system standards.

- Test the pump under operational load to verify performance.

- Provide a written repair summary detailing the replacement parts, work completed, and test results.

PLACE OF PERFORMANCE
VA Jackson Regional Office
1600 E. Woodrow Wilson Drive
Jackson, MS 39216

PERIOD OF PERFORMANCE
Project start date: Upon award.
Repair lead time: 3–5 days from pump removal.
Final testing: Within 24 hours after reinstallation.

DELIVERABLES
The Contractor shall provide the following deliverables:

- Repaired wastewater lift pump.

- Reinstallation completed and verified.

- Final operational test documentation.

- Summary report of parts replaced and work performed.

- Warranty documentation, if applicable.

CONTRACTOR QUALIFICATIONS
The Contractor must be licensed Plumbing, Heating, and Air-Conditioning, and must be regularly engaged in pump, HVAC, mechanical, or wastewater system repairs.

Technicians must be trained, qualified, and experienced in wastewater and lift-station mechanical repairs.

INVOICING REQUIREMENTS
The Contractor shall submit invoices monthly in arrears. Invoices must include:

- Contract number and associated Contract Line-Item Number (CLIN)

- Date and location of service

- Description of work performed

- Labor hours

- Material costs

- Total cost

SECURITY, PRIVACY, AND ACCESS REQUIREMENTS

Facility Access and Identification
Contractor personnel must check in daily with VA security. All personnel must always wear VA-issued badges or visitor identification while on VA property. Access is restricted to areas required for contract performance.

Background Investigation Requirements
Contractor personnel requiring physical access to VA facilities must undergo a background screening consistent with VA requirements. A National Agency Check with Inquiries (NACI) or equivalent investigation must be initiated prior to the start of on-site work.
Contractors may begin work once investigation initiation is confirmed.

Rules of Behavior
Contractor employees shall review and sign the VA Rules of Behavior, acknowledging requirements for proper conduct, protection of government property, and safeguarding of any sensitive information encountered in the performance of duties.

Cybersecurity and Privacy Training
If contractor personnel require access to any VA information systems (not anticipated for this project unless specified by the COR), they must complete VA Cybersecurity Awareness Training and VA Privacy Training prior to system access.
If no system access is required, this section does not apply.

Protection of Government Property
The Contractor shall protect all VA facilities, equipment, and materials encountered during work and shall repair or reimburse the Government for any damage caused by contractor personnel.

GENERAL REQUIREMENTS
The Contractor shall:

- Maintain a clean and safe work area.

- Follow OSHA and VA safety guidelines.

- Coordinate scheduling and site access with the COR.

- Provide all necessary tools, equipment, and labor.

- Comply with all federal, state, and local regulations.

- Maintain professional conduct and communication at all times