- TITLE

Bioinformatics data analysis of next generation sequencing (NGS) data from on-premise Illumina DRAGEN Server v4.

- BACKGROUND

The NCI-COMPASS program at the Laboratory of Pathology has been running TSO500 v1 since 2019. This panel consist of 523 cancer specific genes, and it is optimized to provide high sensitivity and specificity for low-frequency somatic variants across these genes. DNA biomarkers detected by the assay include Single nucleotide variants (SNVs), insertions, deletions, multinucleotide variants (MNVs), gene amplification, gene deletion, gene rearrangements. TSO 500 also detects immunotherapy biomarkers for tumor mutational burden (TMB) and microsatellite instability (MSI). This clinical sequencing assay will be used for the patient enrolment in NCI clinical protocols and patient treatments.

Bioinformatics data analysis of TSO500 v1 sequencing has been using TSO500 local app v1.2 that was installed on the NIH Biowulf cluster. Now Illumina upgraded the assay panel with HRD and other new features into TSO500 v2. TSO500 v1 and analysis app v1.2 will be discontinued in later 2026. The TSO500 v2 requires TSO500 analysis software runs on Illumina Dragon Server. The analysis license is built in with TSO500 v2 reagent kit purchased.

With currently one Dargen Server is installed and running evaluation and testing on the NIH Biowulf cluster, we request to purchase and install the second Dragen Server to run analysis of clinical samples that are about 1000 cases per year.

- OBJECTIVE

The main objective is to buy the bioinformatics data processing “DRAGEN” server (IT hardware) provided by the manufacturer (Illumina Inc.) for clinical Next Generation Sequencing. The DRAGEN server will have pre-installed Dragen TruSight Oncology 500 (TSO500) and Dragen TSO500 ctDNA analysis software support secondary analysis for the data generated by our current clinicalTSO500 assay, and new TSO500 v2, TSO500 HRD add-on assay, TSO500 ctDNA assay.  The lab plans to start new TSO500 assays in July 2026. All new TSO500 assays come with Illumina’s proprietary bioinformatics pipeline that is only available on DRAGEN server. The server will be mounted on NIH Biowulf cluster by the NIH CIT team.

The Contractor shall provide all labor, material and equipment necessary to maintain and provide preventive maintenance for the following equipment:

- Illumina Inc. D	RAGEN Server v4 – Catalog Number: 20032797

All maintenance services shall be performed on-site in accordance with the Original Equipment Manufacturer’s (OEM) most current standard commercial maintenance practices. Onsite and emergency services shall be provided during standard business hours (Defined as 8:00 am – 5:00 pm EST, Monday through Friday, excluding Federal Holidays found at (www.opm.gov/policy-data-oversight/pay-leave/federal-holidays) and extended hours (5:00 pm – 9:00pm EST, Monday through Friday) for any issues not able to be resolved remotely, or during normal business hours. Software updates/services maybe provided remotely as applicable. All travel, labor, materials, and related charges shall be included in the purchase order price.

- CONTRACT REQUIREMENTS

The contractor shall provide all labor, materials, and equipment required to perform the following:

  - PROVIDE HARDWARE / SOFTWARE

The Contractor will provide the DRAGEN (Dynamic Read Analysis for Genomics) Platform v4 based on a field-programmable gate array (FPGA) to provide hardware-accelerated implementations of genomic and transcriptomic pipeline algorithms, such as BCL conversion, compression, mapping, alignment, sorting, duplicate marking, small variant calling, large structure variant calling, copy number variation analysis for TSO500 v2 and TSO500 ctDNA assay. In addition to TSO500 pipeline, it supports other genomic analysis pipelines as well as metagenomics analysis pipeline. One year of Advance Exhange support is included in the first year.

  - EMERGENCY SERVICE

On-site, emergency repair services shall be provided during the term of this contract at no additional cost to the government. Emergency service shall be provided during normal working hours, Monday through Friday excluding Federal Holidays (See section 3.0). Upon receipt of notice that any part of the equipment is not functioning properly the Contractor shall provide a four (4) hour initial response with a seventy-two (72) hour on-site response a qualified factory-trained service representative to inspect the equipment and perform all repairs and adjustments necessary to restore the equipment to normal and efficient operating condition.  Emergency service calls shall not replace the necessity for planned preventative maintenance.  All labor and travel will be included.

Within three (3) days of the completion of any emergency repair services performed, the contractor shall provide a brief report to the TPOC stating the equipment malfunction that occurred, the repair efforts performed, and the duration that was required to restore the equipment to operation. The report shall be provided in electronic format such as, a Word or PDF file.

  - REPLACEMENT PARTS

The Contractor shall replace a damaged or defective DRAGEN Server with a placement model to rectify the issues that cannot be resolved remotely at no additional cost to the Government. All parts shall meet OEM specifications. Upon identification of the problem, replacement shall be delivered within reasonable time frame. If replacement will take longer to be delivered for any reason, the contractor must provide the TPOC with a notification stating the reason and estimated delivery timeframe immediately upon identification of delivery delay.

  - SOFTWARE UPDATES/SERVICE

The Contractor shall provide Software Service and updates in accordance with the manufacturer’s latest established service procedures, to include telephone access to technical support for use of program software and trouble shooting of the operating systems, at no additional cost to the Government.  The contractor shall receive advance approval for the installation of all software updates and revisions from the Government.  Defective software shall be replaced at no additional cost to the government. Installation of any software/updates shall be performed by a factory trained and certified technician. The Contractor shall provide an electronic report to the TPOC per the within one (1) day after successful performance of software updates. This resport must also include the reason for the updates, and any effect it may have on equipment operation.

  - TECHNICAL PHONE SUPPORT

The Contractor shall provide at no additional cost to the Government unlimited clinical technical telephone support during standard business hours for troubleshooting for the instrument and clinical application support (8am – 9pm Monday through Friday), excluding Federal holidays.

  - PERSONNEL QUALIFICATIONS

Technically qualified factory-trained personnel shall perform service to Illumina DRAGEN Server system, including its configured Unix, and supporting software as covered by this contract.  All primary service personnel shall have at least one backup support person with at least the same level of expertise on the equipment covered by this contract.

- TYPE OF ORDER

This shall be issued as a Firm-Fixed-Priced Purchase Order.

6.0	DELIVERY / INSTALLATION

The order shall be delivered to the Contracting Officer Representative (COR), within 30 days of purchase order award.

Onsite services shall be performed at the following location:

NIH, NCI,

10 Center Drive

Bldg. 10, Room 3S235A

Bethesda, MD 20892

Note that access to the NIH campus is restricted. As such all contractor personnel will be required to access campus via designated enterances where they are subject to security screening.

Please refer to the NIH Security and Access site for more details: (www.nih.gov/about-nih/visitor-information/campus-access-security).

- A minimum 12-month manufacturer warranty must be included

- Shipping/Handling costs must be included in the quote. NCI will not be

responsible in the event charges are not included in the quote.

- Installation charges must be included in the quote.

Note: NCI plans to award a contract that has FOB origin delivery terms.

7.0	WARRANTY

The Contractor shall warrant that any instruments, equipment, components, or other supplies (“Supplies”) procured by this purchase are free of defects in design, material, or manufacture for a period of 12-months from date of installation.

The Contractor shall warrant that all consumables or expendable parts are free of defects in design, material, or manufacture for a period of at least 90 calendar days from date of acceptance by the Government.

Supplies which are repaired or replaced shall be warranted for the remainder of the initial warranty period or for 90-days – whichever is greater.

12-months of Technical Support shall be included in the warranty.

- INSPECTION AND ACCEPTANCE

Pursuant to FAR clause 52.212-4, all work described in the SOW to be delivered under this

purchase order is subject to final inspection and acceptance by an authorized representative of

the Government. The authorized representative of the Government is the NCI Technical Point of Contact (TPOC T.B.D upon award) who is responsible for inspection and acceptance of all services, materials, or supplies to be provided by the Contractor.

Regardless of format, all digital content or communications materials produced as a deliverable under this purchase order, shall conform to applicable Section 508 Standards to allow Federal employees and members of the public with disabilities to have access to and use of information and data that is comparable to the access to and use of information and data by Federal employees or by members of the public who are not individuals with disabilities. Remediation of any materials that do not comply with the applicable Section 508 requirements as set forth below, shall be the responsibility of the Contractor.

HHS guidance regarding accessibility of documents can be found at:

https://www.hhs.gov/web/section-508/accessibility-checklists/index.html

Federal Government-wide guidance regarding accessibility of documents can be found

at https://www.section508.gov/, including the documents describing the preferred method of

authoring and testing documents produced in Microsoft Word 2013 or later, Microsoft Excel,

and files formatted as PDF.

9.0	DELIVERABLES AND DELIVERY SCHEDULE

All written deliverable products shall be submitted in draft format for review, comment and approval by

the TPOC. Final copies of approved drafts shall be delivered to the TPOC by the specified due dates in

the table below.

Reports shall be delivered in Microsoft Office 2013 or newer Word formats or Adobe PDF, unless prior

approval for another format has been obtained from the TPOC.

| DELIVERABLE | REQUIRED FORMAT | DUE DATE |
| --- | --- | --- |
| Delivery of Hardware Report (Section 4.1) | Electronic, Word or PDF format | 3 business days after completion of service |
| Emergency Maintenance Service Report (Section 4.2) | Electronic, Word or PDF format | 3 business days after completion of service |
| Software Updates/Revisions (Section 4.4) | Electronic, Word or PDF format | 1 business days after completion of service |
| Delayed Delivery Notification (Section 4.3) | Electronic, Word or PDF format | Immediately upon identification of delayed deliveries |

- PAYMENT

Payment shall be made in quarterly in arrears. Payment authorization requires submission and approval of invoices to the COR and NIH OFM, in accordance with the attached payment provisions listed below:

The following clause is applicable to all Purchase Orders, Task or Delivery Orders, and Blanket Purchase Agreement (BPA) Calls: PROMPT PAYMENT (JAN 2017) FAR 52.232-25. Highlights of this clause and NIH implementation requirements follow:

- INVOICE REQUIREMENTS

  - An invoice is the Contractor's bill or written request for payment under the contract for supplies delivered or services performed.  A proper invoice is an "Original" which must include the items listed in subdivisions 1 through 12, below, in addition to the requirements of FAR 32.9.  If the invoice does not comply with these requirements, the Contractor will be notified of the defect within 7 days after the date the designated billing office received the invoice (3 days for meat, meat food products, or fish, and 5 days for perishable agricultural commodities, dairy products, edible fats or oils) with a statement of the reasons why it is not a proper invoice.  (See exceptions under II., below.)  Untimely notification will be considered in the computation of any interest penalty owed the Contractor.

    - Vendor/Contractor:  Name, Address, Point of Contact for the invoice (Name, title, telephone number, e-mail and mailing address of point of contact).

    - Remit-to address (Name and complete mailing address to send payment).

    - Remittance name must match exactly with name on original order/contract.  If the Remittance name differs from the Legal Business Name, then both names must appear on the invoice.

    - Invoice date.

    - Unique invoice #s for all invoices per vendor regardless of site.

    - NBS document number formats must be included for awards created in the NBS:  Contract Number; Purchase Order Number; Task or Delivery Order Number and Source Award Number (e.g., Indefinite Delivery Contract number; General Services Administration number); or, BPA Call Number and BPA Parent Award Number.

    - Data Universal Numbering System (DUNS) or DUNS + 4 as registered in Beta.SAM.gov.

    - Federal Taxpayer Identification Number (TIN).  In those exceptional cases where a contractor does not have a DUNS number or TIN, a Vendor Identification Number (VIN) must be referenced on the invoice.  The VIN is the number that appears after the contractor’s name on the face page of the award document.

    - Identify that payment is to be made using a three-way match.

    - Description of supplies/services that match the description on the award, by line billed.*

    - Freight or delivery charge must be billed as shown on the award.  If it is included in the item price do not bill it separately.  If identified in the award as a separate line item, it must be billed separately.

    - Quantity, Unit of Measure, Unit Price, Extended Price of supplies delivered, or services performed, as applicable, and that match the line items specified in the award. *

* NOTE:  If your invoice must differ from the line items on the award, please contact the Contracting Officer before submitting the invoice.  A modification to the order or contract may be needed before the invoice can be submitted and paid.

  - Shipping costs will be reimbursed only if authorized by the Contract/Purchase Order.  If authorized, shipping costs must be itemized.  Where shipping costs exceed $100, the invoice must be supported by a bill of lading or a paid carrier's receipt.

Effective April 1, 2020, all NIH contractors/vendors invoices should be sent electronically via email to the NIH Office of Financial Management (OFM) and the NIH Contracting Officer (CO) using the electronic submission instructions outlined below.

This section shall remain in effect until the Government formally notifies the Contractor of a return to mail-in invoice procedures.

II. ELECTRONIC INVOICING INSTRUCTIONS

The Contractor shall submit invoices to the Department of Treasury’s Invoice Processing Platform (IPP) at https://www.ipp.gov with a copy to the approving official, as directed below.

The invoice shall be transmitted as an attachment via email to the address listed above in one of the following formats: Word, or Adobe Portable Document Format (PDF). The Contractor must submit only one invoice per email. Do not submit supporting documentation (e.g., receipts, time sheets, vendor invoices, etc.) with your invoice unless specified elsewhere in the contract or requested by the Contracting Officer.

The Contractor shall submit a copy of the electronic invoice to the TPOC

For inquiries regarding the status of invoices, contact OFM Customer Service via email at ofm_customer_service@incontactemail.com or via phone at 301-496-6088. To send your inquiries via other available communication methods refer to the OFM Customer Service website at https://ofm.od.nih.gov/Pages/Customer-Service.aspx.

Note: The OFM Customer Service is open Eastern Standard Time Monday – Friday from 8:30 a.m. to 5:00 p.m. and is closed between 12:00 p.m. to 1:00 p.m.

III. INVOICE PAYMENT

- Except as indicated in paragraph B., below, the due date for making invoice payments by the designated payment office shall be the later of the following two events:

1. The 30th day after the designated billing office has received a proper invoice.

2. The 30th day after Government acceptance of supplies delivered or services

performed.

B.	The due date for making invoice payments for meat and meat food products, perishable agricultural commodities, dairy products, and edible fats or oils, shall be in accordance with the Prompt Payment Act, as amended.

IV.	INTEREST PENALTIES

A.	An interest penalty shall be paid automatically, if payment is not made by the due date and the conditions listed below are met, if applicable.

1. A proper invoice was received by the designated billing office.

2. A receiving report or other Government documentation authorizing payment was

processed and there was no disagreement over quantity, quality, or contractor

compliance with a term or condition.

3. In the case of a final invoice for any balance of funds due the contractor for supplies

delivered or services performed, the amount was not subject to further settlement

actions between the Government and the Contractor.

- Determination of interest and penalties due will be made in accordance with the provisions of the Prompt Payment Act, as amended, the Contract Disputes Act, and regulations issued by the Office of Management and Budget.

V. PROVIDING ACCELERATED PAYMENT TO SMALL BUSINESS

SUBCONTRACTORS, FAR 52.232-40 (DEC 2013)

- Upon receipt of accelerated payments from the Government, the Contractor shall make accelerated payments to its small business subcontractors under this contract, to the maximum extent practicable and prior to when such payment is otherwise required under the applicable contract or subcontract, after receipt of a proper invoice and all other required documentation from the small business subcontractor.

- The acceleration of payments under this clause does not provide any new rights under the prompt Payment Act.

Include the substance of this clause, include this paragraph c, in all subcontracts with small business concerns, including subcontracts with small business concerns for the acquisition of commercial items.

- PROVISIONS AND CLAUSES

52.252-2   CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es): http://www.acquisition.gov/far/ and/or http://www.hhs.gov/policies/hhsar/.

HEALTH AND HUMAN SERICES ACQUISITION REGULATION (HHSAR) (48 CFR CHAPTER 3):

| Clause No. | TITLE |
| --- | --- |
| 352.203-70 | Anti-lobbying (DEC 2015) |
| 352.208-70 | Printing and Duplication (DEC 2015) |
| 352.211–3 | Paperwork Reduction Act (DEC 2015) |
| 352.222-70 | Contractor Cooperation in Equal Employment Opportunity Investigations. (DEC2015) |
| 352.224-70 | Privacy Act (DEC 2015) |
| 352.224-71 | Confidential Information (DEC 2015) |
| 352.227–70 | Publications and Publicity (DEC 2015) |
| 352.237-74 | Non-Discrimination in Service Delivery (DEC 2015) |

FEDERAL ACQUISITION REGULATION (FAR) (48 CFR CHAPTER 1):

| Clause No. | TITLE |
| --- | --- |
| 52.203-16 | Preventing Personal Conflicts of Interest (JUN 2020) |
| 52.204-4 | Printed or Copied Double-Sided on Postconsumer Fiber Content Paper (MAY 2011) |
| 52.204-13 | System for Award Management Maintenance (October 2018) |
| 52.204-19 | Incorporation by Reference of Representations and Certifications (Nov 2021) |
| 52.212-4 | Contract Terms and Conditions – Commercial Items (NOV 2021) |

FAR 52.212-5 CONTRACT TERMS AND CONDITIONS - COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (MAY 2022)

(a) The Contractor shall comply with the following Federal Acquisition Regulation (FAR) clauses, which are incorporated in this contract by reference, to implement provisions of law or Executive orders applicable to acquisitions of commercial products and commercial services:

(1) 52.203-19, Prohibition on Requiring Certain Internal Confidentiality Agreements or Statements (JAN 2017) (section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions)).

(2) 52.204-23, Prohibition on Contracting for Hardware, Software, and Services Developed or Provided by Kaspersky Lab and Other Covered Entities (NOV 2021) (Section 1634 of Pub. L. 115-91).

(3) 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment. (NOV 2021) (Section 889(a)(1)(A) of Pub. L. 115-232).

(4) 52.209-10, Prohibition on Contracting with Inverted Domestic Corporations (NOV 2015).

(5) 52.233-3, Protest After Award (AUG 1996) (31 U.S.C. 3553).

(6) 52.233-4, Applicable Law for Breach of Contract Claim (OCT 2004) (Public Laws 108-77 and 108-78 (19 U.S.C. 3805 note)).

(b) The Contractor shall comply with the FAR clauses in this paragraph (b) that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial products and commercial services:

___ (1) 52.203-6, Restrictions on Subcontractor Sales to the Government (JUN 2020), with Alternate I (NOV 2021) (41 U.S.C. 4704 and 10 U.S.C. 2402).

___ (2) 52.203-13, Contractor Code of Business Ethics and Conduct (NOV 2021) (41 U.S.C. 3509)).

___ (3) 52.203-15, Whistleblower Protections under the American Recovery and Reinvestment Act of 2009 (JUN 2010) (Section 1553 of Pub. L. 111-5). (Applies to contracts funded by the American Recovery and Reinvestment Act of 2009.)

_X__ (4) 52.204-10, Reporting Executive Compensation and First-Tier Subcontract Awards (JUN 2020) (Pub. L. 109-282) (31 U.S.C. 6101 note).

___ (5) [Reserved].

___ (6) 52.204-14, Service Contract Reporting Requirements (OCT 2016) (Pub. L. 111-117, section 743 of Div. C).

___ (7) 52.204-15, Service Contract Reporting Requirements for Indefinite-Delivery Contracts (OCT 2016) (Pub. L. 111-117, section 743 of Div. C).

_X__ (8) 52.209-6, Protecting the Government’s Interest When Subcontracting with Contractors Debarred, Suspended, or Proposed for Debarment. (NOV 2021) (31 U.S.C. 6101 note).

_X__ (9) 52.209-9, Updates of Publicly Available Information Regarding Responsibility Matters (OCT 2018) (41 U.S.C. 2313).

___ (10) [Reserved].

___ (11) (i) 52.219-3, Notice of HUBZone Set-Aside or Sole-Source Award (SEP 2021) (15 U.S.C.657a).

___ (12) (i) 52.219-4, Notice of Price Evaluation Preference for HUBZone Small Business Concerns (SEP 2021) (if the offeror elects to waive the preference, it shall so indicate in its offer) (15 U.S.C. 657a).

___ (13) [Reserved]

_x__ (14) (i) 52.219-6, Notice of Total Small Business Set-Aside (NOV 2020) (15 U.S.C.644).

___ (ii) Alternate I (MAR 2020) of 52.219-6

___ (15) (i) 52.219-7, Notice of Partial Small Business Set-Aside (NOV 2020) (15 U.S.C. 644).

___ (ii) Alternate I (MAR 2020) of 52.219-7.

___ (16) 52.219-8, Utilization of Small Business Concerns (OCT 2018) (15 U.S.C. 637(d)(2) and (3)).

___ (17) (i) 52.219-9, Small Business Subcontracting Plan (NOV 2021) (15 U.S.C. 637(d)(4)).

___ (ii) Alternate I (NOV 2016) of 52.219-9.

___ (iii) Alternate II (NOV 2016) of 52.219-9.

___ (iv) Alternate III (JUN 2020) of 52.219-9.

___ (v) Alternate IV (SEP 2021) of 52.219-9

___ (18) (i) 52.219-13, Notice of Set-Aside of Orders (MAR 2020) (15 U.S.C. 644(r)).

___ (ii) Alternate I (MAR 2020) of 52.219-13

___ (19) 52.219-14, Limitations on Subcontracting (SEP 2021) (15 U.S.C.637(a)(14)).

___ (20) 52.219-16, Liquidated Damages-Subcontracting Plan (SEP 2021) (15 U.S.C. 637(d)(4)(F)(i)).

___ (21) 52.219-27, Notice of Service-Disabled Veteran-Owned Small Business Set-Aside (SEP 2021) (15 U.S.C. 657f).

___ (22)(i) 52.219-28, Post Award Small Business Program Representation (SEP 2021) (15 U.S.C. 632(a)(2)).

___ (ii) Alternate I (MAR 2020) of 52.219-28.

___ (23) 52.219-29, Notice of Set-Aside for, or Sole Source Award to, Economically Disadvantaged Women-Owned Small Business Concerns (SEP 2021) (15 U.S.C. 637(m)).

___ (24) 52.219-30, Notice of Set-Aside for, or Sole Source Award to, Women-Owned Small Business Concerns Eligible Under the Women-Owned Small Business Program (SEP 2021) (15 U.S.C. 637(m)).

___ (25) 52.219-32, Orders Issued Directly Under Small Business Reserves (MAR 2020) (15 U.S.C. 644(r)).

___ (26) 52.219-33, Nonmanufacturer Rule (SEP 2021) (15 U.S.C. 637(a)(17)).

_X__ (27) 52.222-3, Convict Labor (JUN 2003) (E.O.11755).

___ (28) 52.222-19, Child Labor-Cooperation with Authorities and Remedies (JAN 2022) (E.O.13126).

_X__ (29) 52.222-21, Prohibition of Segregated Facilities (APR 2015).

_X__ (30) (i) 52.222-26, Equal Opportunity (SEP 2016) (E.O.11246).

___ (ii) Alternate I (FEB 1999) of 52.222-26.

_X__ (31)(i) 52.222-35, Equal Opportunity for Veterans (JUN 2020) (38 U.S.C. 4212).

___ (ii) Alternate I (JUL 2014) of 52.222-35.

___ (32) (i) 52.222-36, Equal Opportunity for Workers with Disabilities (JUN 2020) (29 U.S.C.793).

___ (ii) Alternate I (JUL 2014) of 52.222-36.

__X_ (33) 52.222-37, Employment Reports on Veterans (JUN 2020) (38 U.S.C. 4212).

_X__ (34) 52.222-40, Notification of Employee Rights Under the National Labor Relations Act (DEC 2010) (E.O. 13496).

___ (35)(i) 52.222-50, Combating Trafficking in Persons (NOV 2021) (22 U.S.C. chapter 78 and E.O. 13627).

___ (ii) Alternate I (MAR 2015) of 52.222-50 (22 U.S.C. chapter 78 and E.O. 13627).

___ (36) 52.222-54, Employment Eligibility Verification (MAY 2022). (Executive Order 12989). (Not applicable to the acquisition of commercially available off-the-shelf items or certain other types of commercial products or commercial services as prescribed in FAR 22.1803.)

___ (37) (i) 52.223-9, Estimate of Percentage of Recovered Material Content for EPA–Designated Items (May 2008) (42 U.S.C. 6962(c)(3)(A)(ii)). (Not applicable to the acquisition of commercially available off-the-shelf items.)

___ (ii) Alternate I (MAY 2008) of 52.223-9 (42 U.S.C. 6962(i)(2)(C)). (Not applicable to the acquisition of commercially available off-the-shelf items.)

___ (38) 52.223-11, Ozone-Depleting Substances and High Global Warming Potential Hydrofluorocarbons (JUN 2016) (E.O. 13693).

___ (39) 52.223-12, Maintenance, Service, Repair, or Disposal of Refrigeration Equipment and Air Conditioners (JUN 2016) (E.O. 13693).

___ (40) (i) 52.223-13, Acquisition of EPEAT®-Registered Imaging Equipment (JUN 2014) (E.O.s 13423 and 13514).

___ (ii) Alternate I (OCT 2015) of 52.223-13.

___ (41) (i) 52.223-14, Acquisition of EPEAT®-Registered Televisions (JUN 2014) (E.O.s 13423 and 13514).

___ (ii) Alternate I (JUN 2014) of 52.223-14.

___ (42) 52.223-15, Energy Efficiency in Energy-Consuming Products (MAY 2020) (42 U.S.C. 8259b).

___ (43) (i) 52.223-16, Acquisition of EPEAT®-Registered Personal Computer Products (OCT 2015) (E.O.s 13423 and 13514).

___ (ii) Alternate I (JUN 2014) of 52.223-16.

_X__ (44) 52.223-18, Encouraging Contractor Policies to Ban Text Messaging While Driving (JUN 2020) (E.O. 13513).

___ (45) 52.223-20, Aerosols (JUN 2016) (E.O. 13693).

___ (46) 52.223-21, Foams (JUN 2016) (E.O. 13693).

___ (47) (i) 52.224-3 Privacy Training (JAN 2017) (5 U.S.C. 552 a).

___ (ii) Alternate I (JAN 2017) of 52.224-3.

___ (48) 52.225-1, Buy American-Supplies (NOV 2021) (41 U.S.C. chapter 83).

___ (49) (i) 52.225-3, Buy American-Free Trade Agreements-Israeli Trade Act (NOV 2021) (41 U.S.C. chapter 83, 19 U.S.C. 3301 note, 19 U.S.C. 2112 note, 19 U.S.C. 3805 note, 19 U.S.C. 4001 note, Pub. L. 103-182, 108-77, 108-78, 108-286, 108-302, 109-53, 109-169, 109-283, 110-138, 112-41, 112-42, and 112-43.

___ (ii) Alternate I (JAN 2021) of 52.225-3.

___ (iii) Alternate II (JAN 2021) of 52.225-3.

___ (iv) Alternate III (JAN 2021) of 52.225-3.

___ (50) 52.225-5, Trade Agreements (OCT 2019) (19 U.S.C. 2501, et seq., 19 U.S.C. 3301 note).

_X__ (51) 52.225-13, Restrictions on Certain Foreign Purchases (FEB 2021) (E.O.’s, proclamations, and statutes administered by the Office of Foreign Assets Control of the Department of the Treasury).

___ (52) 52.225-26, Contractors Performing Private Security Functions Outside the United States (OCT 2016) (Section 862, as amended, of the National Defense Authorization Act for Fiscal Year 2008; 10 U.S.C. 2302 Note).

___ (53) 52.226-4, Notice of Disaster or Emergency Area Set-Aside (NOV 2007) (42 U.S.C. 5150).

___ (54) 52.226-5, Restrictions on Subcontracting Outside Disaster or Emergency Area (NOV 2007) (42 U.S.C. 5150).

___ (55) 52.229-12, Tax on Certain Foreign Procurements (FEB 2021).

___ (56) 52.232-29, Terms for Financing of Purchases of Commercial Products and Commercial Services (NOV 2021) (41 U.S.C.4505, 10 U.S.C.2307(f)).

___ (57) 52.232-30, Installment Payments for Commercial Products and Commercial Services (NOV 2021) (41 U.S.C.4505, 10 U.S.C.2307(f)).

_X__ (58) 52.232-33, Payment by Electronic Funds Transfer-System for Award Management (OCT 2018) (31 U.S.C. 3332).

___ (59) 52.232-34, Payment by Electronic Funds Transfer-Other than System for Award Management (JUL 2013) (31 U.S.C.3332).

___ (60) 52.232-36, Payment by Third Party (MAY 2014) (31 U.S.C.3332).

___ (61) 52.239-1, Privacy or Security Safeguards (AUG 1996) (5 U.S.C. 552a).

___ (62) 52.242-5, Payments to Small Business Subcontractors (JAN 2017) (15 U.S.C. 637(d)(13)).

___ (63) (i) 52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (NOV 2021) (46 U.S.C. Appx. 1241(b) and 10 U.S.C. 2631).

___ (ii) Alternate I (APR 2003) of 52.247-64.

___ (iii) Alternate II (NOV 2021) of 52.247-64.

(c) The Contractor shall comply with the FAR clauses in this paragraph (c), applicable to commercial services, that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial products and commercial services:

___ (1) 52.222-41, Service Contract Labor Standards (AUG 2018) (41 U.S.C. chapter 67).

___ (2) 52.222-42, Statement of Equivalent Rates for Federal Hires (MAY 2014) (29 U.S.C. 206 and 41 U.S.C. chapter 67).

___ (3) 52.222-43, Fair Labor Standards Act and Service Contract Labor Standards-Price Adjustment (Multiple Year and Option Contracts) (AUG 2018) (29 U.S.C. 206 and 41 U.S.C. chapter 67).

___ (4) 52.222-44, Fair Labor Standards Act and Service Contract Labor Standards-Price Adjustment (MAY 2014) (29 U.S.C. 206 and 41 U.S.C. chapter 67).

___ (5) 52.222-51, Exemption from Application of the Service Contract Labor Standards to Contracts for Maintenance, Calibration, or Repair of Certain Equipment-Requirements (MAY 2014) (41 U.S.C. chapter 67).

_X__ (6) 52.222-53, Exemption from Application of the Service Contract Labor Standards to Contracts for Certain Services-Requirements (MAY 2014) (41 U.S.C. chapter 67).

___ (7) 52.222-55, Minimum Wages Under Executive Order 13658 (NOV 2020).

___ (8) 52.222-62, Paid Sick Leave Under Executive Order 13706 (JAN 2017) (E.O. 13706).

___ (9) 52.226-6, Promoting Excess Food Donation to Nonprofit Organizations (JUN 2020) (42 U.S.C. 1792).

(d) Comptroller General Examination of Record. The Contractor shall comply with the provisions of this paragraph (d) if this contract was awarded using other than sealed bid, is in excess of the simplified acquisition threshold, as defined in FAR 2.101, on the date of award of this contract, and does not contain the clause at 52.215-2, Audit and Records-Negotiation.

(1) The Comptroller General of the United States, or an authorized representative of the Comptroller General, shall have access to and right to examine any of the Contractor’s directly pertinent records involving transactions related to this contract.

(2) The Contractor shall make available at its offices at all reasonable times the records, materials, and other evidence for examination, audit, or reproduction, until 3 years after final payment under this contract or for any shorter period specified in FAR subpart  4.7, Contractor Records Retention, of the other clauses of this contract. If this contract is completely or partially terminated, the records relating to the work terminated shall be made available for 3 years after any resulting final termination settlement. Records relating to appeals under the disputes clause or to litigation or the settlement of claims arising under or relating to this contract shall be made available until such appeals, litigation, or claims are finally resolved.

(3) As used in this clause, records include books, documents, accounting procedures and practices, and other data, regardless of type and regardless of form. This does not require the Contractor to create or maintain any record that the Contractor does not maintain in the ordinary course of business or pursuant to a provision of law.

(e) (1) Notwithstanding the requirements of the clauses in paragraphs (a), (b), (c), and (d) of this clause, the Contractor is not required to flow down any FAR clause, other than those in this paragraph (e)(1) in a subcontract for commercial products or commercial services. Unless otherwise indicated below, the extent of the flow down shall be as required by the clause-

- 52.203-13, Contractor Code of Business Ethics and Conduct (NOV 2021) (41 U.S.C. 3509).

- 52.203-19, Prohibition on Requiring Certain Internal Confidentiality Agreements or Statements (JAN 2017) (section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions)

- 52.204-23, Prohibition on Contracting for Hardware, Software, and Services Developed or Provided by Kaspersky Lab and Other Covered Entities (NOV 2021) (Section 1634 of Pub. L. 115-91).

- 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment. (NOV 2021) (Section 889(a)(1)(A) of Pub. L. 115-232).

- 52.219-8, Utilization of Small Business Concerns (OCT 2018) (15 U.S.C.637(d)(2) and (3)), in all subcontracts that offer further subcontracting opportunities. If the subcontract (except subcontracts to small business concerns) exceeds  the applicable threshold specified in FAR 19.702(a) on the date of subcontract award, the subcontractor must include 52.219-8 in lower tier subcontracts that offer subcontracting opportunities.

- 52.222-21, Prohibition of Segregated Facilities (APR 2015).

- 52.222-26, Equal Opportunity (SEP 2015) (E.O.11246).

- 52.222-35, Equal Opportunity for Veterans (JUN 2020) (38 U.S.C.4212).

- 52.222-36, Equal Opportunity for Workers with Disabilities (JUN 2020) (29 U.S.C.793).

- 52.222-37, Employment Reports on Veterans (JUN 2020) (38 U.S.C.4212)

- 52.222-40, Notification of Employee Rights Under the National Labor Relations Act (DEC 2010) (E.O. 13496). Flow down required in accordance with paragraph (f) of FAR clause 52.222-40.

- 52.222-41, Service Contract Labor Standards (AUG 2018) (41 U.S.C. chapter 67).

- (A) 52.222-50, Combating Trafficking in Persons (NOV 2021) (22 U.S.C. chapter 78 and E.O 13627).

(B) Alternate I (MAR 2015) of 52.222-50 (22 U.S.C. chapter 78 and E.O 13627)

- 52.222-51, Exemption from Application of the Service Contract Labor Standards to Contracts for Maintenance, Calibration, or Repair of Certain Equipment-Requirements (MAY 2014) (41 U.S.C. chapter 67).

- 52.222-53, Exemption from Application of the Service Contract Labor Standards to Contracts for Certain Services-Requirements (MAY 2014) (41 U.S.C. chapter 67)

- 52.222-54, Employment Eligibility Verification (MAY 2022) (E.O. 12989)

- 52.222-55, Minimum Wages Under Executive Order 13658 (NOV 2020).

- 52.222-62, Paid Sick Leave Under Executive Order 13706 (JAN 2017) (E.O. 13706).

- (A) 52.224-3, Privacy Training (JAN 2017) (5 U.S.C. 552a).
(B) Alternate I (JAN 2017) of 52.224-3.

- 52.225-26, Contractors Performing Private Security Functions Outside the United States (OCT 2016) (Section 862, as amended, of the National Defense Authorization Act for Fiscal Year 2008; 10 U.S.C. 2302 Note).

- 52.226-6, Promoting Excess Food Donation to Nonprofit Organizations (JUN 2020) (42 U.S.C. 1792). Flow down required in accordance with paragraph (e) of FAR clause 52.226-6.

- 52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (NOV 2021) (46 U.S.C. Appx.1241(b) and 10 U.S.C.2631). Flow down required in accordance with paragraph (d) of FAR clause 52.247-64.

(2) While not required, the Contractor may include in its subcontracts for commercial products and commercial services a minimal number of additional clauses necessary to satisfy its contractual obligations.