Statement of Work

for

Strand Burner Equipment

- REQUIREMENTS

The Contractor shall provide fabrication, delivery and installation to specified requirement below.

1.1 Strand burner heads:

- Cloverleaf style heads

- DIT brand to work with DIT strand burner

- 10,000 psi rating

- QTY 30

1.2 10,000 PSI Remote Valve Rack:

- Must control DIT strand burners

- Require extra set of transducers for calibration rotation

1.3 Control Console:

- All valves are controlled from the remote console

- Data Acquisition System

- Control/record Test Cell Pressure

- Control/record Test Cell Temperature

- Handle Burn Rate Calculations

- Record Delta Pressure

1.4 Installation and Calibration of equipment

1.5 Training with equipment

- INSPECTION, INSTALLATION, ACCEPTANCE, AND PAYMENT

The Contractor shall be responsible for the packaging, handling, and transportation to NSWC IHD of any/all components. The Government, upon delivery of products, will perform inspection and acceptance. The Contractor shall notify the Contracting Officer thirty (30) days in advance, if the delivery schedule cannot be met.