| SUBJECT* | 657-27-202JB FCA Improve and expand public restrooms JB- STL |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 66048 |
| --- | --- |
| SOLICITATION NUMBER* | 36C25526R0135 |
| RESPONSE DATE/TIME/ZONE | 05-22-2026 15:00 CENTRAL TIME, CHICAGO, USA |
| ARCHIVE | 90 DAYS AFTER THE RESPONSE DATE |
| SET-ASIDE | SDVOSBC |  |
| PRODUCT SERVICE CODE* | C1DA |  |
| NAICS CODE* | 541310 |  |
| PLACE OF PERFORMANCE |  |  |
| POSTAL CODE |  |  |
| COUNTRY |  |  |

CONTACT INFORMATION

| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office (NCO) 15 3450 S 4th Street Trafficway Leavenworth KS 66048 |
| --- | --- |
| POINT OF CONTACT* | Contract Specialist Kevin A Mahoney Kevin.Mahoney3@va.gov 913-684-0141 |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

Pre-Solicitation Notice: Request for Architectural and Engineer 330 submission

Solicitation: 36C25526R0135, FCA Improve and expand public restrooms JB- STL, Project No. 657-27-202JB.

CONTRACT INFORMATION

This A-E Services requirement is being procured in accordance with the Brooks Act (Public Law (PL0582) and implemented in accordance with the Federal Acquisition Regulation (FAR) Subpart 36.  Firms will be selected for negotiation based on demonstrated competence and qualifications for the required work.

This procurement is restricted to Service-Disabled Veteran Owned Small Business (SDVOSB) firms.

This is not a Request for Proposal, and an award will not be made with this announcement.  This announcement is a request for SF 330’s from qualified Architectural and Engineer (A&E) contractors that meet the professional requirements.

The selection criteria for this acquisition will be in accordance with FAR 36.602-1, evaluation factors are listed below. The completed SF 330 will be evaluated by the St Louis Jefferson Barracks VAMC Evaluation Board in accordance with VAAM M836.602-1 and the selection report shall serve as the final selection list, which will be provided directly to the Contracting Officer. Negotiations will be conducted beginning with the most highly qualified firm. The Government will not pay nor reimburse any costs associated with responding to this request. The Government is under no obligation to award a contract as a result of this announcement.

The most highly rated firm must physically come to the site and review the project before submitting a price proposal and letter of understanding at no cost to the government.

The contract is anticipated to be awarded no later than July 27, 2026.

Award of any resultant contract is contingent upon the availability of funds.

Personal visits to discuss this announcement will not be allowed.

The NAICS Code for this procurement is 541310, Architectural Services and the small business size standard of 12.5 Million. Award of a Firm Fixed Price contract is anticipated and award time for completion of design of this project is approximately 180 calendar days including time for VA reviews. The A/E firm shall also be required to perform construction period services if award of a construction project contract is made.

DATABASE REGISTRATION INFORMATION:

Verification of status of apparently successful offeror this acquisition is 100% set-aside for qualified service-disabled veteran owned small business A/E firm’s incompliance with VAAR 852.219-73. Only businesses listed as certified in the SBA certification database at https://veterans.certify.sba.gov/, shall be considered.

SYSTEM FOR AWARD MANAGEMENT (SAM.GOV):

Federal Acquisition Registrations require that federal contractors register in the System for Award Management (SAM.GOV) database at https://sam.gov/content/ and enter all mandatory information into the system. Award cannot be made until the contractor has registered. Offerors are encouraged to ensure that they are registered in SAM.GOV prior to submitting their qualifications package.

THE EXCLUDED PARTIES LIST SYSTEM (EPLS):

To ensure that the individuals providing services under the contract have not engaged in fraud or abuse regarding Sections 1128 and1128A of the Social Security Act regarding federal health care programs, the contractor is required to check the Excluded Parties List System (EPLS) located at https://sam.gov/content/ for each person providing services under this contract. Further the contractor is required to certify that all persons listed in the qualifications package have been compared against the EPLS list and are NOT listed. During the performance of this contract the Contractor is prohibited from using any individual or business listed on the List of Excluded Individuals/Entities.

E-VERIFY SYSTEM:

Companies awarded a contract with the federal government shall be required to enroll in E-Verify within 30 days of the contract award date. They shall also need to begin using the E-Verify system to confirm that all their new hires and their employees directly working on federal contracts are authorized to legally work in the United States. E-Verify is an Internet-based system that allows an employer, using information reported on an employee's Form I-9, to determine the eligibility of that employee to work in the United States. There is no charge to employers to use E-Verify. (FAR 52.222-54)

Qualified A-E firms are required to respond if interested by submitting one (1) original completed Standard Form 330 qualification package Parts I and II to include all consultants (form available on-line at: http://www.gsa.gov/portal/forms/download/116486).   Must include in Part I Section H an organizational chart of the firm (excludes consultants) and a design quality management plan. Submission information incorporated by reference is not allowed. All submissions must be in pdf format and emailed. Email subject line shall clearly identify Solicitation number: 36C25526R0135 and project name, FCA Improve and expand public restrooms - STL (MD), Project No. 657-27-202JB. Responses must be received by 3:00 PM Central on May 22, 2026 via e-mail to the Contracting Officer at kevin.mahoney3@va.gov.

The 330 submissions must be a pdf document and must not exceed 10 MB.

The A/E Firm must provide Basic Professional Services as delineated in the Scope of Work. As part of the Basic Professional Services, St Louis Jefferson Barracks VAMC Engineering Service expects the following primary A/E disciplines to be included: Supervisor, Architectural, Mechanical, Electrical, Plumbing (Including Fire Protection), Structural, VPIH, and a 3rd Party Fire Protection Review.

Interested firms shall be required to respond to additional announcements separately from this announcement without further notice from the Government when posted to the Contract Opportunities website at https://sam.gov.  The Contract Opportunities website is the only official site to obtain these documents. Additional information about this project will be issued on the System for Award Management website https://www.sam.gov/content/opportunities once available.

PROJECT INFORMATION

St. louis Jefferson Barracks VAMC Engineering Service (FES) intends to partner with an A/E Firm on a project to design the improvement, expansion, and upgrades to meet code compliance in buildings 1,3,51, and 52 at Jefferson Barracks (JB) Division, St. Louis, MO 63125. The renovation will address and correct several poor Facility Condition Assessments (FCAs). The A/E Firm must provide Basic Professional Services as delineated in the Scope of Work. As part of the Basic Professional Services, FES expects the following primary A/E disciplines to be included: Supervisor, Architectural, Mechanical, Electrical, Plumbing (Including Fire Protection), Structural, VPIH, and a 3rd Party Fire Protection Review.

EVALUATION FACTORS:

Selection criteria are in accordance with VAAM 836.602. Prospective firms are required to address all selection criteria within submitted SF330 packages using additional pages as necessary.  SF 330 submissions including any additional pages are not to exceed fifty (50) pages. Each page cannot exceed 81/2 x 11 in size. Prospective firms are required to address all selection criteria within submitted SF330 packages using additional pages as required and SF 330 submissions including any additional pages are not to exceed fifty (50) pages. SF 330 must be submitted as a PDF and cannot exceed 10MB.

Qualifications (SF330) submitted by each firm for Project No. 657-27-202JB, “FCA Improve and expand public restrooms - STL (MD)” will be reviewed and evaluated based on the following evaluation criteria listed below:

Evaluation Criteria:

- Professional Qualifications: the qualifications of the individuals will be examined for experience and education and their record of working together as a team that are necessary for satisfactory performance of required services. The architectural firm capable of preparing all design and construction documentation including, but not limited to advance planning, design, and construction oversite (including final as-built drawings) at the VA Medical Center in St. Louis, Missouri.  A-E’s on staff representing the project or signing drawings in each discipline must be licensed to practice in one of the US States. Provide Professional License numbers and/or proof of licensure. The team shall have demonstrable expertise in their respective fields: Supervisor, Architectural, Mechanical, Electrical, Plumbing (Including Fire Protection), Structural, VPIH, and a 3rd Party Fire Protection Review with experience on projects of similar size and complexity.

- Specialized Experience and Technical Competence: specific experience and technical skill in the type of work required for this project, including medical renovations to existing medical facilities, VA safety and physical security design, experience in abatement of hazardous construction materials. Specific bathroom renovation experience to include ADA compliance. Experience and qualification of personnel proposed for assignment and their record of working together as a team. The effectiveness of proposed project team (including management structure, coordination of disciplines, subcontractors, and prior working relationships) will be examined. The qualifications for Engineers shall include a summary of at least five similar projects that demonstrate technical capabilities and how well the proposal addresses technical capabilities in design quality management procedures, Computer-Aided Design and Drafting/Building Information Modeling, equipment resources, and laboratory requirements for the firm.

- Capacity to Accomplish the Work: The prime contractor will be evaluated to determine if it has the general workload and staffing capacity within its design office which will be responsible for the design to accomplish the work in the required time. In accordance with VAAR 852.219-75 :  In the case of a contract for services (except construction), the contractor will not pay more than 50% of the amount paid by the government to it to firms that are not certified SDVOSBs listed in the SBA certification database as set forth in 852.219-73 or certified VOSBs listed in the SBA certification database as set forth in 852.219-74. Any work that a similarly situated certified SDVOSB/VOSB subcontractor further subcontracts will count towards the 50% subcontract amount that cannot be exceeded. Other direct costs may be excluded to the extent they are not the principal purpose of the acquisition and small business concerns do not provide the service as set forth on 13 CFR 125.6. The Prime contractor must include its certification of compliance with the limitations on subcontracting specified in 852.219-75 with its 330 submissions.

Special Note: When an offeror submits its SF330 in response to this Request, the name and experience of a specific staff and subcontractors is a required evaluation factor, then those staff members/subcontractor who is offered will be the same members/subcontractor who will actually perform the specified work on the project.  If, during performance of the contract, it becomes necessary for the contractor to substitute a members/subcontractor for one of those whose qualifications were the basis for evaluation of the offer and award of the contract, the contractor shall submit to the Contracting Officer the same information that was required in the initial SF330 regarding the proposed substitute members/subcontractor.  The Contracting Officer shall have the right to review the qualifications of the proposed substitute members/subcontractor and to approve or disapprove their qualifications.  If the proposed substitute members/subcontractor qualifications are disapproved by the Contracting Officer, the contractor will propose another members/subcontractor who does possess equivalent qualifications.

- Past Performance: The past performance of projects that are complete (design and construction) that the firm has designed relevant in scope to the advertised project that were accomplished with the Department of Veterans Affairs, other Government agencies, and private industry in terms of cost control, quality of work, and compliance with performance schedules will be examined. Project past performances that are older than 5 years will receive a lesser rating than those references for projects accomplished within the past 5 years. Projects that are submitted and not constructed will not be considered.

- Reputation in A/E Community: Reputation and standing of the firm and its principal officers within the design community with respect to professional performance, general management and cooperativeness, including awards, merits and recommendations.

- Claims and Terminations: Record of significant claims against the firm because of improper or incomplete architectural and engineering services.

- The extent to which potential contractors identify and commit to the use of service-disabled Veteran-owned small businesses (IAW VAAM M836.602-1).

- Experience in construction period services to include professional field inspections during the construction period, review of construction submittals, support in answering requests for information during the construction period, and support of construction contract changes to include drafting statements of work, and cost estimates shall be included as an evaluation criterion when construction period services is included in the statement of work for A-E services (IAW VAAM M836.602-1).

### 852.219-75 VA Notice of Limitations on Subcontracting - Certificate of Compliance for Services and Construction.

As prescribed in 819.7011(b), insert the following clause:

VA Notice of Limitations on Subcontracting - Certificate of Compliance for Services and Construction (NOV 2022)

(a) Pursuant to 38 U.S.C. 8127(k)(2), the offeror certifies that -

(1) If awarded a contract (see FAR 2.101 definition), it will comply with the limitations on subcontracting requirement as provided in the solicitation and the resultant contract, as follows: [Contracting Officer check the appropriate box below based on the predominant NAICS code assigned to the instant acquisition as set forth in FAR 19.102.]

(i) X□ Services. In the case of a contract for services (except construction), the contractor will not pay more than 50% of the amount paid by the government to it to firms that are not VIP-listed SDVOSBs as set forth in 852.219-73 or VOSBs as set forth in 852.219-74. Any work that a similarly situated VIP-listed subcontractor further subcontracts will count towards the 50% subcontract amount that cannot be exceeded. Other direct costs may be excluded to the extent they are not the principal purpose of the acquisition and small business concerns do not provide the service as set forth in 13 CFR 125.6.

(ii) □ General construction. In the case of a contract for general construction, the contractor will not pay more than 85% of the amount paid by the government to it to firms that are not VIP-listed SDVOSBs as set forth in 852.219-73or VOSBs as set forth in 852.219-74. Any work that a similarly situated VIP-listed subcontractor further subcontracts will count towards the 85% subcontract amount that cannot be exceeded. Cost of materials are excluded and not considered to be subcontracted.

(iii) □ Special trade construction contractors. In the case of a contract for special trade contractors, the contractor will not pay more than 75% of the amount paid by the government to it to firms that are not VIP-listed SDVOSBs as set forth in 852.219-73 or VOSBs as set forth in 852.219-74. Any work that a similarly situated subcontractor further subcontracts will count towards the 75% subcontract amount that cannot be exceeded. Cost of materials are excluded and not considered to be subcontracted.

(2) The offeror acknowledges that this certification concerns a matter within the jurisdiction of an Agency of the United States. The offeror further acknowledges that this certification is subject to Title 18, United States Code, Section 1001, and, as such, a false, fictitious, or fraudulent certification may render the offeror subject to criminal, civil, or administrative penalties, including prosecution.

(3) If VA determines that an SDVOSB/VOSB awarded a contract pursuant to 38 U.S.C. 8127 did not act in good faith, such SDVOSB/VOSB shall be subject to any or all of the following:

(i) Referral to the VA Suspension and Debarment Committee;

(ii) A fine under section 16(g)(1) of the Small Business Act (15 U.S.C. 645(g)(1)); and

(iii) Prosecution for violating section 1001 of title 18.

(b) The offeror represents and understands that by submission of its offer and award of a contract it may be required to provide copies of documents or records to VA that VA may review to determine whether the offeror complied with the limitations on subcontracting requirement specified in the contract. Contracting officers may, at their discretion, require the contractor to demonstrate its compliance with the limitations on subcontracting at any time during performance and upon completion of a contract if the information regarding such compliance is not already available to the contracting officer. Evidence of compliance includes, but is not limited to, invoices, copies of subcontracts, or a list of the value of tasks performed.

(c) The offeror further agrees to cooperate fully and make available any documents or records as may be required to enable VA to determine compliance with the limitations on subcontracting requirement. The offeror understands that failure to provide documents as requested by VA may result in remedial action as the Government deems appropriate.

(d) Offeror completed certification/fill-in required. The formal certification must be completed, signed and returned with the offeror's bid, quotation, or proposal. The Government will not consider offers for award from offerors that do not provide the certification, and all such responses will be deemed ineligible for evaluation and award.

Certification

I hereby certify that if awarded the contract, [insert name of offeror] will comply with the limitations on subcontracting specified in this clause and in the resultant contract. I further certify that I am authorized to execute this certification on behalf of [insert name of offeror].

Printed Name of Signee:

Printed Title of Signee:

Signature:

Date:

Company Name and Address:

SUPPLEMENT B (For Schematics, Design Development, Construction Documents, Construction Cost Estimate and Construction Period Services)

DESIGN TIMEFRAME:  A/E shall deliver final construction documents No Later Than (NLT) 180 days after the Award/Notice to Proceed Letter.

CONSTRUCTION BUDGET/DESIGN LIMITATION:  $783,900

B1 SCHEDULE of Services:

- INTRODUCTION:

The mission of the Veterans Affairs Saint Louis Health Care System (VASTLHCS) is to provide the highest quality health care to our nation’s veterans.  In order to accomplish this mission, VASTLHCS’ Facility Engineering Service (FES) intends to partner with an A/E Firm on a project to design the improvement, expansion, and upgrades to meet code compliance in buildings 1,3,51, and 52 at Jefferson Barracks (JB) Division, St. Louis, MO 63125.  The renovation will address and correct several poor Facility Condition Assessments (FCAs).

The A/E Firm must provide Basic Professional Services as delineated in the Scope of Work.  As part of the Basic Professional Services, FES expects the following primary A/E disciplines to be included:  Supervisor, Architectural, Mechanical, Electrical, Plumbing (Including Fire Protection), Structural, VPIH, and a 3rd Party Fire Protection Review.

- SCOPE OF CONSTRUCTION PROJECT:

- This contract is for A/E Services for the upgrades of multiple restrooms throughout the Jefferson barracks facility buildings 1,3,51,52

- The existing conditions of rooms have been identified as outdated and non-ADA Compliant.   The following are examples of the non-compliance issues within the facility but may not include all items.  The A/E will evaluate restrooms for additional requirements and develop design for code correction and improvements.

  - Building 1 (FCA 280473)

    - Ground Floor:

      - Female Locker Room GW17 does not meet ADA, passage too narrow, toilet stalls too small. Toilet GE14, GE22, and GE23 stall too small and accessories, ACM floor tiles (120 sf). Gang Toilets GC08 and GC08A stalls too small and accessories.

    - First Floor:

      - C127, C103, 1W28, 1W31rooms too small and accessories. Gang toilets C126 Women's (4 fixtures) and C127 Men's (12 fixtures).

    - Second Floor:

      - Toilet Rooms, 2W34, 2W29F, 2C24, 2C27, 2W20 rooms too small and accessories. Gang toilets 2C16 enlarge stall and accessories, 2W23 enlarge stalls and room, need accessories.

  - Building 3 (FCA 325980)

    - First Floor:

      - Restroom 109: 4x4 shower is ok (needs vertical grab bars per VABFDG). Restroom 113: Is not HC accessible but can use adjacent Restroom 109. Restroom 127: 3x3 showers are too small per VABFDG and with vertical bars. Restroom 129: Urinal is mounted too high, no Handicap stall (combine 2 existing and add A 36 in grab bar is required behind the toilet &42 in also required), Not enough clearance at door swings (flip swing).

    - Second Floor:

      - Restroom 211: Not enough floor space in stall (combine 2 existing and add A 36 in grab bar is required behind the toilet &42), provide grab bars at 1 ambulatory stall per VABFDG, 3x3 showers are too small per VABFDG and with vertical grab bars. restroom 231: urn him, no hc stall (combine 2 existing and add a 36 in grab bar is required behind the toilet &42). restroom 235: 3x3 showers are too small per VABFDG and with vertical grab bars.

  - Building 51 (FCA 326360)

    - 1st Floor:

      - Restroom 1A52: provide vertical grab bars in shower per VABFDG 1A118A & 1A118B: The mirror is mounted too high , pipe insulation (lockers are ok). Restroom 1A124: provide vertical grab bars in 1 shower per VABFDG. Restroom 1A181: , A 36 in grab bar is required behind the toilet , a 42 in grab bar is required on 1 side of toilet , combine 2 stalls to make HC accessible (lockers are ok). 1E Patient Rooms: pipe insulationx2, a 36 in grab bar is required behind the toilet . 1E102: pipe insulation, Urinal is mounted too high , replace sink countertop. 1E103: pipe insulationx2. 1E139: pipe insulation, a 36 in grab bar is required behind the toilet, There is not enough floor space in the room. Renovate Neuropsych Bathroom 1E117A, 1N1 Patient Rooms: The mirror is mounted too high , a 36 in grab bar is required behind the toilet, a 42 in grab bar is required on 1 side of toilet  1N2 Patient Rooms: The mirror is mounted too high, a 36 in grab bar is required behind the toilet , a 42 in grab bar is required on 1 side of toilet, provide vertical grab bars in shower per VABFDG, 1N3 Patient Rooms: The mirror is mounted too high, a 36 in grab bar is required behind the toilet , a 42 in grab bar is required on 1 side of toilet  1W Patient Rooms: The mirror is mounted too high , a 36 in grab bar is required behind the toilet , a 42 in grab bar is required on 1 side of toilet , provide vertical grab bars in shower per VABFDG 1W150: (no access at time of survey, assume same as 1W160) The mirror is mounted too high , A 36 in grab bar is required behind the toilet , provide vertical grab bars in shower per VABFDG 1W160: The mirror is mounted too high , a 36 in grab bar is required behind the toilet, provide vertical grab bars in shower per VABFDG.

  - Building 52 (FCA 326386)

    - Ground Floor:

      - GN27: pipe insulation, a 36 in grab bar is required behind the toilet, GN35: pipe insulation, a 36 in grab bar is required behind the toilet, GN38: pipe insulation X2, a 36 in grab bar is required behind the toilet, GS18A: The mirror is mounted too high, pipe insulation, a 36 in grab bar is required behind the toilet, a 42 in grab bar is required on 1 side of toilet , urinal height, needs HC sign, remove toilet partition and make single use room. GS18B: The mirror is mounted too high , pipe insulation, a 36 in grab bar is required behind the toilet, a 42 in grab bar is required on 1 side of toilet, not enough floor space in stall, needs HC sign, remove toilet partition and make single use room.

    - 1st Floor:

      - 1N Patient Restrooms: provide vertical grab bars in the showers per VABFDG, 1N90A, & 1N90B: The mirror is mounted too high  1N98: a 36 in grab bar is required behind the toilet, provide vertical grab bars in the shower per VABFDG 1N107: is fully compliant 1N112: provide a tub seat, provide vertical grab bars in the shower per VABFDG, needs 1 more drop-down grab bar at the toilet.

- SCOPE OF WORK FOR A/E:

- Design Development:

  - The A/E shall make investigations necessary to thoroughly evaluate the area.  This may include, but not limited to, hazardous materials identification in the direct area of work and areas impacted by the project.  All designs shall be in accordance with A/E Submission Instructions for Minor and NRM Construction Program, Program Guide PG-18-15, Volume C. The design will also encompass Asbestos Abatement Design Manual (PG 18-10) Compliance:  https://www.cfm.va.gov/til/dManual/dmASBhosp.pdf

  - Upon completion of initial field survey and assessment, provide a comprehensive report of existing conditions and findings to VASTLHCS’ Facility Engineering Service.  Report will include initial cost estimate for all work included in the FCA - Replace Roofs on Buildings 1, 52, 53 project.  Hazardous material surveys and design shall be in compliance with National Emissions Standard for Hazardous Air Pollutants (NESHAP) requirements for renovation and demolition projects.   This report will be considered the Design Narrative as referenced in ”B5 DESIGN REVIEW AND COMPLETION SCHEDULE” below.

- Construction Document:

- After the VAMC approves the A/E's design development, the A/E shall prepare construction documents necessary to accomplish the approved design development.

- As part of the 100% design submission, the A/E shall provide a written synopsis describing the overall scope of the construction project as well as any pertinent information about the project that would assist potential bidders in preparing a comprehensive bid package.  This synopsis is intended to be a general description of the project not to exceed two written pages in length.

- The final design documents from a resultant task order will be subject to review and approval (by signature) of all members of an Integrated Project Team (IPT) consisting of medical center personnel.  These individuals will be identified by the COR at the first design review meeting.

- Construction Period Service:  The A/E shall perform construction period services as detailed later in this scope of work.

- Functional Product:

- It is important to emphasize that the A/E shall perform design development and detailed design work, and prepare detailed construction documents, keeping in mind that the end result is a completely functional and fully operational system to include Abatement Design Drawings (ADDs) and Hazardous Material Removal Drawings (HMRDs).

- VPIH Survey:  The A/E Firm will complete a survey, to include testing, identifying any and all asbestos and lead containing materials within the project area.  This project will remove all lead and asbestos in areas being renovated.

- Reference VA Asbestos Abatement Design Manual (PG 18-10) July 2011:

    - 1.8 DESIGN REQUIREMENTS: The following elements are required for all asbestos abatement project designs for VA facilities:

      - All project designs must be developed and/or reviewed and approved by an EPA Model Curriculum trained and applicable state accredited Asbestos Project Designer. This is to ensure that all applicable federal, state, and local regulations are followed regarding the design of asbestos abatement projects. These regulations include, but are not limited to, EPA NESHAP requirements, St. Louis County Air Pollution division requirements, and Missouri Department of Natural Resources (MDNR) requirements.  VA representatives conducting peer review of asbestos designs need not be accredited Asbestos Project Designers.

      - All asbestos inspections performed in VA facilities for the purposes of gathering information for the development of the asbestos abatement project design must be performed by EPA Model Curriculum trained and applicable state-accredited Asbestos Building Inspector.

      - VA Master Specifications have been developed for typical asbestos abatement work. The appropriate sections shall be edited to meet the project scope of work and specific project requirements.

      - The A/E shall carefully coordinate specifications with the drawings so that all work required by the drawings is included in the specifications. Specification content that does not apply to the project shall be deleted.

      - The A/E shall modify the existing Master Specifications, when feasible, to address any abatement that is not specifically identified by the VA Master Specifications

    - 1.9.2 DRAWINGS The following criteria must be used when creating drawings to be used in support of the asbestos abatement project.

      - Refer to VA Design and Construction Procedures for general drawing requirements.

      - Consolidate notes and place them on the right-hand side of the sheet.

      - Show scale, compass point, orientation, key plan, title, column grids and numbers, match-lines, room numbers, and titles corresponding to the Architectural drawings.

      - Clearly identify all locations of materials to be removed during the asbestos abatement project.

      - Clearly identify any life-critical systems that exist in abatement areas to ensure that these systems are isolated and not disturbed during the project.

    - 1.9.3 SEQUENCE OF ASBESTOS ABATEMENT DRAWINGS

      - Symbols and abbreviations

      - Demolition Plans

      - Asbestos materials location plans

      - Details

      - Summary of asbestos material quantities

      - Coordination with A/E Design Submission Requirements (PG 18-15).

    - 2.3.1 ABATEMENT WORK TASKS:  The specific ACM to be abated during the asbestos abatement project must be identified on the detailed plan and project drawings. A summary for each work task to be performed during the abatement project, as well as a summary of the techniques to be used, in addition to safety precautions and methods must be included in the design.

    - 2.3.2 UNEXPECTED DISCOVERY OF ASBESTOS: For any previously untested building components suspected to contain asbestos and located in areas to be impacted by the work, additional samples will need to be collected of any materials found to determine the presence or absence of asbestos. The sampling must be performed by an AHERA accredited Asbestos Building Inspector.

- All spaces within the scope of work must be designed according to applicable codes and standards.

- The A/E shall submit a design narrative (15%) and design plans (35%, 65%, 95%, 100% Contract Docs for Bidding, and Release for Construction Set) specifications, submittals schedule, estimates and other documentation in accordance with the “B4 DESIGN DELIVERABLES” section of this Supplement B.  The construction work will be performed under a separate Firm-Fixed-Price contract awarded by the VA.  As a result, the Construction Documents must conform to the estimated Total Construction Cost Price, not including any contingencies, and convey the entire construction work completely and clearly, such that any bidder can produce an accurate bid without surveying the work site.

- The A/E will also participate in the VASTLHCS Pre-Construction Risk Assessment to determine the requirements for Infection Control, Interim Life Safety Measures, occupational safety and health, patient safety, public safety, security controls for physical and logistical access, and environmental controls and limitations on vibrations, noise, and disruptions to operations and utilities.  The results of these assessments will be included in documentation submitted by the A/E pursuant to, and inclusive of, the Construction Documents.

- Prior to submittal of a response to this proposal the A/E shall meet with the Contracting Officer’s Representative (COR) at the proposed project site to review the scope of services and the project goals.  The COR will provide A/E with a copy of the portions of the latest Facilities Condition Assessment (FCA) applicable to this project.

- Overall site plans will be provided as a Reference Drawing with Room Numbers showing the areas within the project boundary.

- The C&A requirements do not apply, and that a Security Accreditation Package is not required.

- Sustainability Requirements:

- Design shall comply with the most current version of the VA Sustainable Design Manual at time of award found on the VA technical Information Library https://www.cfm.va.gov/til/sustain.asp

- The following deviations are allowed:  none.

- Guiding Principles Checklist:  AE shall complete and submit the appropriate Federal Energy Management Guiding Principles Checklist

https://energy.gov/eere/femp/downloads/guiding-principles-checklists-new-construction-and-modernization-and-existing

IV.   A/E Fee Determination:

The A/E is to present their fee proposal for evaluation and negotiation in the following format:

- Submit completed Price Proposal on NCO 15 Form 10-6298.  The spreadsheet is to have the work broken out in hours by position, by discipline, and by design phase.  Include a list of the number of drawings required for each design phase broken out by drawing type per discipline.  Include a summary of the foregoing with the number of hours required for each drawing type and each major task.  The spreadsheet will be used to facilitate review and comprehension of work effort and document fee.  Include Part IV in cover letter and Part V (signed) as a separate attachment. Submit the electronic file of the spreadsheet upon request.

- Include a letter of understanding with the price proposal that presents a detailed understanding of the Supplement B.  The letter of understanding shall include an analysis of the fee included and excluded from 6% fee limitation as compared to the estimated Construction Budget.

- Reproduction and delivery costs of Design Review Material and other direct costs, such as travel costs, are included in the costs for each design phase and are not reimbursable.  The costs of Bidding reproduction, delivery, and other direct costs in accordance with the “Milestone Submittal Requirements” are included in the CD Phase.  Unused site visits will be deducted at the end of the contract.

- Provide an outline of the Quality Assurance/Quality Control actions that your firm will take during the design process and construction period.    Monthly QA/QC reports are required, including actions taken to maintain project quality, schedule, and budget, and will be submitted with project invoices using the NCO 15 invoice format.

- Correction of A/E’s Errors and Omissions, including required site visits to ascertain remedial action, is included in scope of services at no additional cost to the VA.

V.   Reports, Drawings, Specifications and Schedules:

- Kick-Off Meeting:

  - An initial kickoff meeting will be held with the Contracting Officer and local staff.  This meeting will be intended to provide an onsite familiarization with the project.  The VA will provide workload data and as-built drawings.

  - A/E Design Submissions shall comply with the VA A/E Design Submission Requirements as found in the VA Technical Information Library (TIL).  The VA will provide comments and guidance following each design review session.  All meetings shall be held at Jefferson Barracks Division of the VASTLHCS in Saint Louis, MO or via Microsoft Teams.

- Schematic Design:

- The A/E firm shall conduct an onsite review of the existing locations of the various functions that will be relocated to and/or remodeled within the space to help understand the needs of the departments.  They shall meet with the representatives of these departments to review and compare the VA design guides to the specific departmental needs.  This will serve as an opportunity for the A/E to gain a further understanding of the direction the facility wants the project to go.

- After meeting with the departments, the A/E shall prepare a minimum of three separate schematic layouts of the space for review.  The A/E shall provide pros and cons for each option.  The A/E shall present these options to the COR who will in turn present them to the departmental leads and senior leadership.  The VA will select the preferred option for the design.  Space layouts shall meet current VA Space Planning Criteria’s (7610 Building Design Guide) and follow the Uniform Federal Accessibility Standards (UFAS), and VA Barrier Free Design Guide (PG-18-13).

- At the Schematic Design Review Meeting, the A/E should be prepared to discuss the scope of the project, provide examples of current VA standard room layouts, site drawings identifying the project area showing a basic schematic layout of the various functions, a timeline for design and a brief construction summary.  The A/E shall record the minutes of the meeting to document the thoughts and concerns of the facility.

- Design Development:

- The A/E firm shall make investigations necessary to thoroughly evaluate the conditions of the existing roofs.  There will not be a systems redesign for this process.  The design shall include any energy efficiency improvements available for the application.  All designs shall be in accordance with A/E Submission Instructions for Minor and NRM Construction Program, PG-18-15, Volume C.

- Mechanical, plumbing, electrical, and fire and safety systems must meet current codes and standards, including VA Standards.  All new space and utilities will be designed to meet the Interagency Security Committee’s and other relevant physical security guidelines.  The completed project shall be capable of achieving LEEDS certification.

- Construction Documents:

- The A/E firm shall complete such further investigations to develop the accepted design development documents into working drawings and specifications for issuance through the competitive bid process.

- The A/E firm shall provide a complete construction plan detailing all phases and sequencing of construction to minimize the impact on the facility.

- In most instances, the VA Master Construction Specifications will be edited and incorporated in the project specifications.  However, in those instances where corresponding VA Master Construction Specifications are not available, the A/E shall develop the specification for incorporation into the project specifications.  It is required that the A/E design in accordance with VA guidelines as these guidelines supersede any other industry guidelines.  It is important to note that all specification sections are to be thoroughly edited to maintain uniformity of formatting and structure.  All spec writer notes must be removed.

- Working drawings and specifications shall provide for construction within the National Fire Protection Association Code, VA Standards, and other applicable national codes.

- The A/E firm shall provide a clause in the specifications indicating method by which a contractor will provide information to the firm to allow the firm to provide as-built drawings upon completion of construction.

- As-Built Drawings:

- The A/E firm shall submit one (1) complete set of drawings provided via file share software using AutoCAD Release 2021 and also .pdf format.  Models should be provided in Revit 2022.  The A/E shall follow the VA Standard CAD format for layering in accordance with the “B3 DESIGN CRITERIA” section of this Supplement B.

- The A/E firm shall submit said As-Built (aka Record Drawings) drawings within 30 days of receipt of red lined drawings.

- Reproduction of Drawings and Specifications:

- Specifications shall be prepared in MS Word and drawings shall be prepared in Revit 2022 and submitted to the VA in Revit and AutoCAD 2022 formatted files in accordance with the “B4  DESIGN DELIVERABLES” section of this Supplement B.

- The A/E is required to prepare architectural drawings in Revit.  One DVD/CD-ROM computer disk containing all reports, specifications, documents, and drawings will be required for each milestone submission.  The final Construction Document submission shall include copies of the original digital files (in *.dwg and *.rvt) in addition to the .pdf format files.  All necessary reports, cost estimates and other documents shall be prepared in accordance with all applicable portions of the A/E Submission Instructions, Program Guide PG-18-15, Volume C.  The VA reserves the right to require immediate delivery of the A/E’s digital files to the VA at any time.

- Specifications should be provided in both hardcopy and electronic form.

- One half size set of drawings and one set of specs shall be sent to the Contracting Officer at the 95% and 100% construction document review periods.

- At the 95% and 100% construction document review periods, the specifications should have all revisions incorporated providing a “clean” set of specifications for review and approval.

VI.   Promotion of Full and Open Competition:

- A/E agrees to prepare specifications that are not competitively restrictive or proprietary. Specifications will be based on performance criteria when possible and will not use a product by a specific manufacturer, except as a basis of design.

- If an occasion arises that use of a product by a specific manufacturer is necessary, the A/E will provide a justification including:

    - Why the manufacturer/product must be used or why a performance specification cannot be written (proprietary design, etc.).

    - The evaluation criteria of alternate manufacturer’s product that must be met to be considered equal.  These evaluation criteria will be used to accept the alternate manufacturer’s product as equal to the specified product.  These evaluation criteria shall be comprehensive to ensure an equal product is supplied meeting contract requirements.

    - In the event it is necessary to pre-qualify major components, the A/E will advise the Contracting Officer of such, so that the necessary action can be taken to establish a Qualified Products List.

    - In addition to requirements of these special provisions, a certification will be provided stating the specification solicitation is not restrictive; it has been written to provide full and open competition; and will list at least three manufacturers who can supply the specified major components or systems of the project.

VII.  Miscellaneous:

- The existing drawings for buildings 1, 52, and 53 included within the limits of this project will be provided to the A/E consultant For Reference Only.  As-Built and Record Drawings have been found to not show the actual location, quantity, etc., of all building features and should only be used as a general guide.  The A/E shall verify the existing drawings to the extent necessary for completion of construction.  Files in *.dwg or*.rvt form at will be provided to the A/E if those files are available for distribution.

- The VA COR will assist the A/E when site inspection procedures impact the functioning of any of the building utility systems, services, or health care operations.  Spaces with controlled access will require a member of the VA staff to continuously escort the A/E Consultant whilst accessing the space.  As a result, the A/E must coordinate with VA Engineering to identify where the A/E is intending to perform site visit surveys at least fourteen (14) days in advance of any site visit.

- Some utility systems, services or health care operations are critical, and if a disruption is required, it must be executed outside of normal working hours.  Normal working hours are Monday through Friday, 7:30 a.m. to 4:00 p.m.  This schedule must be coordinated with the VA COR twenty-one (21) days in advance.

- The A/E is responsible for recording the minutes of all meetings with the VA.  The format of the meeting minutes shall be subject to prior approval from the VA COR.  The draft meeting minutes shall be distributed for review and comment within one working day following the meeting to the COR, who will in turn distribute the same to each invited VA-attendee as required.  Meeting minutes are loaded to Submittal Exchange or equal web system.  The VA shall have two working days upon receipt of the meeting draft documents to make any additional comments or corrections.  The final meeting minutes shall be issued within three working days after the meeting to the VA CO and the COR.

- Coordination of each submittal will be fully documented by the A/E.  Using industry standard methods, the A/E will collect, document, and resolve all comments and consolidate them into a usable format.  The resolution of each comment requires the COR and commenter’s concurrence.  For each design submittal, the A/E will conduct a comment review meeting where each comment received will be either:

- Concurred as Written

- Non-Concurred; Request Discussion

- Requires Clarification

- At the conclusion of the comment review meeting, the A/E will provide meeting minutes showing the status of each comment made.  The resolution will be incorporated into the project documents (drawings, specifications, etc.) prior to the next submittal.  Any comment resolutions not included in the project documents will be provided to the CO and COR with explanation as to why each was not included.

- A stormwater NPDES Permit for Construction Site Activities is required for work at Jefferson Barracks.

VIII.  Design Funding Limitation:

- In accordance with FAR 52.236-22, Design within Funding Limitation (APR 1984), the estimated Total Construction Contract Price for this Project proceeding into CDs is not to exceed Construction budget listed above not including any Project Contingencies, VA Furnished/ Installed Medical Equipment, VA Furnished/Installed FFE, or Professional Service Fees.  The A/E is responsible for designing the Project within the estimated total Construction Contract Price for the Design Development and Construction Document phases of this Project.  If, at any time, the A/E determines that the design’s construction cost (excluding contingencies) will exceed the Total Construction Contract Price (TCCP) the A/E shall immediately inform the Contracting Officer in writing.  Such written notification shall include the reasons why the A/E believes the TCCP will probably be exceeded and shall offer proposed solutions to reduce the project cost to be within the TCCP.

IX.   Probable Construction Cost Estimate:

- The estimates shall be prepared using VA Form 10-6238, Estimate Worksheet and provide sufficient detail to identify the cost of project systems and components as appropriate for the stage of development of the design in the SD, DD, and CD Phases.  Update construction cost data with each submittal review milestone.  Costs presented shall be broken down sufficiently to allow for direct comparison cost with the contractor’s proposed cost.

- VA Form 10-6238, Estimate Worksheet: This form serves two purposes:

  - To show the division of cost between labor and material for each cost item; and

  - To extend the level of detail of an estimate beyond square foot cost summaries.

The estimated costs shall include all labor, materials, mobilization, overhead, insurance, and applicable contractor markup. A/E may utilize their estimate worksheets if approved in advance by the VA.

- Electronic copy of estimate shall be provided with each submittal.  Estimate detail shall include a breakdown by Project specification division number for labor and material broken out by quantity and unit cost for each type of material or equipment, including equipment rentals.  General Division shall include costs associated with project duration.  Include Summary of estimate by Division Number with each submittal.

- Providing the estimates as "lump sum" or "allowance" figures in the Construction Documents will not be acceptable.  For the Schematic estimate, a 15% total contingency allowance is allowable.  For the Design Development estimate, a 10% total contingency allowance is allowable.  Contingency allowances are not permitted in the final Construction Documents Estimate.  Construction cost estimating shall correspond with the work shown in the drawings and be commensurate with the degree of detail shown in the drawings.  Construction cost estimating shall also include all elements within the contractor’s bid; such as reasonable overhead and profit and fees across all tiers, insurance, taxes, bonds, hazardous abatement, and any other such items.  Costs will include itemization of the following:

- Number of labor hours by trade (or crew1)

- Labor dollars by trade (or crew1)

- Material quantity

- Material dollars

- Equipment Rental and associated cost

- Any other Direct cost not associated with work to be performed by a specific trade

1 	When using a crew, instead of a trade, then use a crew code and include a schedule, or legend, of only the crew codes applied, showing each type of trade, each hourly rate, and each trade person quantity.

- Some costs for General Conditions or General Requirements may also be required in the project estimate whenever these costs can be shown to be direct costs as opposed to indirect (overhead) costs.  For example, if it is common practice for the Contractor to use a rented negative air HEPA machine and consumable plastic sheeting to comply with the Infection Control Risk Assessment (ICRA) requirements, then the associated costs would be direct material and labor costs.  In addition, if the Construction Documents require the Contractor to perform fulltime on-site superintendence solely dedicated to the construction project, then these would be direct labor costs.  Furthermore, whenever the Contractor is to provide on-site factory-authorized training to the VA staff, then the travel, lodging, meals, and incidental costs would be direct costs.  If the Construction Documents require the Contractor to perform housekeeping services, then the associated costs would be direct costs.  If the Construction Documents call the Contractor to execute specific safety and OSHA activities, then the costs associated with these activities would be direct labor and material costs; however, OSHA activities performed by the Contractor by its staff at its home office and not specified in the Construction Documents, then such associated costs would be indirect costs and would not be included with the project estimate.

- All work shall follow applicable laws, regulations and procedures published or issued by federal, state, and local regulatory agencies for the abatement and control of hazardous materials.

B2 INDUSTRIAL HYGIENE SERVICES:

- Industrial Hygienist Tasks:

For the work scope described in B1 SCHEDULE OF SERVICES above Hazardous materials (Asbestos, Lead, Mold, heavy metal and etc…) are included in this task order amendment. Baseline Lead and Asbestos Hazardous Material Inventories within the project limits may be available from the VA for consultant’s reference. This project is to have a minimum of 10 (5 for design and 5 for construction period services) Hazardous Materials site visits.

  - Architect/Engineer Responsibilities:

  - Determine if asbestos, lead, or mold is present.  If found, design a method for abating/remediating all asbestos containing materials, lead containing materials, and mold contaminated items impacting this project.

  - Determine location of asbestos, lead and/or mold contamination, and any water and moisture damage.  Work with the I.H. to uncover and assess hidden areas.  To the extent possible, all materials known or suspected to be disturbed or otherwise impacted during this project must be sampled prior to demolition and included in the abatement design.  If materials are unable to be sampled during the design phase of the project, they must be sampled during selective demolition processes during the construction phase or otherwise treated as ACM.

  - For mold contamination, determine the contributing factors to the mold development.

  - For asbestos and lead contamination, determine the extent of abatement required to eliminate all impacts to this project.

  - Develop the Abatement Design for areas & materials covered under the project in accordance with EPA and VHA guidelines.

  - Review the I.H. Report.

  - Produce a written report and drawings compiling all necessary information.

- VA Professional Industrial Hygienist (VPIH):

The A/E will retain a specialist in VPIH services to provide sufficient oversight of the abatement process. The following VPIH services will comply with federal, state, and local laws and regulations:

- Review of Contractor Provided Asbestos Abatement Plan:  The VPIH is responsible for reviewing and approving the Contractor's Professional Industrial Hygienist (CPIH) work plans.  Provide comments and recommendations to ensure VA personnel and/or patients are not exposed to asbestos fibers.

- Provide Air and Materials Sampling:  Provide air and materials sampling of the construction site to verify that no asbestos fibers were released during the asbestos abatement activities.  Provide materials sampling within the construction site when suspect materials are uncovered and it is unconfirmed if the material contains asbestos or lead. Field work and sampling activities shall be performed by trained personnel under the direction of a licensed Industrial Hygienist or Board Certified Microbial Consultant.

- Hazardous materials site visits are to have 5 for design and 5 for construction period services.

- Provide Abatement Oversight:  Provide oversight of the abatement contractor to ensure compliance with abatement laws and regulations.

- Provide Final Clearance:  Ensure the contractor has completed the abatement work required and provide final clearance that the abatement work is complete and there are no impacts to the Medical Center.

- Provide Final Report:  Provide a final report showing daily logs, sampling results and collected documents.

- All work shall be in compliance with applicable laws, regulations and procedures published or issued by federal, state and local regulatory agencies for the abatement and control of hazardous materials.

B3 GOVERNMENT FURNISHED DESIGN CRITERIA):

- The A/E shall design in accordance with the requirements of the following VA publications, which can be found in the VA Tech Info Library (TIL) at http://www.cfm.va.gov/TIL/ :

-VA Program Guide, PG-18-15, Volume CA/E Submission Instructions for Minor and NRM

Construction Program: Schematics, Design Development, Construction Documents

- VA Master Construction Specifications, Program Guide, PG-18-1; https://www.cfm.va.gov/til/ae/aesubmin.pdf  http://www.cfm.va.gov/TIL/spec.asp

-VA Design and Construction Procedures, PG-18-3; http://www.cfm.va.gov/TIL/cPro.asp

-VA Standard Details, PG-18-4, Volumes 1, 3, 4, 5, 6 & 7; http://www.cfm.va.gov/TIL/sDetail.asp

-VA Equipment Guide List, PG-18-5; http://www.cfm.va.gov/TIL/equip.asp

-VA Design Manuals for the applicable disciplines, PG-18-10; http://www.cfm.va.gov/til/dManual.asp

-VA Design Guides for graphics, PG-18-12; http://www.cfm.va.gov/til/dGuide.asp

-VA Barrier Free Design Guide, PG-18-13; http://www.cfm.va.gov/TIL/accessibility.asp

-VA Environmental Compliance Manual, PG-18-17; http://www.cfm.va.gov/til/spclRqmts.asp#EC

-VA Design Alerts and Quality Alerts; http://www.cfm.va.gov/til/alert.asp

-VA CAD Standards; http://www.cfm.va.gov/til/projReq.asp#cad

-VA Design Review Checklists; http://www.cfm.va.gov/til/projReq.asp#reviewCheck

-VA AE Design Submission Requirements; http://www.cfm.va.gov/til/aeDesSubReq.asp

-Office of Construction & Facilities Management Design Manual, Architectural Design Manual, http://www.cfm.va.gov/til/dManual/dmARhosp.pdf

-VA Medical Center Memorandums (“MCM”) (Request From COR)

-VA Asbestos Abatement Design Manual (https://www.cfm.va.gov/til/dManual/dmASBhosp.pdf)

- Environmental Protection Agency (EPA) NESHAP regulation for Asbestos (55 CFR 48406; https://www.epa.gov/sites/default/files/2016-03/documents/55fedreg48406.pdf)

- OSHA 29 CFR 1926.1101 and appendices (https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926.1101)

- EPA 40 CFR 763 and appendices (https://www.epa.gov/sites/default/files/documents/2003pt763_0.pdf)

- Other design criteria may be required to meet specific requirements of the design work scope that are not listed above, or are not available on the VA Office of Facilities web site.  The A/E is responsible for obtaining and complying with all such criteria.

B4 DESIGN DELIVERABLES:

- Distribution of A/E Materials to the VA:

The A/E shall provide the means necessary to submit large electronic files to VA recipients.  Files over 10 MB may not be transmitted through the VA email system.  File transfer protocol websites (FTP) are prohibited for use by VA employees.  Provide Submittal Exchange or equal web system.  Service should be provided through construction period services and allow use by construction contractor.

- Reproduction and delivery costs of Design Review Material in accordance with the “Milestone Submittal Requirements” are included in the costs for each design phase and are not reimbursable.

- Bidding and Construction Material reproduction and delivery costs in accordance with the “Milestone Submittal Requirements” are included in the CD Phase and are not reimbursable.

- The A/E shall provide a “Stand Alone Certification Memo” to the VA with the 65% Contract Documents for Bidding. (see attached format).

- The A/E shall provide a “Vista Space File” completed spreadsheet to the VA with the 65% Contract Documents.

- The A/E shall provide a Submittal Register to the VA with the 65% Contract Documents for Bidding.

- The A/E shall provide an equipment list (all BSE equipment taken out and added to the project including EE numbers) to the VA with the 65% Contract Documents, AE to request the documentation spreadsheet immediately from COR after a contract is awarded. A filled out documentation spreadsheet is to be submitted to the COR no later than 30 days after the 100% substantial construction completion date. During the design phase, all EE numbers are to be verified via site investigations and recorded on “demo” plan sheets so that all equipment to be demolished is accurately recorded within the contract documents.

- The A/E shall provide a third-party fire protection code review as outlined in VHA Directive 7712.

- The A/E shall provide a Period of Performance Letter at the end of the design period that estimates the construction Period of Performance.

- Record Documents (“As-Built”) shall be submitted to the VA immediately prior to final acceptance of the project by the VA.  Record Documents shall conform to the VA standard requirements including originals and record specifications incorporating all of the actual finished conditions, project revisions/amendments and products.  Record Document Material reproduction and delivery costs in accordance with the “Milestone Submittal Requirements” are included in the CPS Phase and are not reimbursable.

- Milestone Submittal Requirements (Refer to following page):

| MILESTONE SUBMITTAL REQUIREMENTS |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number of Required Submittal Documents |  |  |  |  |  |  |  |  |  |
| Submittal Description | Digital File |  |  | Letter | Drawings |  |  |  |  |
|  | .orig |  | .pdf |  | Half Size |  | Full Size |  | Mylar |
| Design Narrative Submittal: |  |  |  |  |  |  |  |  |  |
| Condition Assessment |  |  | 1 |  |  |  |  |  |  |
| Cost Estimate | 1 |  | 1 |  |  |  |  |  |  |
| 35% Schematic Design Submittal: |  |  |  |  |  |  |  |  |  |
| Cost Estimate | 1 |  | 1 |  |  |  |  |  |  |
| Reports & Calculations | 1 |  | 1 |  |  |  |  |  |  |
| Outline Specifications | 1 |  | 1 |  |  |  |  |  |  |
| Drawings | 1 |  | 1 |  |  |  |  |  |  |
| Existing Condition Record Drawings | 1 |  | 1 |  |  |  |  |  |  |
| 65% Contract Document Submittal |  |  |  |  |  |  |  |  |  |
| Cost Estimate | 1 |  | 1 |  |  |  |  |  |  |
| Reports | 1 |  | 1 |  |  |  |  |  |  |
| Draft Specifications | 1 |  | 1 |  |  |  |  |  |  |
| Drawings | 1 |  | 1 |  |  |  |  |  |  |
| Stand Alone Certification Memo | 1 |  | 1 | 1 |  |  |  |  |  |
| 95% Contract Document Submittal |  |  |  |  |  |  |  |  |  |
| Cost Estimate | 1 |  | 1 |  |  |  |  |  |  |
| Reports | 1 |  | 1 |  |  |  |  |  |  |
| Specifications | 1 |  | 1 |  |  |  |  |  |  |
| Drawings | 1 |  | 1 |  |  |  |  |  |  |
| 100% Contract Documents for Bidding |  |  |  |  |  |  |  |  |  |
| Final Cost Estimate | 1 | 1 |  |  |  |  |  |  |  |
| Reports & Calculations | 1 | 1 |  |  |  |  |  |  |  |
| Specifications | 1 | 1 |  |  |  |  |  |  |  |
| Drawings | 1 | 1 |  |  |  | 2 |  |  |  |
| Release for Construction Set (Incorporate all Solicitation Amendments): |  |  |  |  |  |  |  |  |  |
| Final Cost Estimate | 1 |  | 1 |  |  |  |  |  |  |
| Reports & Calculations | 1 |  | 1 |  |  |  |  |  |  |
| Specifications | 1 |  | 1 |  |  |  |  |  |  |
| Drawings | 1 |  | 1 |  | 1 |  |  |  |  |
| Existing Condition Record Drawings | 1 |  | 1 |  | 1 |  |  |  |  |
| Record Document Submittal: |  |  |  |  |  |  |  |  |  |
| Final Project Construction Cost | 1 |  | 1 |  |  |  |  |  |  |
| Operation & Maintenance Manuals | 1 |  | 1 |  |  |  |  |  |  |
| Record Specifications | 1 |  | 1 |  |  |  |  |  |  |
| Record Drawings | 1 |  | 1 |  |  |  |  |  |  |

Note 1: “. orig” indicates digital file in the document’s original file format i.e. “.doc”, “.rvt”, “.dwg”, “xls”, etc.

Note 2: Letter size reports may contain 11” x 17” drawing or exhibit pages tri-folded to letter size as required.

Note 3: Letter size (8.5” x 11”) submittal documents less than or equal to 25 pages may be stapled, all other letter size documents shall be bound with a Cover Sheet containing the Project information, date and Table of Contents.

B5 DESIGN REVIEW AND COMPLETION SCHEDULE:

- The A/E shall perform the work required by this contract within 190 calendar days reflective of schedule below.  The A/E shall provide Professional Architects and Engineers as directed by the Contracting Officer who are familiar with the work to attend the Design Reviews on the following days:

| Design Phase I and II | Phase Duration (Days1) | Calendar Days from NTP |
| --- | --- | --- |
| Project Design “Kick-off” Meeting | 0 | 0 |
| Design Narrative | 14 | 14 |
| Design Narrative Discussion via Conference Call | 7 | 21 |
| 35% Schematic Design Submittal and Asbestos, Lead and Mold testing reports. | 30 | 51 |
| 35% Schematic Design Review Meeting | 72 | 58 |
| 65 % Construction Documents | 30 | 88 |
| 65% Construction Documents Review Meeting | 102 | 98 |
| 95% Construction Documents | 30 | 128 |
| 95% Construction Documents Review Meeting | 102 | 138 |
| 100% Contract Documents Issued for Bidding | 21 | 159 |
| 100% Contract Document Submittal Review | 102 | 169 |
| Contract Documents Issued for Bidding: | 21 | 190 |
| Release for Construction Set of Contract Documents | TBD3 | Immediately following award of contract |
| Record Document Submittal: | TBD3 | Within 30 calendar days of receiving red lined drawings |

Note 1:  Number of Days is calendar days.

Note 2:  Review Meetings occur on noted number of days after submittal of phase documents.

Note 3: “TBD” is To-be-Determined.

- The Contracting Officer (CO) may schedule additional Design Reviews as necessary when it is determined by the CO that such reviews are required for satisfactory completion of A/E contract requirements.  The A/E will be reimbursed for additional review meetings in accordance with the rate sheet, unless it is solely determined by the CO that such additional reviews were requested by the A/E, or were required due to the A/E’s failure to meet contract requirements.

- The A/E is responsible for recording the minutes of all meetings.  The format of the meeting minutes shall be subject to prior approval from the VA COR.  The draft meeting minutes shall be distributed for review and comment within one working day following the meeting to the COR, who will in turn distribute the same to each invited VA-attendee as required.  Notification by email to the COR that the draft documents are available on an A/E provided ftp site, or as an attachment, is the preferred method.   The VA shall have two working days upon receipt of the meeting draft documents to make any additional comments or corrections.  The final meeting minutes shall be issued within three working days after the meeting to the VA CO and the COR.

- Milestone review minutes shall comply with the requirements for meeting minutes, except that two days shall be added to each response period.  In addition, the submitted milestone review drawing mark-ups by the VA and any review meeting comments shall be described in a tabular form with the comment (listed by discipline), comment originator, partly responsible for responding to comment, and a column indicating whether comment was incorporated into design documents.  If comment was not incorporated or only partially incorporated, provide an explanation for the action.

- The interim and final documents (SD, DD, and CD) from this Task Order will be subject to review and approval (by signature) of all members of an Integrated Project Team (“IPT”) consisting of Medical Center personnel.  These individuals will be identified by the COR by the first design review meeting.  The A/E shall prepare a title sheet for each submission and phase as appropriate to receive approval signatures from members of the IPT. The COR will provide A/E with a copy of the Memorandum identifying IPT members.

# B6 SCHEMATIC REVIEW SUBMISSION (35% REVIEW):

- Specifications:

- Submit an index of all VA Master Construction Specification sections intended for use.  Include a brief description of any A/E originated sections to be used.

- A/E shall obtain the VA Master Construction Specifications and any other VA Technical Documents at http://www.va.gov/facmgt.

- Architectural:

- Submit as a minimum, a layout for each project.  Include fixed equipment at a scale not less than 1/8” =1’ 0”.  Submit ¼” – 1’ 0” scale floor plans of special rooms such as the endoscopy suite, recovery room, etc., to show layout and identification of equipment.  Include elevation views and or renderings as necessary to allow end users to decide which concept they desire to be developed.

- Show schematic sections, as needed, to define the building and/or equipment concepts.  Include field verified locations of existing or remaining details.

- Show roof and penthouse plans if required.

- Show legends that as a minimum reflect all items denoted on drawing at this submission.

- Heating, Ventilation, and Air Conditioning:

- Submit, as a minimum, outline plan drawings showing HVAC replacement unit locations, sizes of connection lines to existing services, and any lines to be removed.

- Provide a written description of the replacement HVAC unit considered for the project and how it will be connected to the existing system to justify final system selection.

- Plumbing:

- Submit, as a minimum, outline plan drawings showing main water line locations feeding the project boundary, compressor locations, sizes of main lines, including drains, points of connection to existing piping, all new piping and piping to be removed.

- Asbestos, Lead and Mold:

- If any areas are identified as containing hazardous materials, show areas of suspected Asbestos Containing Material (ACM), lead and mold abatement required.  Show quantities that will require abatement for each.  Lead may be lead paint, lead shower pans, lead lined walls, lead lined doors, etc.

- Electrical:

- Submit, as a minimum, floor plan showing new and existing panel locations and sizes.  Indicate point of connection to existing distribution centers.

- Phasing:

- Submit, as a minimum, drawing number indicating a separate phasing drawing.

- Provide a written description of each Phase.

- Cost Estimates:

- A/E shall submit a construction cost estimate simultaneously with the drawings for this project at each project submission.

- This estimate shall show the cost of construction which would be expected to be reflected by the Construction Contractor’s bids, if the bids were submitted on the same date as the estimate.  The level of detail for this estimate shall be consistent with the degree of completeness of the drawings being submitted.  Simply stated, this means that if a construction element is shown, it must be priced; if it is shown in detail, it must be priced in detail.  For detailed elements, “lump sum” or “allowance” figures will not be acceptable.

B7 ATTENDANCE AT CONFERENCES:

- Attendance at Construction Pre-Bid conference IS required with regard to this task order.

- Attendance at Weekly Construction Coordination meeting IS required with regard to this task order.

B8 STRUCTURAL ECONOMIC ANALYSIS:

- A structural economic analysis IS NOT required with regard to this task order.

B9 STRUCTURAL/SEISMIC ANALYSIS:

- A structural/seismic analysis IS NOT required with regard to this task order.

B10 CONSTRUCTION PERIOD SERVICES:

- A/E firm shall provide such construction period services to allow the VA to monitor the contract daily with adequate support from the A/E firm.  The items of support shall include, but not be limited to:

- Review of all technical submittals, shop drawings and other technical correspondence.  All submittals and shop drawings shall be reviewed within two weeks of receipt.

- The A/E will provide and maintain a Submittal Exchange or equal web system that will be accessible to the VA staff assigned to the project.  This site shall be used throughout the duration of the project during both design and construction for meeting minutes and design reviews during the design phase and used by A/E, COR, Contracting Officer and construction contractor during construction phase to upload: submittal reviews, meeting minutes, construction daily logs, etc.

- Provide advice and consultation on RFIs raised by the VA or the contractor on technical matters.  Provide additional design and sketches as necessary should issues arise with the constructability of the initial design.  All RFI shall be reviewed within two weeks of receipt.

- Provide cost estimates as necessary to assist in negotiating any changes to the contract.

- A/E firm shall provide adequate representation at all pre-bid, pre-construction, & weekly construction meetings to answer questions from contractors and inform them of technical items which should be brought to their attention for a complete job.

- VPIH oversight services estimates required with regards to this task order are to be determined by the A/E.

B11 SITE VISITS:

- A/E firm shall provide representatives to make periodic site visits during the construction to provide additional support to the VA in managing the contract.

- Site visits during the Construction Period Services (CPS) as outlined in the original contract ARE required with regard to this task order.   Site visits shall be at a fixed cost per site visit.

- Pre-Bid Visit: Provide one (1), scheduled through the Contracting Officer.

- Kickoff Meeting: Provide one (1).

- General Site Visits during construction: Provide three (3).

- Final inspections, at completion of project and/or at completion of any phase where the VA must accept work done by the contractor.  A final punch list shall be conducted by all design trades.  The cumulative findings shall be combined into one final list and provided to the VA for issuance to the contractor:  Provide three (3).

All site visits shall be scheduled in advance with the VA COR and CO.  Total number of site visits anticipated is eight (8) which is the sum of items 1, 2, 3, and 4 above.

- Formal documentation will be required for all site visits.  Final inspection reports will be prepared by the A/E firm and submitted to the VA for issuance to the contractor.  Record of site visits will be in accordance with Special Provisions of the Contract.  Correction of A/E’s Errors and Omissions, including required site visits to ascertain remedial action, are not part of CPS, and shall be handled under FAR clause 52.236-23.