## Sheet1
Medical Gas Description List
| Item Description (all locations unless otherwise noted) (Contractor Owned Cylinders) Emergency orders: 24 hours | UOM
Routine: 48hours
1 | .50% CM, 5% C02 +/-5%; | CYL
21.0% OXYGEN +/-5% BALANCE NI
2 | 20% C02 BALANCE N2 E TANK | CYL
3 | 5% C02 BALANCE N2, E TANK | CYL
4 | Air AIR BREATHING GR D SIZE 300 CGA 346 IAW 29 | CYL
CFR 1910.134, minimum grade D
5 | AIR USP 20 CGA 346 | CYL
6 | AIR USP 200CGA 346 | CYL
7 | AIR USP 300 CGA 346 | CYL
8 | ARGON UHP GR 5.0 SIZE 200 | CYL
9 | ARGON UHP GR 5.0 SIZE 300 | CYL
10 | BAC 5% OX/5% CD/NI 200 | CYL
11 | CARBON DIOIXDE FG/IND 10LB CGA 320 | CYL
12 | CARBON DIOXIDE 5%, BALANCE AIR | CYL
Certified and size 200 Research requires certificate of analysis, various sizes 50/75 lb
13 | CARBON DIOXIDE 5%, BALANCE OXYGEN | CYL
Certified and size 200 Research requires certificate of analysis,
various sizes 50/75 lb
14 | CARBON DIOXIDE FG/IND 10LB ALUM | CYL
15 | CARBON DIOXIDE In 50 POUND CGA 320 | CYL
16 | CARBON DIOXIDE IN 75 POUND CGA 320 RENTAL | CYL
17 | CARBON DIOXIDE IND 200 CGA 320 | CYL
18 | CARBON DIOXIDE USP 10 | CYL
19 | CARBON DIOXIDE USP 50LB | CYL
20 | CARBON DIOXIDE USP180LT | CYL
21 | CARBON DIOXIDE W/SIPHON | CYL
22 | CB 5% CD/NI 200 | CYL
23 | CHLORINE HP 100PPM +/- 10%; DRY AIR 99.99% +/-5% | CYL
CGA 660
24 | CHLORINE HP 140PPM +/- 10%; DRY AIR 99.986% +/-5% | CYL
CGA660
25 | CT 3% OX/5% CD/N1 200 | CYL
26 | CT 5% CD/NI 200 | CYL
27 | HELIUM UHP 300 CGA 580 | CYL
28 | HELIUM UHP SZ 200 | CYL
29 | HYDROGEN 10%, CARBON | CYL
DIOXIDE 10%, BALANCE NITROGEN/0
Size 200. Research requires certificate of analysis, various sizes 50/75 lb
30 | HYDROGEN UHP SZ 200 | CYL
31 | HYDROGEN UHP GR 5 SIZE 300 CGA 350 | CYL
32 | METHANE, chemically pure 2.5 grade, size 300 cylinder | CYL
33 | NITROGEN LIQUID NF 230LITERS | CYL
NF and 230 psi
34 | NITROGEN MEDICAL NFE CGA 960 | CYL
35 | NITROGEN NF SZ 200 | CYL
36 | NITROGEN NF SZ 300 | CYL
37 | NITROGEN UHP GR 5.0 SIZE 300 | CYL
38 | NITROGEN UHP SZ 200 | CYL
39 | NITROGEN ZERO 200 CGA 580 | CYL
40 | NITROGEN ZERO 300 CGA 580 | CYL
41 | NITROUIS OXIDE USP 20 LBS | CYL
42 | NITROUIS OXIDE USP 56 | CYL
43 | Oxygen Various grades and sizes need to be available | CYL
44 | OXYGEN USP DA MED CGA 870 | CYL
45 | OXYGEN USP SZ 200 | CYL
46 | OXYGEN USP SZ 300 | CYL
47 | OXYGEN UHP GR 4.4 SIZE 300 CGA 540 | CYL
48 | CARBON DIOXIDE 180LT | CYL
Industrial and NF
49 | OXYGEN UHP E CGA 540 | CYL
50 | PF 4 COMP/NI 200 CUSTOM RANGES | CYL
51 | AN 10% CD/10% HY/NI 200 | CYL
52 | OXYGEN USP MEDICAL PURE EA CGA 870 | CYL
53 | OXYGEN USP MEDICAL PURE E CGA 870 | CYL
| AIRGAS WALK-O2-BOUT OXYGEN USP MEDICAL PURE EA CGA VIPR | CYL
54 | CB 20 % CD/NI E | CYL
55 | CT 20% 7C/20% SH/ET 350 | CYL
56 | METHANE RESEARCH GRADE SIZE 200 | CYL
57 | BAC 5 % CD/NI E | CYL
| Monthly Cylinder Rental (all locations) | UOM
58 | RENT CYLINDER MEDICAL EXTRA SMALL | Per CYL,
Per Mo
59 | RENT CYLINDER MEDICAL SMALL | Per CYL,
Per Mo
60 | RENT CYLINDER INDUSTRIAL SMALL | Per CYL,
Per Mo
61 | RENTAL LIQUID MEDICAL MEDIUM 160-180 LITERS | Per CYL,
Per Mo
62 | RENT CYLINDER INDUSTRIAL MEDIUM | Per CYL,
Per Mo
63 | RENTAL LIQUID MED LARGE 190-300 LITER | Per CYL,
Per Mo
64 | RENT CYLINDER INDUSTRIAL LARGE | Per CYL,
Per Mo
65 | RENTAL CYLINDER SPECIALTY LARGE | Per CYL,
Per Mo
66 | RENT CYLINDER MEDICAL LARGE | Per CYL,
Per Mo
| U.S. Army Medical Research Institute of Infectious Diseases (USAMRIID) - | UOM
1425 Porter Street, Fort Detrick, MD 21702 & 8100 Research Plaza, Fort Detrick, MD 21702
67A | Bulk liquid Nitrogen, NF, per CCF. Standalone 3000 gallon liquid nitrogen tank piped into | CCF
the building.
67B | Liquid Nitro gen - 3000 liter tank attached to a | LITER
portable station- micro bulk deliveries
68 | 3,000 GA LIN Tank, 175 psi, | Month
monthly rent; 3,000 liter MB LIN; 6-ton CO2 tank rental, 3 dewar refill station rental; jersey barrier rentals
69 | Tank telemetry monthly fee | Month
70 | Mobilization and demobilzation of portable - Each Trip ($4200 for mobilization) ($4200 for | EACH
demobilization)
71 | CO2 tank replacement on RIID location dock with a bulk CO2 | Month
solution utilizing hospital grade CO2
72 | MicroBulk Hospital Grade CO2 | Pounds
72-A | CARBON DIOXIDE IND 200 CGA 320 | Pounds
72-B | CARBON DIOXIDE USP 50 POUND CGA 320 | Pounds
73 | Propane
73-A | Propane, 33- pound Cylinder | EA
73-B | Fuel Charge
73-C | Fuel Charge - Flat Blk
73-D | Energy Charge
73-E | Delivery Flat Charge
73-F | Product Surcharge
| Government Cylinder Maintenance (all locations unless otherwise noted) | UOM
73 | Ultrasonic Testing - Standard High Pressure Cylinders | EA
74 | External Cleaning - Strip | EA
75 | Paint - One Color | EA
76 | Paint - Each Additional Color | EA
77 | Paint- Stencil | EA
78 | Dip (Siphon) Tube | EA
79 | Cylinder Cap Replacement | EA
80 | Safety or Dust Cap & Chain | EA
81 | Valve - Replace - Standard Medical | EA
82 | Disposal - Standard High Pressure Cylinders | EA
83 | Replacement- Lost Cylinders - Walk-O-Bouts | EA
84 | Replacement- Lost Cylinders - Walk-O-Bouts MRI | EA
85 | Replacement - Lost Cylinders HP Steel - Small | EA
86 | Replacement - Lost Cylinders HP Steel - Large | EA
87 | Replacement - Dewars 160/180 Liter | EA
88 | Stencil USAMRIID's cylinder (Fort Detrick - East) | EA
89-A | Dewar purchase: Chart Industries, CYL- MVE230LTXX- 230 Liter, | EA
DuraCYL Dewar 22 psi on wheels square base with a ball valve on the liquid outlet/liquid withdrawal;
inspected and labeled for appropriate use.
89-B | Dewar purchase: Chart Industries, CYL- MVE230LTXX- 230 Liter, | EA
DuraCYL Dewar 230 psi on wheels square base for gas use; inspected and labeled for appropriate use.
*Note: Revised pricing Modification P00006
90 | Delivery Charge (cylinders/dewars) | EA
91 | Delivery Charge (bulk) - EAST | EA
| DRY ICE | UOM
91A | 1500 lbs. of standard dry ice pellets, approx. 1/2x3/4”. | LB
Delivery:
--1, 020 lbs. delivered to, 1425 Porter Street, North Dock
Loading Bay, Fort Detrick, MD
--480 lbs. delivered to 1425 Porter Street, North Dock Loading Bay, Fort Detrick, MD
| Item Description - U.S. Army Medical Research Institute of Chemical Defense (USAMRICD) - 8350 RICKETTS POINT RD, BLDG E2900, ABERDEEN PROVING GROUND, MD | UOM
21010-5400
92 | AIR INDUSTRIAL 300 CGA 590 | CYL
93 | AIR BREATHING 300 CGA 346 | CYL
94 | AIR ULTRA ZERO SIZE 300 CGA 590 | CYL
95 | ARGON UHP GR 5.0 SIZE 300 | CYL
96 | ARGON INDUSTRIAL 300 | CYL
CGA 580
97 | CARBON DIOXIDE RESEARCH 200 CGA 320 | CYL
98 | CARBON DIOXIDE W/SIPHON | CYL
99 | HELIUM UHP 300 CGA 580 | CYL
100 | HELIUM RESEARCH GR 6.0 SIZE 300 CGA 580 | CYL
101 | NITROGEN UHP GR 5.0 SIZE 300 | CYL
102 | NITROGEN INDUSTRIAL SIZE 300 CGA 580 | CYL
103 | NITROUS OXIDE USP SIZE E CGA 910 | CYL
104 | OXYGEN USP SZ 200 | CYL
105 | OXYGEN UHP GR 4.4 SIZE 300 CGA 540 | CYL
106 | OXYGEN USP SIZE E CGA 870 | CYL
107 | OXYGEN INDUSTRIAL SIZE 300 CGA 540 | CYL
108 | HYDROGEN UHP GR 5 SIZE 300 CGA 350 | CYL
109 | USP 5 % CD/OX 200 1900 PSIG | CYL
110 | CT 10 % ME/AR 300 | CYL
111 | ISOBUTANE RES SZ LP5 | CYL
112 | Helium, Liquid, 100 LT | CYL
113 | Dry Ice (Bagged Pellets) – 1,000 pounds weekly | LB
114 | OXYGEN UHP E CGA 540 | CYL
115 | LIQUID NITROGEN 850 L | LITER
weekly
116 | CARBON DIOXIDE USP180LT | CYL
117 | CARBON DIOXIDE RESEARCH 300 CGA 320 | CYL
118 | ARGON INDUSTRIAL 40 CGA 580 | CYL
119 | HELIUM IND LIQ 250LT | CYL
120 | Rental - HELIUM IND LIQ 250LT | Per CYL,
Per DAY
121-A | HELIUM LIQUID SIZE 60 | CYL
LTRS; refill- 4 to 6 times a year; Bldg E2900 (8350 RICKETTS POINT RD)
121-B | HELIUM LIQUID SIZE 100 | CYL
LTRS- 4 to 6 times a year; Bldg E2900 (8350 RICKETTS POINT RD)
| Walter Reed Army Institute of Research (WRAIR) - Silver Spring, MD | UOM
121 | Bulk liquid Nitrogen, NF, per CCF | CCF
122 | MicroBulk Hospital Grade CO2 | Pounds
123 | Oxygen Medical 95%, CO2 5%; | CYL
200 CF CGA 280 G cyl
124 | 5% CO2; 5% OX; 90% Balance | CYL
NI Biololgical Atmosphere medical mix; size 220 CF, CGA 500
125 | HELIUM USP SIZE 200 CUSTOMER (H) OWNED CGA 580 | CYL
126 | ARGON INDUSTRIAL 40 CGA 580 | CYL
127 | HELIUM IND LIQ 250 LITER | CYL
128 | Rental - HELIUM IND LIQ 250LT | Per CYL,
Per DAY
| DRY ICE | UOM
129 | 1500 lbs. of standard dry ice pellets, approx. 1/2x3/4”. | LB.
Delivery:
--1, 020 lbs. delivered to BLDG
503.
--480 lbs. delivered to BLDG 501
| Gauges & Installation (all locations unless otherwise noted) | UOM
130 | GAUGE 2"X600 PSI CRYO LOWER MOUNT CONNECTION 1/4" NPT CONNECTION SIZE BRASS 8998706 | EA | TO BE SPEC OUT FOR PRICING UPON REQUEST BASED ON APPLICATION, EQUIPMENT TYPE AND GAS-SPECIFIC REQUIREMENTS
131 | MANIFOLD ASSEMBLY LIQUID BRASS PIPE LP | EA | TO BE SPEC OUT FOR PRICING UPON REQUEST BASED ON APPLICATION, EQUIPMENT TYPE AND GAS-SPECIFIC REQUIREMENTS
132 | GAUGE INSTALL LABOR FEES - ONSITE SERVICES | EA | TO BE SPEC OUT FOR PRICING UPON REQUEST BASED ON APPLICATION, EQUIPMENT TYPE AND GAS-SPECIFIC REQUIREMENTS
| Item Description –WRAIR BLDG 568 located at Doughten Drive, Fort Detrick, MD 21701 | UOM
133 | HELIUM UHP 300 CGA 580 - | CYL
customer owned
134 | ARGON UHP GR 5.0 SIZE 300 | CYL
- customer owned
135A | ARGON UHP GR 5.0 SIZE 200 | CYL
CGA 580
135B | AR UHP Dewar | CYL
136 | 95% Argon/5%Methane (P5) - Refill Size 300 - customer owned | CYL
137 | Liquid Argon - 180L - Argon Dewar – Government customer owned | CYL
138 | Liquid Argon – 180L – Argon Dewar - CERTIFIED | CYL
139 | NITROGEN DEWAR REFILL | LITER
140 | NITROGEN IND LIQ 180LT 230PSI | CYL
141 | OXYGEN INDUSTRIAL 300 | CYL
CGA 540
142 | CARBON DIOXIDE IND 300 CGA 320 | CYL
143 | NITROGEN IND LIQ 180LT | CYL
230PSI (customer owned)
144 | OXYGEN INDUSTRIAL 200 | CYL
CGA 540
145 | OXYGEN INDUSTRIAL 300 | CYL
CGA 540 (customer owned)
146 | CARBON DIOXIDE IND 300 | CYL
CGA 320 (customer owned)
| Item Description - Armed Forces Medical Examiner System (AFMES) | UOM
147 | AIR MEDICAL GRADE N USP AIR SIZE 300; CGA-346 | CYL
148 | NITROGEN MEDICAL GRADE UHP GRADE 5.0 SIZE | CYL
300; CGA-580
149 | NITROGEN, LIQUID BULK | CCF
150 | HELIUM - ULTRA HIGH PURITY 5.0 GRADE, SIZE 300 | CYL
; CGA-580
151 | HYDROGEN- ULTRA HIGH | CYL
PURITY 5.0 GRADE, SIZE 300, CGA-350
152 | CARBON MONOXIDE CP | CYL
GRADE 2.3 (Compressed); CGA-350
153 | CARBON MONOXIDE CP 300 | CYL
154 | METHANE-ULTRA HIGH PURITY 4.0 GRADE, SIZE 300; CGA-350 | CYL
155 | AMMONIA, ANHYDROUS GRADE 4, SIZE 400 CGA- | CYL
240/705
156 | AMMONIA, ANHYDROUS GRADE 4, SIZE 400 CGA- 240/705 | CYL
157 | ARGON-ULTRA HIGH | CYL
PURITY 5.0 GRADE, SIZE 300; CGA-580
158 | DELIVERY FEE; MO | EA
159 | RENTAL FEE – CYLINDER; MO | Per CYL,
Per Mo
160 | HAZMAT FEE; MO | EA
161 | CYLINDER MAINTENANCE; MO | EA
162 | RENTAL FEE – CARBON MONOXIDE ONLY; MO | EA
163 | DELIVERY FEE – BULK NITROGEN ONLY; MO | EA
| Item Description - US Army Research Institute of Environmental Medicine (USARIEM) | UOM
10 General Green Ave. Natick, MA 01760
(No bulk delivery items)
164 | Liquid Nitrogen 220L- one tank in Bldg 42 room 247, and one tank in Bldg 42 | EA
room 341. These change out every 3-4 weeks.
165 | CO2 - UHP300 tanks, approximately 12 tanks over the year. | EA
166-A | 36 UHP300 tanks: Oxygen - Medical Grade - Aviation Grade | EA
- in Gov’t owned tanks. Refilled approximately once per year
166-B | Rent Cylinder, Large, Specialty | Per CYL,
| Rental fee per month | Per Mo
166-C | Rent Cylinder Liquid Medium Rental fee per month | Per CYL,
Per Mo
166-D | AIR ZERO 150A CGA 590 | CYL
Price per cylinder
166-E | CO2 RESEARCH 150A CGA | CYL
320, Price per cylinder
166-F | Rent Cylinder, Large, | Per CYL,
| Aluminum, Other, Rental fee per month | Per Mo
| Item Description - US Army Army Aeromedical Research Laboratory (USAARL) 6901 Farrel Road, Ft. Novosel, AL 36362 | UOM
Monthly:
167 | Rent Cyl Ind Large Acetylene; CY-AC 4 - CYL ACETYLENE IND #4 CGA 510 | Per CYL,
Per Mo
168 | Rent Cyl Ind Large Air CY-AI B300 - CYL AIR | Per CYL,
| BREATHING 300 CGA 346 | Per Mo
169 | Rent Cyl Ind Large Argon CY-AR 300 - CYL ARGON INDUSTRIAL 300 CGA 580; | Per CYL,
| CY-AR CD25300 - INM 25% CD/AR 300; | Per Mo
CY-AR OX5300 - INM 5% OX/AR 300
170 | Rent Cyl Ind Large Helium CY-HE 200 - CYL HELIUM | Per CYL,
| INDUSTRIAL 200 CGA 580 | Per Mo
171 | Rent Cyl Ind Large Nitrogen CY-NI 200 - CYL NITROGEN INDUSTRIAL 200 CGA 580 | Per CYL,
Per Mo
172 | Rent Cyl Med Large Oxygen CY-OX USP200 - CYL | Per CYL,
| OXYGEN USP MEDICAL PURE 200 CGA 540 | Per Mo
173 | Rent Cyl Med Large Air CY-AI USP200 - CYL AIR USP 200 CGA 346 | Per CYL,
Per Mo
174 | Rent Cyl Med Large Nitrogen CY-NI NF200 - CYL | Per CYL,
| NITROGEN MEDICAL NF 200 CGA 580 | Per Mo
175 | Rent Cyl Med Large Oxygen CY-OX USP200 - CYL OXYGEN USP MEDICAL PURE 200 CGA | Per CYL,
Per Mo
Pilot Bioproduction Facility (PBF) at WRAIR (PBF), 503
Robert Grant Ave., Bldg. 501, Silver Spring, MD 20910
Tank Gases Needed:
176 | Nitrogen, NF Grade, 255 cu. Ft., size 200 tank | CYL
176A | *Nitrogen NF Size 200 with Certs CGA 580 | CYL
*Added Modfication P00006
177 | CO2, USP Grade, 50 lb. size 200 tank | CYL
177A | *Carbon Dioxide USP 50 Lbs, Cert Required CGA 320 | CYL
*Added Modification P00006
178 | Liquid Nitrogen, Filling of 1,000 liter tank installed outside building. | LITER
Bulk Gas Needed:
179 | Liquid Nitrogen, Filling of 1,000 liter tank installed outside | LITER
building. Periodic (2-3 week) refill.
180 | 40% Oxygen, Balance Nitrogen Certified Reference Material, Size 200 High Pressure Steel Cylinder, CGA 296
CYL