| SUBJECT* | VISN 8 Whole Blood Glucose Monitoring |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 33637 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24826Q0671 |
| RESPONSE DATE/TIME/ZONE | 05-28-2026 13:00 EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 90 DAYS AFTER THE RESPONSE DATE |
| SET-ASIDE |  |  |
| PRODUCT SERVICE CODE* | 6650 |  |
| NAICS CODE* | 325413 |  |
| PLACE OF PERFORMANCE |  |  |
| POSTAL CODE |  |  |
| COUNTRY |  |  |

CONTACT INFORMATION

| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office 8 (NCO 8) 8875 Hidden River Pkwy Ste 160A Tampa FL 33637 |
| --- | --- |
| POINT OF CONTACT* | Contracting Officer Paul Jarret paul.jarrett@va.gov 813-436-6517 |

ADDITIONAL INFORMATION

| AGENCY’S URL | https://www.va.gov/ |
| --- | --- |
| URL DESCRIPTION | Department of Veterans Affairs |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

VISN 8 Whole Blood Glucose Monitoring

- Background: The Department of Veterans Affairs, Veterans Integrated Service Network (VISN) 8, Laboratory Service, is seeking Blanket Purchase Agreement (BPA) for Point of Care Whole Blood Glucose meters/analyzers for inpatient setting at the patient bedside and outpatient clinic locations. The BPA shall be procured as Cost Per Test (CPT) Clinical Laboratory Analyzers.

  - The Contractor shall provide all equipment, reagents, standards, controls, supplies, parts, accessories, service maintenance, including network support, training, installation, shipping, and any other item required for the proper operation of its’ contractor owned analyzers and peripherals necessary for the generation of whole blood glucose cost per test (CPT) services on behalf of VISN 8. All work is to be performed in accordance with the guidelines established by Federal, State and local ordinances, with the Federal Drug Administration (FDA) and manufacturer’s guidelines, and with all terms, conditions, provisions, schedules and specifications provided herein.

  - Participating Facilities: VISN 8 facilities participating in this requirement are listed below. Additional Facilities within VISN 8 may be added to this contract with an exercise of a supplemental agreement between the CO and Contractor.  Line items within the price schedule shall reflect the overall volume of all sites below and should take into consideration the potential addition of future facilities within VISN 8.

| VISN 8 Station | Facility Name | Address |
| --- | --- | --- |
| 516 - Bay Pines | Bay Pines VA Healthcare System | 10000 Bay Pines Blvd Bay Pines, FL 33744 |
| 546 - Miami | Miami VA Healthcare System | 1201 N.W. 16th Street Miami, FL 33125 |
| 548 - West Palm Beach | West Palm Beach Healthcare System | 7305 N. Military Trail West Palm Beach, FL 33410-6400 |
| 573 - Gainesville | North Florida/South Georgia VA Healthcare System | 1601 S.W. Archer Road Gainesville, FL 32608-1197 |
| 672 - Puerto Rico | VA Caribbean Healthcare System | 10 Casia Street San Juan, PR 00921-3201 |
| 673 - Tampa | James A. Haley Veterans’ Hospital and Clinics | 13000 Bruce B. Downs Blvd Tampa, FL 33612 |
| 675 - Orlando | Orlando VA Healthcare System | 13800 Veterans Way Orlando, FL 32827 |