MEMORANDUM FOR RECORD

SUBJECT: Item Description, P26-078 Ultrasonic Transducers

1. 76 PMXG is requesting the purchase of a set of Ultrasonic Transducers or Equal with the following specifications.

2. The requested descriptions/specifications are outlined below.

- Quantity: Three (3) Harisonic I31006-T, UTX IX-139, TLC IS1010GA transducer or Equal (Equal items must have approval documentation by CFM International (CFMI)

- Quantity: Three (3) Harisonic I70512T, UTX IX-141, TLC IX0519GB transducer or Equal (Equal items must have approval documentation by CFM International (CFMI)

- Transducers must meet GE and CFMI standards.