## STATEMENT OF WORK

CONTRACT TITLE: Sewer Line Hydro Jetting and Cabling Services

PLACES OF PERFORMANCES: San Diego VA Medical Center, 3350 La Jolla Village Dr., San Diego, CA 92161, Phone: (858) 552-8585

Hours: Primary Care (Mon, Thurs, Fri: 7:00 a.m. - 5:30 p.m.*; Tues, Wed: 7:30 a.m. - 5:30 p.m.*)

Mental Health (Mon, Wed - Fri: 8:00 a.m. - 4:00 p.m.; Tues: 7:00 a.m. - 6:00 p.m.*)

Oceanside Clinic

1300 Rancho del Oro Road

Oceanside, Ca. 92056

Sorrento Valley Clinic

10455 Sorrento Valley Road

San Diego, Ca. 92121

Chula Vista Clinic

353 H Street

Chula Vista, Ca. 92910

Comp and Pen Clinic

3110 Camino Del Rio S

San Diego, Ca. 92108

SD Counseling Center

7410 Mission Valley Road

San Diego, Ca. 92108

Kearney Mesa Clinic

8875 Aero Drive 
San Diego, Ca.

ASPIRE Center

2121 San Diego Ave

San Diego, Ca. 92110

Rio Clinic

8989 Rio San Diego Dr.

San Diego, CA 92108

SCM Warehouse

9755 Birch Canyon Place

San Diego, CA 92126

SD Admin

7630 Carroll Road

San Diego, CA 92121

SHOREHAM

5120 Shoreham place,

San Diego, CA 92122

PERIOD OF PERFORMANCE:

Base: 07/01/2026 – 06/30/2027

OY1: 07/01/2027 – 06/30/2028

OY2: 07/01/2028 – 06/30/2029

OY3: 07/01/2029 – 06/30/2030

OY4: 07/01/2030 – 06/30/2031

CONTRACT TYPE: Firm Fixed Price

BACKGROUND: The Contractor shall furnish all labor, equipment, and materials necessary to perform sewer line hydro jetting and cabling services for sewer and waste lines at the VA San Diego Medical Center and shall provide emergency response services at Community-Based Outpatient Clinic (CBOC) locations as required.

SCOPE OF WORK:

General Requirements:

The Contractor shall:

- Provide all labor, materials, parts, equipment, tools, hazardous/nonhazardous waste disposal, odor control, and permits when required to perform all services for Sewer Line Hydro Jetting and Cabling Services at VASDHS.

- Comply with the Federal and State Occupational Safety and Health Act (OSHA), Title 29, Code of Federal Regulations (CFR), Parts 1910 and 1926, NFPA 70E, Article 130.7 29 CFR 1910.132(d)(1)(iii), 29CFR1910.137.

- Provide VA staff with service reports for all preventative and corrective maintenance performed for each site visit.

Description and Specifications: The Contractor shall provide the following services every three (3) months, after normal working hours, this work to be completed on nights and weekends (Normal business hours of operation are Monday through Friday from 7:30 am to 4:00 pm Pacific time):

- Hydro-jetting/See snake (Camera) service on three (3) clean-outs in the dishwash area, room B122.

- Hydro-jetting/ See snake (Camera) service in the main kitchen, room B128, to remove excess grease in two (2) clean outs and (5) floor drains

- Hydro-jetting/ See snake (Camera) serviced on floor drains and clean outs in room 1374.

- Hydro-jetting/ See snake (Camera) service on grease and sewer main lines located in the warehouse area, two (2) f main lines.

- Hydro-jetting/ See snake (Camera) service on the inlet and outlet of the main grease trap.

- Hydro-jetting/ See snake (Camera) service on two (2) exterior storm drains and jet back under building.

- Hydro-jetting/ See snake (Camera) service of the cooling tower and storm drains located in bldg. 2, four (4) storm drains and eight (8) sinks.

- Hydro-jetting/ See snake (Camera) service of bldg. 2 (Cogen) indoor floor drains, bldg. 2 (Chiller) indoor floor drains.

- Hydro-jetting/ See snake (Camera) service of Basement Mezzanine & Main Grease Trap.

The Contractor shall ensure:

- Odor control measures are used to control potential releases of noxious or foul odors while providing Sewer Line Hydro Jetting and Cabling Services.

- Environments conditions are reviewed prior to the performing Sewer Line Hydro Jetting and Cabling Services.

- Installation, maintenance, repair, and removal of temporary connections or lines, and for returning all utilities connections to original conditions.

- Utility services shall not be interrupted unless authorized by the COR. Request for permission to shutdown services shall be submitted in writing to the COR ten (10) calendar days prior to date of proposed interruption. The request shall have relevant information, i.e., date, time, duration, etc.

Blockages: The Contractor shall be required to clean out blockages on lines not covered under this contract on an Emergency basis. Charges per visit shall be billed only in conjunction with an actual emergency visit. Response time to respond to an Emergency call shall be less than one (1) hour.

Clean-up: The Contractor is responsible for the complete cleaning of the work site following services each day. Upon completion of the specified work, all materials and other property belonging to the Contractor shall be removed from the work site. The work site shall be returned to its original condition or as specified by the COR in writing.

Spill Reports: The Contractor should anticipate that the Government will report any hazardous spills or discharges to Federal, State, and local environmental regulatory agencies, as appropriate, and that the Contractor will be held responsible for cleanup and remedial action according to Federal, State, local and Government specifications.

Broken Pipes: The Contractor shall survey the area where work is to be performed and notify the COR in writing of any damage noted prior to providing services in that location. The Government shall be responsible for all broken and or leaky pipes caused before and during services.

The Contractor shall be required to report damaged lines immediately:

- Call the pipe shop supervisor.

- The Contract Manager shall send an email to the pipe shop supervisor and cc the healthcare engineering maintenance team.

- The Contractor shall submit an incident report to the pipe shop supervisor and healthcare engineering maintenance team.

Equipment, Machines, and Tools: All equipment, machines, and tools used during the performance of services shall be maintained in satisfactory operating condition and used in the manner that the tool was designed to be used for. The Contractor shall follow manufacturer’s guidelines and professional recommendations for control of humidity, temperature, cleanliness, and materials handling. This includes hazardous materials. The Contractor may perform cleaning, minor repair and other normal maintenance requirements of equipment on site.

Repairs:

- Troubleshooting: Which includes diagnosing, tracing, and locating to identify cause of failure in a manner which minimizes impact to patient care and maintains a safe environment for all.

- Arrange time/date repair minimizes impact to patient care.

- Complete repair utilizing materials and parts that meet or exceed all applicable VA requirements/standard.

- Test and commission the system to ensure the repaired system is operating as designed/required to function to meet or exceed VA requirements/standards.

- Return the system to operation notifying all applicable units served by the equipment in accordance with all applicable VA requirements/standards.

- Provide all appropriate service report documentation to include parts used and warranty information.

24/7 Emergency Services:

- Contractor shall provide 24/7 dispatch in support of cabling & hydro jetting services at VASDMC and any of the CBOC (Community-Based Outpatient Clinics) if needed.

- 24/7 dispatch support will be provided 7 days a week Sunday – Saturday throughout the year.

- Contractors shall perform cabling services from inside the building to snake toilet lines. Services to include 25ft, 75ft, 150ft snake cable lengths to be called in at various times of the day/night/weekend/holiday.

- Contractor shall perform clearing, plunging, snaking/ See snake (Camera), and unclogging service for toilets, urinals, showers, mop sink, floor drain, and sinks.

- The technician shall not use floor drains to unclog issues in bathrooms and will always pull, reset, and use the main line machine.

- Contractor shall provide all replacement parts, installation, labor, and travel necessary to restore the system to fully operational condition.

- Only the CO, COR, or designated alternate has the authority to approve/request an unscheduled service call to the Contractor.

- Response time - Contractor’s technician or technical support shall respond with a phone call to the COR or designee within one (1) hour after receipt of telephoned notification. A qualified technician must respond on-site a maximum of eight business (8) hours after the initial request for service, unless specified otherwise by the COR.

- Equipment shall be restored to full service within a timeframe approved by the COR or designee. Full service is defined as the successful replacement of defective parts with parts that meet or exceed the manufacturer's original specifications and meet or exceeds the government’s expectations.

- Technicians responding to an unscheduled emergency service must report to the appropriate Shop Supervisor, Central Plant Supervisor or designee (after hours). Upon completion of service/repair the technician shall again report to that person and provide all appropriate service report documentation.

- Contractor shall provide an invoice after completion of each emergency regarding the pricing of removing sinks, toilets, and cleanouts for access points, such as for 2 sinks or 1 toilet or 3 cleanouts. Furthermore, Contractor can only invoice to the allocated Emergency fund when an emergency service has been provided to completion upon request.

- Invoice only for the actual hours worked and the specific plumbing services provided during each individual event. Each emergency response is considered a distinct occurrence, and billing must be based solely on time and materials used per call-out.

SUBCONTRACTING: The Contractor shall obtain the Contracting Officer’s approval prior to providing or replacing a Subcontractor. If a Subcontractor is utilized, the Contractor is responsible for acquiring all Subcontractors necessary to perform mission requirements, maintaining good working relationships with Subcontractors, Subcontractors’ Quality Control measures, and ensuring subcontractors can meet all requirements associated with this contract. The Contractor is responsible for all records to include the vehicle maintenance records of Subcontractors.

CONTRACTOR QUALIFICATIONS & OTHER RESPONSIBLITES:  Contractor shall obtain all necessary licenses required to perform this work.  Contractor shall take all precautions necessary to protect people and property from injury or damage during the performance of this contract.  Contractor shall be responsible for any injury to himself/herself, his/her employees, or others, as well as for any damage to personal or public property that occurs during the performance of this contract that is caused by him/her or his/her employees’ fault or negligence.  Contractors shall maintain personal liability and property damage insurance prescribed by the laws of the Federal Government.

The Government reserves the right to accept or reject Contractor’s employees for the rendering of services.  Complaints concerning Contract Personnel’s performance or conduct will be dealt with by the Contractor and COR with the final decision being made by the Contracting Officer.

SAFETY REQUIREMENTS: All personnel employed by the Contractor in the performance of this contract, or any representative of the Contractor entering on VASDHS shall comply with applicable Federal, State, and VA safety and fire regulations and codes which are in effect during the performance period of the contract.

Contractor shall perform work in strict accordance with existing relevant, accredited standards and codes to minimize the possibility of injury to personnel, or damage to Government equipment. Every effort shall be made to safeguard human life and property.

Contractor shall comply with all applicable Federal, State, and local requirements regarding workers’ health and safety. The requirements include, but are not limited to, those found in Federal and State Occupational Safety and Health Act (OSHA) statutes and regulations, such as applicable provisions of Title 29, Code of Federal Regulations (CFR), Parts 1910 and 1926, NFPA 70E, Article 130.7 29 CFR 1910.132(d)(1)(iii), 29CFR1910.137

Contractors shall provide all necessary tools, and Personal Protective Equipment (PPE) to perform the work safely, effectively, and timely.

Contractor must where clean, unsoiled overalls or company uniform. Within each building, all equipment shall be moved from one location to another on a covered cart. Soiled equipment shall not be seen, nor smelled by patients, visitors or staff. Shoe covers and gloves shall be removed prior to exiting each location.

CHANGES: The awarded Contractor is advised that only the Contracting Officer, acting within the scope of the contract has the authority to make changes which affect the contract in terms of quality, quantity, price or delivery.

In the event the Contractor effects any such change at the direction of any person other than the Contracting Officer, the change shall be considered to have been made without authority, and no adjustment shall be made in the contract price to cover any increase in costs incurred as a result thereof.

VA POLICY: Possession of weapons is prohibited. Enclosed containers, including tool kits, are subject to search. Violations of VA regulations may result in citations answerable in the United States (Federal) District Court.

PARKING POLICY: It is the responsibility of Contractor personnel to park only in designated parking areas. Parking information is available from the VA Police. The VA shall not validate or make reimbursement for parking violations of the Contractor’s personnel under any circumstances.

IDENTIFICATION BADGES: All Contractor personnel are required to wear identification (I.D.) badges during the entire time they are on the VA Healthcare System grounds. I.D. badges must have an identification picture and shall state the name of the individual and the company represented.

SMOKING POLICY: Smoking is not permitted within the VA Healthcare System facilities campus.

NORMAL WORKING HOURS: Normal hours of operation are Monday through Friday from 7:30 am to 4:00 pm Pacific time. All work is expected to be performed generally during normal hours of coverage unless requested or approved by the COR or his/her designee.

Before commencement of work, the Contractor shall confer with the VA COR and Contracting Office to agree on a sequence of procedures; means of access to premises and building. All work performed, to include delivery of materials and equipment, shall be made with minimal interference with Government operations and personnel.

Work performed outside the normal hours of coverage must be approved by the COR or his/her designee.

OVERTIME AND NATIONAL HOLIDAYS: Any overtime or holiday pay that may be entitled to the Contractor’s employees shall be the sole responsibility of the Contractor and shall not be billed nor reimbursed by the Government.

The Contractor is not required to provide service on the following U.S. Government holidays, nor shall the Contractor be paid for these days:

| New Year’s Day | January 1 |
| --- | --- |
| Martin Luther King ‘s Birthday | Third Monday in January |
| President’s Day | Third Monday in February |
| Memorial Day | Last Monday in May |
| Independence Day | July 4 |
| Labor Day | First Monday in September |
| Columbus Day | Second Monday in October |
| Veterans Day | November 11 |
| Thanksgiving Day | Fourth Thursday in November |
| Christmas Day | December 25 |
| New Year’s Day | January 1 |
| Martin Luther King ‘s Birthday | Third Monday in January |

INVOICE and PAYMENTS: Contractor shall submit monthly invoices in the arrears electronically via the Tungsten-Network System at the end of each month, for payment of the storage containers in that billing period. Contractor shall submit original invoice electronically to:

Department of Veterans Affairs

Financial Services Center

http://www.tungsten-network.com

(Toll-free telephone number: (877) 489-6135)

Payment shall be made monthly in the arrears upon receipt of properly prepared invoice.

The invoice MUST be itemized to include the following information. Any information listed below that is not provided on an invoice, will render that invoice incomplete and the invoice will be returned for immediate correction.

- Dates of service.

- Description of services.

- Invoice number, date.

- Contract number.

- Obligation number

Failure to comply with the above shall delay payment to the Contractor.

WAGE DETERMINATION:

Service Contract Act WD #: 2015-5635

Rev. 29, Published 12/02/2025.