STATEMENT OF WORK							June 02, 2026-2029

Spectra OPTIA Cell Separator

The subject contract shall cover maintenance, support, and emergency servicing for the two Cell separators located in the Blood Services Section of the Department of Transfusion of the Clinical Center at NIH. The Preventive maintenance (PM) is required to comply with FDA Guidance and AABB Standards. The Cell separators are used in therapeutic exchanges and the collections of mononuclear cells for research, and research collections for patient's undergoing protocols- which support our mission of providing high-quality patient care, and hospital services in support of NIH Clinical research programs. Included in this contract will be a two regular preventive maintenance visits, emergency servicing, spare /replacement parts (except if device is over 10 year old), and support for each device.

Work to be preformed

Independently, and not as an agent of the government, the contractor shall provide all necessary personnel, supplies, and services to perform the work required by this contract as set forth in the sections.

The contractor shall preform the following:

Preventive Maintenance (PM)

The contractor shall provide scheduled preventive maintenance once every 6 months. The PM's will be scheduled by a qualified service representative + or - 30 days from scheduled due date.

PM services will include a complete inspection and calibration of the relevant parts of each unit of Equipment as described in the PM specifications and procedures in Terumo’s current service manual(s) for the Equipment. Following a PM service, DTM will be provided with a copy of a completed checklist and a calibration sticker.

Emergency Service

Emergency service visits and repair services to include labor and all replacement parts (except disposables) for the equipment as required, except for any service or replacement parts which COMPANY determines are required as a result of the CUSTOMER'S failure to use the equipment in accordance with the COMPANY'S Operator's Manual.

All maintenance will be performed in accordance with established procedures, as outlined in the current revision of the associated Service Manual.

Parts /Supplies

The contractor shall supply all parts and supplies needed for service and maintenance.

Labor and Travel

The contractor shall provide all labor and travel at no additional cost for the duration of the contract.

Emergency Visits

The contractor shall provide full-service coverage and telephone support to correct all equipment malfunctions. The contractor shall respond within 1 hour. The on-site response for emergency should be within 1 business day.

Service Calls

Request for service has no designated individuals. Any employee assigned to a specific work area, can report a malfunction to one of the devices by calling the 800 number.

Contract Duration: June 02, 2026 thru June 02, 2027 with 2 optional years.