custom waveform generator

General Salient Characteristics: For equal to submissions

- Require High Definition transcranial Electrical Stimulator (tES) which has sub-gyri (below the surface of the brain) and multi-region targeting with image-guided neuronavigation

- Has customizable waveforms using a range of independent stimulation channels

- Has systems which allows for full software control, including LSL (Lab Streaming Layer) integration, integration with behavioral tasks (E-Prime, Psychopy), and brain imaging such as EEG, and synchronization with external devices

- Compatible with existing EEG hardware in our laboratory for simultaneous EEG recording and electrical stimulation

- Fully programmable waveform control across up to 128 channels

- Frequency adjustable from 0.001 to 5,000 Hz (0.001 Hz resolution)

- Include Cap (Sizes 56 & 60) or equivalent

Period of Performance

60 days ARO

Place of performance/delivery location

Department of Veterans Affairs

VA Greater Los Angeles Healthcare System

11301 Wilshire Blvd

Warehouse Bldg 297

ATTN DR. WYNN WLA B206 R116

Los Angeles   CA   90073-1003