| Description | Total Ship Qty |
| --- | --- |
| TEST KIT, AST-N806 SUSCEPTABILITY GM NEG CARD (20/BX) D/S | 313 |
| TEST KIT, GN GRAM NEGATIVE CARD F/VITEK ANLYZ (20/BX) D/S | 285 |
| ACCESSORY KIT, PIPETTE & DILUTION KT F/VITEK 2 ANLYZ D/S | 50 |
| PIPETTE, TRANSFER 3ML GRAD 1ML(500/BX 10BX/CS) | 30 |
| TEST KIT, AST-GP67 CARD F/VITEK ANLYZ (20/BX) D/S | 101 |
| TEST KIT, GN GRAM POSITIVE CARD F/VITEK ANLYZ (20/BX) D/S | 110 |
| COAT, LAB LABMATES 3PCKT KNITCOLLAR CUFFS BLU XLG (10/BG) | 11 |
| LOOP, INOCULATING 1MICROLTR (50/TU 20TU/PK) BBL | 14 |
| TUBE, TEST UNSENSITIZED F/VITEK ID&AST TEST (2000/EA) D/S | 12 |
| LOOP, INOCULATING 10MCL (1000/PK) | 10 |
| TEST KIT, AST-ST02 CARD F/VITEK ANLYZ (20/BX) D/S | 49 |
| CALIBRATOR, DENSICHEK + STD F/VITEK TEST KITS (1/PK) D/S | 6 |
| NEEDLE, AIRWAY SUBCULTERING (100/BX) D/S | 14 |
| CONTAINER, URINE SPECIMEN ORG90ML (400/CS) FSHSCI | 15 |
| MEDIUM RISK KIT, F/PHARMACY PERSONNEL (3TEST/KT) | 37 |
| REAGENT, SALINE 0.45% 12X1000ML F/VITEK 2 ANLYZ CARD D/S | 10 |
| TEST KIT, ANC F/VITEK ANLYZ (20/BX) D/S | 15 |
| SYRINGE, SALINE POSIFLUSH 10ML(30/BX 16BX/CS) | 20 |
| TEST KIT, BLD LEAD CARE II (48TESTS/KT) | 50 |
| SALINE, 0.45% 1L BG F/VITEK TEST KITS (12/CS) D/S | 4 |
| COAT, LAB LABMATES 3PCKT KNITCOLLAR CUFFS BLU LG (10/BG) | 6 |
| TUBE, CAPILLARY K2EDTA LAV 250/500UL PLAS MICROTAINER (50/BX | 3 |
| TUBE, CAPILLARY K2EDTA LAV 250/500UL PLAS MICROTAINER (50/BX | 1 |
| TEST KIT, NEISSERIA-HAEMOPHILUS F/VITEK ANLYZ (20/BX) D/S | 7 |
| TEST KIT, COVID-19 ID NOW 2.0ASSAY (24/KT) | 26 |
| SALINE, BLOOD BANK 20L 535-435 FSHSCI | 10 |
| TUBE, CAPILLARY LIHEP GRN 200/400UL PLAS MICROTAINER (50/BX) | 2 |
| TUBE, CAPILLARY LIHEP GRN 200/400UL PLAS MICROTAINER (50/BX) | 1 |
| CLEANER,DUST-OFF,10OZ,2PK10-OZ. CAN UNDSTR | 17 |
| REAGENT, SALINE 10LT 7-7.2PH | 6 |
| REAGENT, IODINE-B F/PREVI COLOR GRAM V2 SYSTEM D/S | 5 |
| REAGENT, CYSTAL VIOLET F/PREVICOLOR GRAM V2 SYSTEM D/S | 5 |
| CLEANER, NOZZLE 500ML D/S | 5 |
| REAGENT, ACETONE SAGRANIN F/PREVI COLOR GRAM V2 SYSTEM D/S | 4 |
| COAT, LAB LABMATES 3PCKT KNITCOLLAR CUFFS BLU SM (10/BG) | 3 |
| COAT, LAB LABMATES 3PCKT KNITCOLLAR CUFFS BLU MED (10/BG) | 2 |
| LOOP, INOCULATING FLEX 1UL (25/BG 40BG/CS) | 2 |
| LOOP, INOCULATING FLEX 1UL (25/BG 40BG/CS) | 1 |
| COAT, LAB FITME PUR MED (10/BG5BG/CS) | 3 |
| BAG, OVERWRAP F/PLSM THWR STDSZ (1000/CS) | 2 |
| COLLECTION SET, BLD SAFETY LUER ADPT 21GX3/4"(50/B BD | 4 |
| CONTROL KIT, F/MICROALBU 6011A2LOW/2HIGH (4/CS) SEMDIA | 3 |
| SPONGE, N/WOVN 4"X4" N/S (200/PK) MGM16 | 3 |
| CONTROL, A1C CELLULAR LVL 1/26X2ML D/S STRECK | 14 |
| PAPER, PRINTER THERMAL CLINITEK N/ADH & VANTAGE (5RL/BX) | 5 |
| DISPENSER, BLOOD DIFF-SAFE (100/BG 10BG/BX 10BX/CS) | 2 |
| SWAB, FECAL FLOQ ORG CAP 2ML (50/PK 10PK/CS) | 1 |
| TONER,HP508X HY,LJ,BK | 2 |
| REAGENT, FUCHSIN-A F/PREVI COLOR GRAM V2 SYSTEM D/S | 3 |
| COAT, LAB LABMATES 3PCKT KNITCOLLAR CUFFS BLU 2XLG (10/BG) | 2 |
| JACKET, LAB LABMATES 3PCKT COLLAR CUFFS BLU SM (10/BG) | 1 |
| LOOP, INOCULATING FLEX 10UL (25/BG 40BG/CS) | 2 |
| COAT, LAB FITME BLK LG (10/BG5BG/CS) | 1 |
| COAT, LAB FITME RASPBERRY PNKSM (10/BG 5BG/CS) | 1 |
| WATER, DRINKING TRU CLEAR 8OZ(24/CT) D/S | 5 |
| NEEDLE, VENTING/SUB CULTURE STR (100/BX) D/S | 5 |
| NEEDLE, DRAWING VACUETTE STR GRN 21GX1 1/4" (100/BX 20BX/CS) | 5 |
| TEST KIT, AST-XN30 SUSCEPTABILITY GM NEG CARD (20/BX) D/S | 5 |
| REAGENT, CATALASE BD DROPPER (50/PK) | 1 |
| DOA TEST, PROFILE MEDTOX PROFILE V12PANEL (25/PK) D/S | 15 |
| JACKET, PROFESSIONAL BLU XLG (24/CS) | 10 |
| URINE TEST STRIP, MULTISTIX 10SG 2161 (100/VL=EA) SEMDIA | 3 |
| SENSI-DISC, TAXO A (10/PK) | 2 |
| COLLECTION SET, BLD SAFETY LUER ADPT 23GX3/4" (50/BX) | 15 |
| TUBE, BLD COL CLOT/SEP GLD 3.5ML PLAS VACUTAINER (100/BX) | 15 |
| PARA 4, 18X1.5ML (DROP SHIP ONLY) D/S STRECK | 5 |
| TUBE, CULTURE DISP 12X75 (250/PK 4PK/CS) FSHSCI | 15 |
| REAGENT, MICROALBU/CREAT/RAT (10TEST/KT 4KT/CS) NO D/S | 16 |
| TUBE, BLD COL CLOT/SEP RED/YLW5ML PET VACUETTE (50/BX) | 1 |
| TUBE, CAPILLARY CLOT/SEP GLD 400/600UL PLAS MICROT (50/BX) | 1 |
| PAD, EYE OVAL STR 1 5/8"X2 5/8" (1/PK 50PK/BX 12B MGM16 | 4 |
| TOURNIQUET, REELED LF 18"X1" (25BX20BX/CS) MGM16 | 1 |
| PAD, SWAB PREVANTICS 1ML (100/BX 10BX/CS) | 1 |
| TAPE,LTRATAG,CLEARCLEAR UNDSTR | 20 |
| BOOK,STENO,GREGG,80 SH,GN80 SHEETS PER BOOK UNDSTR | 10 |
| ENVELOPE,DEPT,10X13,2SIDE | 1 |
| TAPE,CELLO,TRANS,3/4X12963/4" X 1296" | 4 |
| RHOGAM, SYR PLUS ULTR FILTERED300MCG (5/BX) | 4 |
| LAMP, REPLACEMENT OTOSCOPE (6/BX) WA | 2 |
| CELL CHEX CTL 3X2ML 2LVL | 5 |
| HEMATYPE SEGMENT DEVICE100/PK=EA | 2 |
| VIAL ONLY 13 DRAM 325/CS1200443 | 3 |
| DROPPER, INDOLE DMACA (50/CT)4361187 | 3 |
| REAGENT, ALCOHOL 95% (4GL/CS) | 10 |
| ETHANOL, 70% SDA 1GL | 20 |