## Sheet1
ACCESS CONTTROL/VIDEO SURVEILLANCE/INTERCOM/PANIC/INTRUSION
*This list is NOT all inclusive, merely a small sampling of the types of items to be purchased under this IDIQ contract. Please use this template as a guide to provide pricing for the separate option year costs.
ITEM | DESCRIPTION | UNIT TYPE
1 | Camera device licenes for video recording software | EA
2 | IP Based cameras Fixed dome, 2 MP with Deep Learning Processing Unit | EA
3 | IP Based cameras 4k, Dome with Ifrared and Deep Learning Processing Unit | EA
4 | 13 MP 180 Degree panoramic camera, 30 fps | EA
5 | Dual Reader Interface Module (Series 3 Supports OSDP Readers) 12/24 VDC, 2 Reader interface, W/M, 8 inputs, 6 (5A) form C relays , RoHS, CE, C-Tick and UL294 certified | EA
6 | HSPD12 Compliant Door Readers i.e. RK40-H, pivCLASS Single Gang With Keypad, Supports iCLASS [SEOS/SE/Legacy]/FIPS/CAK/Lenel DIW, 485HDX, OSDP v2, Terminal Strip, Black, FIPS 200-Bit | EA
7 | Proximity Door Readers, works with Lenel OnGuard, but not FIPS compliant | EA
8 | Access Door Strikes (Electric Strike, Mts/Cyl 630 12/24V Fail Secure) | EA
9 | Installation Services (Cabling, wiring, and testing of all installed devices) | PER HR
10 | Project Management | PER HR
11 | Lenel laptop workstation and misc required parts, including CIV Printer | EA
12 | CIV cards, Crescendo TAC, blank, 3 year certificate, mag strip | EA
13 | CIV Card printer supplies (toner etc) | EA
14 | iCLASS Seos Card; 8KB | EA
15 | OnGuard IDADV Client Software License OnGuard Client software license includes; ID Credential Center Application; Badge Designer Application; Image Capture; ID Printing; Enhanced Imaging Option | EA
16 | DMP XR550 features 574 inputs, 10 On-Board Zones, 16 keypads = 64 zones, 5 built-in LX Bus (100 Zones per LX), and 10,000 user codes with 99 profiles. It provides ease of programming, dialer & network connectivity, systems integration, flash updates plus intuitive operation designed with end-users in mind. Compatible with all DMP Keypads including the 7800 Series. | EA
17 | DMP 714-16INT 16-Zone Expansion Module | EA
18 | Sealed Lead Acid Battery: 12V DC, 7 Ah Capacity, 3.7 in Ht, 5.94 in Wd, 2.56 in Dp | EA
19 | 8860 7-Inch Touchscreen Keypad | EA
20 | 1142 Two-Button Wireless Panic is specifically designed for installation under the counter. | EA
21 | 1148 Personal Pendant is a one-button, wireless emergency transmitter designed to be worn as a wristband or on a break-away lanyard | EA
22 | 1134 Wireless Access Control Module | EA
23 | Glassbreak detector hardwired | EA
24 | Interior Siren | EA
25 | Power Supply 6-24v 2.5A | EA
26 | Overhead door mage track sensor | EA
27 | AIP-IX-DVM video door Station | EA
28 | Mullion Mount IP Video Door Station for the IX Series | EA
29 | Aiphone IX-MV7-HB 7" touchscreen master station | EA
30 | Gigabit 802.3bt 60 W PoE Injector | EA
31 | Gigabit 802.3bt 95 W PoE Injector | EA
32 | IP Based Camera 3MP X 2 channels Dual IR Outdoor Dome Camera | EA
33 | IP Based Camera 2MP x 4 channels with 3~6mm motorised-varifocal lenses | EA
34 | IP Based Camera 2MP x 4 channels with 3.2~10mm motorised-varifocal lenses. Built-in smart IR illumination | EA
35 | IP Based Camera 5MP x 4 channels with 4.13~9.4mm motorised-varifocal lenses. Built-in smart IR illumination | EA
36 | IP Based Camera 12MP AI Fisheye cameras deliver high-resolution 360° and 180° views from a single camera | EA
37 | IP Based Camera 32 x zoom indoor PTZ | EA
38 | IP Based Camera 32 x zoom outdoor PTZ | EA
39 | IP Based Camera 3MP X 2 channels Dual IR indoor Dome Camera | EA
40 | Camera software assurance 12 months | EA
41 | Annual Software assurance Lenel Enterprise/OnGuard ADV 12 months | EA
42 | Service and Support (12 Months) Helpdesk remote support 24x7, Annual On-site support and service calls, Hardware Assurance/Warranty on all installed physical devices i.e. estimated 425 cameras, 200 door reader modules, 50 Lenel Controlled, 70 PAM modules 700 interior cameras 100 exterior cameras, 14 servers, 100 panic devices, and 70 master and door stations. This would be for replacement of any failed device. | EA
43 | Outdoor Wi-Fi 6E Access Point Bundle with tri-radio connectivity, 5 YR NDB support and dual-tilt mounting bracket | EA
44 | Campus Wi-Fi 6E Access Point Bundle with tri-radio 4x4 connectivity, 5 YR NDB support and mount | EA
45 | Campus Networking Switch CX 6300M 24-port Smart Rate 1/2.5/5GbE Class6 PoE and 4-port SFP56, 5 YR NDB support | EA
46 | Campus Networking Switch CX 6300M 48-port Smart Rate 1/2.5/5GbE Class6 PoE and 4-port SFP56, 5 YR NDB support | EA
47 | Networking 25G SFP28 LC eSR 400m MMF Transceiver | EA
48 | Networking X372 54VDC 680W 100-240VAC Power Supply with Power Cord Included | EA
49 | Networking 50G SFP56 to SFP56 0.65m Direct Attach Copper Cable | EA
50 | Networking 50G SFP56 to SFP56 3m Direct Attach Copper Cable | EA
51 | Networking 10G SFP+ LC SR 400m OM4 MMF C-class Transceiver | EA
52 | ANW 6300M 48SRX CL8 4p100G Switch, 5 YR NBD support | EA
53 | ANW QSFP56 SFP56 0.65m DAC Cb | EA
54 | BACKUPS ES 600VA 120V1 USB CHARGING | EA
55 | SMART-UPS 1500VA LCD 120V WITH | EA
56 | SFP-H25G-CU1M – TAA 25G SFP28 DAC (Passive Twinax, 1m) | EA
57 | SFP-H25G-CU1.5M – TAA 25G SFP28 DAC (Passive Twinax, 1.5m) | EA
58 | SFP-H25G-CU2M – TAA 25G SFP28 DAC (Passive Twinax, 2m) | EA
59 | SFP-H25G-CU2.5M – TAA 25G SFP28 DAC (Passive Twinax, 2.5m) | EA
60 | SFP-H25G-CU3M – TAA 25G SFP28 DAC (Passive Twinax, 3m) | EA
61 | SFP-H25G-CU4M – TAA 25G SFP28 DAC (Passive Twinax, 4m) | EA
62 | SFP-H25G-CU5M – TAA 25G SFP28 DAC (Passive Twinax, 5m) | EA
63 | AOC-25G-1M – TAA 25G SFP28 AOC (850nm, MMF, 1m) | EA
64 | AOC-25G-2M – TAA 25G SFP28 AOC (850nm, MMF, 2m) | EA
65 | AOC-25G-3M – TAA 25G SFP28 AOC (850nm, MMF, 3m) | EA
66 | AOC-25G-4M – TAA 25G SFP28 AOC (850nm, MMF, 4m) | EA
67 | AOC-25G-5M – TAA 25G SFP28 AOC (850nm, MMF, 5m) | EA
68 | AOC-25G-7M – TAA 25G SFP28 AOC (850nm, MMF, 7m) | EA
69 | AOC-25G-10M – TAA 25G SFP28 AOC (850nm, MMF, 10m) | EA
70 | SFP-25G-SL – TAA 25G SFP28 SR Transceiver (MMF, 850nm, 30m, LC, DOM) | EA
71 | SFP-10/25G-CSR-S – TAA 25G SFP28 CSR Transceiver (MMF, 850nm, 400m, LC, DOM) | EA
72 | SFP-10/25G-LR-S – TAA 10/25G SFP28 LR Transceiver (SMF, 1310nm, 10km, LC, DOM) | EA
73 | CAT 6A PLENUM CABLE | FT
74 | CAT 6A JACKS | EA
75 | 1 PORT SURFACE MOUNT BOX | EA
76 | 2 PORT SURFACE MOUNT BOX | EA
77 | 1 PORT FACEPLATE | EA
78 | 2 PORT FACEPLATE | EA
79 | 3 PORT FACEPLATE | EA
80 | 4 PORT FACEPLATE | EA
81 | 6 PORT FACEPLATE | EA
82 | MPLS WALL RING | EA
83 | CAT 6A PATCH CORDS- STANDARD 5' | EA
84 | CAT 6A PATCH CORDS- STANDARD 10' | EA
85 | CAT 6A PATCH CORDS SLIM 5' | EA
86 | CAT 6A PATCH CORDS-SLIM 10' | EA
87 | 24 PORT PATCH PANELS- MODULAR FLAT | EA
88 | 48 PORT PATCH PANELS- MODULAR FLAT | EA
89 | 24 PORT PATCH PANELS- MODULAR ANGLED | EA
90 | 48 PORT PATCH PANELS- MODULAR ANGLED | EA
91 | 2U HORIZONTAL WIRE MANAGER | EA
92 | 1U HORIZONTAL WIRE MANAGER | EA
93 | WALL MOUNT CABINET- 24" | EA
94 | WALL MOUNT CABINET- 48" | EA
95 | FULL SIZE CABINET 84X21X30 | EA
96 | 19" RACK- 2 POST | EA
97 | 19" RACK- 4 POST | EA
98 | VERTICAL WIRE MANAGERS 10" | EA
99 | VERTICAL WIRE MANAGERS 6" | EA
100 | CAT 425 JHOOK | EA
101 | CAT 64 JHOOK | EA
102 | CAT 32 JHOOK | EA
103 | CAT 21 JHOOK | EA
104 | CAT 12 JHOOK | EA
105 | PANDUIT LD5 RACEWAY | FT
106 | PANDUIT LD10 RACEWAY | FT
107 | WALL BACK BOXES | EA
108 | 12 STRAND I/O ARMORED PLENUM FIBER | FT
109 | 24 STRAND I/O ARMORED PLENUM FIBER | FT
110 | 48 STRAND I/O ARMORED PLENUM FIBER | FT
111 | 12 STRAND INDOOR ARMORED PLENUM FIBER | FT
112 | 24 STRAND INDOOR ARMORED PLENUM FIBER | FT
113 | 48 STRAND INDOOR ARMORED PLENUM FIBER | FT
114 | 1U FIBER BOX | EA
115 | 2U FIBER BOX | EA
116 | 3U FIBER BOX | EA
117 | 12 PORT LC COUPLER PANEL | EA
118 | 6 PORT ST COUPLER PANEL | EA
119 | 12 PORT SC COUPLER PANEL | EA
120 | ST CONNECTORS | EA
121 | SC CONNECTORS | EA
122 | LC CONNECTORS | EA