STATEMENT OF WORK (SOW)

Propane Delivery & Tank Maintenance Services
Bureau of Indian Affairs – Truxton Canon Agency

1. Scope of Work

The Contractor shall provide all equipment, materials, supplies, labor, and services necessary to deliver propane and perform maintenance on propane tanks, gauges, piping, and all related components for the Bureau of Indian Affairs (BIA) – Truxton Canon Agency.

The Contractor shall ensure continuous propane availability and maintain all systems in safe, compliant operating condition.

2. Requirements

2.1 Propane Delivery & Monitoring

- Contractor shall keep all propane tanks filled at all times to prevent outages.

- Tanks must be checked weekly between 8:00 AM and 4:30 PM.

- Contractor shall light all pilots if a building runs out of propane.

2.2 Maintenance & Repairs

Contractor must be capable of performing:

- Minor and major repairs on tanks

- Gauge replacement/repair

- Piping repair

- Leak checks and system diagnostics

- Any related propane system maintenance

2.3 Compliance

Contractor shall comply with:

- NEPA #58

- ASME / DOT standards

- OSHA requirements

- All applicable federal, state, and tribal safety regulations

3. Locations & Tank Inventory

Valentine, AZ 86437

Truxton Canon Agency

- Building 702 – Agency

- Building 736 – Facilities Shop

  - Two (2) 1,000-gallon tanks

Peach Springs, AZ

- Building 820 – Law Enforcement Center

  - One (1) 12,000-gallon tank

- Buildings 824, 825, 826, 827 – Land Resources

  - Two (2) 1,000-gallon tanks

- Juvenile Detention Center

  - Three (3) 2,000-gallon tanks

Thornton Tower / Manzanita / Bar-4

(Approximately 80 miles from Peach Springs on Indian Route 18)

- Building 910 – Wildland Fire

  - Two (2) 1,000-gallon tanks

- Manzanita Tower

  - One (1) 1,000-gallon tank

- Bar-4 Tower

  - One (1) 1,000-gallon tank

Supai, AZ – Bar-4

- Building 1010 – Supai Jail

  - Three (3) 150-gallon tanks

  - Three (3) 100-gallon tanks

4. Estimated Annual Usage

The BIA uses approximately 20,000 gallons of propane per year across all locations.

5. Period of Performance

The period of performance will include base + 4 option years

6. Point of Contact

Clint Walker, Facility Manager

Email: james.walker@bia.gov
Work: (928) 588-4033
Cell: (928) 716-5389