SALIENT CHARACTERISTICS

Must have an internal air compressor that filling the air tank and pressurize the water.

Must have vacuum system to use the saliva ejector or HVE

Must have area for water bottles three handpiece connections, water toggle

Must be compatible to what is currently being used.

Wet/Dry foot control Automatic controls for one, two and three handpieces

Accommodates most brands of handpieces and fiber optic systems

Three-way syringeAdjustable H.V.E. system

Adjustable saliva ejector

Asepsis designed chassis and handpiece holders

Recessed controls for easy cleaning

Air filter moisture separatorRepair/Tool kit

Side maneuvering handles and high-grade casters for easy movement of the cart

Optional arm-mounted trays and system cover