APPENDIX (C): Detailed Task Descriptions (Tasks 1-12)

All obligations regarding liability, indemnification, insurance, and incident reporting established in the RISER Statement of Work apply to the execution of these tasks and shall be considered incorporated by reference.

Key definitions of programmatic terms (e.g., Integration Lead, EOL, Partial Transition Plan, Surge Activation) are provided in Section XVIII – Definitions.

| Task No. (Appendix C) | Task Title / Scope Summary | Lead Domain | Primary Deliverable in SOW Deliverable Table (Reference #) |
| --- | --- | --- | --- |
| 1 | Develop Standard Operating Procedures | A | 24-25 |
| 2 | Facility Requirements | B | 36-38 |
| 3 | Establish, Maintain, and Operate the RISER catalog | A | 28, 32 |
| 4 | Reagent Stability and Shelf-Life Management Program | A | 29-31 |
| 5 | Operate and Maintain the RISER website | C | 47-53 |
| 6 | Manage Laboratory Registration for RISER account | D | 65-69 |
| 7 | Assist with Operation and Maintenance of CDC’s RISER CRM System | C | 48-50 |
| 8 | Receive Reagent Orders and Manage Shipping Logistics | B | 40-44 |
| 9 | Shared Cost Allocation Plan Management | C | 49, 62 |
| 10 | Surge Support (Optional Task) | A-D | 34, 45, 70 |
| 11 | Outgoing Transition to New Contractor (Optional Task) | A-D | 3-5, 23, 35, 46, 63, 71 |
| 12 | Development and Validation of Diagnostic Assay Workflows | N/A | 72-76 |

Proposal Submission Requirement – Cross-Domain Coordination Plan:
Offerors proposing on Task 3 (Establish, Maintain, and Operate the RISER Catalog) and/or Task 8 (Receive Reagent Orders and Manage Shipping Logistics) shall include a domain-specific coordination plan in their proposals. This plan shall describe how handoffs between Domains will be executed, documented, and monitored to maintain chain-of-custody and quality from final quality release through shipping.

Cross-Domain Personnel Compliance Requirements

All contractors and subcontractor personnel assigned to the RISER program shall comply with personnel integrity and conflict-of-interest safeguards applicable across all Domains (A–D).

Conflict-of-Interest (COI) Screening Requirements

All new contractors and subcontractor personnel assigned to the RISER program shall undergo COI screening. To ensure objectivity and program integrity:

- The contractor shall develop and maintain a standard-alone COI SOP or integrate these procedures within the Human Resources (HR)/training SOP series;

- COI screening shall use a CDC-approved form (if provided) or a contractor-developed template that collects disclosures related to financial, professional, or personal interests that could impair impartiality or create the appearance of bias;

- Screening must be completed prior to task assignment and re-administered annually, or upon reassignment to sensitive roles (e.g., QA, procurement, system administration);

- All screening records must be retained for audit and submitted to CDC upon request;

- SOPs that reference staff roles or system access must include cross-references to applicable COI screening and role-based access protocols.

Task 1: Develop Standard Operating Procedures (SOPs)

This task corresponds to Task A.1 in Section V of the RISER Statement of Work.

1. Purpose and Scope

The contractor shall develop, implement, and maintain comprehensive Standard Operating Procedures (SOPs) that govern the execution of all technical and administrative functions performed under this contract. These SOPs will ensure consistency, quality, and compliance in all RISER-supported activities. SOPs may also cover operational areas executed by other Domains (e.g., shipping, warehousing), even if the contractor is not the performing entity, to support cross-domain continuity and COR oversight.  SOPs shall cover core and optional task requirements and must align with CDC quality system protocols and applicable international, federal, state, and local laws and regulations, including FDA Quality Management System Regulations, including ISO 13485.

2. SOP Development Timeline and Requirements

Prior to initiating any contract task, the contractor must submit draft SOPs that correspond to the technical methodology and organizational approach proposed in their offer. These SOPs must outline how the contractor and any subcontractors will handle CDC-furnished viruses, bacteria, and other surveillance and research reagents and materials, as well as perform each of the designated contract tasks.

Each SOP shall include, at minimum:

- A statement of purpose;

- Scope of application;

- Step-by-step procedures;

- Responsible roles and titles;

- Safety and quality controls;

- References to applicable regulatory requirements;

- Recordkeeping and documentation processes;

- Version control and revision history

Draft SOPs shall be submitted on a rolling basis, grouped by task, to facilitate government review and avoid delays in program implementation. The first set of SOPs must be submitted to the CDC Contracting Officer Representative (COR) within 60 days of contract award, with subsequent SOPs submitted according to a COR-approved submission calendar.  Contractor may begin preparatory activities (e.g., personnel onboarding, facility preparation, initial reagent acquisition) in parallel with SOP development and review however, no technical execution of contract tasks (e.g., reagent production, QC, or distribution) shall occur until relevant SOPs receive final government approval.

The Domain A contractor shall establish, maintain, and update a centralized RISER SOP Compendium serving as the authoritative repository for all SOPs developed under this contract, including SOPs applicable to Domains A-D.  The Compendium shall:

- Include all current COR-approved SOPs;

- Maintain version histories and effective dates;

- Identify superseded versions;

- Provide cross-domain traceability where applicable;

- Be maintained in audit-ready format;

- Be accessible to CDC upon request.

3. Technical SOP Requirements

Separate SOPs shall be developed for:

- Production and Quality Control (QC) of each CDC-identified pathogen or reagent category listed in Task 3 (RISER Catalog) and Appendix A – Deliverables;

- Procedures for in-house and subcontractor manufacturing, including material receipt, propagation, aliquoting, vialing, labeling, and traceability;

- Quality Assurance (QA)/QC procedures aligned with Appendix B – Quality Specifications, with specific SOPs for each assay or functional verification test;

- Risk management, corrective/preventative actions, and documentation requirements in accordance with CDC QA oversight

All SOPs associated with pathogen handling must be compliant with Biosafety in Microbiological and Biomedical Laboratories (Biosafety in Microbiological and Biomedical Laboratories [BMBL], current Edition) and Select Agent Program requirements where applicable.

4. QA Review and Government Approval Process

All SOPs must first be reviewed and approved internally by the contractor’s institutional Quality Assurance (QA) Office. Once QA approval is granted, SOPs shall be submitted to the CDC COR for review.

The government will provide written comments within 30 calendar days of receipt. The contractor will revise SOPs based on COR feedback and resubmit final versions within timelines established in the COR-approved submission calendar. The COR shall provide final approval or additional comments within 15 calendar days of revised submission.

No contractor activities shall commence on any task until the relevant SOP has received final COR approval in writing. Any changes to SOPs after initial approval must be submitted in advance, along with a justification memo and a proposed implementation date.

Failure to follow approved SOPs that result in measurable declines in QA pass rates, system performance, or order fulfillment timelines may be considered in CDC’s evaluation of contractor performance under incentivized task orders.

5. Regulatory and Quality System Integration

All SOPs must be fully compliant with:

- FDA 21 CFR Part 820 – Quality Management System Regulation (Required for product manufactured under FDA cGMP only);

- ISO 9001 standards (where applicable);

- CDC internal policies for reagent quality and distribution;

- National Institutes of Health (NIH) guidelines for recombinant DNA

The contractor is required to maintain SOPs in a controlled documentation management system with version control, access logs, and audit trails.

6. Distribution and Communication

Finalized SOPs shall be securely archived and accessible by authorized contractor and CDC personnel. All staff, including subcontractors, shall be trained and certified in applicable SOPs before performing any technical task. Training records must be retained in accordance with contract requirements and made available for audit by CDC or designated reviewers.  All contractor and subcontractor personnel requiring access to CDC networks, systems, or facilities shall complete all CDC-mandated training (e.g., cybersecurity, privacy, biosafety, ethics) within the timelines specified by the government. The contractor shall track and maintain records of completion for all such training, including refresher courses, and make available to the COR upon request. Failure to complete required training will not relieve the contractor of performance obligations and may result in suspension of individual user access until compliance is achieved.

Task 2: Facility Requirements

This task corresponds to Tasks B.1-B.2 in Section V of the RISER Statement of Work.

1. Purpose and Scope

This task outlines the infrastructure, containment, and operational requirements for contractor facilities supporting RISER’s reagent handling, storage, and distribution. These facilities must enable safe, compliant processing of biological agents and ensure material integrity across Biosafety Level (BSL)-1 through BSL-4 activities. The contractor is responsible for providing all required equipment, environmental controls, personnel protection, and system validations necessary to meet the contract’s biosafety, quality, and logistical obligations.  These facilities shall support the secure storage and environmental control of RISER reagents produced under Domain A workflows, in accordance with CDC catalog and distribution protocols.

2. Biosafety Level and Accreditation Requirements

The contractor shall operate, maintain, and document full compliance for laboratories certified to perform work at the following biosafety levels:

- BSL-1 to BSL-4 for the handling, characterization, or preparation of reference reagents;

- Animal Biosafety Level (ABSL)-2 through ABSL-4 for in vivo studies, if applicable.

Key accreditation and compliance requirements include:

- Federal Select Agent Program (FSAP) registration for any facility handling select agents or highly pathogenic avian influenza;

- Biosafety in Microbiological and Biomedical Laboratories (BMBL) guidelines as the operational baseline;

- Association for Assessment and Accreditation of Laboratory Animal Care (AAALAC) International accreditation and active Institutional Animal Care and Use Committee (IACUC) protocol approval for all animal work;

- Compliance with CDC, Occupational Safety and Health Administration (OSHA), and National Institutes of Health (NIH) laboratory biosafety standards.

Proof of registration, accreditation, and inspection readiness shall be submitted with the contractor’s technical proposal and maintained throughout the contract term.

3. Environmental Controls and Storage Systems

Contractor facilities must provide environmental chambers and validated storage zones capable of preserving the biological and chemical integrity of RISER materials. At a minimum, the contractor shall:

- Maintain continuous cold storage at 2–8°C, –20°C, –70°C to –90°C, and liquid nitrogen conditions;

- Employ 24/7 alarmed monitoring systems with tiered escalation protocols;

- Provide emergency backup freezers and generators to maintain function during power outages;

- Ensure alarm logs, deviation reports, and temperature charts are auditable and accessible;

- Immediately (within 24 hours) notify CDC, quarantine, and halt distribution of any reagents stored under non-conforming conditions until further notice.

Corrective Action/Preventive Action (CAPA) documentation must include:

- Affected inventory identification including lot identification and product quantity;

- Alarm records and temperature logs;

- Storage thermal mapping and system validation evidence;

- Current procedures for monitoring temperature/alarm point;

- Status of recovery efforts, post-event testing, and preventative actions.

4. Facility Design and Accessibility

Facility design must ensure physical separation between functional areas (e.g., production, QA/QC, storage) and incorporate:

- Adequate floor space for equipment, staging, and large-scale storage;

- Uninterruptible power supply to accommodate the refrigerators/freezers and other critical security and surveillance equipment;

- Central air-conditioning capable of maintaining ambient 66–72°F;

- Secure zones with authorized personnel access only;

- Flexible staging areas for surge support or emergency response deployments;

- Accommodation for routine CDC site inspections and walkthroughs.

Contractors using subcontractor facilities must demonstrate equivalent design, security, and quality control across all locations.

5. Quality System Integration

Facilities supporting the manufacture, testing, or storage of FDA regulated reagents must comply with:

- 21 CFR Part 820 (FDA QMSR for medical devices);

- ISO 9001 or ISO 135485 standards, as appropriate;

- CDC-provided Quality Specifications and reagent performance protocols (see Appendix B).

The contractor shall:

- Maintain full documentation of equipment qualification and validation;

- Integrate facility operations into a central Quality Management System (QMS);

- Participate in CDC-led quality audits, with readiness for announced or unannounced visits.

Batch records and biosafety inspection records must be available for review by the COR or designated representatives upon request.  All stability testing activities and documentation shall align with Task 4 (Reagent Stability and Shelf-Management Program) and be reported in accordance with the SOW Deliverables.

6. Security and Access Control

To ensure biosecurity and inventory integrity, the contractor must implement layered physical and digital security controls, including:

- Dual-factor authentication systems for laboratory entry;

- Video surveillance and intrusion detection systems in all high-containment and storage zones;

- Audit logs of facility access, retained for at least 6 months;

- Limited-access user groups for specific zones based on security clearance or training certification;

- Encrypted reagent tracking systems with role-based system access.

Security infrastructure shall be reviewed and approved by CDC, with provisions for upgrades in response to changes in federal policy or threat levels.

7. Regulatory Documentation and Compliance Audits

The contractor must maintain complete documentation to demonstrate regulatory compliance, including:

- FSAP registration certificates;

- FDA compliance inspection results;

- USDA compliance certifications;

- Environmental chamber validations and calibration records;

- IACUC protocols (for in vivo work);

- Health and safety program audits and biosafety inspection records.

All documentation must be current, readily retrievable, and submitted to the government upon request. Contractors must support annual site inspections conducted by CDC or third-party auditors.

8. Health and Safety Requirements

The contractor is responsible for ensuring that all RISER-designated facilities operate under comprehensive health and safety protocols. These must include:

- Written biosafety and bloodborne pathogen exposure control plans;

- Regular biosafety training programs with retraining at least annually;

- Use of personal protective equipment (PPE) consistent with containment level and agent risk profile;

- Engineering controls such as biosafety cabinets, High-Efficiency Particulate Air (HEPA) filtration, and hands-free waste disposal;

- Clearly documented emergency response protocols for spills, personnel exposure, or facility incidents.

Personnel must undergo medical surveillance and respirator fit testing (if applicable), and all training records must be retained for audit.

9. Surge Capacity Planning

Mock surge drills simulating large-scale reagent production shall only be performed upon written direction from the COR or CO.

10. Insurance Requirements

The contractor shall comply with the insurance requirements specified in the SOW and maintain current Certificates of Insurance on file with CDC throughout the period of performance.

Task 3: Establish, Maintain, and Operate the RISER Catalog

This task corresponds to Tasks A.2-A.3 in Section V of the RISER Statement of Work.

1. Purpose and Scope

The RISER Catalog serves as the definitive inventory and access platform for all CDC-approved surveillance and research reagents produced or distributed under this contract. This task defines contractor responsibilities for the production or procurement, inventory management, quality assurance, and catalog maintenance of RISER reagents. The contractor must ensure that materials are produced, documented, and tracked in accordance with CDC surveillance priorities and public health response needs.

2. Reagent Production and Procurement Authorization

All reagents listed in Appendix A – Deliverables, must be produced or procured only upon written authorization by the government. This requirement does not limit the government’s ability to furnish materials directly to the contractor for storage, catalog inclusion, testing, or distribution under this contract.  Reagents include viral, bacterial, nucleic acid, antibody, and protein-based materials designed for use in CDC-developed diagnostic assays or surveillance platforms.

Contractor’s responsibilities include:

- Producing materials in accordance with CDC protocols or transferred SOPs;

- Procuring off-the-shelf ancillary reagents only when the optional task is exercised;

- Maintaining and reporting a real-time inventory system to track all authorized and produced items;

- Ensuring production timelines and formats comply with CDC-directed priorities.

3. QA and QC Independence

The contractor shall establish and operate a QA/QC program that is fully independent from the manufacturing function. This system must include:

- Defined acceptance criteria for each reagent class, consistent with Appendix B – Quality Specifications;

- Authority to quarantine or reject any lot that does not meet quality standards;

- Documentation of internal test results and external vendor certifications (if applicable);

- Use of validated assays and methods for functional and stability assessments;

- Batch-level documentation that enables traceability from raw material to end user.

The QA/QC function must have organizational authority to delay or halt distribution pending final quality review.

The contractor is accountable for performance metrics related to reagent QA/QC pass rates. QA testing accuracy, timeliness, and documentation integrity shall directly inform contractor performance evaluations under CPIF task orders.

QA/QC Plan:
The contractor shall prepare and maintain a QA/QC Plan, as described in the SOW, that includes batch record documentation, reagent rejection criteria, customer complaint handling procedures, and QA/QC oversight roles. The plan shall be submitted to the COR for approval and updated annually or as requested.

4. CDC Review and Verification

CDC reserves the right to perform independent verification testing at any stage of production—bulk, post-fill, and final packaging—to confirm that RISER reagents meet all defined specifications. The contractor shall:

- Provide samples or retains to CDC upon request for side-by-side QC testing;

- Submit full batch records, QA/QC results for CDC-specified deliverables as part of regular reporting;

- Respond to CDC QC feedback within five business days, with CAPA documentation as needed.

All materials distributed under this contract must be released in accordance with the contractor’s COR-approved QA/QC Plan.  CDC retains the right to review, verify, or require additional testing prior to distribution as specified in Appendix B – Quality Specifications, or as otherwise directed in writing.

5. Catalog Operations and Format Standardization

The contractor is responsible for:

- Maintaining a real-time electronic RISER Catalog of all active, on-hold, and retired/expired reagents;

- Updating catalog entries in real time to reflect changes in inventory state, including production status, quality hold, release approval, availability for distribution, expiration, quarantine, or other CDC0defined lifecycle designations;

- Implementing standardized formats for vialing, labeling, inserts, and Certificates of Analysis (COAs), unless specific exceptions are granted in writing by CDC;

- Ensuring barcoding and digital traceability are embedded across all inventory states (e.g., seed, in-production, quality hold, available for distribution);

- Aligning catalog entries with ordering system data to ensure availability and usage consistency.

The contractor shall comply with CDC's Unified Reagent Presentation Guidance, including naming conventions, label layout, and shipping documentation templates.

6. Production and Inventory Management Plans

Within 150 calendar days of contract award, the contractor shall submit two documents for COR and CO approval:

- A Production Plan covering all reagents produced internally or by subcontractors, including itemized timelines, resource requirements, and dependency milestones;

- An Acquisition and Inventory Management Plan outlining how the contractor will source, track, and manage the full lifecycle of cataloged materials.  The contractor shall also establish an acquisition plan that allows for surges at 25%, 50%, and 75% above base level.

These plans must be updated annually or more frequently at CDC’s request. The contractor shall provide verbal and written updates on reagent status, deliverables, and pending conflicts during weekly program calls.

7. Inventory System Requirements

The contractor must operate a real-time centralized inventory management system capable of:

- Real-time reconciliation of stock levels across all temperature zones;

- Tiered visibility (e.g., internal production view, CDC program-level view);

- Tracking material location, batch history, QA/QC testing status (e.g., pending, passed, failed, on quality hold), stability-testing status, and any CDC-directed validation or distribution restrictions;

- Generating routine and on-demand reports for the COR, including:

  - Retains and seed availability;

  - Quality-hold items;

  - Expiring inventory;

  - Usage trends and burn rates by month

The inventory system must be fully auditable and securely backed up, with disaster recovery plans in place to avoid data loss.

The inventory management system shall maintain a minimum operational availability of ≥99.95% (excluding scheduled maintenance) to ensure uninterrupted support for CDC operations and emergency response activities. In alignment with the system’s FISMA Moderate designation, the contractor shall implement controls consistent with a Moderate-impact rating for availability as defined in FIPS 199, including redundancy, failover mechanisms, and disaster recovery protocols designed to prevent data loss and minimize operational downtime.

The contractor shall maintain daily backups of the inventory management system with secure off-site storage to support disaster recovery. Backups shall be retained for at least 90 days on a rolling basis, with one full monthly archive maintained for a minimum of 12 months. Critical inventory data, including batch records, stock levels, lot histories, and audit logs, shall be archived for the life of the contract and transferred to CDC or a successor contractor during transition in accordance with the Data Governance Plan.

All RISER catalog and inventory system interfaces must be developed in alignment with ICDs maintained by Domain C.  The contractor shall coordinate with Domain C to ensure that data structures, access controls, and synchronization protocols are interoperable with CDC systems and other RISER contractor platforms.  No independent APIs, system endpoints, or data pipeline may be developed or modified without written approval from the COR and coordination with Domain C’s technical lead.

8. Inventory Record Requirements

Each reagent in the RISER Catalog must be associated with a complete inventory record, including:

- Source or depositor;

- Description, strain, and origin metadata;

- Risk classification and BSL level;

- Storage conditions and location;

- Lot number, production or manufactured date, and passage history (if applicable);

- QC results and linked documentation (e.g., COA, insert);

- Distribution history, including order number, date, recipient, and shipment confirmation.

These records must be stored both electronically and in physical backup form, with appropriate access controls.

9. Off-the-Shelf Ancillary Reagents

Off-the-shelf ancillary reagents, such as buffers or commercially available kits, may only be procured under an activated optional task order. When approved, the contractor shall:

- Replenish ancillary materials in small, trackable increments to reduce waste;

- Monitor expiration dates and stock turnover;

- Notify CDC immediately (within 48 hours) of vendor recalls or quality issues;

- Document the source, lot, and distribution of all ancillary items.

Off-the-shelf materials shall be flagged distinctly in the inventory system and excluded from in-house QC unless otherwise instructed.

10. Data Protection and System Redundancy

All data generated or stored under this task are considered government property. The contractor shall:

- Maintain secure backups and mirrored storage systems outside of primary hosting locations;

- Implement secure user authentication and encryption across all catalog platforms;

- Ensure that data associated with reagent quality, storage, and distribution are protected from unauthorized access;

- Develop system documentation that enables full data transfer to the government or a follow-on contractor upon termination or transition.

11. Reporting and Oversight

The contractor shall provide the COR with:

- Weekly inventory status reports, including production and QA/QC highlights;

- Notifications of any stockout risks or material delays;

- Immediate alerts (within 48 hours) if any batch is found to be defective or deviating from specifications.

In addition to reagent availability and quality status, the contractor shall maintain and transmit unburdened cost-related metadata for each reagent lot, including direct production cost components (e.g., direct labor, raw materials) and distribution-related direct costs (e.g., packaging, special handling, courier fees). This cost metadata shall exclude indirect rates, overhead allocations, profit margins, and other proprietary pricing elements unless otherwise required under invoicing provisions of the contract. All cost data transmitted under this provision shall be provided to CDC for internal financial reconciliation, analytics, and planning purposes and shall not be shared with other RISER awardees. CDC reserves the right to conduct on-site inspections, virtual audits, and database reviews to verify catalog integrity and compliance.

12. Coordination with Domain B:

All activities related to reagent storage, bulk inventory warehousing, and outbound shipping shall be performed under Domain B (Task 8 – Receive Reagent Orders and Manage Shipping Logistics). The Task 3 contractor shall ensure completed reagents, along with associated Certificates of Analysis (COAs) and documentation, are transferred to Domain B facilities in accordance with CDC-approved timelines and quality protocols. Coordination shall occur through documented transfer logs, shared inventory records, and participation in scheduled cross-domain meetings.

Task 4: Reagent Stability and Shelf-Life Management Program

This task corresponds to Task A.4 in Section V of the RISER Statement of Work.

1. Purpose and Scope

This task establishes requirements for the contractor to assess and manage the long-term stability of all RISER reagents to ensure their functional integrity throughout their defined shelf life. The program applies to all reagents produced under this contract by the prime or any subcontractor. Stability testing must conform to CDC-approved protocols and support CDC’s quality system for diagnostic and surveillance reagents.

The goal is to ensure that each RISER reagent retains its validated performance characteristics from manufacture through distribution and use. A failure to meet these expectations may result in removal from the catalog, suspension of distribution, or corrective actions determined by CDC.

2. Stability Testing Plan Submission and Updates

Within 30 calendar days of the start of each performance period, the contractor shall submit a comprehensive Stability Testing Plan for review and approval by the COR and SMEs. This plan shall include:

- A list of reagents and reagent categories subject to stability testing;

- Number of reserved quantities per lot produced;

- Proposed testing schedules and intervals (e.g., initial, 3-month, 6-month, 12-month time points);

- Environmental conditions and storage formats to be tested;

- Pass/fail criteria consistent with the specifications in Appendix B – Quality Specifications;

- Validation methodology and statistical rationale for sample sizes and shelf-life projections;

- Documentation templates and data retention plans.

The contractor shall revise and re-submit the plan annually or as otherwise directed by CDC based on reagent catalog changes, emergency deployments, or observed performance issues.

QA/QC Plan:
The contractor shall prepare and maintain a QA/QC Plan, as described in the SOW, that includes batch record documentation, reagent rejection criteria, customer complaint handling procedures, and QA/QC oversight roles. The plan shall be submitted to the COR for approval and updated annually or as requested.

3. Reagent Types Included

Stability testing may be performed on:

- Live or inactivated viral and bacterial stocks;

- Nucleic acid preparations and synthetic controls;

- Protein-based reagents (e.g., antisera, monoclonal antibodies);

- Detection kits, primers, and probes (if manufactured under this contract);

- Other research-use-only (RUO) reagents or assay components produced under RISER.

Ancillary reagents (i.e., off-the-shelf commercial items) are excluded from this testing requirement unless specified in an optional task order.

CDC-supplied or CDC-manufactured materials are also excluded from contractor-performed testing, unless otherwise directed.

4. Test Parameters and Methodology

The contractor’s stability testing shall evaluate the following properties, where applicable:

- Functional activity (e.g., PCR signal strength, antigen binding affinity);

- Physical integrity (e.g., clarity, precipitate formation, degradation);

- Sterility and contamination assessment;

- Storage condition impact (e.g., freeze-thaw tolerance, light sensitivity);

- Packaging integrity and seal quality;

- Lot-to-lot and container-to-container consistency over time.

Testing protocols must:

- Be aligned with international best practices;

- Be aligned to measure the specifications in Appendix B – Quality Specifications;

- Be validated by the contractor and reviewed by CDC before implementation;

- Include the use of appropriate positive and negative controls;

- Be traceable to the reagent’s production batch record.

5. Reagent Retains for Stability Testing

For every manufactured lot of RISER reagents, the contractor shall retain representative samples under the same storage conditions as distributed materials. These retains shall:

- Be clearly labeled and segregated from active inventory;

- Be used exclusively for quality verification and stability testing;

- Match the production lot in vialing, labeling, and formulation.

CDC may request additional retains for independent testing at CDC laboratories. The contractor shall promptly provide these samples and associated batch documentation upon request.

6. Reagent Expiry and Shelf-Life Assignment

The contractor shall assign initial expiry dates for all new RISER reagents based on real-time stability data or interim results supported by CDC-approved protocols.

Final shelf-life determinations shall be:

- Based on completed testing of a minimum number of lots, unless otherwise directed;

- Reviewed and authorized by CDC;

- Documented in COAs, reagent inserts, and inventory systems.

Shelf-life extensions for existing lots shall only be implemented after submission of new stability data and written approval by CDC.

7. Deviation Reporting and Risk Mitigation

If a reagent fails a stability test or exhibits drift outside of pre-established specifications, the contractor must:

- Immediately quarantine the affected lot(s);

- Notify the COR and CDC QA representative within 24 hours;

- Initiate a Root Cause Analysis (RCA) and Corrective and Preventive Action (CAPA) investigation;

- Submit a written report of findings and proposed actions within 10 business days.

CDC will determine whether affected materials must be withdrawn, replaced, or subjected to follow-up testing.

8. Documentation and Reporting Requirements

All stability testing must be fully documented and include:

- Sample identifiers, lot numbers, storage conditions, and test date;

- Test method, instrument type and serial number, and technician initials;

- Raw data (e.g., Ct values, absorbance, visual observations);

- Final interpretation of pass/fail status;

- Expiry date assignment or modification recommendations.

The contractor shall:

- Maintain a secure, centralized archive of all stability data;

- Provide quarterly reports to CDC summarizing testing results, trends, and any corrective actions;

- Support CDC audits or reviews of stability documentation and raw data.

Stability testing documentation shall be prepared and submitted in accordance with the SOW Deliverables Table.  These reports must include protocols, results, expiry assignments, and any CAPA actions taken, and they must cross-reference reagent lot numbers and inventory records.

The contractor shall provide CDC with an expiration-forecast report identifying reagents expected to reach expiry within sixty (60) days. CDC will review the report and determine whether affected lots will be destroyed, retained for continued use, shipped to CDC, or assigned an extended expiry date based on stability data. The contractor shall document CDC’s decision and update the RISER inventory system, Certificates of Analysis, and related records accordingly. No reagent shall be destroyed or have its expiry date extended without written CDC authorization.

9. Integration with Inventory and Distribution Systems

Stability and shelf-life data must be integrated into the RISER inventory management and CRM systems. The contractor shall ensure:

- Expired reagents are automatically flagged as ineligible for distribution;

- COAs and reagent inserts reflect current shelf-life information;

- Ordering restrictions are implemented for materials nearing expiry (e.g., ≤30 days remaining).

CDC may approve continued use of near-expiry reagents for specific scenarios (e.g., training or short-term projects), provided their integrity is verified.

10. External Data Upload and Integration Functionality – Coordination with Domain C
To ensure that reagent stability-testing results, validation datasets, and other laboratory-generated outputs are available to CDC for oversight and regulatory review, the contractor shall prepare and transmit such data in CDC-defined formats and in accordance with CDC-approved quality and reporting standards.

The contractor shall:

- Ensure that all stability and validation data are structured using CDC-approved schemas, metadata fields, and documentation conventions;

- Transmit required datasets to CDC through secure, CDC-approved communication channels (e.g., encrypted email, SFTP, CDC-designated repositories, or other mechanisms as directed);

- Coordinate with Domain C where technical formatting or integration assistance is required for compatibility with CDC enterprise systems;

- Maintain audit trails and internal logs documenting data preparation, transmission dates, recipients, and any subsequent corrections or updates;

- Ensure that transmitted data complies with applicable QA/QC standards and regulatory documentation requirements.

Use of the RISER website for upload, ingestion, or public display of stability or validation data is not required unless specifically directed in writing by CDC.

Task 5: Operate and Maintain the RISER Website

This task corresponds to Task C.1 in Section V of the RISER Statement of Work.

1. Purpose and Scope

The contractor shall host, operate, and maintain the RISER website, which serves as the primary interface for public health laboratories, research partners, and stakeholders to access CDC-authorized reagents, submit orders, obtain registration, and retrieve technical documentation. The website must function as a reliable and secure platform that integrates fully with CDC’s systems to enable seamless and traceable transactions. The contractor will be responsible for ensuring that the website remains operational, secure, compliant, and interoperable with all RISER ecosystem platforms throughout the life of the contract.

In multi-award scenarios, the RISER website may also function as an integration interface supporting structured data exchange, status synchronization, and workflow coordination among RISER Domain contractors, as defined in approved Interface Control Documents (ICDs). The website shall support cross-domain interoperability while maintaining logical separation of contractor systems, role-based access controls, and protection of proprietary or restricted data consistent with contract requirements.

The contractor shall serve as the EPLC lead for all RISER website and CRM integration activities, ensuring full lifecycle documentation, milestone tracking, and reporting through CDC’s EPLC governance process.

2. Hosting, Availability, Performance, and Shared Cost Allocation Documentation

The contractor shall:

- Host the RISER website in a high-availability environment that guarantees ≥99.95% uptime, excluding scheduled maintenance;

- Implement system redundancy, load balancing, and failover mechanisms to ensure continuity;

- Provide real-time monitoring and automated alerts for system availability, latency, and intrusion attempts;

- Maintain daily backups with secure off-site storage for rapid disaster recovery. Back-ups shall be retained on a rolling basis for no less than 90 days, with at least one full monthly archive maintained for a minimum of 12 months. Critical system data including configuration files, transaction logs, user activity records, and Interface Control Documents, shall be archived for the life of the contract and transferred to CDC or a successor contractor at contract closeout in accordance with the Data Governance Plan;

- Perform ongoing system maintenance, including troubleshooting, patch implementation, and technical updates to preserve website integrity and availability;

- Validate the software and any modifications

Interface Control Documents (ICDs):

The contractor shall develop and maintain Interface Control Documents (ICDs) describing all technical interfaces between the RISER website, CDC enterprise systems, and other RISER contractor platforms. Website-specific ICDs shall address:

- API configurations and data-exchange protocols between the RISER website, CDC’s Customer Relationship Management (CRM) and Enterprise Resource Planning (ERP) systems, and other RISER Domains (e.g., Domain A and Domain B awardees);

- Security architecture boundaries and logical or physical separation of data belonging to different vendors;

- Role-based authentication and access-control pathways for public-facing and administrator functions; and

- Any temporary or emergency interfaces established during declared public-health emergencies.

All ICDs shall be developed, versioned, and maintained in accordance with the standardized ICD Development and Maintenance Plan requirements defined under Task 7, which govern process documentation, version control, and change-management procedures for all RISER IT systems.

The contractor shall submit website-specific ICDs to CDC for review and approval within 60 calendar days of contract award, update them whenever website or integration changes occur, and provide final, approved versions in both Word and searchable PDF formats as part of the contract deliverables.

Shared Cost Allocation Documentation:

The contractor shall prepare a website-specific Shared Cost Allocation Plan (SCAP) identifying shared hosting, software license, and platform costs associated with RISER website operations.

The SCAP shall:

- Describe shared cost elements (e.g., web-hosting environments, software licenses, shared development tools, or collaborative platforms) and the basis for allocation (e.g., usage percentages, transaction volume, user counts);

- Be developed and maintained consistent with the SCAP methodology and documentation standards established under Task 7, which serve as the governing reference for RISER-wide IT cost-allocation practices;

- Be submitted to CDC within 90 calendar days of contract award and updated annually or upon significant operational changes; and

- Include supporting documentation in Word and Excel formats for CDC review and approval.

3. Real-Time System Integration and API Architecture

To support dynamic data flow, the contractor shall deploy and maintain a real-time, secure, bidirectional API-based architecture enabling continuous communication between the RISER website, other RISER contractors (e.g., Domain A and Domain B awardees), and CDC Customer Relationship Management (CRM) and Enterprise Resource Planning (ERP) systems.

Legacy Secure File Transfer Protocol (SFTP) or static file exchanges are not acceptable as the primary communication method but to be considered as back-up or secondary plan. Contractors must describe and implement:

- Standards-compliant API integration using secure methods such as OAuth 2.0, JWT, or mutual TLS;

- Reagent-level data syncing including inventory updates, shipment confirmation, user access status, and reporting artifacts;

- Compatibility with CDC’s existing architecture to allow seamless ingestion of data from internal and contractor-hosted systems.

4. Core Functional Requirements

The RISER website must perform the following key functions and support integrated management with Microsoft Dynamics 365. Offerors are strongly encouraged to propose a unified service model in which the same team manages both systems to ensure uninterrupted data flow, operational compatibility, and minimized risk of misalignment.

a. User Management

- Allow user registration, identity verification, and dynamic assignment of catalog access tiers;

- Support administrative features for account maintenance, password resets, and access re-validation.

b. Product Display and Reagent Ordering

- Present the full RISER reagent catalog by access level, with detailed descriptions, documentation links, and real-time availability status reflecting current inventory state and distribution eligibility;

- Support intuitive order building, secure checkout, and submission into an integrated order processing system;

- The system shall allow reagent-level cost metadata to be stored (not displayed to the public) and linked to ordering and shipment records for CDC analysis;

- The contractor shall place RISER reagents in “temporarily out-of-stock” status on the RISER website when inventory is depleted or upon written request from the government.  Once materials are replenished and available, the contractor shall update the status and assist in notifying RISER registrants through system-enabled alerts or messaging features;

- The RISER website shall include an optional comment field at the time of order submission, allowing registrants to provide contextual details related to specific products or to the entire order.  This may include explanations for unusually large requests, urgency due to outbreak response or field deployment timelines, or identification of an intermediary consignee involved in shipment coordination.  All submitted comments shall be securely transmitted alongside the order metadata to CDC’s CRM and be viewable by authorized CDC personnel for programmatic review and decision-making.  Comments shall be logged with timestamp, order ID, and registrant ID for auditability;

- The RISER website shall include a configurable study portal module that allows CDC to define study-specific reagent access lists and pre-set quantity limits. This portal will be fully integrated within the RISER website and access-controlled through user roles, enabling only approved registrants to view and order study-specific materials. Portal configurations, including visibility and quantity controls, shall be managed according to COR direction.

c. Order Confirmation and Tracking

- Generate traceable order IDs and provide immediate confirmation to end-users;

- Display status updates based on real-time information received from shipping and inventory systems;

- Implement a visual, real-time order tracking interface for registered laboratories to monitor the status of each order through standardized workflow stages, including Order Submitted, Pending CDC Approval, approved by CDC, Pending Shipment, Shipped, and Received.  The interface shall be integrated with the CDC CRM to ensure synchronization and accuracy of status indicators.

d. Document Repository

- Serve as a centralized source of CDC-approved SOPs, Certificates of Analysis (CoAs), Safety Data Sheets, product inserts, technical specifications, and regulatory documents;

- Allow document download and link external references.

e. CDC-Controlled Announcement Board

- Maintain a dynamic page for publishing critical updates, emergency instructions, product recalls, and usage advisories, as approved by the COR;

- Support CDC-directed banner announcements that appear prominently to registered users upon login or while browsing specific reagent catalog items.  These may include time-sensitive alerts such as expiration date extensions, new usage instructions, or shipping disruptions;

- Implement tracking of banner creation and expiration dates, with automated or scheduled removal of outdated messages to prevent confusion or misuse;

- Coordinate banner content approval and lifecycle tracking with the CDC COR, ensuring visibility is consistent with regulatory communication practices.

f. Secure Audit Logging

- Track all user logins, order actions, content updates, and API transactions with time stamps and role identifiers;

- Logs must be retained in a secure, exportable format and be accessible to CDC upon request.

Software Validation: All software components, including visualization tools, dashboards, plugins, or custom modules used within the RISER website or associated secure platforms, shall undergo documented software validation before deployment or major updates.  Validation shall include functional testing, user acceptance testing, and traceable documentation of requirements, test results, and approvals.  Validation artifacts shall be maintained in a controlled repository and made available to CDC for review.

g.  Data Upload and CDC-Generated Dashboard Visualization

- Provide secure, role-based upload functionality allowing RISER registrants to submit data (e.g., genomic sequencing files, assay results, proficiency testing outputs) in CDC-approved formats;

e

- Route submitted data securely to CDC enterprise systems for analysis in accordance with approved Interface Control Documents (ICDs);

- Support display of CDC-generated analysis outputs back to authorized users in dashboard formats accessible through the RISER website;

- Ensure dashboards comply with Section 508 standards and support role-based visibility controls (e.g., public-facing registrant view vs internal CDC view);

- Maintain audit logging for all uploads and dashboard interactions.

h.  Documentation and Letter Request Module

- Provide a structured mechanism within the RISER website for registrants to request letters of donation, regulatory documentation, certificates of origin, or other supporting documents required for customs clearance or import permits;

- Route documentation requests to appropriate Domain B and Domain D personnel for processing;

- Track request status within the CRM and provide visibility to registrants;

- Maintain audit logs of document generation and issuance.

5. Security, Accessibility, and Compliance

The contractor shall maintain the website in full compliance with all applicable federal and U.S. Department of Health and Human Services (HHS) cybersecurity and accessibility requirements:

- Hold and maintain an Authority to Operate (ATO) issued by CDC’s Cyber Security Program Office (CSPO);

- Implement FISMA Moderate controls and meet NIST SP 800-53 Rev. 5 guidelines;

- Enforce TLS 1.2+ encryption, endpoint monitoring, and multi-layer authentication;

- Ensure full Section 508 compliance, including accessible design for screen readers; color contrast, navigation structure, keyboard access; and annual testing with updated HHS VPAT documentation;

- Support compatibility across modern web browsers and responsive mobile layouts;

- In support of continuous system security, the contractor shall:

  - Provide continuous monitoring of the RISER website to detect unauthorized access attempts, anomalous behavior, or intruder disruptions;

  - Perform weekly automated security scans (e.g., vulnerability assessments, penetration tests) and remediate identified issues within government-specific timelines;

  - Submit a monthly summary of all security scans results and actions taken to the COR and CDC Information Security Team;

  - Implement and document all website modifications required to address security concerns as soon as feasible after internal discovery or government notification.  Documentation shall be included in the Monthly Technical Report.

Ongoing Section 508 Compliance:
All system operations, updates, and deliverables shall be tested for Section 508 compliance at least annually and following any major update. Any deficiencies shall be remediated within 30 calendar days, with results and corrective actions reported to the COR.

6. Security Milestones and Federal IT Reporting

The contractor shall contribute to ongoing system governance by preparing and submitting the following documentation to CDC:

- Annual Security Self-Assessments;

- Privacy Impact Assessments (PIAs);

- Business Continuity Plan (BCP) and test reports;

- Voluntary Product Accessibility Template (VPAT);

- Updates to the Plan of Action and Milestones (POA&M) for any control deficiencies;

- Ensure secure internal data fields are maintained for storing and transmitting cost data (material and shipping) tied to each reagent order, available for ingestion into CDC reporting environments.

Additionally, the contractor shall contribute to CDC-led cybersecurity reviews, Enterprise Performance Life Cycle (EPLC) milestone documentation, and ensure readiness for internal or external audits.

7. Change Control and Modernization

- All enhancements or system changes must be scoped, priced, and approved by the COR in writing prior to implementation;

- Development must follow CDC EPLC requirements, which phase-gate documentation submitted for review and approval.  The contractor shall update the EPLC repository with current artifacts, including risk assessments, test results, and implementation approvals;

- The contractor shall support design and user-testing activities and contribute to milestone reviews and final validations;

- The contractor shall maintain a centralized bug tracking log to document all website issues, including technical bugs, user-reported problems, and suggested fixes or feature improvements.  The log shall be regularly reviewed and updated, with issue status (e.g., open, in progress, resolved) clearly indicated.  A summary of open issues and resolutions shall be included in the Monthly Technical Report and made available to CDC upon request;

In addition, the contractor shall maintain a Technology and System Limitations Log to document known limitations of the system architecture, databases, or programming logic that may affect:

- Data integrity (e.g., risks of data duplication, record inconsistencies);

- Performance under load;

- Interoperability across RISER subsystems or with CDC enterprise systems;

- User functionality or data visualization;

- Any temporary workarounds implemented in place of full resolution;

- Plans or proposals for resolving limitations, including resource estimates and potential impacts;

- Status of mitigation or resolution efforts

The contractor shall:

- Update this log monthly, or more frequently if significant issues arise;

- Include a summary of any new or unresolved limitations in the Monthly Technical Report;

- Provide the log to CDC upon request for audit or review purposes.

Documentation shall be retained for the life of the contract and made available to successor contractors during transition planning.

The contractor shall provide the COR and designated CDC staff with continuous, role-based access to the bug tracking and change control system to allow real-time visibility into reported issues, development status, and resolution progress. Access credentials shall be maintained throughout the life of the contract and updated as CDC personnel roles change.

All custom code, configurations, and scripts developed for the RISER website or integrated systems under this contract shall be maintained in a CDC-approved source code repository (e.g., GitHub Enterprise or other CDC-designated secure platform). The contractor shall ensure that the COR and designated CDC staff maintain continuous read-only access to these repositories, including full version histories, to support oversight, audit readiness, and continuity of operations.

8. User Support and Communication

The contractor shall:

- Maintain a Help Desk hotline and dedicated support inbox staffed during standard business hours, defined as Monday through Friday, 8:00AM to 5:00PM Eastern Standard Time, excluding federal holidays.  These hours shall remain fixed throughout the year regardless of daylight savings adjustments;

- Respond to all requests within one business day and triage urgent requests immediately upon receipt;

- During declared public health emergencies or periods of elevated activity, the contractor shall mobilize extended IT and Customer Service coverage up to 24/7 as directed by CDC, with adequate staffing to handle surge volumes;

- Use standardized response templates approved by the COR;

- Maintain metrics on support volume, response time, resolution trends, and customer satisfaction for CDC reporting;

- In coordination with the COR, the contractor shall propose and support innovative dissemination strategies for RISER materials, which may include conference presentations, scientific publications, stakeholder workshops, and targeted outreach campaigns.

First-line responses to user inquiries or website-access will be handled by Domain D (Customer Service and Stakeholder Support), with escalation to Domain C for technical resolution.

9. Emergency Surge and High-Throughput Capability

During declared public health emergencies:

- System load must scale to support elevated order traffic;

- Data exchanges with the CRM must occur up to hourly;

- Contractor must coordinate with Domain A (production) and Domain B (logistics) to prioritize emergency reagent display, availability messaging, and order routing and Domain D (Customer Service) to track product request and distribution status;

- Surge staffing for Help Desk and IT support shall be mobilized within 48 hours.

NOTE: The contractor shall adhere to the reporting schedule outlined in Section IX of the SOW, including Monthly Technical Reports, and real-time system status updates.

10. Integration and Display of CDC-Generated Dashboards

The contractor shall support the secure display of CDC-generated analytic dashboards through the RISER website. These dashboards may include summary statistics or visualizations derived from:

- Genomic surveillance data;

- Proficiency testing results;

- Field-generated surveillance data (e.g., outbreak investigation or sentinel site reports);

- Reagent validation or stability testing;

- Regional reporting summaries;

- Historical IRR analytics

In addition to displaying CDC-generated dashboards, the RISER website shall support secure, authenticated uploads of laboratory- and field-generated surveillance data from registered domestic and international partners. Upload functionality must accommodate common data formats, including metadata tagging (e.g., source laboratory, location, reagent type, and sample identifiers), and ensure that data are routed to appropriate CDC programs for analysis in accordance with CDC-approved protocols.

Key responsibilities include:

- Hosting dashboards or embedded links provided by CDC in a secure, read-only format;

- Ensuring cross-browser compatibility and mobile responsiveness;

- Displaying version control metadata (e.g., last updated, data source, responsible program);

- Supporting multilingual access if directed by CDC;

- Implementing role-based visibility (e.g., by registrant type or region);

- Coordinating with Domain C for secure API or web service integration;

- Logging and resolving user-reported display or load issues.

The contractor shall ensure that all dashboards hosted within the RISER website support export of the underlying data in CDC-approved formats (e.g., CSV, Excel). Exported datasets must include all fields used in the visualizations and maintain role-based access controls consistent with dashboard visibility permissions. This functionality will allow CDC programs to conduct independent analyses of the data driving dashboard outputs.

Performance Standards:

- Dashboards must maintain a minimum monthly uptime of 99.5% (excluding CDC-approved maintenance windows);

- All visualizations must comply with Section 508 accessibility standards;

- Updates and new dashboards must be published within 10 business days of CDC delivery, unless otherwise approved.

Reporting Requirements:

- Monthly Technical Reports shall include:

  - Summary of new or updated dashboards;

  - Uptime and incident logs;

  - Feedback or accessibility issues;

  - Future integration schedule (if known).

11. Data Governance Plan

The contractor shall develop and maintain a Data Governance Plan as described in the SOW. The plan shall cover data architecture, access controls, backup sites, archival processes, and digital transition protocols. It shall be updated annually or upon CDC request and approved by the COR.

All website data upload, dashboard, and API configurations shall be designed to support DMI-compliant metadata tagging and interoperability with CDC enterprise systems as defined in the SOW Data Modernization Alignment section.

12. Technical Integration Plan

The contractor shall prepare and maintain a Technical Integration Plan, as described in the SOW, detailing real-time, bidirectional API architecture, Microsoft Dynamics 365 CRM integration, XML data exchange specifications, scalability strategies, and performance targets. The plan shall be submitted to the COR for approval within 90 calendar days of contract award and updated annually or as requested.

Task 6: Manage Laboratory Registration for RISER Account

This task corresponds to Tasks D.1-D.2 in Section V of the RISER Statement of Work.

1. Purpose and Scope

The contractor shall manage the end-to-end process for registering domestic and international laboratories to access the RISER catalog.  Customer-service staff under Domain D shall perform the customer-facing portion of registration, including initial review of submissions for completeness, authorized signatory, and restricted-party screening. These activities shall occur within Domain C’s RISER website and CRM workflows to ensure full system visibility. Only after verification shall Domain D forward registration packages to CDC for final approval.

As of the most recent program data, CDC-IRR has over 1,500 registrants across 193 countries, including 50 U.S. states, and territories. An efficient, accurate registration workflow is essential to safeguard reagents, ensure equitable access, and maintain regulatory compliance.

2. Registration Process Administration

The contractor shall conduct a comprehensive review and vetting of all RISER registration submissions in accordance with established internal procedures and CDC-approved eligibility criteria.

The contractor shall:

- Review registration forms submitted via the RISER website or through CDC-approved communication channels;

- Upon receipt of registration materials (including those received via email, if permitted), upload all documentation into the CDC-approved Customer Relationship Management (CRM) system;

- Verify form completeness, proper signature authority (e.g., registrant or designated safety officer), and consistency with program eligibility criteria;

- Communicate directly with the submitting laboratory, as necessary, to resolve omissions, correct deficiencies, or clarify discrepancies;

- Document all correspondence and workflow status updates (e.g., On Hold, Approved, Active, Closed, Denied) within the CRM system to ensure traceability;

- Independently verify the validity of the laboratory’s physical location using commercially available and publicly accessible sources (e.g., Dun & Bradstreet, mapping tools, or equivalent verification resources);

- Confirm and establish the appropriate shipping address corresponding to the receiving location, and obtain clarification where multiple addresses are provided;

- Record all address verifications, confirmations, and updates within the CRM;

- Screen each applicant institution and associated individuals against applicable U.S. export control, sanctions, and restricted-party lists (e.g., U.S. Department of State, U.S. Department of Treasury Office of Foreign Assets Control (OFAC), or CDC-approved compliance screening tools);

- Flag any potential matches or restricted entities for CDC review prior to forwarding the registration package for approval;

- Upon successful internal review and compliance screening, assign a unique account identifier and transmit the completed registration package to CDC for final review and approval;

- Prevent creation of duplicate accounts by cross-checking against historical registrant records within the CRM.

No registrant account shall be activated, and no reagent orders shall be processed, prior to written CDC approval.

The contractor shall triage level-upgrade requests or institutional status changes (e.g., new shipping location, updated biosafety level, new point of contact), ensure updated documentation is obtained and validated, and document all such changes within the CRM prior to processing.

All registration actions, compliance screening outcomes, communications, and status updates shall be logged within the CRM to maintain audit-ready traceability across Domains B and C.

3. User Agreement (UA) Management

The contractor shall:

- Establish and maintain UAs (Appendix E, example) with all authorized institutions, whether new or previously registered under the CDC-IRR program;

- Ensure UAs are signed by an institutional representative with legal authority and countersigned by a designated contractor authority;

- Submit completed UAs to CDC for review and approval. No account activation or reagent order processing shall occur until CDC has approved the UA.

The User Agreement defines legal and operational expectations around proper use, handling, and disposal of RISER reagents; intellectual property considerations; restrictions on redistribution or commercial use; and indemnification of the U.S. government, contractor, suppliers, and reagent contributors.

A copy of the standard User Agreement format shall be included as Appendix E in the contract documentation.

The government reserves the right to update, amend, or replace the standard User Agreement (Appendix E) during the period of performance to reflect changes in regulatory requirements, public health priorities, data governance standards, export controls, or other programmatic needs. Upon issuance of an updated User Agreement template by CDC, the contractor shall implement the revised agreement and ensure that new registrants execute the current version. Where directed by CDC, the contractor shall require previously approved registrants to execute the updated User Agreement prior to continued ordering of RISER materials. The contractor shall maintain version control records of all executed User Agreements and ensure traceability of agreement versions within the CRM.

4. CDC Approval and Account Activation

(After vetting) The contractor shall:

- Forward all completed registration paperwork and executed UAs to CDC’s COR, and SME for approval;

- Await CDC’s assignment of reagent catalog access levels, which determine which reagents the institution may view and request via the RISER website;

- Upon receipt of CDC approval, activate the account and notify the laboratory, including account number; login credentials; initial password or reset instructions; and support contact details

All account activations shall be logged and timestamped.

5. Customer Support and Identity Verification

The contractor shall:

- Respond to laboratory inquiries related to registration, identify-verification requests, login issues, or access changes within one business day;

- Provide secure password reset services using identity verification protocols;

- Use CDC-approved standardized response templates to ensure uniformity and accuracy in external communications;

- Assist users experiencing portal-navigation issues, escalating persistent website problems to Domain C;

- Maintain a complete archive of all customer communications related to registration or access management.

6. Account Audits and Ongoing Maintenance

The contractor shall:

- Conduct quarterly audits to validate the accuracy of active accounts, including verification of institutional affiliations, point-of-contact accuracy, and biosafety level alignment;

- Coordinate with CDC to deactivate outdated, duplicate, or non-responsive accounts;

- Require re-verification of User Agreements every three years, or sooner if there is a change in institutional affiliation or operating procedures.

- Upon deactivation, suspension, or termination of a registrant account, the contractor shall notify the institution of its obligation under the User Agreement to properly destroy or otherwise dispose of RISER materials, as applicable. The contractor shall request written certification of destruction or disposition of all RISER materials in the registrant’s possession and shall retain such documentation within the CRM for audit purposes. Where required by CDC, the contractor shall escalate non-response or failure to provide certification to the COR for further action.

7. Data Security and Record Retention

The contractor shall:

- Maintain an electronic registration database synchronized with the CDC CRM;

- Protect registration data through encryption in transit and at rest, role-based access controls, and multi-factor authentication;

- Store all User Agreements, approval documentation, and change logs in secure electronic format with off-site backups;

- Retain records in accordance with federal data retention and Freedom of Information Act (FOIA) compliance standards;

- Ensure all registration data is readily exportable in electronic format to CDC upon request or at contract closeout.

8. Registration System Scalability or Surge Planning

The contractor shall only participate in surge registration drills or simulations if specifically requested by the COR. These exercises shall not be presumed as routine deliverables.

9. Customer Service and Stakeholder Plan

The contractor shall prepare and maintain a Customer Service and Stakeholder Support Plan, as described in the SOW, covering registration management, inquiry handling, volume and trend tracking, and customer satisfaction metrics. The plan shall be submitted to the COR for approval and updated annually or as requested.

Task 7: Assist with Operation and Maintenance of CDC’s RISER CRM System

This task corresponds to Task C.2 in Section V of the RISER Statement of Work.

1. Purpose and Scope

The contractor shall assist CDC in the operation, maintenance, and modernization of RISER’s CRM System, a mission-critical platform built on Microsoft Dynamics 365 and hosted on CDC infrastructure. RISER’s CRM serves as the centralized hub for managing all aspects of RISER reagent order workflows—receiving and approving orders, integrating with account permissions, and tracking inventory and shipments across the RISER enterprise.

The contractor’s role includes ensuring uninterrupted system functionality, maintaining secure and accurate data exchange with the RISER website and other contractor systems, aligning with CDC enterprise IT policies, and supporting continuous performance improvement.

2. Core Functional Requirements

The contractor shall:

- Maintain real-time, secure API-based bidirectional integration between RISER CRM and the RISER website;

- Synchronize order, inventory, shipment, and user data between RISER CRM and RISER contractor’s system;

- Ensure compatibility with third-party plugins (e.g., Nintex, Scribe) and Microsoft Dynamics upgrades;

- Prevent data duplication, synchronization errors, and system latency through automated validation checks and API call monitoring;

- Manage and update account-level access and ordering allowances based on CDC-approved roles and criteria;

- The system must support entry, calculation, and reporting of reagent-level material and shipping costs for each order. Fields shall be structured for efficient RISER invoicing review.

The government strongly encourages offerors to demonstrate capacity to manage both the RISER website and RISER CRM functions under an integrated IT support strategy.

The RISER CRM shall maintain a minimum operational availability of ≥99.95% (excluding scheduled maintenance) to ensure uninterrupted processing of orders, inventory synchronization, and emergency response functions. In alignment with its FISMA Moderate designation, the contractor shall implement controls consistent with a Moderate-impact rating for availability as defined in FIPS 199, including redundancy, failover mechanisms, and disaster recovery protocols designed to minimize downtime and prevent data loss.

The contractor shall maintain daily system backups with secure off-site storage to support disaster recovery. Backups shall be retained for at least 90 days on a rolling basis, with one full monthly archive maintained for no less than 12 months. Critical data (e.g., transaction logs, registrant data, order histories, system configuration files) shall be archived for the life of the contract and provided to CDC or a successor contractor during transition in accordance with the Data Governance Plan.

3. Real-Time Order Processing Workflow

The contractor shall implement and manage a real-time, API-driven order exchange mechanism that allows for continuous, secure communication between the RISER website and RISER’s CRM System. This modern integration replaces legacy file transfer methods (e.g., SFTP) and enables:

- Immediate transfer of new orders from the RISER website to RISER CRM upon user submission;

- Instant flagging of orders requiring CDC COR review and assignment of internal tracking numbers;

- Automated update of order approval status from CDC COR back to the RISER website, enabling contractors to prepare shipments;

- Real-time synchronization of shipment status, including lot number, courier, and delivery confirmation, from contractor ERP or logistics platforms back to RISER CRM and CDC systems.

During emergency response operations, the system shall support high-frequency transaction volumes, with increased concurrency and processing speed as required to support public health response efforts.

In addition to order data, the RISER CRM must include secure fields and storage schemas to receive, log, and transmit data uploaded by RISER users through the RISER website. These uploads may be used to support proficiency testing, genomic surveillance, or post-distribution reagent validation. The contractor shall:

- Link uploaded files to the originating laboratory, reagent lot, and test platform;

- Enable CDC programs to retrieve or review data via secure dashboards or reports;

- Ensure compliance with CDC’s data integrity, privacy, and regulatory requirements for handling lab-derived information.

The RISER CRM shall support linkage of uploaded laboratory data to CDC-generated analyses and dashboards where applicable. These results, once published by CDC, may be displayed within the RISER website via interfaces maintained under Task 5. The contractor shall ensure metadata traceability between original data uploads and displayed analytic outputs.

The contractor is responsible for system data accuracy metrics, including CRM-entered data error rates and order reconciliation lag. Errors or data loss attributable to system misconfiguration or workflow failures may affect performance-based payments.

4. System Integration, Configuration, Interface Control Documents and Shared Cost Allocation Documentation

The contractor shall ensure full integration of RISER’s CRM with the following:

- The contractor-managed RISER website (DotNetNuke or equivalent);

- CDC’s ERP systems;

- Internal contractor inventory and quality control systems;

- CDC’s middleware platforms (e.g., Mirth Connect) and any secure government APIs designated for future use;

- Include secure data fields and synchronization protocols for transmitting distribution cost data from contractor ERP and shipping platforms to the CDC CRM.

All APIs must support encryption, authentication, and CDC-approved data formats. Contractor proposals must outline a robust interface management strategy that includes documentation, version control, and testing protocols for all integration points.

Interface Control Documents (ICDs)

Task 7 serves as the governing reference for all RISER-wide ICD standards and maintenance procedures applicable to IT systems under Domain C. The contractor shall develop and maintain comprehensive Interface Control Documents (ICDs) describing all technical integrations between the RISER Customer Relationship Management (CRM), the RISER website, CDC enterprise systems, and other contractor-managed platforms.

ICDs shall document:

- Technical interfaces and integrations between the RISER CRM System, the RISER website, CDC’s Enterprise Resource Planning (ERP) systems, and other RISER contractor systems supporting order processing, inventory management, and logistics;

- Data-field mappings, validation logic, synchronization protocols, and error-handling procedures for all APIs and data exchanges;

- Security-architecture diagrams illustrating system components and boundaries, logical and physical data separation among vendors, role-based user-access permissions, and secure data-flow paths between systems;

- Version-control and change-management procedures governing all documented interfaces; and

- Any temporary or emergency interfaces created or modified during declared public-health emergencies.

The contractor shall:

- Submit initial ICDs for CDC review within ninety (90) calendar days of contract award or prior to activation of integrated system interfaces, whichever occurs first;

- Update ICDs whenever significant technical, architectural, or security changes occur;

- Provide final, approved ICDs in both Word and searchable PDF formats as part of contract deliverables; and

- Ensure all ICDs align with applicable federal cybersecurity and information-assurance standards (e.g., NIST SP 800-53, FISMA, and CDC CSPO requirements).

ICD Development and Maintenance Plan

Within 60 calendar days of contract award, the contractor shall submit to the COR for review and approval a comprehensive ICD Development and Maintenance Plan that governs all RISER IT systems. The plan shall:

- Define standardized processes for creating, reviewing, approving, and updating ICDs across all Domains;

- Include security-architecture diagrams for each documented interface;

- Specify data-exchange standards, including approved formats, transmission protocols, and security controls; and

- Describe version-control, configuration-management, and change-tracking procedures to ensure ICD currency and traceability.

All new ICDs and updates shall be documented, versioned, and resubmitted for COR approval prior to implementation.

Shared Cost Allocation Documentation

Task 7 also serves as the authoritative reference for the RISER-wide Shared Cost Allocation Plan (SCAP) process. The contractor shall develop and maintain a SCAP covering all shared costs associated with the RISER CRM and integrated IT platforms used across multiple RISER contractors.  The SCAP shall:

- Identify cost elements subject to sharing (e.g., system enhancements, API-gateway fees, cloud-hosting charges, software-license costs, or shared middleware services);

- Describe cost-allocation methodologies (e.g., pro-rata usage, transaction volume, or active-user counts) and provide the rationale for each approach;

- Include usage metrics, supporting calculations, and assumptions in Excel format to ensure transparency and auditability;

- Establish procedures for resolving disputes or realigning allocations as directed by the CO or COR; and

- Serve as the governing template and methodology for SCAPs developed under related tasks (e.g., Task 5).

The contractor shall submit the initial SCAP to CDC within 90 calendar days of contract award, update it annually or upon significant operational changes, and provide all supporting documentation in Word and Excel formats for CDC review and approval.

All custom code, configurations, and scripts developed for the RISER CRM or related integrations shall be maintained in a CDC-approved source code repository (e.g., GitHub Enterprise or other CDC-designated secure platform). The contractor shall ensure that the COR and designated CDC staff maintain continuous read-only access to these repositories, including full version histories, to support oversight, audit readiness, and continuity of operations.

5. Troubleshooting and Technical Support

The contractor shall:

- Monitor all API call logs and system dashboards for processing failures or exceptions;

- Maintain real-time alerting protocols and ticketing systems for RISER CRM errors or order-processing bottlenecks;

- Implement and validate all software patches, configuration changes, and version upgrades;

- Coordinate with CDC’s Information Technology Services Office, Microsoft Dynamics support, and other relevant CDC programs for system-level issues.

Root cause analyses for high-priority issues must be submitted in writing within five (5) business days of incident resolution.

Help-desk tickets related to order-processing errors shall be triaged by Domain D and resolved in coordination with Domain C’s technical team.

6. System Development and Modernization Support

The contractor shall support the ongoing evolution of RISER CRM through:

- Leading and reporting all EPLC deliverables and milestones for the RISER CRM;

- Coordinating with CDC EPLC staff to maintain continuous compliance and audit readiness;

- Estimating time, cost, and technical scope of modernization efforts, including UI/UX improvements, analytics dashboards, and API upgrades;

- Testing of new features under CDC direction and shall prepare and lead presentations of results and upcoming project proposals during stage-gate review meetings;

- Coordinating with CDC business owners and RISER stakeholders to align improvements with operational goals.

7. Security and Regulatory Compliance

The contractor shall:

- Ensure the RISER CRM complies with federal information security standards, including FISMA and CDC CSPO guidelines;

- Support ongoing submission of required security milestones, including:

  - Annual security self-assessments;

  - BCP testing;

  - PIAs;

  - Security Authorization Packages and POA&Ms;

  - HHS VPAT submission annually to confirm Section 508 accessibility compliance.

Access controls must be strictly enforced, with role-based permissions, audit trails, and multi-factor authentication (MFA) for super users of the CRM configured in coordination with CDC.

8. Staffing and On-Site Support

The contractor shall provide at least one full-time RISER CRM technical lead co-located at CDC’s Atlanta Headquarters to support daily system coordination, facilitate cross-program communication, and assist with documentation and compliance processes.

9. Data Ownership and System-of-Record Designations

To prevent duplication or conflict of data between the RISER website and CDC’s CRM system:

- A detailed Data Governance Plan must be submitted by the contractor within 90 calendar days of award;

- The plan shall designate a “system of record” for each shared data field (e.g., order status, shipment metadata, user comments) and define reconciliation protocols;

- CDC shall retain final authority over which system serves as the master for each data type;

- All changes to system-of-record designations must be approved in writing by the COR.

10. Data Governance Plan

The contractor shall develop, submit, and maintain a comprehensive Data Governance Plan to ensure data integrity, consistency, and reconciliation across the RISER website, the RISER CRM, and any contractor systems that process orders, inventory, material distribution, or cost data. This plan must define how each shared data field (e.g., order status, registration metadata, shipment history, reagent costs) is maintained, audited, and synchronized across platforms.

The Data Governance Plan shall include, at minimum:

- Designation of system-of-record for each shared data element, including justification;

- Reconciliation procedures for resolving data conflicts or duplication between RISER systems and CDC CRM;

- Roles and responsibilities for data entry, review, and approval across contractor and government platforms;

- Schedule for data integrity reviews, including monthly sampling and quarterly reconciliation audits;

- Security controls related to data access, correction privileges, and transmission between systems;

- Data retention policies aligned with RISER reporting and closeout requirements.

The contractor shall submit the initial Data Governance Plan within 90 calendar days of contract award and update it annually or upon significant system changes. CDC will review and approve the plan and may request updates to reflect changes in data flow, policy, or technology.  The plan shall include data architecture maps, role-based access controls, designation of primary and backup data storage sites, backup and archival processes, and digital transition protocols for secure transfer to CDC or a successor contractor.

All approved versions shall be made available to the COR and shared with other RISER contractors involved in IT or operational data exchange to support program-wide data consistency and regulatory compliance.

Data Modernization Integration:
The contractor shall ensure that all RISER data governance and system-of-record designations align with CDC’s Data Modernization Initiative (DMI). The Data Governance Plan must include a dedicated section describing how RISER data elements, metadata, and exchange formats conform to CDC enterprise data standards and interoperability frameworks (e.g., HL7 FHIR, NIEM, or other CDC-approved schemas). The contractor shall coordinate with CDC’s DMI program staff and the RISER Integration Lead to validate compliance and document any deviations or required mappings in the Interface Control Documents (ICDs).

11. Technical Integration Plan

The contractor shall prepare and maintain a Technical Integration Plan, as described in the SOW, detailing real-time, bidirectional API architecture, Microsoft Dynamics 365 CRM integration, XML data exchange specifications, scalability strategies, and performance targets. The plan shall be submitted to the COR for approval within 90 calendar days of contract award and updated annually or as requested.

12. Customer Service and Stakeholder Support Plan

The contractor shall prepare and maintain a Customer Service and Stakeholder Support Plan, as described in the SOW, covering registration management, inquiry handling, volume and trend tracking, and customer satisfaction metrics. The plan shall be submitted to the COR for approval and updated annually or as requested.

Task 8: Receive Reagent Orders and Manage Shipping Logistics

This task corresponds to Task B.3 in Section V of the RISER Statement of Work.

1. Purpose and Scope

The contractor shall establish and maintain comprehensive logistics operations for the processing, packaging, and shipment of RISER reagents. These operations are critical to ensuring timely, secure, and compliant distribution of biological materials to domestic and international laboratories. Responsibilities include customer service coordination, regulatory documentation, cold chain management, inventory control, and real-time communication with both recipients and CDC.

This task supports CDC’s surveillance and emergency response infrastructure by ensuring uninterrupted access to reagents and standardized procedures for safe global distribution.

2. Order Intake and Processing Workflow

The contractor shall:

- Implement a SOP-driven process for receiving and acknowledging orders submitted via the RISER website;

- Ensure all order requests are reviewed, approved and authorized by the CDC COR prior to fulfillment;

- Acknowledge approved orders with automated notifications to requesting laboratories;

- Maintain visibility into order status throughout the approval, preparation, and shipment lifecycle.

Customer service representatives must follow CDC-approved communication templates and shall not modify order quantities, product substitutions, or delivery destinations without written CDC authorization.

All order activities must be logged and reportable, including time-stamped actions for compliance tracking.

3. Customer Service and Communication

The contractor shall maintain a trained customer service team responsible for:

- Responding to order status inquiries, delays, shipment confirmation, and returns;

- Supporting recipient laboratories with import documentation and logistics coordination;

- Providing certificates of analysis, donation letters, or other compliance documents upon request;

- Operating a published hotline and monitored inbox during business hours, with voicemail retrieval and email response within 1 business day;

- Triaging communications that involve controlled materials or elevated risk (e.g., Select Agents) for priority handling and internal escalation.

To ensure cost-effective shipping, the contractor shall obtain and document no fewer than four (4) competitive quotes from qualified carriers or courier services for each international or high-cost shipment (e.g., shipments exceeding CDC-defined cost thresholds). Quotes shall be documented in the shipment record and made available to CDC upon request. For routine domestic shipments where pre-negotiated rates are in place, the contractor shall use the lowest-cost option that meets delivery and cold-chain integrity requirements unless otherwise directed by CDC.

Weekly communication performance shall be tracked and summarized as part of the regular contractor reporting package to CDC.

The contractor is responsible for shipment-related performance metrics, including the percentage of orders shipped within CDC-mandated timelines and documentation of shipment anomalies. Performance outcomes tied to shipping timelines and delivery reliability shall contribute to evaluation for award-term incentives.

QA/QC Plan:
The contractor shall prepare and maintain a QA/QC Plan, as described in the SOW, that includes batch record documentation, reagent rejection criteria, customer complaint handling procedures, and QA/QC oversight roles. The plan shall be submitted to the COR for approval and updated annually or as requested.

4. Documentation and Order Recordkeeping

For each approved and shipped order, the contractor shall maintain and report comprehensive documentation to ensure full traceability, regulatory compliance, and logistical accountability. Specifically, the contractor shall:

- Retain a copy of the CDC COR’s written shipment authorization;

- Maintain internal packing lists, courier tracking numbers, and shipment preparation records for each order.  The contractor shall maintain systems capable of real-time capture of shipment-tracking events from courier sources. Captured tracking data shall be transmitted or made visible to CDC and the RISER registrants within 12 hours of receipt for domestic shipments and within 24 hours of receipt for international shipments. These intervals represent the maximum allowable delay between data capture and system transmission. Any delay in obtaining or uploading tracking data shall be documented in the contractor’s weekly summary report, along with the cause and corrective action.

- Customer service staff shall track and document the courier’s delivery confirmation, including the date and time of delivery, and/or obtain direct acknowledgment from the recipient laboratory confirming that the material was received and is in their possession.  In absence of confirmation from end-user, the contractor shall obtain the receipt from the courier (e.g., FedEx proof of delivery).  In the event that a recipient laboratory identifies compromised materials upon receipt, the contractor shall:

  - Immediately notify the COR, SME, and QA representative of any recipient-reported reagent failure, including any viability testing performed;

  - Coordinate with the CDC on whether replacement shipment is warranted;

  - If materials are returned to the contractor’s inventory these reagents shall be logged as “potentially compromised”, clearly segregated from active inventory, and stored under quarantine conditions pending investigation or directed disposal.

All such events must be documented in the shipment incident log and included in the Monthly Technical Report.  CAPA documentation must be initiated if contractor-handling or packaging is implicated.  Shipment failures, associated costs, and root causes shall be tracked, logged, and reported per Section 4 and Section 11 of this task.

- If the recipient laboratory utilizes an intermediary consignee (e.g., freight forwarder, broker, or third-party agent) to receive or process materials on their behalf, the contractor shall record and report the name, address, and contact details of the intermediary consignee. This information shall be linked to the registrant’s account profile for reference in future orders;

- Maintain copies of all required permits, customs declarations, licenses, and regulatory filings associated with the shipment, including any consignee-related compliance documentation;

- Document and report any shipment anomalies or delivery issues, including but not limited to:

  - Delays in transit;

  - Customs holds or denials;

  - Incorrect or incomplete delivery;

  - Cold chain interruptions;

  - Product damage or degradation;

- Maintain a formal incident log for each affected shipment, documenting:

  - The nature and scope of the issue;

  - Time-stamped communications with the courier and recipient;

  - Mitigation or resolution steps taken;

  - Notifications provided to the CDC;

  - Final resolution outcome and whether material replacement/reshipment was required.

All documentation shall be maintained in secure electronic systems with routine data backups. Shipment and incident summaries shall be included in weekly reports to the CDC COR and made available on demand.

All data fields captured in shipping documentation and order records – particularly cost, tracking, consignee data, and regulatory documentation – must be mapped and synchronized with the RISER CRM through interfaces governed by Domain C.

Domain D shall monitor courier tracking updates, confirm receipt with recipient laboratories, and record delivery outcomes within the CDC CRM.  Any delivery failures or recipient-reported issues shall be coordinated with Domain B for corrective-action review and included in Domain D’s monthly incident summaries.

5. Shipment Coordination and Compliance

The contractor shall manage all domestic and international shipment logistics in compliance with:

- IATA/ International Civil Aviation Organization (ICAO) Dangerous Goods Regulations;

- U.S. Department of Transportation (DOT) and U.S. Department of Agriculture (USDA)/ Animal and Plant Health Inspection Service (APHIS) transport requirements;

- Select Agent Program protocols;

- U.S. Department of Commerce export control restrictions, including H5N1 and other controlled pathogens;

- Applicable import/export laws in destination countries.

The contractor must coordinate delivery timing with the recipient laboratory to confirm that import paperwork is completed, and facilities are ready to receive the shipment.

If coordination is not confirmed, the contractor shall delay shipment and notify CDC for further direction.

6. Cold Chain Integrity and Packaging Standards

The contractor shall:

- Use shipping containers certified for biological materials, with validated temperature controls appropriate to each reagent (e.g., 2–8°C, −20°C, −70°C, or liquid nitrogen);

- Ensure packaging is compliant with international standards and meets CDC-defined cold chain performance benchmarks;

- Include temperature indicators when shipping high-sensitivity materials or reagents with known degradation risks;

- Maintain a full complement of backup packaging and shipping supplies for surge events.

All shipments must be delivered within 96 hours of departure. If that window cannot be met, the contractor shall use couriers with capability to re-ice or replenish coolant in transit.

7. Emergency and High-Value Shipments

CDC may issue modified shipment instructions during a declared public health emergency, including:

- Elevated shipment frequencies (e.g., daily dispatch windows);

- Expanded distribution territories;

- Reprioritized reagent inventories;

- Same-day shipment approval cycles.

The contractor shall be able to scale logistics operations and support real-time coordination with CDC response branches/programs.

For international orders exceeding cost thresholds (e.g., $#,### shipping/handling), the contractor shall obtain COR approval and document whether cost-sharing will be required from the recipient or supporting partner agency.

Default shipping method for international orders shall be door-to-airport. Door-to-door international delivery requires pre-approval by the COR.

8. Security and Regulatory Archiving

The contractor shall:

- Ensure all transport of Select Agents is fully documented and includes approved shipping permits, import/export declarations, and compliance with federal select agent transfer procedures;

- Archive all shipping-related regulatory documentation, including expired permits, for the duration of the contract plus any CDC-specified retention period;

- Maintain dual storage of electronic records (on-site and off-site) to ensure disaster recovery capability.

9. Reagent Handling Instructions and Safety Standards

For all reagents distributed under the RISER contract, the contractor shall:

- Develop and distribute CDC-approved documentation (e.g., package inserts with storage/use instructions; Certificates of Analysis (COAs); product specification sheets; and biosafety and handling standards) for reagents produced or modified under this contract;

- For commercially procured or third-party reagents, distribute applicable manufacturer-provided documentation and ensure that all required regulatory and safety information is provided to recipients;

- Package all required documentation with each shipment and coordinate with the Domain C contractor to make appropriate documentation available through the RISER website.

All safety documentation must reflect the latest CDC biosafety protocols and clearly indicate handling and disposal standards consistent with the receiving laboratory’s biosafety level. The contractor shall not be required to generate new technical documentation for commercially manufactured reagents beyond ensuring distribution of existing manufacturer documentation and CDC-required supplemental guidance, where applicable.

10. Staffing and On-Site Support

The contractor shall provide full-time logistics specialists to be co-located at CDC Atlanta Headquarters. These individuals will serve as liaisons for:

- Coordination of priority shipments and emergency delivery planning;

- Permitting and regulatory documentation troubleshooting;

- Real-time support for CDC-initiated dispatches or response activations;

- Technical coordination to support the integration of RISER shipping data, cost fields, and tracking metadata into CDC’s CRM, in collaboration with Domain C contractors.

These positions must have operational familiarity with shipping workflows and a working understanding of data management systems, including secure file formats, CDC interface protocols, and data reconciliation tools used by RISER.

11. Distribution Cost Capture and Reporting

The contractor shall track, record, and report material-level and shipment-level cost data for every order processed under the RISER contract. This includes:

- Internal labor and packaging material costs;

- Courier, customs, and special handling fees;

- Any incremental costs for emergency shipment, expedited processing, or international delivery;

- Consignee-related fees (where applicable).

This information shall be linked to the order record and transmitted to CDC using the formats and frequency specified in the Data Delivery Schedule. Summarized cost data shall be included in the contractor’s monthly financial report to CDC.  Shipment failures, associated costs, and root causes shall be tracked, logged, and reported per Section 4 and Section 11 of this task.

12. Surge Shipping Readiness and Documentation

The contractor shall develop and maintain a written Logistics Surge Plan, aligned with the Domain A Surge Production Plan, which outlines how the contractor will scale shipping operations up to 75% above baseline within 10 business days of CDC notification. The plan shall include personnel augmentation strategies; packaging and dry ice stockpile protocols; surge courier contracts or service level agreements; and emergency shipment staging workflows

The contractor shall submit a Surge Shipping SOP within 180 calendar days of contract award. If directed by the government, the contractor shall participate in a mock surge drill or tabletop shipping exercise, not to exceed once annually. When directed, results shall be summarized in the Monthly Technical Report and discussed during Program Management Reviews.

13. Coordination with Domain A

The Task 8 contractor shall receive finished reagents from Domain A (Task 3 – Establish, Maintain, and Operate the RISER Catalog) in accordance with CDC timelines and shall manage all subsequent storage, inventory control, packaging, and distribution. The Task 8 contractor shall confirm receipt, document storage conditions, and report any discrepancies or quality concerns back to the Task 3 contractor and CDC within 24 hours.

Task 9: Shared Cost Allocation Plan Management

This task corresponds to Task C.3 in Section V of the RISER Statement of Work.

1. Purpose and Scope

This task defines the contractor’s responsibilities for developing, maintaining, and updating a SCAP that supports transparent, auditable, and equitable cost distribution across RISER-wide shared IT systems and infrastructure. The plan must address any cross-domain platforms, licenses, or tools used by multiple contractors and shall serve as a formal reference for how costs are apportioned to the government.

The contractor is accountable for ensuring that shared cost attribution complies with federal cost principles, CDC oversight policies, and the pricing structures defined in the awarded contract. SCAP shall facilitate government evaluation of fairness, reasonableness, and ongoing affordability.

2. Plan Content Requirements

The SCAP must include, at minimum:

- Itemized list of shared systems, services, or licenses, including CRM modules, Microsoft Dynamics 365 elements, ERP connectors, and collaboration platforms;

- Cost basis per component, including direct costs, maintenance fees, third-party subscription or license fees, and supporting IT services;

- Allocation methodology for each cost element, including proportional (pro-rata) usage by contractor or Domain; transaction volume or user count percentages; and fixed-ratio distributions based on system role;

- Assumptions and justifications for the selected allocation strategy;

- Usage metrics that inform cost division (e.g., number of orders processed, data volume, number of active users);

- Dispute resolution and reallocation procedures, including escalation protocols and CO/COR involvement.

If CDC activates any future optional Domains (e.g., a Domain for expanded IT infrastructure or data science services), the contractor shall revise and resubmit the SCAP to incorporate the new Domain’s assets, interfaces, and roles.  The updated SCAP must be submitted within 30 calendar days of the formal Task Order activating the new Domain, or as otherwise directed by the COR.

3. Submission and Update Requirements

The contractor shall:

- Submit an initial SCAP within 90 calendar days of contract award;

- Provide updates annually or upon material changes in system architecture, user base, or service scope;

- Provide documentation in both Word and Excel formats, with embedded formulas and linked references where applicable;

- Ensure version control and retain change logs for all submissions;

- Respond to government or Integration Lead requests for clarification, revision, or validation of SCAP entries.

4. Coordination with Other Tasks and Domains

The SCAP must be developed in coordination with Tasks C.1 (RISER Website), C.2 (CDC’s CRM), and C.4 (if applicable) to ensure alignment across:

- Hosting environments and shared infrastructure;

- Enterprise software licenses (e.g., Microsoft Dynamics plugins);

- Middleware and cloud platforms used for RISER-wide integration.

If multiple contractors contribute to shared IT operations (e.g., joint hosting, data exchange pipelines), the contractor shall:

- Lead or participate in structured SCAP working sessions;

- Maintain shared assumptions across vendors where CDC directs joint planning;

- Submit comparative usage analytics or internal logs upon request.

SCAP updates related to surge readiness or emergency simulation shall only be required if a government-directed drill affects shared infrastructure or triggers cross-domain cost realignment.

5. Oversight and Reporting

The contractor shall:

- Provide monthly status updates on shared platform usage and associated costs;

- Report any discrepancies, vendor disputes, or potential cost overages that may affect equitable allocation;

- Include SCAP summaries or updates in the Monthly Technical Report, as required under Section IX of the SOW;

- Retain full SCAP documentation for the life of the contract and provide copies to CDC upon request.

The COR, CO, or designated Integration Lead may request ad hoc validations of the SCAP for accuracy, fairness, and audit readiness. Disagreements between contractors or between contractors and the government regarding shared cost allocation may be elevated to the CO for final adjudication.

6. Methodology and Documentation Requirements

SCAP shall specify the cost allocation methodology or methodologies used for distributing shared IT/system costs, consistent with the SOW. Acceptable methods include, but are not limited to pro-rata usage, transaction volume, or active user counts. The plan shall include all supporting calculations and assumptions in Excel format for transparency and be submitted to the COR for review and approval. Updates shall be provided whenever there is a material change in system usage, cost structure, or participating domains.

Data Modernization Initiative (DMI) Alignment Documentation:

Any cost or system changes required to maintain DMI interoperability (e.g., adoption of CDC-mandated data-exchange tools or schemas) shall be reflected in the Shared Cost Allocation Plan when applicable.

Task 10: Surge Support (Optional Task)

This task corresponds to Task A.5, B.4, C.4, and D.3 in Section V of the RISER Statement of Work.

1. Purpose and Scope

The purpose of this optional task is to ensure that the contractors can rapidly scale operations, coordinate across CDC and RISER awardees, and sustain high-performance logistics during public health emergencies. This includes outbreak response, pandemic preparedness, and emergency assay deployment, whether domestic or international. All emergency-related activities must maintain alignment with RISER's core mission: early threat detection, diagnostic continuity, and rapid reagent mobilization.

This task may be activated through a CPIF or T&M task order during a declared public health emergency or other authorized CDC surge response. Activation may occur at the Division, Center, or CDC Emergency Operations Center (EOC) level, as determined by CDC leadership. When directed, contractors shall treat such activations as equivalent in authority and urgency, ensuring immediate operational readiness and coordination with designated CDC response officials. This task will complement and, in some cases, override normal production cycles and trigger real-time operational escalation as needed.

2. Applicability Across Domains

Task 10 establishes the overarching requirements and coordination framework for all RISER surge activities. Not every activity described herein applies to every Domain. Each contractor shall perform only those surge functions consistent with its awarded Domain(s) and corresponding SOW task:  Domain A (production and QA/QC), Domain B (logistics and shipping), Domain C (IT systems and CRM), and Domain D (customer service and registration). Activities outside a contractor’s awarded Domain are the responsibility of the respective Domain lead. All contractors shall, however, coordinate surge actions and reporting with one another and with CDC’s designated Integration Lead to ensure program-wide continuity during emergency activations.

3. Activation and Task Order Modification

CDC may issue a bilateral contract modification to adjust the active task orders and deliverables in Appendix A – Deliverables to reprioritize or pause routine activities and reassign staff and resources toward emergency needs. This includes authorization to:

- Suspend or reduce baseline reagent production for non-critical pathogens;

- Reallocate labor and resources to urgent manufacturing, kitting, and shipping tasks;

- Prioritize support for CDC’s Emergency Operations Center (EOC), Incident Management System (IMS), or specific outbreak branches.

4. Emergency Operations Lead (EOL) Authority

During declared public health emergencies, the government may designate an EOL who shall:

- Act as the single point of contact for operational decisions across all contractors;

- Have authority to direct immediate operational actions necessary to protect public health, including actions that may exceed existing task order funding ceilings, subject to subsequent CO ratification.

The contractor shall:

- Comply with all directives issued by the EOL promptly and fully.

- Document any EOL-directed actions that:

  - Deviate from standard procedures;

  - Incur costs above existing task order ceilings;

- Submit a written record of such actions to the CO and Contracting Officer’s Representative (COR) within 24 hours of execution;

- Maintain an Emergency Override Log that includes:

  - The date and time of the EOL directive;

  - Details of the directive issued;

  - Names of personnel involved;

  - Description of activities performed;

  - Estimated costs incurred.

The Emergency Override Log shall be retained for at least five (5) years as part of the formal RISER audit record and shall be transmitted to the COR in the next scheduled Monthly Technical Report or within five (5) business days for high-impact deployments.

In addition, during emergency response operations, the contractor shall:

- Document any new or temporary system integrations established to support emergency operations in the ICDs;

- Update security architecture diagrams in the ICDs to reflect emergency data flows, changes to system boundaries, or new data exchange paths implemented during the response;

- Submit updates to the COR for review within five (5) business days of implementing emergency-related changes.

During emergency activations, disputes affecting operational readiness shall be escalated to the CO within one (1) business day, as provided in Section X of the SOW.

Contractor shall maintain and report an Emergency Override Log for any SOP deviations approved by CDC during emergencies, documenting any emergency actions deviating from standard procedures, in accordance with Section IX of the SOW.

NOTE: While the EOL may provide direction on day-to-day transition or emergency response actions, only the CO may authorize changes to contract funding ceilings, issue task order modifications, or approve changes to the scope.

5. Communication and Operational Reporting

The contractor shall implement an emergency communication protocol immediately upon activation of this task. Within 24 hours of notification, the contractor must:

- Designate a point-of-contact for emergency coordination, available 7 days a week;

- Participate in daily coordination calls or briefings with the CDC COR and response leads;

- Submit daily or bi-daily reports on:

  - Emergency reagent production and QC status;

  - Inventory and burn rate metrics;

  - Distribution updates and pending shipments;

  - Cold chain and facility capacity;

  - Any bottlenecks, supply shortages, or critical constraints.

6. Surge Capacity Planning

The contractor shall develop and maintain a Surge Capacity Plan, as described in the SOW, which details specific operational strategies to achieve a 25–75% scale-up within 10 business days. The plan shall address personnel augmentation, extended shifts, use of backup facilities, resource prioritization, and CDC communication protocols.

The contractor shall incorporate its Rapid Vendor Onboarding Protocol into surge planning to enable the expedited qualification of new suppliers, manufacturers, or couriers during emergency activation.  Documentation of each onboarding event shall be included in the Monthly Technical Report.

7. Reagent Production and Surge Capacity

Contractor shall rapidly initiate the production, QC testing, and release of emergency reagents in accordance with validated CDC SOPs and Appendix B – Quality Specifications. In preparation for emergency activation, contractor shall:

- Maintain up-to-date production contingency plans that enable surge capacity scaling to 25–75% above baseline volume within 10 business days;

- Ensure availability of qualified staff, critical raw materials, and ready-to-fill vials and packaging materials;

- Implement staggered or extended shifts as needed to meet production throughput;

- Coordinate with CDC for emergency release of fill-finish materials and assay components.

For CDC-developed assays, contractor may receive technical transfer protocols and seed stocks from CDC and shall initiate reagent manufacture within 72 hours of receipt.

8. Order Workflow and System Synchronization

During emergency activation, the RISER website and the CDC CRM must support high-volume transactions and rapid communication. Contractor shall:

- Ensure that website-to-CRM/API integrations support near real-time (e.g., hourly) order ingestion and status updates.  During emergency activations, all RISER IT systems supporting order processing, inventory management, and data exchange shall maintain a minimum operational availability of ≥99.95% (excluding scheduled maintenance). This requirement aligns with the systems’ FISMA Moderate designation and the availability criteria for Moderate-impact systems defined in FIPS 199. Contractors shall implement enhanced monitoring, redundancy, and failover measures to sustain availability and prevent disruption to emergency response workflows;

- Coordinate closely with Domain C providers and CDC IT teams to scale infrastructure and eliminate latency issues;

- Prioritize the processing and approval of orders from high-risk regions, CDC-designated recipient labs, and CDC-affiliated networks.

Order prioritization and shipment approval must follow CDC direction, but the contractor shall proactively flag requests that meet criteria for immediate release (e.g., outbreak zone proximity, stock depletion).

9. Distribution and Logistics

During emergency activation, the contractor shall:

- Expedite packaging, QA verification, and shipping of emergency reagents;

- Coordinate closely with recipient laboratories to ensure customs paperwork and permits are in place;

- Pre-clear any international shipments over $#,### with the CDC COR;

- Use rapid couriers with temperature-controlled chain-of-custody options;

- Maintain backup options for reagents requiring dry ice or liquid nitrogen;

- Provide shipment tracking and delivery verification to the COR within 24 hours of dispatch.

If recipient laboratories identify preferred customs agents or intermediary consignees, the contractor shall honor these requests when feasible and record the consignee’s details in the RISER customer profile for future reference.

10. Coordination with Global Stakeholders

CDC may direct the contractor to coordinate shipments with Department of Defense partners, or other international consortia. In such cases, the contractor shall:

- Share logistics timelines and capacity updates with designated global response teams;

- Provide documentation for international distribution (e.g., CDC donation letters, quality certificates, Standard Material Transfer Agreement [SMTA] acknowledgment forms);

- Prioritize shipments to regional distribution hubs or in-country National Influenza Centers (NICs) per CDC guidance.

11. Surge Readiness Exercises

If surge-readiness exercises are formally requested by the government through a task order or COR direction, the contractors may be required to coordinate response planning or participate in tabletop simulations alongside other Domains. Such exercises are intended to validate surge protocols, cross-Domain coordination, and data-exchange readiness. No participation shall be expected absent government activation or written COR direction. Results of any such exercises shall be summarized in the Monthly Technical Report and discussed during Program Management Reviews.

12. Post-Emergency Evaluation

Within 30 calendar days following the deactivation of a public health emergency task order, the contractor shall provide a written after-action report to the CDC COR that includes:

- Summary of activities completed under the emergency response task order;

- Inventory reconciliation and list of remaining emergency stock;

- Lessons learned, operational challenges, and mitigation strategies;

- Recommendations for future emergency response optimization.

This report shall be accompanied by updated production and shipping logs, QC summaries, and any deviations from standard processes that occurred under emergency authority.

During emergency activations, the contractor shall contribute to Joint Shared Metrics Attribution Reports and participate in root-cause analysis of any performance issues resulting from multi-vendor interdependencies.

Task 11: Outgoing Transition to New Contractor (and Partial Domain Transitions) (Optional Task)

This task corresponds to Task A.6, B.5, C.5, and D.4 in Section V of the RISER Statement of Work.

1. Purpose and Scope

The objective of this task is to ensure an orderly, secure, and uninterrupted transition of the RISER program operations to a successor contractor upon completion or termination of the current RISER contract. The transition must be executed in a way that preserves program continuity, protects government property and sensitive data, maintains CDC mission readiness, and minimizes operational disruptions for recipient laboratories worldwide.

This task is considered optional and will be activated by the government via a specific task order. Upon activation, the contractor shall initiate all transition activities in coordination with the CDC Contracting Officer (CO) and Contracting Officer’s Representative (COR).

As part of these transition activities, each contractor shall contribute to a government-coordinated Cross-Domain Continuity Plan that ensures seamless handoff of information, physical reagents, and digital records across all RISER Domains. The plan shall incorporate data-architecture maps, key contact rosters, and reconciliation of shared Standard Operating Procedures (SOPs) and Interface Control Documents (ICDs) to maintain end-to-end operational integrity.

2. Applicability Across Domains

Task 11 establishes the overarching framework and minimum standards for transition and continuity activities across all RISER Domains. Not all activities described in this task apply to every contractor. Each awardee shall perform only those transition functions consistent with its awarded Domain(s) and corresponding SOW task: Domain A (production and QA/QC data and materials), Domain B (logistics, warehousing, and physical inventory), Domain C (IT systems and data architecture), and Domain D (customer service and registrant records). All contractors shall coordinate their transition actions and deliverables with one another and with CDC’s designated Integration Lead to ensure program-wide continuity of operations at contract closeout.

3. Transition Plan Submission

As part of the initial contract award, the contractor shall submit a Draft Transition Plan that outlines the steps, timeline, staffing, and resources required to execute an effective transition of all RISER operations, including reagent inventory, data systems, contracts, and equipment. At a minimum, the plan shall include:

- Detailed transition schedule not to exceed six (6) months;

- Identification of roles and responsibilities (including full-time transition staff);

- Inventory handoff protocols for all reagents and materials;

- Data transfer, system access continuity procedures, and full transfer of source code and system configuration metadata necessary to maintain and operate all RISER IT systems;

- Physical property and facility clearance procedures;

- Communication plan for stakeholders and registrants;

- Documentation and SOP handover strategy;

- Risk mitigation and contingency plans.

The Draft Transition Plan shall be:

- Submitted to the COR for review and approval within 180 calendar days of contract start.

- Revised and updated as necessary based on government feedback

- Finalized and resubmitted as the Final Transition Plan at least eighteen (18) months prior to the contract expiration date, or earlier if directed by the government.  The Final Transition Plan shall reflect updated procedures, personnel assignments, facility status, and full alignment with government transition protocols.

The contractor’s Transition Plan shall include procedures for retaining, transferring, or re-qualifying public-private partners and subcontractors to ensure continuity of RISER operations.

Transition Plans:

As part of the overall Transition Plan, the contractor shall include Domain-specific transition plans addressing transition procedures applicable to each awarded Domain. These plans shall:

- Identify key Domain contacts and assigned roles;

- Define Domain-specific data handover and interface mapping requirements;

- Outline inventory transfer processes applicable to the Domain;

- Specify updates required to ICDs reflecting Domain changes;

- Provide communication plans for stakeholders impacted by partial or full transition;

- Identify Domain-specific risks and mitigation strategies.

4. Knowledge Transfer and Technical Support

Once a follow-on contractor has been identified, the incumbent contractor shall provide all reasonable assistance required to facilitate knowledge transfer, including:

- In-person or virtual briefings with incoming contractor staff;

- Demonstrations of systems, workflows, and reporting tools;

- Transfer of user credentials, access levels, and operational templates;

- Joint inventory and documentation reconciliation sessions;

- Technical walkthroughs of current SOPs, quality processes, and emergency response protocols.

The incumbent contractor shall maintain a technical liaison on-site or virtually available throughout the transition period to support onboarding of the new contractor.

5. Data and Document Handoff

The contractor shall ensure that all RISER-related data, documentation, and systems are transferred in a secure, structured, and complete manner. This includes but is not limited to:

- Full export of customer, order, and inventory data from the contractor’s internal systems and ERP;

- Documentation of shipping cost-efficiency practices, including thresholds for competitive quote collection, preferred vendor lists, and historical cost comparison records;

- Archived registrant documentation (e.g., User Agreements, permits, approvals);

- All SOPs, QA records, batch production records, and reagent stability and validation files;

- Maintenance and service records for government-furnished equipment (GFE);

- Project management documentation (e.g., production plans, inventory tracking tools);

- Any documentation required to maintain continuity of compliance under FDA QMSR, Select Agent Program, and international biosafety/biosecurity regulations.

- All source code, configurations, version histories, and system architecture metadata for contractor-developed RISER IT systems (including the website, CRM, and inventory management platforms) maintained in CDC-approved repositories.

Contractor shall provide a written certification that all records have been transferred, and no proprietary RISER program information remains under the contractor’s custody after the transition period ends.

Data Governance Plan (see also: Deliverables # 50, in Section XI of the SOW):
The contractor shall prepare and submit a comprehensive Data Governance Plan, within 90 calendar days of contract award, that supports cross-Domain continuity and data-transfer readiness during transition. This plan shall include:

- Logical and physical data architecture maps;

- Metadata field inventory;

- Role-based access controls and credential deactivation strategy;

- Interface documentation and data export mapping;

- Legacy record retention and archive validation;

6. Inventory and Property Transfer

Contractor shall coordinate with CDC to perform a joint reconciliation of all physical inventory under the RISER contract, including:

- Finished reagents (in active and backup stock);

- Retains, seed stocks, and working stocks;

- Ancillary materials and emergency cache (if applicable);

- Cold chain and high-value shipping materials;

- Unused GFE (e.g., freezers, backup systems, IT assets);

- PPE and biosafety consumables.

All physical materials shall be transferred in accordance with CDC shipping instructions and applicable biosafety, Select Agent, and customs requirements. Documentation must accompany each shipment and confirm chain-of-custody.

CDC reserves the right to conduct on-site verification prior to or during the transfer process.

7. RISER Program Risk and Issue Log

The contractor shall maintain a centralized RISER Program Risk and Issue Log to support proactive identification, tracking, and resolution of operational risks and inter-domain dependencies. This log must serve as the authoritative register for issues affecting continuity, compliance, or performance across RISER activities, especially during transition, surge, or cross-vendor interactions.

The log shall include, at minimum:

- Unique ID and risk description

- Date identified and reporting party

- Affected domain(s) and task(s)

- Risk owner and assigned resolution lead

- Likelihood and impact rating

- Mitigation strategy and status

- Resolution date and corrective actions taken

The contractor shall:

- Submit a summary of all open and resolved risks/issues in each Monthly Technical Report;

- Flag high-risk or cross-domain issues during weekly program calls;

- Coordinate with other RISER awardees, the COR, and CDC’s Integration Lead (if designated) to align on mitigation strategies.

The Risk and Issue Log shall be maintained in a CDC-approved format and shared upon request.  Cross-Domain risks identified during transition shall be captured within the program-level Risk Register and reflected in the monthly Heat Map in accordance with SOW Section IX – Reporting Requirements.

8. Shared Systems Risk Attribution and Escalation

The contractor shall participate in CDC-led processes to identify, attribute, and resolve operational risks or performance issues that affect more than one RISER contractor, system, or domain. When issues involve shared platforms (e.g., the RISER website, reagent tracking systems, or CRM), the contractor shall:

- Submit relevant logs, documentation, and timeline data to the COR or designated Integration Lead;

- Participate in joint root cause analysis sessions and remediation planning;

- Propose corrective actions within their scope of responsibility while respecting boundaries across domains.

If risk ownership is unclear or contested, CDC will serve as the adjudicating authority. CDC may also designate a RISER Coordinating contractor to serve as a facilitator in cross-domain risk resolution, particularly for system-level issues involving data loss, delayed performance, or failure to meet service level agreements.

All escalated issues must be documented in the RISER Program Risk and Issue Log, including attribution, action steps, and closeout date.

9. Decommissioning of Systems and Equipment

Contractor shall decommission all RISER-dedicated IT systems, accounts, and infrastructure used during contract performance. This includes:

- Deactivating logins, network credentials, and user roles;

- Returning government-owned software or databases;

- Wiping contractor devices that housed RISER-related data;

- Delivering final software backups and integration documentation;

- Ensuring CDC or the incoming contractor has full administrative control of the RISER website and related API endpoints;

- Completing required documentation for enterprise security compliance, including system decommissioning reports and sanitization logs.

Contractors must also provide closure documentation for any third-party licenses, hosting services, or cloud environments used for RISER system operations.

10. Communications and Stakeholder Continuity

Contractor shall assist in communicating the transition to all registered laboratories, stakeholders, and service providers. This includes:

- Preparing CDC-approved email notices for distribution to RISER users;

- Updating RISER website banners or notices to reflect change in contractor;

- Ensuring continuity of hotline and customer service functions during the transition;

- Assisting the incoming contractor with stakeholder onboarding and FAQs.

All communications shall be pre-cleared by the CDC COR and shall avoid disruption to laboratory partners or CDC programs relying on uninterrupted access to RISER services.

11. Final Transition Report

Within 30 calendar days after completion of the transition period, the contractor shall submit a Final Transition Report summarizing:

- Completed activities and timeline adherence;

- Transfer inventory logs and system handoff records;

- Documentation of data and material disposition;

- Unresolved issues, if any;

- Feedback and recommendations for future RISER transitions.

CDC will use this report as part of final contract close-out and evaluation.

Task 12: Development and Validation of Diagnostic Assay Workflows (Optional Task)

This task corresponds to Optional Task B in Section VI of the RISER Statement of Work.

1. Purpose and Scope

This optional task supports the development, validation, and transfer of novel diagnostic assay workflows to enhance the public health utility of CDC-prioritized surveillance platforms and other CDC products, material or testing processes. This task may be exercised by the government to address diagnostic gaps, improve assay performance, or expand platform compatibility for emerging or high-priority pathogens. Execution of this task is contingent upon activation via separate Task Order.

2. Task Activation and Milestone-Based Work

When activated, the contractor shall complete this task in two milestone phases:

Milestone 1: Gap Analysis and Proposal Development

The contractor shall:

- Conduct a targeted literature review and stakeholder engagement to identify technical or scientific gaps in current workflows;

- Assess commercial platforms or emerging technologies for adaptability to CDC surveillance needs;

- Propose a detailed assay development plan including:

  - Assay design strategy;

  - Required reagents and materials;

  - Timeline and performance metrics;

  - Evaluation criteria and comparison methods.

Deliverables shall include a draft technical proposal and oral progress updates at least bi-weekly (or as requested).

Milestone 2: Workflow Development, Validation, and Technology Transfer

Upon CDC approval of the Milestone 1 proposal, the contractor shall:

- Procure or synthesize critical reagents (e.g., primers, probes, buffers, enzymes);

- Design, optimize, and test protocol steps;

- Conduct side-by-side comparisons with current CDC assays for sensitivity, specificity, usability, and reproducibility;

- Document all validation results, including raw data, trend analysis, and statistical comparisons;

- Develop and submit:

  - Standard Operating Procedures (SOPs);

  - Training materials and logs;

  - Final report with comparative performance summary.

The contractor shall conduct a one-week, hands-on training at CDC (or virtually if authorized), including troubleshooting and Q&A.

3. Quality, Documentation, and Transfer Requirements

- All protocols and validation activities shall align with CDC quality system requirements and, if applicable, 21 CFR Part 820 and ISO 13485.

- All materials, data, and documentation developed under this task shall be transferred to CDC with unlimited government rights.

- The contractor shall retain raw data and assay development records in audit-ready format and provide access to CDC upon request.

MULTI-VENDOR COORDINATION & INTEGRATION: RISER DOMAIN COORDINATION MATRIX

| Task No. | Task Title | Lead Domain | Shared Dependencies | Integration Oversight Needed? |
| --- | --- | --- | --- | --- |
| 1 | Develop Standard Operating Procedures (SOPs) | Domain A | Domains B (facility processes), C (data system integration), D (customer-interface alignment) | Yes - SOP must align across production, logistics, IT, and support workflows |
| 2 | Establish Facility Requirements and QA Oversight | Domain B | Domains A (production inputs), C (QA data tracking and system validation) | Yes - QA controls and facility data feeds must integrate with inventory and QA systems |
| 3 | Establish and Operate RISER Reagent | Domain A | Domains B (inventory and shipping sync), C (catalog display and order system integration) | Yes - Real-time data sync and visibility across production, shipping, and CRM required |
| 4 | Manage Reagent Stability, Shelf-Life, and Packaging | Domain A | Domains B (storage conditions), C (data logging and display of expiration dates) | Yes – Stability data must auto-update inventory and catalog systems |
| 5 | Operate and Maintain RISER Website | Domain C | Domains A (catalog content), B (shipping status feeds), D (user support) | Yes - Single source of truth across catalog, orders, and customer portals |
| 6 | Manage Laboratory Registration and User Access | Domain D | Domains C (account linkage), A (eligibility filters in catalog display), B (shipment status visibility) | Yes – Registration controls catalog access and ordering permissions |
| 7 | Assist with Operation and Maintenance of RISER CRM | Domain C | Domains A (order generation), B (fulfillment logistics), D (customer linkage) | Yes - High-risk system requiring cross-domain data validation and cost tracking |
| 8 | Receive, Package, and Ship Reagents | Domain B | Domains C (tracking and cost capture), D (customer communication, delivery confirmation, issue resolution) | Yes - Real-time delivery and order status updates across CRM and catalog |
| 9 | Shared Cost Allocation Plan Management | Domain C | All Domains – shared IT platform and license usage coordination | Yes – Cost-domain cost transparency and auditability required |
| 10 (Opt) | Surge Support | Domain A, B, C, D | All Domains – coordinated surge workflows for registration, production, shipping, and reporting | Yes – Central coordination by CDC Integration Lead during emergency activation |
| 11 (Opt) | Outgoing Transition to New Contractor (and Partial Domain Transitions) | Domain A, B, C, D | All Domains - handoff of SOPs, inventory, data, and operational responsibilities | Yes - Requires detailed transition plans and integration oversight across all Domains |
| 12 (Opt) | Develop and Validate Assay Workflows (Optional Task B) | None (Optional) | None (Optional) | Optional - Integration oversight if assay workflows span multiple contractor domains |