# DRAFT

# PERFORMANCE WORK STATEMENT

# DEPARTMENT OF VETERANS AFFAIRS

Veteran’s Health Administration

Healthcare Technology Management Program Office

National Radiology Program

Enterprise Mammography Tracking & Reporting System

Date: March 26, 2026

VA-26-00046145

PWS Version Number: 1.0

# Contents

1.0	BACKGROUND	4

2.0	APPLICABLE DOCUMENTS	4

3.0	SCOPE OF WORK	9

4.0	PERFORMANCE DETAILS	9

4.1	PERFORMANCE PERIOD	9

4.1.1	PLACE OF PERFORMANCE	10

4.1.2	TRAVEL	10

5.0	SPECIFIC TASKS AND DELIVERABLES	11

5.1	PROJECT MANAGEMENT	11

5.1.1	CONTRACTOR PROJECT MANAGEMENT PLAN	11

5.1.2	REPORTING REQUIREMENTS	11

5.2	CLINICAL FUNCTIONALITY	12

5.2.1	BASELINE CLINICAL FUNCTIONALITY	12

5.2.2	MAMMOGRAPHY TRACKING AND REPORTING SYSTEM ADMINISTRATION	12

5.2.3	SYSTEM INTERFACES AND SYSTEM INTEGRATION	13

5.2.4	Patient Data Collection	13

5.2.5	USER COMMUNICATION	14

5.2.6	RADIOLOGIST WORKFLOW	14

5.2.7	PATIENT TRACKING	15

5.2.8	PATIENT LAY SUMMARY LETTERS	15

5.2.9	COMPLIANCE, DATA ANALYTICS, AND REPORTING	15

5.2.10	RECORDS MANAGEMENT	16

5.3	TECHNICAL FUNCTIONALITY	16

5.4	ENTERPRISE LICENSES	18

5.5	IMAGING ORDERS AND REPORTS	18

5.6	DATA MIGRATION	18

5.7	SYSTEM PERFORMANCE	19

5.8	USER AND GROUP FUNCTIONALITY	20

5.9	HEALTH LEVEL SEVEN (HL7) INTEGRATION	20

5.10	DIGITAL IMAGING AND COMMUNICATIONS IN MEDICINE (DICOM) INTEGRATION	20

5.11	TRAINING	21

5.11.1	CLINICAL-USER TRAINING	21

5.11.2	SYSTEM ADMINISTRATOR TRAINING	21

5.11.3	HEALTHCARE TECHNOLOGY MANAGEMENT	22

5.11.4	SERVICE MANUALS	22

5.12	CUSTOMER SUPPORT	22

5.13	ELECTRONIC HEALTHCARE RECORD MODERNIZATION (EHRM) FEHR TRANSITION SUPPORT SERVICES	24

5.13.1	LEGACY DATABASE BULK EDIT FOR ELECTRONIC DATA INTERCHANGE PERSONAL IDENTIFIER & SOCIAL SECURITY NUMBER CONVERSION	24

5.13.2	VHA ELECTRONIC HEALTH RECORD (EHR) INTEGRATION	24

6.0	GENERAL REQUIREMENTS	25

6.1	ENTERPRISE AND IT FRAMEWORK	25

6.1.1	VA TECHNICAL REFERENCE MODEL	25

6.1.2	ZERO TRUST – VA CRITICAL SECURITY CONTROLS	25

6.1.3	FEDERAL IDENTITY, CREDENTIAL, AND ACCESS MANAGEMENT (FICAM)	26

6.1.4	INTERNET PROTOCOL VERSION 6 (IPv6)	27

6.1.5	TRUSTED INTERNET CONNECTION (TIC)	28

6.1.6	STANDARD COMPUTER CONFIGURATION	28

6.1.7	VETERAN FOCUSED INTEGRATION PROCESS (VIP) AND PRODUCT LINE MANAGEMENT (PLM)	28

6.1.8	PROCESS ASSET LIBRARY (PAL)	29

6.1.9	AUTHORITATIVE DATA SOURCES	29

6.1.10	SOCIAL SECURITY NUMBER (SSN) REDUCTION	30

6.1.11	SOFTWARE AND LICENSING REQUIREMENTS	31

6.1.12	GENERATIVE ARTIFICIAL INTELLIGENCE REQUIREMENTS	31

6.1.12.1	AI SYSTEM/LLM DEVELOPMENT AND OPERATION DOCUMENTATION REQUIREMENTS	33

6.1.12.2	MONITORING, REPORTING, AND CORRECTIVE ACTION	34

6.1.12.3	AI MODEL UPDATES AND CHANGE DISCLOSURES	35

6.1.13	SOURCE CODE HARMONIZATION AND REUSE IN INFORMATION TECHNOLOGY (SHARE IT Act)	38

6.2	SECURITY AND PRIVACY REQUIREMENTS	39

6.2.1	POSITION/TASK RISK DESIGNATION LEVEL(S)	39

6.2.2	CONTRACTOR PERSONNEL SECURITY REQUIREMENTS	39

6.3	METHOD AND DISTRIBUTION OF DELIVERABLES	41

6.4	PERFORMANCE METRICS	42

6.5	FACILITY/RESOURCE PROVISIONS	42

6.6	GOVERNMENT FURNISHED PROPERTY	43

6.7	SHIPMENT OF HARDWARE OR EQUIPMENT	43

ADDENDUM A – ADDITIONAL VA REQUIREMENTS, CONSOLIDATED	44

ADDENDUM B – VA INFORMATION AND INFORMATION SYSTEM SECURITY/ PRIVACY LANGUAGE	49

ADDENDUM C – LIST OF VAMC WITH MAMMOGRAPHY SERVICES (12/15/25)	68

# BACKGROUND

The Department of Veterans Affairs (VA), Veterans Health Administration (VHA),

National Radiology Program Office strives to provide high quality, effective, and efficient solutions to those responsible for providing care to the Veterans at the point-of-care as well as throughout all the points of the Veterans’ health care in an effective, timely and compassionate manner. VA depends on Clinical Information Systems (CIS) to meet mission goals.

Veterans Integrated Service Networks (VISNs) facilities across VHA may utilize various Radiology Information Systems (RIS) and Picture Archiving and Communication Systems (PACS), in addition to the Electronic Health Record (EHR). Therefore, the proposed Mammography Tracking System must be capable of integrating with these systems to ensure interoperability, accurate data exchange, and compliance with VHA standards. This integration will enable seamless workflow, reduce duplication of effort, and support comprehensive reporting and patient care management. Furthermore, VHA has substantial interface requirements between the proposed Mammography Tracking and Reporting System (MTRS), the Veterans Health Information and Systems Technology Architecture (VistA), and Federal Electronic Health Record (FEHR). This integration is critical to enable seamless workflow, reduce duplication of effort, support comprehensive reporting, and enhance patient care management.

The Veterans Health Administration (VHA) requires an Enterprise Mammography Tracking and Reporting System, software licenses, installation and technical services, and training. The MTRS will provide radiologists and clinical staff with enhanced tools to efficiently manage and monitor VHA mammography programs.

# APPLICABLE DOCUMENTS

In the performance of the tasks associated with this Performance Work Statement, the Contractor shall comply with the following:

- “Federal Information Security Modernization Act of 2014”

- Federal Information Processing Standards (FIPS) Publication 140-3, “Security Requirements for Cryptographic Modules”, March 22, 2019

- FIPS Pub 199. “Standards for Security Categorization of Federal Information and Information Systems,” February 2004

- FIPS Pub 200, “Minimum Security Requirements for Federal Information and Information Systems,” March 2006

- FIPS Pub 201-3, “Personal Identity Verification of Federal Employees and Contractors,” January 2022

- 10 U.S.C. § 2224, "Defense Information Assurance Program", as amended

- 5 U.S.C. § 552a, as amended, “The Privacy Act of 1974”

- Public Law 109-461 (P.L. 109-461), Veterans Benefits, Health Care, and Information Technology Act of 2006, as amended, Title IX, Information Security Matters

- 42 U.S.C. § 2000d “Title VI of the Civil Rights Act of 1964”, as amended

- VA Directive 0710, “Personnel Vetting Program,” September 8, 2025, https://www.va.gov/vapubs/index.cfm

- VA Handbook 0710, “Personnel Vetting Program,” September 8, 2025, https://www.va.gov/vapubs/index.cfm

- VA Directive 6102, “Internet/Intranet Services,” August 5, 2019

- 36 C.F.R. Part 1194 “Information and Communication Technology Standards and Guidelines,” as amended

- Office of Management and Budget (OMB) Circular A-130, “Managing Federal Information as a Strategic Resource,” July 28, 2016

- 32 C.F.R. Part 199, “Civilian Health and Medical Program of the Uniformed Services (CHAMPUS)”, as amended

- NIST SP 800-66 Rev. 2, “Implementing the Health Insurance Portability and Accountability Act (HIPAA) Security Rule: A Cybersecurity Resource Guide,” February 2024

- 45 C.F.R Parts 160 and 164, Subparts A and E, the Standards for Privacy of Individually Identifiable Health Information (“Privacy Rule”); and 45 C.F.R. Parts 160 and 164, Subparts A and C, the Security Standard (“Security Rule”); as amended

- Sections 504 and 508 of the Rehabilitation Act (29 U.S.C. § 794d), as amended

- Homeland Security Presidential Directive (12) (HSPD-12), August 27, 2004

- VA Directive 6500, “VA Cybersecurity Program,” February 24, 2021 (see VA NOTICE 24-18, dated September 27, 2024, “Update to VA Directive 6500 Cybersecurity Program”, and VA Notice 25-07, dated 3/18/25, “Amending VA Directive 6500 to incorporate M-24-15”)

- VA Handbook 6500, “Risk Management Framework for VA Information Systems VA Information Security Program,” February 24, 2021 (see VA Notice 25-01, dated October 15, 2024, “Update to VA Handbook 6500 Risk Management Framework for VA Information Systems VA Information Security Program”, and VA Notice 25-06, dated 3/18/25, “Amending VA Directive 6500 to incorporate M-24-15”, VA Notice 25-16, dated September 15, 2025, “Amending VA Handbook 6500 to Replace Enterprise Mission Assurance Support Services Tool With Office of Information Technology Governance Risk Compliance Tool, and VA Notice 25-17, dated September 22, 2025, “Rescission Of Office Of Information Security (OIS) Deputy Assistant Secretary (DAS) Memorandum – Requirements of Proper Plan of Action and Milestones (POA&M) Completion)

- VA Handbook 6500.2, “Management of Breaches Involving Sensitive Personal Information (SPI),” June 30, 2023

- VA Handbook 6500.6, “Contract Security,” March 12, 2010 (see VA Notice 24-12, dated April 22, 2024, “Update to VA Handbook 6500.6, Contract Security, Appendix C VA Information and Information System Security/Privacy Language For Inclusion Into Contracts, As Appropriate”)

- VA Handbook 6500.8, “Information System Contingency Planning,” March 25, 2025

- VA Handbook 6500.10, “Mobile Device Security Policy,” February 15, 2018 (see VA NOTICE 25-10, dated June 9, 2025, “Use of Personally Owned Mobile Devices Policy Amendment of Department of Veterans Affairs Handbook 6500.10”, and VA Notice 25-15, dated August 22, 2025, “Update to VA Handbook 6500.10 Mobile Device Security Policy”)

- VA Handbook 6500.11, “VA Firewall Configuration,” August 22, 2017

- OIT Process Asset Library (PAL), OIT Process Asset Library.

- One-VA Technical Reference Model (TRM) (reference at https://www.va.gov/trm/TRMHomePage.aspx)

- VA Directive 6508, “Implementation of Privacy Threshold Analysis and Privacy Impact Assessment,” October 15, 2014

- VA Directive 6510, “VA Identity, Credential and Access Management,” September 3, 2024

- VA Handbook 6510, “VA Identity, Credential and Access Management,” September 27, 2024

- VA Directive and Handbook 6513, “Secure External Connections,” October 12, 2017

- VA Directive 6300, “Records and Information Management,” September 21, 2018

- VA Handbook, 6300.1, “Records Management Procedures,“ March 24, 2010

- NIST SP 800-37 Rev 2, “Risk Management Framework for Information Systems and Organizations: A System Life Cycle Approach for Security and Privacy,” December 2018

- NIST SP 800-53 Rev. 5, “Security and Privacy Controls for Federal Information Systems and Organizations,” September 23, 2020 (includes updates as of 12/10/2020)

- VA Directive 0735, “Homeland Security Presidential Directive 12 (HSPD-12) Program,” October 26, 2015

- VA Handbook 0735, “Homeland Security Presidential Directive 12 (HSPD-12) Program,” March 24, 2014

- OMB Memorandum 05-24, “Implementation of Homeland Security Presidential Directive (HSPD) 12 – Policy for a Common Identification Standard for Federal Employees and Contractors,” August 5, 2005

- OMB Memorandum M-19-17, “Enabling Mission Delivery Through Improved Identity, Credential, and Access Management,” May 21, 2019

- OMB Memorandum, “Guidance for Homeland Security Presidential Directive (HSPD) 12 Implementation,” May 23, 2008

- Federal Identity, Credential, and Access Management (FICAM) Architecture, June 30, 2023 (FICAM Architecture (idmanagement.gov))

- NIST SP 800-116 Rev 1, “Guidelines for the Use of Personal Identity Verification (PIV) Credentials in Facility Access,“ June 2018

- NIST SP 800-63 Rev 4, 800-63A-4, 800-63B-4, 800-63C-4, “Digital Identity Guidelines,” August 1, 2025

- NIST SP 800-157, “Guidelines for Derived PIV Credentials,” December 2014

- VA Memorandum, VAIQ #7100147, “Continued Implementation of Homeland Security Presidential Directive 12 (HSPD-12),” April 29, 2011 (reference https://www.voa.va.gov/documentlistpublic.aspx?NodeID=514)

- IAM Identity Management Business Requirements Guidance document, May 2013, (reference Enterprise Architecture Section, PIV/IAM (reference https://www.voa.va.gov/documentlistpublic.aspx?NodeID=514)

- VA Memorandum “Personal Identity Verification (PIV) Logical Access Policy Clarification,” July 17, 2019, https://www.voa.va.gov/DocumentView.aspx?DocumentID=4896

- Trusted Internet Connections (TIC) 3.0 Core Guidance Documents, https://www.cisa.gov/publication/tic-30-core-guidance-documents

- OMB Memorandum M-19-26, “Update to the Trusted Internet Connections (TIC) Initiative,” September 12, 2019

- OMB Memorandum M-08-23, “Securing the Federal Government’s Domain Name System Infrastructure,” August 22, 2008

- Sections 524 and 525 of the Energy Independence and Security Act of 2007, (P.L. 110–140), December 19, 2007

- Section 104 of the Energy Policy Act of 2005, (P.L. 109–58), August 8, 2005

- Executive Order 13221, “Energy-Efficient Standby Power Devices,” August 2, 2001

- Executive Order 14148, “Initial Rescissions of Harmful Executive Orders and Actions,” dated January 20, 2025

- VA Directive 0057, “VA Environmental Management Program,” October 25, 2022

- OIS VAIQ #7424808 Memorandum, “Remote Access,” January 15, 2014, https://www.voa.va.gov/DocumentListPublic.aspx?NodeId=28

- Clinger-Cohen Act of 1996, 40 U.S.C. §11101 and §11103

- “Veteran Focused Integration Process (VIP) Guide 4.0,” March  2021, https://www.voa.va.gov/DocumentView.aspx?DocumentID=4371

- VA Memorandum “Proper Use of Email and Other Messaging Services,” January 2, 2018, https://www.voa.va.gov/DocumentListPublic.aspx?NodeId=28

- “Product Line Management Transformation Playbook” version 3.1, August 2023, https://www.voa.va.gov/DocumentView.aspx?DocumentID=4946

- NIST SP 500-267B Revision 1, “USGv6 Profile,” November 2020

- OMB Memorandum M-21-07, “Completing the Transition to Internet Protocol Version 6 (IPv6),” November 19, 2020

- Social Security Number (SSN) Fraud Prevention Act of 2017

- Section 240 of the Consolidated Appropriations Act (CAA) 2018, March 23, 2018

- C.F.R Title 15 Part 7, “Securing the Information and Communications Technology and Services (ICTS) Supply Chain”, as amended

- Executive Order 14028, “Executive Order on Improving the Nation's Cybersecurity,” May 12, 2021, https://bidenwhitehouse.archives.gov/briefing-room/presidential-actions/2025/01/16/executive-order-on-strengthening-and-promoting-innovation-in-the-nations-cybersecurity/

- OMB Memorandum M-22-09, “Moving the U.S. Government Toward Zero Trust Cybersecurity Principles”, January 26, 2022, https://www.whitehouse.gov/wp-content/uploads/2022/01/M-22-09.pdf.

- NIST SP 800-52 Revision 2, “Guidelines for the Selection, Configuration, and Use of Transport Layer Security (TLS) Implementations

- OMB M-26-05, “Adopting a Risk-based Approach to Software and Hardware Security,” January 23, 2026

- OMB M-21-31, “Improving the Federal Government’s Investigative and Remediation Capabilities Related to Cybersecurity Incidents,” August 27, 2021

- NIST SP 800-88 Revision 1 “Guidelines for Media Sanitization,” December 2014

- CISA Binding Operational Directive (BOD) 19-02: “Vulnerability Remediation Requirements of Internet-Accessible Systems,” April 29, 2019, BOD 19-02: Vulnerability Remediation Requirements for Internet-Accessible Systems | CISA

- CISA BOD 22-01: “Reducing the Significant Risk of Known Exploited Vulnerabilities,” November 3, 2021, BOD 22-01: Reducing the Significant Risk of Known Exploited Vulnerabilities | CISA

- CISA BOD 23-01: Improving Asset Visibility and Vulnerability Detection on Federal Networks.” Cybersecurity & Infrastructure Security Agency (CISA), BOD 23-01: Improving Asset Visibility and Vulnerability Detection on Federal Networks | CISA

- VA Directive 6550, Pre-Procurement Assessment and Implementation of Medical Devices/Systems, June 03, 2019

- VA Memorandum, “VA Security Controls,” January 17, 2025, https://www.voa.va.gov/DocumentView.aspx?DocumentID=5010

- E.O. 13960, “Promoting the Use of Trustworthy Artificial Intelligence in the Federal Government,” December 3, 2020

- E.O. 14319, “Preventing Woke AI in the Federal Government,” July 23, 2025

- OMB Memorandum M-25-21, “Accelerating Federal Use of AI through Innovation, Governance, and Public Trust,” April 3, 2025

- OMB Memorandum M-25-22, “Driving Efficient Acquisition of Artificial Intelligence in Government,” April 3, 2025

- OMB Memorandum M-26-04, “Increasing Public Trust in Artificial Intelligence (AI) Through Unbiased AI Principles,” December 11, 2025

# SCOPE OF WORK

The Contractor shall provide an enterprise-level MTRS that delivers the functionality described herein to all VHA Facilities offering in-house mammography services, including the National Teleradiology Program, and provides oversight and analytics capabilities for the National Radiology Program (NRP).

The Contractor shall provide a scalable solution to support future in-house mammography programs and shall be implemented through a phased deployment approach to maximize organizational learning and optimize project management resources. The Contractor shall coordinate each phase of the project with the Primary Contracting Officer’s Representative (COR) or point of contact. Detailed discussions regarding phase activities shall occur with the Contractor during the pre-work orientation.

The Contractor shall provide an enterprise-level software license and installation services for a Mammography Tracking and Reporting System. The Contractor shall also provide training, system maintenance, and data migration services for each facility. Upon completion of installation, testing, and training, VHA shall have a national, state-of-the-art Mammography Tracking System.

# PERFORMANCE DETAILS

## PERFORMANCE PERIOD

The Period of Performance (PoP) shall be 12 months from the date of award, with four 12-month option periods, and four Optional Tasks that may be exercised anytime during performance. The overall Period of Performance, including the exercise of any options, shall not exceed 60 months.

Any work at the Government site shall not take place on Federal holidays or weekends unless directed by the Contracting Officer (CO). There may be instances during deployment or system upgrades where work may need to occur on Weekends, Holidays, Evening, or Nights (WHEN hours). In those instances, the work schedule needs to occur with express permission from the COR or local Point of Contact (POC) in writing.

There are 11 Federal holidays set by law (USC Title 5 Section 6103) that VA follows:

Under current definitions, five are set by date:

New Year's Day			January 1

Juneteenth				June 19

Independence Day			July 4

Veterans Day			November 11

Christmas Day			December 25

If any of the above falls on a Saturday, then Friday shall be observed as a holiday.  Similarly, if one falls on a Sunday, then Monday shall be observed as a holiday.

The other six are set by a day of the week and month:

Martin Luther King's Birthday	Third Monday in January

Washington's Birthday	Third Monday in February

Memorial Day	Last Monday in May

Labor Day	First Monday in September

Columbus Day	Second Monday in October

Thanksgiving	Fourth Thursday in November

### PLACE OF PERFORMANCE

Tasks under this PWS shall be performed in VA facilities located in 88 in-house Mammography Programs across 56 VAMC/Healthcare Systems in addition to the National Teleradiology Program (NTP) and National Radiology Program Office.  Work may be performed at remote locations with prior concurrence from the Contracting Officer’s Representative (COR).  Please refer to Addendum C for a complete list of the facilities as of December 25, 2025.

VA reserves the right to update Addendum C to add locations as required to define future requirements.

### TRAVEL

The Government anticipates travel under this effort for task execution, go-live support, and training throughout the PoP. The Contractor shall include the travel price as a firm-fixed-price line items (e.g., site preparation support, implementation support, system training). Travel costs will not be separately reimbursed by the Government.

The total estimated number of trips in support of site prep support, implementation support, training and other related efforts for this effort is 58 trips estimated at 5-days each. The Government may require additional ad hoc trips for system upgrades or ad hoc training.

# SPECIFIC TASKS AND DELIVERABLES

The Contractor shall deliver a fully functional MTRS in accordance with Sections 5.1 through 5.13 of the PWS. The Contractor shall deliver a solution that provides a single service account manager for VHA. The solution shall incorporate comprehensive project management services, including but not limited to:

- Software, network, and implementation planning

- Timeline

- National-level installation with regional and site-level permissions.

- Contracting logistics for system support and sustainment planning

Deliverable:

Fully functioning MTRS

The contractor shall perform the following:

## PROJECT MANAGEMENT

### CONTRACTOR PROJECT MANAGEMENT PLAN

The Contractor shall deliver a Contractor Project Management Plan (CPMP) that defines the Contractor’s approach, timeline, and tools for a fully functioning Mammography Tracking and Reporting System(MTRS). The CPMP shall include both narrative and graphic formats displaying the schedule, milestones, risks, and resource allocations, as well as planned, routine, and ad hoc procedures for data collection and reporting as specified in the PWS. The initial baseline CPMP shall be reviewed and approved by VA and updated in accordance with Section B of the contract. The Contractor shall maintain and update the VA PM-approved CPMP throughout the PoP. The Contractor shall provide a dedicated Project Management and Installation Support team for the planning, implementation, sustainment, and contracting phases of the project. The Contractor shall provide a software obsolesce plan, including advance notification of any end of life or end of support events. Notifications shall be provided at a minimum of six-months prior to the end of support date or as soon as the Contractor becomes aware, whichever is earlier.

Deliverable:

Contractor Project Management Plan

### REPORTING REQUIREMENTS

The Contractor shall provide the COR with Monthly Progress Reports during the implementation phase in electronic form (Microsoft Word and Project formats). The Monthly Progress Reports shall include detailed instructions and explanations for each required data element, to ensure that data is accurate and consistent. The report shall reflect data as of the last day of the preceding month. The Contractor shall include system support updates in the monthly progress report. At a minimum, the report shall identify all system support activities performed, issues resolved, enhancements implemented, outstanding support tickets, and any risks or dependencies affecting system performance or availability.

The Monthly Progress Reports shall include work completed during the reporting period,  work planned for the next period, and identify any issues encountered, along with the resolution actions taken. If problems have not been completely resolved, the Contractor shall provide an explanation including their plan and timeframe for resolving the issue.  The report shall include an itemized list of all Information and Communication Technology (ICT) deliverables and the current Section 508 conformance status. The Contractor shall monitor performance in accordance with the CPMP and report any deviations. The Contractor shall maintain regular communication with VA to ensure transparency regarding any issues that arise and to prevent escalation of unresolved matters.

Deliverable:  Monthly Progress Report

## CLINICAL FUNCTIONALITY

The Contractor’s fully functional MTRS solution shall support comprehensive clinical operations, including breast examination management, system and interface integration, patient data collection, user communication, radiologist workflow, patient tracking, summary letter generation, compliance and analytics reporting, and records management. The MTRS shall include the following capabilities:

### BASELINE CLINICAL FUNCTIONALITY

The Contractor shall provide a capability statement for the MTRS solution that supports reporting for the following breast examinations:

- Magnetic Resonance Imaging (MRI)

- Ultrasound

- Mammography

- Contrast Enhanced Mammography (CEM)

- Various image guided breast biopsies & tumor localizations

- Molecular Breast Imaging (MBI)

Deliverables:

Breast Examination Capability Statement

### MAMMOGRAPHY TRACKING AND REPORTING SYSTEM ADMINISTRATION

The Contractor shall provide an MTRS solution with the following system functionality:

- The Contractor shall provide a solution that enables reports customization at the system administrator level.

- The system shall allow role-based access control for reports and analytics, ensuring that access can be restricted to specific user groups through routine system administration.

### SYSTEM INTERFACES AND SYSTEM INTEGRATION

The Contractor shall deliver a MTRS solution with the following functionality:

- Auto-updates patient demographics upon registration.

- Solution that receives demographic data from VistA and FEHR via Health Level 7 (HL7).

- Receive multiple Patient identifiers including Electronic Data Interchange Personal Identifier (EDIPI) and social security number (SSN).

- Ability to transfer patients between facilities and EHR systems.

- Bi-directionally integrates with both VistA/CPRS and FEHR for admit discharge transfer (ADT) and transmission of reports and lay letters.

- Diagnostic breast imaging reporting and data system (BI-RADS) Codes both discreetly AND within the textual HL7 report message.

- Integrate with third (3rd) party artificial intelligence (AI) software systems to enhance diagnostic workflow support.

The Contractor shall deliver a system interface and integration workflow validation checklist that demonstrates the functionality in Sections A through G.

Deliverables:

System Interface and Integration Workflow Validation Checklist

### Patient Data Collection

The Contractor proposed solution shall:

- Deliver a solution that includes patient/family history questionnaire.

- Provides multiple ways to gather patient history.

- Summary of proposed tablet‑based solutions capable of importing intake information directly into the system.

- Complete a separate VA form 6550 for a tablet solution to properly assess capability to meet VA’s networking and security requirements.

- Includes Breast Cancer Risk Assessment.

  - Breast cancer risk modules, including the Tyrer Cuzick risk management module.

  - Turns on and off the different risk management modules.

The Contractor shall deliver a screenshot(s) confirmation that clearly documents all physical findings, including the date, time, and system or asset inspected. The documentation must be sufficiently detailed to verify the results and support Government review.

Deliverables:

- Physical Findings Screenshot.

- Completed VA Form 6550

### USER COMMUNICATION

The Contractor’s MTRS solution shall provide a functional user communication process that enables Radiologists and Technologists to enter or delete comments within the system and annotate the patient history form with clinical findings such as scars, moles, or other relevant observations.

Deliverables:

Functional User Communication Process

### RADIOLOGIST WORKFLOW

The Contractor’s fully functional MTRS radiologist workflow solution shall:

- Provide vendor-driven radiologist workflows incorporating application programming interface (API) functionality with PACS and voice dictation systems.

- Integrate with the VA’s voice recognition system(s) at the time of implementation (currently PowerScribe 360 or PowerScribe One 2019).

- Integrate with multiple instances (20+) of VA’s current voice recognition system(s) simultaneously (currently PowerScribe 360 or PowerScribe One 2019).

- Deliver reporting template capabilities, mammography screening, and diagnostic reports.

Deliverables:

Functional MTRS Radiologist Workflow

### PATIENT TRACKING

The Contractor’s fully functional MTRS solution shall:

- Allow for identification of women due for a screening mammogram.

- Allow for identification of patients waiting for pathology results.

- Support comprehensive patient tracking from mammogram screening through tissue diagnosis. The solution shall also include the ability to demonstrate this functionality through screenshots displaying sample worklists and patient tracking workflows. The Contractor shall deliver patient tracking screenshots.

Deliverables:

Patient Tracking Screenshots

### PATIENT LAY SUMMARY LETTERS

The Contractor’s fully functional MTRS solution shall:

- Deliver a solution that includes a workflow for sending results letters to the patients with different triggers to initiate the letter.

- Allow for some nationally standardized portions of the Results letters that cannot be changed locally, while still allowing some aspects of the results letter to be customized by the facility.

- Provide the ability to create a customizable patient lay summary letter for both sexes to incorporate Mammography Quality Standards Act (MQSA) guidelines.

- Allow approved VA personnel to edit the patient lay summary letters with no or minimal support from the Contractor.

- Include a workflow that seamlessly archives the patient lay summary letters into VISTA/CPRS & FEHR in association with the final report or images.

Deliverables:

Functional MTRS Patient Lay Letters Workflow

### COMPLIANCE, DATA ANALYTICS, AND REPORTING

The Contractor’s fully functional MTRS solution shall:

- Comply with the FDA regulations, American College of Radiology (ACR) accreditation, and VHA data reporting requirements:

- FDA Mammography Audit

- Includes all reports included in the audit and monitoring section of the ACR BI-RADS v2025 manual.

- The vendor shall have the ability to continuously meet and maintain any updated ACR BIRADS manual during the life of this contract.

- The capability analyze data and develop customized reports for Veteran-specific data.

- Ability to document the Radiologist’s continuing experience through both primary and secondary reads.

- Ability to analyze data, document the number of mammograms a Radiologist has reviewed to maintain their credentials.

- Analyze data and provide reports with clearly identified titles and scope of data (e.g., entire facility, single radiologist, entire VISN, entire VA).

- Ability to restrict access based on assigned roles, ensuring facility-level users see only their facility’s data, while designated personnel may access VISN- or VHA-level reports.

- Allow VA to be compliant with the FDA’s Enhancing Quality Using the Inspection Program (EQUIP) components.

The Contractor shall provide compliance, data analytics, and reporting screenshots illustrating the system’s functionalities.

Deliverables:

Compliance, Data Analytics, and Reporting Screenshots

### RECORDS MANAGEMENT

The Contractor’s fully functional MTRS solution shall enable access to patient records for forms printing and information upload when the system is unavailable at the time of the exam.

## TECHNICAL FUNCTIONALITY

The Contractor’s fully functional MTS solution shall be delivered at an enterprise level. The solution shall be managed according to assigned roles at the facility, VISN, and/or VHA level.

- The solution must be non-developmental (i.e., commercially available, in current production as of the date this offer is submitted). The Contractor shall:

- Specify the proposed server and client software versions, as well as any web-based client software capabilities.

- List the actual major and minor releases, including dates, for the past two years for the proposed Mammography Tracking and Reporting System.

- List any third (3rd) party software components included in the proposed MTRS and whether the cost is included in the proposed licensing models.

- Describe the business and technical agreements that are in place to ensure ongoing support and development.

- List all database(s) that are used for the proposed Mammography Tracking and Reporting System.

- Provide optional turnkey pricing for any database licensing requirements for the servers (i.e. SQL, Oracle, etc.)

- The Contractor shall provide a comprehensive disaster recovery plan to ensure data integrity and restoration including internal MTRS backup capabilities, and the ability of the software to support enterprise backup solutions such as Commvault. The plan shall include:

- A process for performing automated system backups.

- A process for restoring system backups.

- A summary of 3rd party enterprise solutions/agents that the MTRS system supports (For example, Commvault)

- The proposed MTRS Solution shall include a test system that replicates the production environment. The Contractor shall provide system architecture for production and test environments.

- The test system shall validate software upgrades, new modalities, interfaces, and integrated applications.

- The physical location for the test system will be at the discretion of VA.

- The Contractor shall provide recommended hardware specifications and network requirements for the following:

- Main production system

- Workstation, including specifications regarding graphic cards and monitors

- Test server

- The Contractor shall provide a completed copy of the Manufacturer Disclosure Statement for Medical Device Security (MDS2).

- The Contractor shall provide a completed copy of the VA Form 6550.

- The Contractor’s solution shall provide patient context exchange and synchronization between PACS/Dictation applications and mammography tracking software solution.

- The Contractor’s solution shall be able to work across all time zones where VHA may deploy the solution.

Deliverables:

- Disaster Recovery Plan

- Hardware Specifications and Network Requirements

- Manufacturer Disclosure Statement

- Completed VA Form 6550

- Production and Testing System Architecture

## ENTERPRISE LICENSES

The Contractor shall provide an enterprise-level software license that permits unlimited concurrent user access. A list of applicable sites can be found herein at Addendum C.

Deliverable

Enterprise Software Licenses

## IMAGING ORDERS AND REPORTS

The Contractor’s fully functional MTRS solution shall be capable of entering imaging orders into the VistA Radiology Package or Oracle Health Millenium OpenLink. Each location may have up to two (2) separate VistA HL7 feeds instances, and one (1) national instance for OH OpenLink HL7 feed within VHA. The MTS solution must support an unlimited number of HL7 interfaces for ingestion.

## DATA MIGRATION

The Contractor’s fully functional MTRS solution shall include data migration and reports formatting of studies from the current Mammography information systems for all prior studies in advance of each respective VAMC go-live. The data migration must include, at a minimum, the last five (5) years of data.

VHA currently uses the following systems:

| System | Number of Sites |
| --- | --- |
| MagView | 14 |
| Volpara/Patient Hub | 66 |
| Volpara/MRS | 4 |

Prior to contract completion or termination, the Contractor shall deliver all MTS data in a user-accessible format, assume full responsibility for project management and associated costs. Furthermore, the Contractor shall provide the Department of Veterans Affairs with all administrative system and database credentials required for system management and sustainment.

The Contractor shall conduct data migration services and provide a report for all VHA sites/legacy MTRS systems as listed in Appendix C.

The Contractor shall provide a comprehensive list of all administrative MTRS system and database credentials available at the time of go‑live.

Deliverables:

- Data Migration Report

- MTRS data in a user-accessible format

- Administrative MTRS System and Database Credentials

## SYSTEM PERFORMANCE

The Contractor’s fully functional MTRS solution shall include a minimum uptime guarantee of 99%.

  - System events caused by the VA network side, where the vendor is not at fault, will not be counted towards the count of system downtime hours.

  - Uptime is calculated based off the following:

- Hours of coverage in the above equation excludes hours for preventative and scheduled maintenance of the system.

- The MTRS system is classified as “down” when the system is unavailable for clinical use due to an unplanned event.

  - Planned Maintenance shall be planned outside of normal business hours, unless specified otherwise by the VA in writing.

  - The Contractor shall review the VA provided quarterly uptime log and performance report, verify compliance with a minimum system availability threshold of 99%, and provide a quarterly review certification.

The Contractor’s solution shall communicate the capability to remain active during database maintenance jobs or other server activities.

Deliverables:

Quarterly Review Certification

## USER AND GROUP FUNCTIONALITY

The Contractor’s fully functional MTRS solution shall:

- Support application authentication using Single Sign-On (SSO) or Lightweight Directory Access Protocol (LDAP) via personal identity verification (PIV) cards.

- Provide the capability to develop user groups with distinct privileges/permissions. The permissions for the default user groups shall be capable of being modified by a designated VA system administrator.

- Allow staff to see patients nationwide and input information at their local facility without creating a duplicate patient. Staff shall not be capable of printing letters for other stations.

- Allow customizable administrative and clinical access.

The Contractor shall ensure all user and group functionality is fully validated and confirmed operational prior to each VAMC go‑live. The Contractor shall deliver a user and group functionality validation report documented test results demonstrating correct role assignments, access permissions, authentication behavior, and successful execution of all required user and group functions without error. Validation shall be complete upon Government acceptance and concurrence.

Deliverables:

User and Group Functionality Validation Report

## HEALTH LEVEL SEVEN (HL7) INTEGRATION

The Contractor’s fully functional MTRS solution shall support bi-directional HL7 integration with VistA and FEHR. The Contractor shall ensure the solution complies with and successfully completes the VA qualification process for both VistA and FEHR HL7 interfaces to guarantee interoperability and adherence to VA standards.

The contractor shall deliver a report confirming validation for the bidirectional HL7 integration with both VistA and FEHR. The report shall be updated upon go-live at each site.

Deliverables:

Bi-Directional HL7 Integration Validation Report

## DIGITAL IMAGING AND COMMUNICATIONS IN MEDICINE (DICOM) INTEGRATION

The Contractor’s fully functional MTRS solution shall be fully compliant with the Digital Imaging and Communications in Medicine (DICOM) standard for features and workflows involving the storage, retrieval, and transmission of medical images and associated data in accordance with DICOM protocols to ensure interoperability with VA imaging systems, Picture Archiving and Communication Systems (PACS), and other healthcare applications.

The Contractor shall deliver a DICOM Conformance Statement detailing all supported DICOM services, modalities, message types, and implementation specifications no later than 30 days prior to go‑live.

Deliverables:

DICOM Conformance Statement(s)

## TRAINING

The Contractor’s fully functional MTRS solution shall include clinical, system administrator, and Healthcare Technology Management (HTM) training as specified below.

The Contractor shall provide training plan, attendance records, and quick reference guides for all personnel who participate in required training activities. All training documentation shall be delivered to the Government in a format acceptable within 5 business days after training completion.

Deliverables:

Training Plan

Training Attendance Records

Training Quick Reference Guides

### CLINICAL-USER TRAINING

- Clinical users training shall include, but not limited to:

- Radiologic Technologist

- Radiologist

- Breast imaging nurse navigators/coordinators

- System-wide clinical administrators

- Program support assistant/medical support assistant (MSA)

- Upon completion of training, clinical users must be able to successfully utilize all available features with minimal or no assistance from a VA or Contractor super user.

### SYSTEM ADMINISTRATOR TRAINING

The Contractor shall provide power-user and system administrator training for operational support of the MTRS solution.

Upon completion of training, the System administrator must be able to:

- Act as the local super user for the clinical users

- Act as the local trainer for the clinical users

- Resolve the top ten most common user questions

- Create and manage user accounts

- Install and configure the client application for a new user

- Monitor system utilization

- Manage other day-to-day tasks required for the system

### HEALTHCARE TECHNOLOGY MANAGEMENT

The Contractor shall provide biomedical engineer training for implementation and operational support for MTRS solution.

Upon completion of training the biomedical engineers shall:

- Act as the local system expert

- Understand the functions of each system’s components

- Be able to start the system, including the different services that make up the MTRS solution

- Locate and review application logs

- Install and configure the client application for a new user

- Be able to conduct, at minimum, basic troubleshooting

- Understand the procedure for a “graceful” system shutdown/reboot

- Understand disaster recovery recommendations and features

- Understand contingency operations actions and steps for VAMCs if the system were to go down or be in a compromised state.

### SERVICE MANUALS

The contractor shall provide clinical user and technical administrator service manuals for the MTRS in an electronic format.

Deliverables:

Service Manuals

## CUSTOMER SUPPORT

The contractor shall provide MTRS clinical and technical support as follows:

- Software obsolescence, major upgrades, revisions, patches and fixes for the contract period.  The Contractor shall deliver an Obsolesce Plan, which shall be included in the CPMP as specified in Section 5.1.1 of this PWS.

- The contractor shall provide support based on the severity level of the event as outlined in the table below. Business hours are defined as 7 am ET to 6 pm Hawaii standard time due to the national enterprise system having to account for business hours across time zones with VA mammography programs.

| Severity Level | Description | Initial Response Target | Target Restoration Time |
| --- | --- | --- | --- |
| Critical | The software is down; no workaround is immediately available. | 90 minutes | 4 hours |
| High | Important software features are unavailable to multiple users; no acceptable workaround. | 4 business hours | 1 business day |
| Moderate | Software features are unavailable to multiple users; a workaround exists and most software functions are still useable. | 12 business hours | 5 business days |
| Low | Minor problem or question that does not affect software functionality. | 24 business hours | Target restoration as agreed to between VA and the contractor on a case-by-case basis. Communication and updates need to occur on a regular basis until the case is resolved. |

- The Contractor shall provide remote technical and clinical applications support.

- The contractor shall support ongoing workflow and integration changes as VA incrementally adds additional sites as requested.

- Contractors with an existing approved Memorandum of Understanding Information Security Agreement (MOU/ISA) shall provide remote system support and comply with all requirements written in the MOU/ISA.

- The contractor shall provide technical expertise regarding system patching and updates including but not limited to operating system (OS) patches, application updates, database updates, and system vulnerabilities.

The Contractor must submit a Customer Support Status Report. This report shall be included in the monthly report as specified in Section 5.1.2 of this PWS

Deliverables:

- Customer Support Status Report

- Software Obsolesce Plan

## ELECTRONIC HEALTHCARE RECORD MODERNIZATION (EHRM) FEHR TRANSITION SUPPORT SERVICES

### LEGACY DATABASE BULK EDIT FOR ELECTRONIC DATA INTERCHANGE PERSONAL IDENTIFIER & SOCIAL SECURITY NUMBER CONVERSION

The Contractor shall provide support services for a one-time patient identifier conversion and merge process within the legacy Mammography Tracking System (MTS) database. This effort shall include move/downgrade primary Medical Record Number (MRN) (Patient Identifier) that is currently Social Security Number (SSN) to a secondary Patient Identifier if possible and insert corresponding Electronic Data Interchange Personal Identifier (EDIPI) (New Patient Identifier) into the primary MRN field or status.

The Contractor shall compile and deliver a master list of legacy patient records, including SSNs and available attributes (e.g., Last Name, First Name, Date of Birth, Sex), in Excel or text format on the MTS production server for SSN to EDIPI reconciliation. Upon receipt of the reconciled list from VA, the Contractor shall update the database primary identifier to EDIPI and set the SSN to secondary status in the legacy database if possible. The Contractor shall provide a delta list of patient names and SSNs added between the initial extract and go-live for subsequent identifier conversion. VHA will provide a reconciled list, and the Contractor shall perform the delta patient identifier change.

The Contractor shall collaborate with VA Healthcare Technology Management (HTM) staff to test EDIPI functionality as the primary identifier, identify and resolve any issues. Additionally, the Contractor shall collaborate work with VA to develop and adhere to a conversion schedule within the period of performance.

Deliverables:

- Master Legacy Patient List

- Delta Patient List

### VHA ELECTRONIC HEALTH RECORD (EHR) INTEGRATION

The Contractor shall provide an MTRS solution with separate and distinct production and test environments. The solution shall include an interface engine capable of managing HL7 messages to both VistA/CPRS and the Federal Electronic Health Record (FEHR) [Oracle Health EHR] simultaneously.

The Contractor shall implement HL7 Orders (ORM) and HL7 Results (ORU) interfaces between VA MTS and both VA’s EMRs (VistA CPRS and Federal Electronic Health Record [Oracle Health EHR]). Based on the project schedule, the Contractor shall integrate MTS at facilities with either VistA CPRS or Federal Electronic Health Record (FEHR). This is dependent on the facility’s EHR at the time of go live.

The MTS solution shall support multiple concurrent ORU/ORM HL7 connection pathways, including one production FEHR instance and multiple legacy VistA CPRS/VistA Imaging instances. For VA Medical Centers still using VistA CPRS, each VistA CPRS instance is unique to the facility and has its own IP address.

The Contractor shall perform all required testing and go-live activities for FEHR integration, including:

    - VA Enterprise Risk Assessment (ERA) specific to the FEHR interface documentation

    - Connectivity and smoke testing

    - Installation and configuration of HL7 interfaces on both test and production systems

    - Participation in Interface Solution Testing (IST) sessions with VA and Oracle

    - Attendance at planning activities such as dry runs and table-top exercises

    - Execution of FEHR interface cutover to production outside normal business hours

    - End-user training for workflows specific to FEHR integration.

Contractor shall develop a VA Vendor Integration Document (VID) in coordination with VA and Oracle Health. The VID will document any deviations from “Standardized Radiology Imaging Integration Interface Control Document” for the MTRS system.

The Contractor shall develop and deliver a FEHR integration and validation checklist.

Deliverables:

FEHR Integration and Validation Checklist

# GENERAL REQUIREMENTS

## ENTERPRISE AND IT FRAMEWORK

### VA TECHNICAL REFERENCE MODEL

The Contractor shall comply with the VA OIT Technical Reference Model (VA TRM). Compliance with the VA TRM is achieved by using only technologies and standards that are listed as approved for use in the VA TRM.  The Contractor shall provide all necessary information requested by VA to ensure TRM approval is obtained prior to use on VA’s network.

### ZERO TRUST – VA CRITICAL SECURITY CONTROLS

VA has established minimum mandatory security requirements and requires that any network connected software system or service must meet the VA Critical Security Controls as outlined in the VA Memorandum, “VA Security Controls”, https://www.voa.va.gov/DocumentView.aspx?DocumentID=5010.  VA Critical Security Controls identify the minimum mandatory requirements that must be implemented across all VA enterprise infrastructure, cloud computing environments, information systems, networks, and specialized devices (medical devices/systems, special-purpose systems, and research scientific computing devices) that process, store, and/or transmit VA data.  Effective July 1, 2025, the Contractor shall implement these VA Critical Security Controls, within any network connected software system or service prior to being authorized for use in the VA.  This functional requirement is not negotiable, and Plan of Action & Milestones (POAM) will not be accepted in the event these controls cannot be implemented for new systems.  Critical Security Controls are intended to increase VA’s security posture and provide security and privacy risk visibility into the VA network and is not a new requirement.  The Contractor’s failure to maintain these VA Critical Controls after implementation will result in VA discontinuing the use of the system.

### FEDERAL IDENTITY, CREDENTIAL, AND ACCESS MANAGEMENT (FICAM)

The Contractor shall ensure Commercial Off-The-Shelf (COTS) product(s), software configuration and customization, and/or new software are Personal Identity Verification (PIV) card-enabled by accepting HSPD-12 PIV credentials using VA Enterprise Architecture (EA), and VA Identity and Access Management (IAM) approved Enterprise Technology Guidelines (ETG).  The Contractor shall ensure all Contractor delivered applications and systems comply with the VA Identity, Credential, and Access Management policies and guidelines set forth in Executive Order 14028, VA Handbook 6510 VA Identity and Access Management, VA Handbook 0735 Homeland Security Presidential Directive 12 (HSPD-12) Program, CISA Binding Operational Directive 23-01, and align with the Federal Identity, Credential, and Access Management Roadmap and Implementation Guidance v2.0.

The Contractor shall ensure all Contractor delivered applications and systems provide user authentication services compliant with the National Institute of Standards and Technology (NIST) Special Publication (SP) 800-63-4, VA Handbook 6500, and VA IAM enterprise requirements for direct, assertion-based authentication, and/or trust-based authentication, as determined by the ETGs. Direct authentication at a minimum must include Public Key Infrastructure (PKI) based authentication supportive of PIV card and/or Common Access Card (CAC), as determined by the business need.

The Contractor shall ensure all Contractor delivered applications and systems conform to the specific Identity and Access Management PIV requirements set forth in the Office of Management and Budget (OMB) Memoranda  M-05-24, M-19-17, M-22-09, and NIST Federal Information Processing Standard (FIPS) 201-3.  Contractor delivered applications and systems shall be on the FIPS 201 Approved Product List (APL). If the Contractor delivered application and system is not on the APL, the Contractor shall be responsible for taking the application and system through the FIPS 201 Evaluation Program.

The Contractor shall ensure all Contractor delivered applications and systems support:

- Automated provisioning and are able to use enterprise provisioning service.

- Interfacing with VA’s Master Person Index (MPI) to provision identity attributes, if the solution relies on VA user identities. MPI is the authoritative source for VA user identity data.

- The VA defined unique identity (Secure Identifier [SEC ID] / Integrated Control Number [ICN]).

- Multiple authenticators for a given identity and authenticators at every Authenticator Assurance Level (AAL) appropriate for the solution.

- Identity proofing for each Identity Assurance Level (IAL) appropriate for the solution.

- Federation for each Federation Assurance Level (FAL) appropriate for the solution, if applicable.

- Two-factor authentication (2FA) through an applicable Technology Guideline as outlined in VA ETG.

- A Security Assertion Markup Language (SAML) implementation if the solution relies on assertion-based authentication. Additional assertion implementations, besides the required SAML assertion, may be provided as long as they are compliant with NIST SP 800-63-3 guidelines.

- Authentication/account binding based on trusted Hypertext Transfer Protocol (HTTP) headers if the solution relies on Trust based authentication.

- Role Based Access Control.

- Auditing and reporting capabilities.

- Compliance with VIEWS 00155984, PIV Logical Access Policy Clarification https://www.voa.va.gov/DocumentView.aspx?DocumentID=4896.

The required Assurance Levels for this specific effort are Identity Assurance Level 3, Authenticator Assurance Level 3, and Federation Assurance Level 3.

### INTERNET PROTOCOL VERSION 6 (IPv6)

The Contractor solution shall support IPv6-Only based upon the memo issued by the Office of Management and Budget (OMB) on November 19, 2020 (https://www.whitehouse.gov/wp-content/uploads/2020/11/M-21-07.pdf). Which defines IPv6-only as the state of an operational system or service when IPv4 protocol functions (addressing, packet forwarding) are not in use. The NIST USGv6 profile defines technical requirements for a product to be capable of operating in IPv6-Only environments.  IPv6-Only technology, in accordance with the USGv6 Program (https://www.nist.gov/programs-projects/usgv6-program/usgv6-revision-1), NIST Special Publication (SP) 500-267B Revision 1 “USGv6 Profile” (https://doi.org/10.6028/NIST.SP.500-267Br1), and NIST SP 800-119 “Guidelines for the Secure Deployment of IPv6” (https://doi.org/10.6028/NIST.SP.800-119), compliance shall be included in all IT infrastructures, application designs, application development, operational systems and sub-systems, and their integration.  In addition to the above requirements, all devices, applications, and systems shall support all applicable functionality on native IPv6-Only as well as dual stack (IPv6 / IPv4) connectivity without additional memory or other resources being provided by the Government, so that they can function in a mixed environment.  All public/external facing servers and services (e.g., web, email, DNS, ISP services, etc.) shall support native IPv6-Only and dual stack (IPv6 / IPv4) users and all internal infrastructure and applications shall support using native IPv6-Only and dual stack (IPv6 / IPv4) for all functionality and operations.

### TRUSTED INTERNET CONNECTION (TIC)

The Contractor solution shall meet the requirements outlined in Office of Management and Budget Memorandum M-19-26, “Update to the Trusted Internet Connections (TIC) Initiative“ (https://www.whitehouse.gov/wp-content/uploads/2019/09/M-19-26.pdf), VA Directive 6513 “Secure External Connections”, and shall comply with the TIC 3.0 Core Guidance Documents, including all Volumes and TIC Use Cases, found at the Cybersecurity & Infrastructure Security Agency (CISA) (https://www.cisa.gov/publication/tic-30-core-guidance-documents).

### STANDARD COMPUTER CONFIGURATION

The Contractor IT end user solution that is developed for use on standard VA computers shall be compatible with and be supported on the standard VA operating system, Windows 11, Edge (Chromium based), and 365 Apps for enterprise.  Applications delivered to VA and intended to be deployed to Windows 11 workstations shall be delivered as a signed .msi package with switches for silent and unattended installation and updates shall be delivered in signed .msp file formats for easy deployment using Microsoft Endpoint Configuration Manager (CM) VA’s current desktop application deployment tool.  Signing of the software code shall be through a vendor provided certificate that is trusted by VA using a code signing authority such as Verizon/Cybertrust or Symantec/VeriSign.  The Contractor shall also ensure and certify that their solution functions as expected when used from a standard VA computer, with non-admin, standard user rights that have been configured using the Defense Information Systems Agency (DISA) Secure Technical Implementation Guide (STIG) specific to the particular client operating system being used.

### VETERAN FOCUSED INTEGRATION PROCESS (VIP) AND PRODUCT LINE MANAGEMENT (PLM)

The Contractor shall support VA efforts IAW the Veteran-Focused Integration Process (VIP) Guide and Product Line Management (PLM) Playbook. The major focus of VIP is on Enterprise Oversight, Governance, reporting, and establishing practices that focus on outcomes and continuously delivering sustainable IT capabilities to benefit the Veteran. PLM is a framework that focuses on delivering functional products that provide the highest priority work to customers while delivering simplified, reliable, and practical solutions to the business, medical staff, and our Veterans.  The VIP Guide is a companion guide to the PLM Transformation Playbook and can be found at: https://www.voa.va.gov/DocumentView.aspx?DocumentID=4371 and the PLM Transformation Playbook can be found at https://www.voa.va.gov/DocumentView.aspx?DocumentID=4946.  VIP and PLM are the authoritative processes that IT projects must follow to ensure development and delivery of IT products.

The VIP Guide provides guidance for transitioning from project-centric to product-centric delivery.  The VIP guide applies to all OIT Office of Management and Budget (OMB) reportable products that are required to collect and report costs, schedules, risks, and other valuable information in VA PARS (whether products are procured or developed by VA) and any VA Information Technology project effort in Software Product Management (SPM) and Infrastructure Operations (IO), or their successors, that touch the VA network regardless of IT organizational alignment (whether it spends government funding from VA's Congressional IT Appropriation or any other appropriation).

The PLM Transformation Playbook details how OIT leadership expects Product Lines (PLs) to implement PLM, DevOps, and Lean-Agile principles, methods, practices, and techniques through levels of maturity.  The PLM Transformation Playbook applies to all Information Technology (IT) products aligned to PLs in the Software Product Management, Infrastructure Operations and Product Engineering organizations within the OIT organization.

Others outside the referenced groups or organizations may use the VIP Guide and PLM Transformation Playbook for situational awareness as needed.

### PROCESS ASSET LIBRARY (PAL)

The Contractor shall perform their duties consistent with the processes defined in the OIT Process Asset Library (PAL).  The PAL includes a spectrum of OIT functions and activities, such as project management, operations, service delivery, communications, acquisition, and resource management. PAL serves as an authoritative and informative repository of searchable processes, activities or tasks, roles, artifacts, tools and applicable standards and guides to assist the OIT workforce, Government and Contractor personnel. OIT utilizes PAL processes to ensure compliance with policies and regulations and to meet VA quality standards.  The PAL includes the contractor onboarding process consistent with Section 6.2.2 and can be found at process_CONB_ext.docx (live.com).  The main PAL can be accessed at www.va.gov/process.

### AUTHORITATIVE DATA SOURCES

The VA Enterprise Architecture Repository (VEAR) is one component within the overall EA that establishes the common framework for data taxonomy for describing the data architecture used to develop, operate, and maintain enterprise applications.  The Contractor shall comply with the department’s Authoritative Data Source (ADS) requirement that VA systems, services, and processes throughout the enterprise shall access VA data solely through official VA ADSs where applicable, see below.  The Information Classes which compose each ADS are located in the VEAR, in the Data & Information domain.  The Contractor shall ensure that all delivered applications and system solutions support:

- Interfacing with VA’s Master Person Index (MPI) (formerly the Master Veteran Index (MVI)) to provision identity attributes, if the solution relies on VA user identities.  MPI is the authoritative source for VA user identity data.

- Interfacing with Capital Asset Inventory (CAI) to conduct real property record management actions, if the solution relies on real property records data.  CAI is the authoritative source for VA real property record management data.

- Interfacing with electronic Contract Management System (eCMS) for access to contract, contract line item, purchase requisition, offering vendor, and solicitation information above the micro-purchase threshold, if the solution relies on procurement data.  ECMS is the authoritative source for VA procurement actions data.

- Interfacing with HRSmart Human Resources Information System to conduct personnel action processing, on-boarding, benefits management, and compensation management, if the solution relies on personnel data.  HRSmart is the authoritative source for VA personnel information data.

- Interfacing with VA Profile to access personal contact information, if the solution relies on VA Veteran personal contact information data.  VA Profile is the authoritative source for VA Veteran Personal Contact Data.

- Interfacing with VA/Department of Defense (DoD) Identity Repository (VADIR) for determining eligibility for VA benefits under Title 38, if the solution relies on qualifying active duty military service data.  VADIR is the authoritative source for qualifying active duty military service in VA.

- Interfacing with VA Systems Inventory (VASI) to access VA systems information, if the solution relies on VA system information. VASI is the authoritative source for VA Information Technology systems.

- Interfacing with Enterprise Mission Assurance Support Service (eMASS) to access the historical Authority to Operate (ATO) status of all VA Information Systems prior to migrating to ServiceNow Continuous Authorization and Monitoring (SNowCAM) until it is determined the migration is completed and eMASS is sunset. eMASS contains the historical Authority to Operate (ATO) status of all VA Information Systems prior to September 30, 2025, with all status provided through SNowCAM once migration is completed.

### SOCIAL SECURITY NUMBER (SSN) REDUCTION

The Contractor solution shall support the Social Security Number (SSN) Fraud Prevention Act (FPA) of 2017 which prohibits the inclusion of SSNs on any document sent by mail.  The Contractor support shall also be performed in accordance with Section 240 of the Consolidated Appropriations Act (CAA) 2018, enacted March 23, 2018, which mandates VA to discontinue using SSNs to identify individuals in all VA information systems as the Primary Identifier.  The Contractor shall ensure that any new IT solution discontinues the use of SSN as the Primary Identifier to replace the SSN with the ICN in all VA information systems for all individuals.  The Contractor shall ensure that all Contractor delivered applications and systems integrate with the VA MPI for identity traits to include the use of the ICN as the Primary Identifier. The Contractor solution may only use a Social Security Number to identify an individual in an information system if and only if the use of such number is required to obtain information VA requires from an information system that is not under the jurisdiction of VA.

### SOFTWARE AND LICENSING REQUIREMENTS

The Contractor shall be responsible for the provision of all software licenses and any associated licensing maintenance required for any development, delivery, integration, operation, and/or maintenance associated with its proposed application(s), software products, software solution, and/or system including, but not limited to, any and all application(s), software and/or software products that comprise, are a part of, or integrate with the Contractor’s proposed application(s), software products, software solution, and/or system for the life of any resulting contract.

### GENERATIVE ARTIFICIAL INTELLIGENCE REQUIREMENTS

If Artificial Intelligence (AI) is part of the Contractor system/solution, the Contractor shall be in compliance with E.O. 13960 and 14319, OMB Memorandums M-25-21, M-25-22, and M-26-04, and VA Directive and Handbook 6500 to support VA in trustworthy, secure, responsible, accountable, Truth Seeking, and Ideologically Neutral AI innovation.

No web-based, publicly available generative AI service has been approved for use with VA-sensitive data including, but not limited to OpenAI’s ChatGPT, Microsoft’s Copilot, Google’s Gemini, and Anthropic’s Claude.  No PII, protected health information (PHI), or VA-sensitive data should be entered into these unapproved services.  The entire definition of VA Sensitive Data can be found at 38 U.S.C. § 5727 (23).  The Contractor shall protect VA Sensitive data from unauthorized disclosure or use, and from being used to train or improve the functionality of the vendor's commercial offerings without express permission from VA. Only VA-hosted instances of generative AI services may be approved for use with VA-sensitive data.

The Contractor shall deliver the services, technical data, configurations, models, weights, documentation or other information, including source code, developed during contract performance.  The Contractor, in collaboration with VA, must evaluate the output of any AI tool for accuracy prior to using the output in VA efforts.  All data, including models, weights, algorithms, and outputs generated using either Government-furnished data or data first developed under this contract shall be the property of the Government with unlimited rights as defined by FAR 52.227-14.  The Contractor shall also deliver any custom-developed code developed with AI methodologies in accordance with the SHARE IT Act, if applicable.  VA shall also retain unlimited rights to any improvements to that data, including the continued design, development, testing, and operation of AI systems and/or systems utilizing AI.

The Contractor shall ensure that all AI Systems, including Large Language Models (LLM), whether standalone LLMs or integrated into broader software platforms,  procured under this effort and/or used in performance of this contract complies with the Unbiased AI Principles as defined in Executive Order 14319 and OMB Memorandum M-26-04, e.g. Truth Seeking and Ideologically Neutral, as applicable to the intended use of the system.

The Contractor shall ensure that AI System/LLM generated outputs are truthful in responding to user prompts seeking factual information or analysis, prioritize historical accuracy, scientific inquiry, and objectivity, as well as acknowledge uncertainty where reliable information is incomplete or contradictory and do not fabricate, hallucinate, or present unverifiable information as fact.

The Contractor shall ensure that LLMs and AI outputs are neutral, nonpartisan tools that do not manipulate responses in favor of ideological dogmas such as Diversity, Equity, and Inclusion (DEI).  The Contractor shall ensure that the LLMs, including the AI System, are not intentionally encoded with partisan or ideological judgments within an AI System’s/LLM’s outputs unless those judgments are prompted by or otherwise readily accessible to the end user.

Compliance with the AI requirements of this contract, including adherence to the Unbiased AI Principles, Truth-Seeking and Ideological Neutrality requirements, disclosure obligations, monitoring and reporting requirements, and corrective action responsibilities, is a material condition of eligibility for payment and continued performance. In accordance with OMB Memorandum M-26-04, failure to comply with these requirements, or refusal to take timely and appropriate corrective action to remedy identified noncompliance, may constitute a material breach of contract and may result in remedies consistent with the terms of the contract and applicable law including but not limited to withholding of payment, termination for cause/default, or other appropriate contractual remedies, as determined by the Contracting Officer.

All AI for delivery and/or use in performance of the contract shall adhere to the VA Trustworthy AI Framework, available at https://department.va.gov/ai/trustworthy/.  Once the Contractor has obtained CO authorization to use specific AI in contract performance, the Contractor shall provide the COR a signed Statement of Attestation prior to AI implementation as identified in the Artificial Intelligence in VA Contracts clause, to include its associated list of AI being used in contract performance.

Deliverable:

Statement of Attestation

#### AI SYSTEM/LLM DEVELOPMENT AND OPERATION DOCUMENTATION REQUIREMENTS

To enable Government continued assessment of compliance with Trustworthy AI requirements and both Unbiased AI Principles, Truth-seeking and Ideological Neutrality, in accordance with OMB M-26-04, the Contractor shall provide AI System/LLM Development and Operation Documentation Package to include, at a minimum:

- Acceptable Use Policy

The Contractor shall provide an Acceptable Use Policy document governing its AI operation that characterizes and differentiates appropriate and inappropriate use of their product offering.

- Model Cards, System Cards and/or Data Cards

The Contractor shall provide documentation describing essential information about the model, system, and or data as it relates to the AI/LLM product offering.  The documentation shall address summaries of training process, identified risks and mitigations, and model evaluation scores on LLM benchmarks at a minimum, where appropriate.

- End User Resources

The Contractor shall provide documentation to include product tutorials, developer guides, and/or other tools to assist VA in ensuring proper use of the AI/LLM to maximize utility.

- Mechanism for End User Feedback

The Contractor shall provide documentation describing the mechanism employed to provide feedback to the Offeror on outputs identified that violate the Unbiased AI Principles.  This may be satisfied by a general inbox, specific Point of Contact, or similar feedback mechanism.

- Pre-Training and Post-Training Activities of the AI System/LLM

The Contractor shall provide documentation of Pre-Training and Post Training Activity that provides details on:

  - Actions taken that impact the factuality and grounding of AI System/LLM outputs

  - System-level prompts that provide natural language instructions to the model specifying guidelines on responding to user-generated queries, to include how a model responds when reliable information is incomplete, contradictory, or subject to individual interpretation

  - The type of outputs restricted via content moderation and safety filters

  - The use of red teaming as a means of continuously assessing the model to protect against incidents of bias in generated output.

  - Training or development, if any, that occurred outside the United States, to include the type of activity and the country in which it occurred.

  - Any modifications or configurations undertaken to comply with any regulation from a government other than the U.S. Federal Government.

- Model Evaluation Results and Methodologies

The Contractor shall provide documentation describing the Evaluation Results of bias evaluations conducted by the Vendor to include the methodology for performing such tests (e.g., testing prompt pairs for politically oriented topics).

The documentation shall also include Benchmark scoring results measuring the model’s bias, helpfulness, honesty, or accuracy when provided with ambiguous versus straightforward questions.  (Including any benchmarks comparing performance across multiple languages, where applicable).

- Description of Enterprise-Level Controls

The Contractor shall provide documentation describing the Enterprise Governance tools and controls, such as:

  - Customizable system instructions that are additive to a base model’s system prompts or content generation filters.

  - Product features that require a model to cite sources of its outputs or otherwise provide visibility into the provenance of the model’s outputs.

  - AI System/LLM model evaluation tools that enable comparisons either between a model’s outputs, or across various models.

- Third Party Modification Disclosure

The Contractor shall disclose of any additional controls to modify an AI Model’s/LLM’s output applied by the Contractor if the Contractor is not a direct developer of the LLM (e.g., classifiers, system prompts, fine-tuning, content moderation and filters, etc.)

Deliverable:

- AI System/LLM Development and Operation Documentation Package

#### MONITORING, REPORTING, AND CORRECTIVE ACTION

The Contractor shall develop and implement a Compliance Monitoring and Reporting Plan supporting ongoing monitoring processes to evaluate AI outputs for compliance with Trustworthy AI and Unbiased AI principles. This plan shall include the mechanism for authorized users to provide end user feedback to report suspected violations of Truth-Seeking or Ideological Neutrality requirements.

The Contractor shall notify the COR within 10 business days of identifying any material deviation from these principles and shall submit a written Corrective Action Plan describing mitigation steps, responsible parties, and timelines.  Any material deviation, corrective action taken, and results shall be detailed in the Monthly Progress Reports.

Deliverable:

- Compliance Monitoring and Reporting Plan

- Corrective Action Plan

#### AI MODEL UPDATES AND CHANGE DISCLOSURES

The Contractor, in an AI Model/LLM Change Disclosure, shall notify the Government throughout the PoP in advance of any material changes to AI models, including new AI enhancements, features and/or components, controls, retraining, classifiers, system prompts, fine-tuning, content moderation, filters, version replacement, or architectural changes, that could reasonably affect compliance with Trustworthy AI or Unbiased AI principles. Updated documentation shall be provided to VA for VA approval prior to implementation of such changes.

Deliverable:

AI Model/LLM Change Disclosure

      - AI SYSTEM/LLM DEVELOPMENT AND OPERATION DOCUMENTATION REQUIREMENTS

(The Requiring Activity should modify the below items 5-8 (Note that OMB requires items 1-4) to include only the documentation requirements needed for their specific effort to assess the AI System/LLM compliance with Unbiased AI Principles.  For example, if the system is not public facing or sensitive in nature, a determination may be made that items 5-8 below may not be required at all. (Note:  the solicitation language should mirror the resulting items within the finalized PWS from below.)

To enable Government continued assessment of compliance with Trustworthy AI requirements and both Unbiased AI Principles, Truth-seeking and Ideological Neutrality, in accordance with OMB M-26-04, the Contractor shall provide AI System/LLM Development and Operation Documentation Package to include, at a minimum:

- Acceptable Use Policy

The Contractor shall provide an Acceptable Use Policy document governing its AI operation that characterizes and differentiates appropriate and inappropriate use of their product offering

- Model Cards, System Cards and/or Data Cards

The Contractor shall provide documentation describing essential information about the model, system, and or data as it relates to the AI/LLM product offering.  The documentation shall address summaries of training process, identified risks and mitigations, and model evaluation scores on LLM benchmarks at a minimum, where appropriate

- End User Resources

The Contractor shall provide documentation to include product tutorials, developer guides, and/or other tools to assist VA in ensuring proper use of the AI/LLM to maximize utility

- Mechanism for End User Feedback

The Contractor shall provide documentation describing the mechanism employed to provide feedback to the Offeror on outputs identified that violate the Unbiased AI Principles.  This may be satisfied by a general inbox, specific Point of Contact, or similar feedback mechanism.

- Pre-Training and Post-Training Activities of the AI System/LLM

The Contractor shall provide documentation of Pre-Training and Post Training Activity that provides details on:

  - Actions taken that impact the factuality and grounding of AI System/LLM outputs

  - System-level prompts that provide natural language instructions to the model specifying guidelines on responding to user-generated queries, to include how a model responds when reliable information is incomplete, contradictory, or subject to individual interpretation.

  - The type of outputs restricted via content moderation and safety filters

  - The use of red teaming as a means of continuously assessing the model to protect against incidents of bias in generated output.

  - Training or development, if any, that occurred outside the United States, to include the type of activity and the country in which it occurred.

  - Any modifications or configurations undertaken to comply with any regulation from a government other than the U.S. Federal Government.

- Model Evaluation Results and Methodologies

The Contractor shall provide documentation describing the Evaluation Results of bias evaluations conducted by the Vendor to include the methodology for performing such tests (e.g., testing prompt pairs for politically oriented topics).

The documentation shall also include Benchmark scoring results measuring the model’s bias, helpfulness, honesty, or accuracy when provided with ambiguous versus straightforward questions.  (Including any benchmarks comparing performance across multiple languages, where applicable).

- Description of Enterprise-Level Controls

The Contractor shall provide documentation describing the Enterprise Governance tools and controls, such as:

  - Customizable system instructions that are additive to a base model’s system prompts or content generation filters.

  - Product features that require a model to cite sources of its outputs or otherwise provide visibility into the provenance of the model’s outputs.

  - AI System/LLM model evaluation tools that enable comparisons either between a model’s outputs, or across various models.

- Third Party Modification Disclosure

The Contractor shall disclose of any additional controls to modify an AI Model’s/LLM’s output applied by the Contractor if the Contractor is not a direct developer of the LLM (e.g., classifiers, system prompts, fine-tuning, content moderation and filters, etc.)

Deliverable:

AI System/LLM Development and Operation Documentation Package

      - MONITORING, REPORTING, AND CORRECTIVE ACTION

The Contractor shall develop and implement a Compliance Monitoring and Reporting Plan supporting ongoing monitoring processes to evaluate AI outputs for compliance with Trustworthy AI and Unbiased AI principles. This plan shall include the mechanism for authorized users to provide end user feedback to report suspected violations of Truth-Seeking or Ideological Neutrality requirements.

The Contractor shall notify the COR within 10 business days of identifying any material deviation from these principles and shall submit a written Corrective Action Plan describing mitigation steps, responsible parties, and timelines.  Any material deviation, corrective action taken, and results shall be detailed in the <Weekly or Monthly> Progress Reports.

Deliverable:

- Compliance Monitoring and Reporting Plan

- Corrective Action Plan

      - AI MODEL UPDATES AND CHANGE DISCLOSURES

The Contractor, in an AI Model/LLM Change Disclosure, shall notify the Government throughout the PoP in advance of any material changes to AI models, including new AI enhancements, features and/or components, controls, retraining, classifiers, system prompts, fine-tuning, content moderation, filters, version replacement, or architectural changes, that could reasonably affect compliance with Trustworthy AI or Unbiased AI principles. Updated documentation shall be provided to VA for VA approval prior to implementation of such changes.

Deliverable:

- AI Model/LLM Change Disclosure

### SOURCE CODE HARMONIZATION AND REUSE IN INFORMATION TECHNOLOGY (SHARE IT Act)

The Contractor shall comply with the Source Code Harmonization and Reuse in Information Technology (SHARE IT) Act, P.L. 118-187, when developing and delivering custom code first produced for the VA in the performance of this Contract/Order.  The Contractor shall deliver to the Government all data first produced under this Contract/Order with unlimited rights as defined by FAR 52.227-14, to include without limitation, all custom-developed code and other key technical components of the code (including documentation, data models, schemas, metadata, architecture designs, configuration scripts, and artifacts required to develop, build, test, and deploy the code).  Custom-developed code includes source code, or segregable portions of source code and all documentation created in support thereof to include source code written for a software project, product, module, plugin, script, middleware, or application programming interface.

## SECURITY AND PRIVACY REQUIREMENTS

It has been determined that protected health information may be disclosed or accessed and a signed Business Associate Agreement (BAA) shall be required.  The Contractor shall adhere to the requirements set forth within the BAA, referenced in Section D of the contract, and shall comply with VA Directive 6066.

### POSITION/TASK RISK DESIGNATION LEVEL(S)

In accordance with VA Handbook 0710, Personnel Vetting Program, the position sensitivity and the level of background investigation commensurate with the required level of access for the following tasks within the PWS are:

# Position Sensitivity and Background Investigation Requirements by Task

| Task Number | Tier1 / Low Risk | Tier 2 / Moderate Risk | Tier 4 / High Risk |
| --- | --- | --- | --- |
| 5.1 | ☒ | ☐ | ☐ |
| 5.2 | ☒ | ☐ | ☐ |
| 5.3 | ☒ | ☐ | ☐ |
| 5.4 | ☒ | ☐ | ☐ |
| 5.5 | ☒ | ☐ | ☐ |
| 5.6 | ☒ | ☐ | ☐ |
| 5.7 | ☒ | ☐ | ☐ |
| 5.8 | ☒ | ☐ | ☐ |
| 5.9 | ☒ | ☐ | ☐ |
| 5.10 | ☒ | ☐ | ☐ |
| 5.11 | ☒ | ☐ | ☐ |
| 5.12 | ☒ | ☐ | ☐ |
| 5.13 | ☒ | ☐ | ☐ |

The Tasks identified above and the resulting Position Sensitivity and Background Investigation requirements identify, in effect, the Background Investigation requirements for Contractor individuals, based upon the tasks the particular Contractor individual will be working.  The submitted Contractor Staff Roster must indicate the required Background Investigation Level for each Contractor individual based upon the tasks the Contractor individual will be working, in accordance with their submitted proposal.

### CONTRACTOR PERSONNEL SECURITY REQUIREMENTS

Contractor Responsibilities:

- The Contractor shall prescreen all personnel requiring access to the computer systems to ensure they maintain the appropriate Background Investigation, and are able to read, write, speak, and understand the English language.

Within 3 business days after award, the Contractor shall provide a roster of Contractor and Subcontractor employees to the COR to begin their background investigations in accordance with the PAL template artifact.  The Contractor Staff Roster shall contain the Contractor’s Full Name, Date of Birth, Place of Birth, individual background investigation level requirement (based upon Section 6.2.1 Tasks), etc.  The Contractor shall submit full Social Security Numbers either within the Contractor Staff Roster or under separate cover to the COR.  The Contractor Staff Roster shall be updated and provided to VA within 1 day of any changes in employee status, training certification completion status, Background Investigation level status, additions/removal of employees, etc. throughout the Period of Performance.  The Contractor Staff Roster shall remain a historical document indicating all past information and the Contractor shall indicate in the Comment field, employees no longer supporting this contract.  The preferred method to send the Contractor Staff Roster or Social Security Number is by encrypted e-mail. If unable to send encrypted e-mail, other methods which comply with FIPS 140-2 (or its successor) are to encrypt the file, use a secure fax, or use a traceable mail service. (Note that by September 22, 2026, all FIPS 140-2 certificate validations will be placed on the Historical List. See FIPS Transition Effort Timeline for more details:  https://csrc.nist.gov/projects/fips-140-3-transition-effort#schedule)

- The Contractor should coordinate with the location of the nearest VA fingerprinting office through the COR.  Only electronic fingerprints are authorized.  The Contractor shall bring their completed Personnel Security Adjudication Center (PSAC) Fingerprint request form with them (see paragraph d.4. below) when getting fingerprints taken.

- The Contractor shall ensure the following required forms are submitted to the COR within 5 days after contract award:

- Optional Form 306

- Self-Certification of Continuous Service

- VA Form 0710

- Completed PSAC Fingerprint Request Form

The Contractor personnel shall submit all required information related to their background investigations (completion of the investigation documents (SF85, SF85P, or SF 86) utilizing the Defense Counterintelligence and Security Agency (DCSA) National Background Investigation Services (NBIS) Electronic Application (eAPP) (formerly e-QIP) after receiving an email notification from the PSAC.

The Contractor employee shall certify and release the eAPP document, print, and sign the signature pages, and send them encrypted to the COR for electronic submission to the PSAC.  These documents shall be submitted to the COR within 3 business days of receipt of the eAPP notification email.  (Note:  DCSA is moving towards a “click to sign” process.  If click to sign is used, the Contractor employee should notify the COR within 3 business days that documents were signed via eAPP).

- The Contractor shall be responsible for the actions of all personnel provided to work for VA under this contract.  In the event that damages arise from work performed by Contractor provided personnel, under the auspices of this contract, the Contractor shall be responsible for all resources necessary to remedy the incident.

- A Contractor may be granted unescorted access to VA facilities and/or access to VA Information Technology resources (network and/or protected data) with a favorably adjudicated Special Agreement Check (SAC), completed training delineated in VA Handbook 6500.6 (Appendix C, Section 4), signed “Contractor Rules of Behavior”, and with a valid, operational Personal Identity Verification (PIV) credential for PIV-only logical access to VA’s network.  A PIV card credential can be issued once your SAC has been favorably adjudicated and your background investigation has been scheduled by DCSA.  However, the Contractor will be responsible for the actions of the Contractor personnel they provide to perform work for VA.  The investigative history for Contractor personnel working under this contract must be maintained in the database of DCSA.

- The Contractor, when notified of an unfavorably adjudicated background investigation on a Contractor employee as determined by the Government, shall withdraw the employee from consideration in working under the contract.

Failure to comply with the Contractor personnel security investigative requirements may result in loss of physical and/or logical access to VA facilities and systems by Contractor and Subcontractor employees and/or termination of the contract for default.

PIV Credential Holders must follow all HSPD-12 policies and procedures as well as use and protect their assigned identity credentials in accordance with VA policies and procedures, displaying their badges at all times, and returning the identity credentials upon termination of their relationship with VA.

Deliverable:

Contractor Staff Roster

## METHOD AND DISTRIBUTION OF DELIVERABLES

The Contractor shall deliver documentation in electronic format, unless otherwise directed in Section B of the solicitation/contract.  Acceptable electronic media include  Microsoft 365 suite, MS Word, MS Excel, MS PowerPoint, MS Project, MS Access, MS Visio, AutoCAD, and Adobe Postscript Data Format (PDF).

## PERFORMANCE METRICS

The table below defines the Performance Standards and Acceptable Levels of Performance associated with this effort.

Performance Standards Chart (To Be Provided)

The COR will utilize a Quality Assurance Surveillance Plan (QASP) throughout the life of the contract to ensure that the Contractor is performing the services required by this PWS in an acceptable level of performance.  The Government reserves the right to alter or change the surveillance methods in the QASP at its own discretion. A Performance Based Service Assessment will be used by the COR in accordance with the QASP to assess Contractor performance.

## FACILITY/RESOURCE PROVISIONS

The Contractor shall request other Government documentation deemed pertinent to the work accomplishment directly from the Government officials with whom the Contractor has contact.  The Contractor shall consider the COR as the final source for needed Government documentation when the Contractor fails to secure the documents by other means.  The Contractor is expected to use common knowledge and resourcefulness in securing all other reference materials, standard industry publications, and related materials that are pertinent to the work.

VA may provide remote access to VA specific systems/network in accordance with VA Handbook 6500, which requires the use of a VA approved method to connect external equipment/systems to VA’s network.  Citrix Access Gateway (CAG) and now the Azure Virtual Desktop (AVD) (as VA is currently transitioning from CAG to the AVD), are the current and only VA approved methods for remote access users when using or manipulating VA information for official VA Business.  VA permits CAG remote access through approved Personally Owned Equipment (POE) and Other Equipment (OE) provided the equipment meets all applicable 6500 Handbook requirements for POE/OE.  All of the security controls required for Government furnished equipment (GFE) must be utilized in approved POE or OE.   The Contractor shall provide proof to the COR for review and approval that their POE or OE meets the VA Handbook 6500 requirements and VA Handbook 6500.6 Appendix C, herein incorporated as Addendum B, before use. CAG authorized users shall not be permitted to copy, print, or save any VA information accessed via CAG at any time.  VA prohibits remote access to VA’s network from non-North Atlantic Treaty Organization (NATO) countries.   The exception to this are countries where VA has approved operations established (e.g. Philippines and South Korea).  Exceptions are determined by the COR in coordination with the Information System Security Officer (ISSO) and Privacy Officer (PO).

This remote access may provide access to VA specific software such as Veterans Health Information System and Technology Architecture (VistA), ClearQuest, PAL, Primavera, and Remedy, including appropriate seat management and user licenses, depending upon the level of access granted.  The Contractor shall utilize government-provided software development and test accounts, documents, and requirements repositories, etc. as required for the development, storage, maintenance, and delivery of products within the scope of this effort.  All VA sensitive information shall be protected at all times in accordance with VA Handbook 6500, local security field office System Security Plans (SSP’s) and Authority to Operate (ATO)’s for all systems/LAN’s accessed while performing the tasks detailed in this PWS.  The Contractor shall ensure all work is performed in countries deemed not to pose a significant security risk.  For detailed Security and Privacy Requirements (additional requirements of the contract consolidated into an addendum for easy reference) refer to ADDENDUM A – ADDITIONAL VA REQUIREMENTS, CONSOLIDATED and ADDENDUM B - VA INFORMATION AND INFORMATION SYSTEM SECURITY/PRIVACY LANGUAGE.

## GOVERNMENT FURNISHED PROPERTY

No Government Furnished Equipment (GFE) will be provided as part of this contract.

## SHIPMENT OF HARDWARE OR EQUIPMENT

There is no hardware or physical equipment being delivered within the scope of this contract.

# ADDENDUM A – ADDITIONAL VA REQUIREMENTS, CONSOLIDATED

Cyber and Information Security Requirements for VA IT Services

The Contractor shall ensure adequate LAN/Internet, data, information, and system security in accordance with VA standard operating procedures and standard PWS language, conditions, laws, and regulations.  The Contractor’s firewall and web server shall meet or exceed VA minimum requirements for security.  All VA data shall be protected behind an approved firewall.  Any security violations or attempted violations shall be reported to the VA Program Manager and VA Information Security Officer as soon as possible.  The Contractor shall follow all applicable VA policies and procedures governing information security, especially those that pertain to assessment and authorization and continuous monitoring.

Contractor supplied equipment, PCs of all types, equipment with hard drives, etc. for contract services must meet all security requirements that apply to Government Furnished Equipment (GFE) and Government Owned Equipment (GOE).  Security Requirements include:  a) VA Approved Encryption Software must be installed on all laptops or mobile devices before being placed into operation, b) Bluetooth equipped devices are prohibited within VA; Bluetooth must be permanently disabled or removed from the device, unless the connection uses FIPS 140-2 (or its successor) validated encryption, c) VA approved anti-virus and firewall software, d) Equipment must meet all VA sanitization requirements and procedures before disposal.  The Contractor shall notify the COR/CO within one hour of disclosure or successful exploits of any vulnerability which can compromise the confidentiality, integrity, or availability of the information systems.

Each documented initiative under this contract incorporates VA Handbook 6500.6, “Contract Security,” March 12, 2010 (Appendix C updated April 22, 2024) by reference as though fully set forth therein.  The VA Handbook 6500.6, “Contract Security” shall also be included in every related agreement, contract, or order.  The VA Handbook 6500.6, Appendix C, is included in this document as Addendum B.

Training requirements:  The Contractor shall complete all mandatory training courses on the current VA training site, the VA Talent Management System (TMS) 2.0, and will be tracked therein.  The TMS 2.0 may be accessed at https://www.tms.va.gov/SecureAuth35/.  If you do not have a TMS 2.0 profile, go to

https://www.tms.va.gov/SecureAuth35/ and click on the “Create New User” link on the TMS 2.0 to gain access.

Contractor employees shall complete a VA Systems Access Agreement if they are provided access privileges as an authorized user of the computer system of VA.

VA Enterprise Architecture Compliance

The applications, supplies, and services furnished under this contract must comply with VA Enterprise Architecture (EA), available at http://www.ea.oit.va.gov/index.asp in force at the time of issuance of this contract, including the Program Management Plan and VA's rules, standards, and guidelines in the Technical Reference Model/Standards Profile (TRMSP).  VA reserves the right to assess contract deliverables for EA compliance prior to acceptance.

VA Internet and Intranet Standards

The Contractor shall adhere to and comply with VA Directive 6102 and VA’s Web Governance if the Contractor’s work includes building and maintaining VA’s digital presence.  This pertains, but is not limited to: websites, social media, creating announcements; collecting information; databases to be accessed, graphics and links to external sites.

Internet/Intranet Services Directive 6102 is posted at (copy and paste the following URL to browser):  https://www.va.gov/vapubs/viewPublication.asp?Pub_ID=1056&FType=2

VA Web Governance website can be found at Home - VA Web Governance.

Notice of the Federal Accessibility Law Affecting All Information and Communication Technology (ICT) Procurements (Section 508)

On January 18, 2017, the Access Board issued a final rule that updated accessibility requirements covered by Section 508 and refreshed guidelines for telecommunications equipment subject to Section 255 of the Communications Act.  The final rule went into effect on January 18, 2018.  The revisions and updates to the Section 508-based standards and Section 255-based guidelines are intended to ensure that information and communication technology (ICT) covered by the respective statutes is accessible to and usable by individuals with disabilities.

Section 508 – Information and Communication Technology (ICT) Standards

The Section 508 standards established by the Access Board are incorporated into, and made part of all VA orders, solicitations and purchase orders developed to procure ICT.  These standards are found in their entirety at: Revised 508 Standards and 255 Guidelines (access-board.gov).  A single PDF file version of the Revised Section 508 Standards and 255 Guidelines will be supplied upon request or can be obtained from the Access Board website.  Federal agencies must comply with the Rehabilitation Act of 1973, as amended.

The Contractor shall comply with “508 Chapter 2: Scoping Requirements” for all electronic ICT and content delivered under this contract. Specifically, as appropriate for the technology and its functionality, the Contractor shall comply with the technical standards marked here:

☒	E205 Electronic Content – (Accessibility Standard -WCAG 2.0 Level A and AA Guidelines)

☒	E204 Functional Performance Criteria

☒	E206 Hardware Requirements

☒	E207 Software Requirements

☒	E208 Support Documentation and Services Requirements

Compatibility with Assistive Technology

The standards do not require installation of specific accessibility-related software or attachment of an assistive technology device.  Section 508 requires that ICT be compatible with such software and devices so that ICT can be accessible to and usable by individuals using assistive technology, including but not limited to screen readers, screen magnifiers, and speech recognition software.

Acceptance and Acceptance Testing

Deliverables resulting from this solicitation will be accepted based in part on satisfaction of the Section 508 Chapter 2:  Scoping Requirements standards identified above.

The Government reserves the right to test for Section 508 Compliance before delivery.  The Contractor shall be able to demonstrate Section 508 Compliance upon delivery.

Physical Security & Safety Requirements:

The Contractor and their personnel shall follow all VA policies, standard operating procedures, applicable laws and regulations while on VA property.  Violations of VA regulations and policies may result in citation and disciplinary measures for persons violating the law.

- The Contractor and their personnel shall wear visible identification at all times while they are on the premises.

- VA does not provide parking spaces at the work site; the Contractor must obtain parking at the work site if needed.  It is the responsibility of the Contractor to park in the appropriate designated parking areas.  VA will not invalidate or make reimbursement for parking violations of the Contractor under any conditions.

- Smoking is prohibited inside/outside any building other than the designated smoking areas.

- Possession of weapons is prohibited.

- The Contractor shall obtain all necessary licenses and/or permits required to perform the work, with the exception of software licenses that need to be procured from a Contractor or vendor in accordance with the requirements document.  The Contractor shall take all reasonable precautions necessary to protect persons and property from injury or damage during the performance of this contract.

Confidentiality and Non-Disclosure

The Contractor shall follow all VA rules and regulations regarding information security to prevent disclosure of sensitive information to unauthorized individuals or organizations.

The Contractor may have access to Protected Health Information (PHI) and Electronic Protected Health Information (ePHI) that is subject to protection under the regulations issued by the Department of Health and Human Services, as mandated by the Health Insurance Portability and Accountability Act of 1996 (HIPAA); 45 CFR Parts 160 and 164, Subparts A and E, the Standards for Privacy of Individually Identifiable Health Information (“Privacy Rule”); and 45 CFR Parts 160 and 164, Subparts A and C, the Security Standard (“Security Rule”).  Pursuant to the Privacy and Security Rules, the Contractor must agree in writing to certain mandatory provisions regarding the use and disclosure of PHI and ePHI.

- The Contractor will have access to some privileged and confidential materials of VA.  These printed and electronic documents are for internal use only, are not to be copied or released without permission, and remain the sole property of VA.  Some of these materials are protected by the Privacy Act of 1974 (revised by PL 93-5791) and Title 38.  Unauthorized disclosure of Privacy Act or Title 38 covered materials is a criminal offense.

- The VA CO will be the sole authorized official to release in writing, any data, draft deliverables, final deliverables, or any other written or printed materials pertaining to this contract. The Contractor shall release no information.  Any request for information relating to this contract presented to the Contractor shall be submitted to the VA CO for response.

- Contractor personnel recognize that in the performance of this effort, Contractor personnel may receive or have access to sensitive information, including information provided on a proprietary basis by carriers, equipment manufacturers and other private or public entities.  Contractor personnel agree to safeguard such information and use the information exclusively in the performance of this contract.  Contractor shall follow all VA rules and regulations regarding information security to prevent disclosure of sensitive information to unauthorized individuals or organizations as enumerated in this section and elsewhere in this Contract and its subparts and appendices.

- Contractor shall limit access to the minimum number of personnel necessary for contract performance for all information considered sensitive or proprietary in nature.  If the Contractor is uncertain of the sensitivity of any information obtained during the performance this contract, the Contractor has a responsibility to ask the VA CO.

- Contractor shall train all of their employees involved in the performance of this contract on their roles and responsibilities for proper handling and nondisclosure of sensitive VA or proprietary information.  Contractor personnel shall not engage in any other action, venture or employment wherein sensitive information shall be used for the profit of any party other than those furnishing the information. The sensitive information transferred, generated, transmitted, or stored herein is for VA benefit and ownership alone.

- Contractor shall maintain physical security at all facilities housing the activities performed under this contract, including any Contractor facilities according to VA-approved guidelines and directives.  The Contractor shall ensure that security procedures are defined and enforced to ensure all personnel who are provided access to patient data must comply with published procedures to protect the privacy and confidentiality of such information as required by VA.

- Contractor must adhere to the following:

- The use of “thumb drives” or any other medium for transport of information is expressly prohibited.

- Controlled access to system and security software and documentation.

- Recording, monitoring, and control of passwords and privileges.

- All terminated personnel are denied physical and electronic access to all data, program listings, data processing equipment and systems.

- VA, as well as any Contractor (or Subcontractor) systems used to support development, provide the capability to cancel immediately all access privileges and authorizations upon employee termination.

- Contractor PM and VA PM are informed within twenty-four (24) hours of any employee termination.

- Acquisition sensitive information shall be marked "Acquisition Sensitive" and shall be handled as "For Official Use Only (FOUO)".

- Contractor does not require access to classified data.

- Regulatory standard of conduct governs all personnel directly and indirectly involved in procurements.  All personnel engaged in procurement and related activities shall conduct business in a manner above reproach and, except as authorized by statute or regulation, with complete impartiality and with preferential treatment for none.  The general rule is to strictly avoid any conflict of interest or even the appearance of a conflict of interest in VA/Contractor relationships.

- VA Form 0752 shall be completed by all Contractor employees working on this contract and shall be provided to the CO before any work is performed.  In the case that Contractor personnel are replaced in the future, their replacements shall complete VA Form 0752 prior to beginning work.

Information Technology Using Sustainable Products

N/A

# ADDENDUM B – VA INFORMATION AND INFORMATION SYSTEM SECURITY/ PRIVACY LANGUAGE

NOTE: In the event of a conflict, VA Acquisition Regulation (VAAR) Security Clauses take precedence over the language in this Addendum B.

APPLICABLE SECTIONS TAILORED FROM: VA NOTICE 24-12, APRIL 22, 2024, UPDATE TO VA HANDBOOK 6500.6, CONTRACT SECURITY, APPENDIX C VA INFORMATION AND INFORMATION SYSTEM SECURITY/PRIVACY LANGUAGE, FOR INCLUSION INTO CONTRACTS, AS APPROPRIATE

GENERAL

This entire section applies to all acquisitions requiring any Information Security and Privacy language. Contractors, contractor personnel, Subcontractors and subcontractor personnel will be subject to the same federal laws, regulations, standards, VA directives and handbooks, as VA personnel regarding information and information system security and privacy.

VA INFORMATION CUSTODIAL LANGUAGE

- The Government shall receive unlimited rights to data/intellectual property first produced and delivered in the performance of this contract or order (hereinafter “contract”) unless expressly stated otherwise in this contract. This includes all rights to source code and all documentation created in support thereof. The primary clause used to define Government and Contractor data rights is FAR 52.227-14 Rights in Data – General.

- Information made available to the Contractor by VA for the performance or administration of this contract will be used only for the purposes specified in the service agreement, SOW, PWS, PD, and/or contract. The Contractor shall not use VA information in any other manner without prior written approval from a VA Contracting Officer (CO). The primary clause used to define Government and Contractor data rights is FAR 52.227-14 Rights in Data – General.

- VA information will not be co-mingled with any other data on the Contractor’s information systems or media storage systems. The Contractor shall ensure compliance with Federal and VA requirements related to data protection, data encryption, physical data segregation, logical data segregation, classification requirements and media sanitization.

- VA reserves the right to conduct scheduled or unscheduled audits, assessments, or investigations of Contractor Information Technology (IT) resources to ensure information security is compliant with Federal and VA requirements. The Contractor shall provide all necessary access to records (including electronic and documentary materials related to the contracts and subcontracts) and support (including access to Contractor and Subcontractor staff associated with the contract) to VA, VA's Office Inspector General (OIG), and/or Government Accountability Office (GAO) staff during periodic control assessments, audits, or investigations.

- The Contractor may only use VA information within the terms of the contract and applicable Federal law, regulations, and VA policies. If new Federal information security laws, regulations or VA policies become applicable after execution of the contract, the parties agree to negotiate contract modification and adjustment necessary to implement the new laws, regulations, and/or policies.

- The Contractor shall not make copies of VA information except as specifically authorized and necessary to perform the terms of the contract. If copies are made for restoration purposes, after the restoration is complete, the copies shall be destroyed in accordance with VA Directive 6500, VA Cybersecurity Program and VA Information Security Knowledge Service.

- If a Veterans Health Administration (VHA) contract is terminated for default or cause with a business associate, the related local Business Associate Agreement (BAA) shall also be terminated and actions taken in accordance with VHA Directive 1605.05, Business Associate Agreements. If there is an executed national BAA associated with the contract, VA will determine what actions are appropriate and notify the contractor.

- The Contractor shall store and transmit VA sensitive information in an encrypted form, using VA-approved encryption tools which are, at a minimum, Federal Information Processing Standards (FIPS) 140-2, Security Requirements for Cryptographic Modules (or its successor) validated and in conformance with VA Information Security Knowledge Service requirements. The Contractor shall transmit VA sensitive information using VA approved Transport Layer Security (TLS) configured with FIPS based cipher suites in conformance with National Institute of Standards and Technology (NIST) 800-52, Guidelines for the Selection, Configuration and Use of Transport Layer Security (TLS) Implementations.

- The Contractor’s firewall and web services security controls, as applicable, shall meet or exceed VA’s minimum requirements.

- Except for uses and disclosures of VA information authorized by this contract for performance of the contract, the Contractor may use and disclose VA information only in two situations: (i) in response to a qualifying order of a court of competent jurisdiction after notification to VA CO (ii) with written approval from the VA CO. The Contractor shall refer all requests for, demands for production of or inquiries about, VA information and information systems to the VA CO for response.

- Notwithstanding the provision above, the Contractor shall not release VA records protected by Title 38 U.S.C. § 5705, Confidentiality of medical quality-assurance records and/or Title 38 U.S.C. § 7332, Confidentiality of certain medical records pertaining to drug addiction, sickle cell anemia, alcoholism or alcohol abuse or infection with Human Immunodeficiency Virus (HIV). If the Contractor is in receipt of a court order or other requests for the above-mentioned information, the Contractor shall immediately refer such court order or other requests to the VA CO for response.

- Information made available to the Contractor by VA for the performance or administration of this contract or information developed by the Contractor in performance or administration of the contract will be protected and secured in accordance with VA Directive 6500 and Identity and Access Management (IAM) Security processes specified in the VA Information Security Knowledge Service.

- Any data destruction done on behalf of VA by a Contractor shall be done in accordance with National Archives and Records Administration (NARA) requirements as outlined in VA Directive 6300, Records and Information Management, VA Handbook 6300.1, Records Management Procedures, and applicable VA Records Control Schedules.

- The Contractor shall provide its plan for destruction of all VA data in its possession according to VA Directive 6500 and NIST 800-88, Guidelines for Media Sanitization prior to termination or completion of this contract. If directed by the COR/CO, the Contractor shall return all Federal Records to VA for disposition.

- Any media, such as paper, magnetic tape, magnetic disks, solid state devices or optical discs that is used to store, process, or access VA information that cannot be destroyed shall be returned to VA. The Contractor shall hold the appropriate material until otherwise directed by the Contracting Officer’s Representative (COR) or CO. Items shall be returned securely via VA-approved methods. VA sensitive information must be transmitted utilizing VA-approved encryption tools which are validated under FIPS 140-2 (or its successor) and NIST 800-52. If mailed, the Contractor shall send via a trackable method (USPS, UPS, FedEx, etc.) and immediately provide the COR/CO with the tracking information. Self-certification by the Contractor that the data destruction requirements above have been met shall be sent to the COR/CO within 30 business days of termination of the contract.

- All electronic storage media (hard drives, optical disks, CDs, back-up tapes, etc.) used to store, process or access VA information will not be returned to the Contractor at the end of lease, loan, or trade-in. Exceptions to this paragraph will only be granted with the written approval of the VA CO.

ACCESS TO VA INFORMATION AND VA INFORMATION SYSTEMS

- A Contractor/Subcontractor shall request logical (technical) or physical access to VA information and VA information systems for their employees and subcontractors only to the extent necessary to perform the services specified in the solicitation or contract. This includes indirect entities, both affiliate of Contractor/Subcontractor and agent of Contractor/Subcontractor.

- Contractors and subcontractors shall sign the VA Information Security Rule of Behavior (ROB) before access is provided to VA information and information systems (see Section 4, Training, below). The ROB contains the minimum user compliance requirements and does not supersede any policies of VA facilities or other agency components which provide higher levels of protection to VA’s information or information systems. Users who require privileged access shall complete the VA elevated privilege access request processes before privileged access is granted.

- All Contractors and Subcontractors working with VA information are subject to the same security investigative and clearance requirements as those of VA appointees or employees who have access to the same types of information. The level and process of background security investigations for contractors shall be in accordance with VA Directive and Handbook 0710, Personnel Vetting Program. The Office of Human Resources and Administration/Operations, Security and Preparedness (HRA/OSP) is responsible for these policies and procedures. Contract personnel who require access to classified information or information systems shall have an appropriate security clearance. Verification of a Security Clearance shall be processed through the Special Security Officer located in HRA/OSP. Contractors shall conform to all requirements stated in the National Industrial Security Program Operating Manual (NISPOM).

- All Contractors and subcontractors shall comply with conditions specified in VAAR 852.204-71(d); Contractor operations required to be in United States. All Contractors and Subcontractors working with VA information must be permanently located within a jurisdiction subject to the law of the United States or its Territories to the maximum extent feasible. If services are proposed to be performed abroad the Contractor must state where all non-U.S. services are provided. The Contractor shall deliver to VA a detailed plan specifically addressing communications, personnel control, data protection and potential legal issues. The plan shall be approved by the COR/CO in writing prior to access being granted.

- The Contractor shall notify the COR/CO in writing immediately (no later than 24 hours) after personnel separation or occurrence of other causes. Causes may include the following:

  - Contractor/Subcontractor personnel no longer has a need for access to VA information or VA information systems.

  - Contractor/Subcontractor personnel are terminated, suspended, or otherwise has their work on a VA project discontinued for any reason.

  - Contractor believes their own personnel or Subcontractor personnel may pose a threat to their company’s working environment or to any company-owned property. This includes Contractor-owned assets, buildings, confidential data, customers, employees, networks, systems, trade secrets and/or VA data.

  - Any previously undisclosed changes to Contractor/Subcontractor background history are brought to light, including but not limited to changes to background investigation or employee record.

  - Contractor/Subcontractor personnel have their authorization to work in the United States revoked.

  - Agreement by which Contractor provides products and services to VA has either been fulfilled or terminated, such that VA can cut off electronic and/or physical access for Contractor personnel.

- In such cases of contract fulfillment, termination, or other causes; the Contractor shall take the necessary measures to immediately revoke access to VA network, property, information, and information systems (logical and physical) by Contractor/Subcontractor personnel. These measures include (but are not limited to): removing and then securing Personal Identity Verification (PIV) badges and PIV – Interoperable (PIV-I) access badges, VA-issued photo badges, credentials for VA facilities and devices, VA-issued laptops, and authentication tokens. Contractors shall notify the appropriate VA COR/CO immediately to initiate access removal.

- Contractors/Subcontractors who no longer require VA accesses will return VA-issued property to VA. This property includes (but is not limited to): documents, electronic equipment, keys, and parking passes. PIV and PIV-I access badges shall be returned to the nearest VA PIV Badge Issuance Office. Once they have had access to VA information, information systems, networks and VA property in their possessions removed, Contractors shall notify the appropriate VA COR/CO.

TRAINING

- All contractors and subcontractors requiring access to VA information and VA information systems shall successfully complete the following before being granted access to VA information and its systems:

  - VA Privacy and Information Security Awareness and Rules of Behavior course (Talent Management System (TMS) #10176) initially and annually thereafter.

  - Sign and acknowledge (electronically through TMS #10176) understanding of and responsibilities for compliance with the Organizational Rules of Behavior, relating to access to VA information and information systems initially and annually thereafter; and

  - Successfully complete any additional cyber security or privacy training, as required for VA personnel with equivalent information system or information access [to be defined by the VA program official and provided to the VA CO for inclusion in the solicitation document – i.e., any role-based information security training].

- The Contractor shall provide to the COR/CO a copy of the training certificates and certification of signing the Organizational Rules of Behavior for each applicable employee within five days of the initiation of the contract and annually thereafter, as required.

- Failure to complete the mandatory annual training is grounds for suspension or termination of all physical or electronic access privileges and removal from work on the contract until such time as the required training is complete.

SECURITY INCIDENT INVESTIGATION

- The Contractor, Subcontractor, their employees, or business associates shall immediately (within one hour) report suspected security / privacy incidents to the VA OIT’s Enterprise Service Desk (ESD) by calling (855) 673-4357 (TTY: 711). The ESD is OIT’s 24/7/365 single point of contact for IT-related issues. After reporting to the ESD, the Contractor, Subcontractor, their employees, or business associates shall, within one hour, provide the COR/CO the incident number received from the ESD.

- To the extent known by the Contractor/Subcontractor, the Contractor/Subcontractor's notice to VA shall identify the information involved and the circumstances surrounding the incident, including the following:

  - The date and time (or approximation of) the Security Incident occurred.

  - The names of individuals involved (when applicable).

  - The physical and logical (if applicable) location of the incident.

  - Why the Security Incident took place (i.e., catalyst for the failure).

  - The amount of data belonging to VA believed to have been compromised.

  - The remediation measures the Contractor is taking to ensure no future incidents of a similar nature.

- After the Contractor has provided the initial detailed incident summary to VA, they will continue to provide written updates on any new and relevant circumstances or facts they discover. The Contractor, Subcontractor, and their employes shall fully cooperate with VA or third-party entity performing an independent risk analysis on behalf of VA. Failure to cooperate may be deemed a material breach and grounds for contract termination.

- VA IT Contractors shall follow VA Handbook 6500, Risk Management Framework for VA Information Systems VA Information Security Program, and VA Information Security Knowledge Service guidance for implementing an Incident Response Plan or integrating with an existing VA implementation.

- In instances of theft or break-in or other criminal activity, the Contractor/Subcontractor must concurrently report the incident to the appropriate law enforcement entity (or entities) of jurisdiction, including the VA OIG, and the VA Office of Security and Law Enforcement. The Contractor, its employees, and its Subcontractors and their employees shall cooperate with VA and any law enforcement authority responsible for the investigation and prosecution of any possible criminal law violation(s) associated with any incident. The Contractor/Subcontractor shall cooperate with VA in any civil litigation to recover VA information, obtain monetary or other compensation from a third party for damages arising from any incident, or obtain injunctive relief against any third party arising from, or related to, the incident.

- The Contractor shall comply with VA Handbook 6500.2, Management of Breaches Involving Sensitive Personal Information, which establishes the breach management policies and assigns responsibilities for the oversight, management and reporting procedures associated with managing of breaches.

- With respect to unsecured Protected Health Information (PHI), the Contractor is deemed to have discovered a data breach when the Contractor knew or should have known of breach of such information. When a business associate is part of VHA contract, notification to the covered entity (VHA) shall be made in accordance with the executed BAA.

- If the Contractor or any of its agents fails to protect VA sensitive personal information or otherwise engages in conduct which results in a data breach involving any VA sensitive personal information the Contractor/Subcontractor processes or maintains under the contract; the Contractor shall pay liquidated damages to the VA as set forth in clause 852.211-76, Liquidated Damages—Reimbursement for Data Breach Costs.

INFORMATION SYSTEM DESIGN AND DEVELOPMENT

- Information systems designed or developed on behalf of VA at non-VA facilities shall comply with all applicable Federal law, regulations, and VA policies. This includes standards for the protection of electronic Protected Health Information (PHI), outlined in 45 C.F.R. Part 164, Subpart C and information and system security categorization level designations in accordance with FIPS 199, Standards for Security Categorization of Federal Information and Information Systems and FIPS 200, Minimum Security Requirements for Federal Information Systems. Baseline security controls shall be implemented commensurate with the FIPS 199 system security categorization (reference VA Handbook 6500 and VA Trusted Internet Connections (TIC) Architecture).

- Contracted new developments require creation, testing, evaluation, and authorization in compliance with VA Assessment and Authorization (A&A) processes in VA Handbook 6500 and VA Information Security Knowledge Service to obtain an Authority to Operate (ATO). VA Directive 6517, Risk Management Framework for Cloud Computing Services, provides the security and privacy requirements for cloud environments.

- VA IT Contractors, Subcontractors and third-party service providers shall address and/or integrate applicable VA Handbook 6500, VA Handbook 6517, Risk Management Framework for Cloud Computing Services and Information Security Knowledge Service specifications in delivered IT systems/solutions, products and/or services. If systems/solutions, products and/or services do not directly match VA security requirements, the Contractor shall work though the COR/CO to identify the VA organization responsible for governance or resolution. Contractors shall comply with FAR 39.1, specifically the prohibitions referenced.

- The Contractor (including producers and resellers) shall comply with Office of Management and Budget (OMB) M-26-05 when using third-party software on VA information systems or otherwise affecting the VA information. This includes new software purchases and software renewals for software developed or modified by major version change. The term “software” includes firmware, operating systems, applications and application services (e.g., cloud-based software), as well as products containing software. The Contractor shall provide a self-attestation that secure software development practices are utilized as outlined by Executive Order (EO)14028 and NIST Guidance. A third-party assessment provided by either a certified Federal Risk and Authorization Management Program (FedRAMP) Third Party Assessor Organization (3PAO) or one approved by the agency will be acceptable in lieu of a software producer's self-attestation.

- The Contractor shall ensure all delivered applications, systems and information systems are compliant with Homeland Security Presidential Directive (HSPD) 12 and VA Identity and Access management (IAM) enterprise identity management requirements as set forth in OMB M-19-17, M-05-24, FIPS 201-3, Personal Identity Verification (PIV) of Federal Employees and Contractors (or its successor), M-21-31 and supporting NIST guidance. This applies to Commercial Off-The-Shelf (COTS) product(s) that the Contractor did not develop, all software configurations and all customizations.

- The Contractor shall ensure all Contractor delivered applications and systems provide user authentication services compliant with VA Handbook 6500, VA Information Security Knowledge Service, IAM enterprise requirements and NIST 800-63, Digital Identity Guidelines, for direct, assertion-based authentication and/or trust-based authentication, as determined by the design and integration patterns. Direct authentication at a minimum must include Public Key Infrastructure (PKI) based authentication supportive of PIV and/or Common Access Card (CAC), as determined by the business need and compliance with VA Information Security Knowledge Service specifications.

- The Contractor shall use VA authorized technical security baseline configurations and certify to the COR that applications are fully functional and operate correctly as intended on systems in compliance with VA baselines prior to acceptance or connection into an authorized VA computing environment. If the Defense Information Systems Agency (DISA) has created a Security Technical Implementation Guide (STIG) for the technology, the Contractor may configure to comply with that STIG. If VA determines a new or updated VA configuration baseline needs to be created, the Contractor shall provide required technical support to develop the configuration settings. FAR 39.1 requires the population of operating systems and applications includes all listed on the NIST National Checklist Program Checklist Repository,

- The standard installation, operation, maintenance, updating and patching of software shall not alter the configuration settings from VA approved baseline configuration. Software developed for VA must be compatible with VA enterprise installer services and install to the default “program files” directory with silently install and uninstall. The Contractor shall perform testing of all updates and patching prior to implementation on VA systems.

- Applications designed for normal end users will run in the standard user context without elevated system administration privileges.

- The Contractor-delivered solutions shall reside on VA approved operating systems. Exceptions to this will only be granted with the written approval of the COR/CO.

- The Contractor shall design, develop, and implement security and privacy controls in accordance with the provisions of VA security system development life cycle outlined in NIST 800-37, Risk Management Framework for Information Systems and Organizations: A System Life Cycle Approach for Security and Privacy, VA Directive and Handbook 6500, and VA Handbook 6517.

- The Contractor shall comply with the Privacy Act of1974 (the Act), FAR 52.224-2 Privacy Act, and VA rules and regulations issued under the Act in the design, development, or operation of any system of records on individuals to accomplish a VA function.

- The Contractor shall ensure the security of all procured or developed information systems, systems, major applications, minor applications, enclaves and platform information technologies, including their subcomponents (hereinafter referred to as “Information Systems”) throughout the life of this contract and any extension, warranty, or maintenance periods. This includes security configurations, workarounds, patches, hotfixes, upgrades, replacements and any physical components which may be necessary to remediate all security vulnerabilities published or known to the Contractor anywhere in the information systems (including systems, operating systems, products, hardware, software, applications and firmware). The Contractor shall ensure security fixes do not negatively impact the Information Systems.

- When the Contractor is responsible for operations or maintenance of the systems, the Contractor shall apply the security fixes within the timeframe specified by the associated controls on the VA Information Security Knowledge Service. When security fixes involve installing third party patches (such as Microsoft OS patches or Adobe Acrobat), the Contractor shall provide written notice to the VA COR/CO that the patch has been validated as to not affecting the Systems within 10 business days.

INFORMATION SYSTEM HOSTING, OPERATION, MAINTENANCE OR USE

- The Contractor shall comply with all Federal laws, regulations, and VA policies for Information systems (cloud and non-cloud) that are hosted, operated, maintained, or used on behalf of VA at non-VA facilities. Security controls for collecting, processing, transmitting, and storing of VA sensitive information, must be in place. The controls will be tested by VA or a VA sanctioned 3PAO and approved by VA prior to hosting, operation, maintenance or use of the information system or systems by or on behalf of VA. This includes conducting compliance risk assessments, security architecture analysis, routine vulnerability scanning, system patching, change management procedures and the completion of an acceptable contingency plan for each system. The Contractor’s security control procedures shall be the same as procedures used to secure VA-operated information systems.

- Outsourcing (Contractor facility, equipment, or staff) of systems or network operations, telecommunications services or other managed services require Assessment and Authorization (A&A) of the Contractor’s systems in accordance with VA Handbook 6500 as specified in VA Information Security Knowledge Service. Major changes to the A&A package may require reviewing and updating all the documentation associated with the change. The Contractor’s cloud computing systems shall comply with FedRAMP and VA Directive 6517 requirements.

- The Contractor shall return all electronic storage media (hard drives, optical disks, CDs, back-up tapes, etc.) on non-VA leased or non-VA owned IT equipment used to store, process or access VA information to VA in accordance with A&A package requirements. This applies when the contract is terminated or completed and prior to disposal of media. The Contractor shall provide its plan for destruction of all VA data in its possession according to VA Information Security Knowledge Service requirements and NIST 800-88. The Contractor shall send a self-certification that the data destruction requirements above have been met to the COR/CO within 30 business days of termination of the contract.

- All external internet connections to VA network involving VA information must be in accordance with VA Trusted Internet Connection (TIC) Reference Architecture and VA Directive and Handbook 6513, Secure External Connections and reviewed and approved by VA prior to implementation. Government-owned Contractor-operated systems, third party or business partner networks require a Memorandum of Understanding (MOU) and Interconnection Security Agreements (ISA).

- Contractor procedures shall be subject to periodic, announced, or unannounced assessments by VA officials, the OIG or a 3PAO. The physical security aspects associated with Contractor activities are also subject to such assessments. The Contractor shall report, in writing, any deficiencies noted during the above assessment to the VA COR/CO. The Contractor shall use VA’s defined processes to document planned remedial actions that address identified deficiencies in information security policies, procedures, and practices. The Contractor shall correct security deficiencies within the timeframes specified in the VA Information Security Knowledge Service.

- All major information system changes which occur in the production environment shall be reviewed by the VA to determine the impact on privacy and security of the system. Based on the review results, updates to the Authority to Operate (ATO) documentation and parameters may be required to remain in compliance with VA Handbook 6500 and VA Information Security Knowledge Service requirements.

- The Contractor shall conduct an annual privacy and security self-assessment on all information systems and outsourced services as required. Copies of the assessment shall be provided to the COR/CO. The VA/Government reserves the right to conduct assessment using government personnel or a third-party if deemed necessary. The Contractor shall correct or mitigate any weaknesses discovered during the assessment.

- VA prohibits the installation and use of personally owned or Contractor-owned equipment or software on VA information systems. If non-VA owned equipment must be used to fulfill the requirements of a contract, it must be stated in the service agreement, SOW, PWS, PD or contract. All security controls required for government furnished equipment must be utilized in VA approved Other Equipment (OE). Configuration changes to the Contractor OE, must be funded by the owner of the equipment. All remote systems must use a VA-approved antivirus software and a personal (host-based or enclave based) firewall with a VA-approved configuration. The Contractor shall ensure software on OE is kept current with all critical updates and patches. Owners of approved OE are responsible for providing and maintaining the anti-virus software and the firewall on the non-VA owned OE. Approved Contractor OE will be subject to technical inspection at any time.

- The Contractor shall notify the COR/CO within one hour of disclosure or successful exploits of any vulnerability which can compromise the confidentiality, integrity, or availability of the information systems. The system or effected component(s) need(s) to be isolated from the network. A forensic analysis needs to be conducted jointly with VA. Such issues will be remediated as quickly as practicable, but in no event longer than the timeframe specified by VA Information Security Knowledge Service. If sensitive personal information is compromised reference VA Handbook 6500.2 and Section 5, Security Incident Investigation.

- For cases wherein the Contractor discovers material defects or vulnerabilities impacting products and services they provide to VA, the Contractor shall develop and implement policies and procedures for disclosure to VA, as well as remediation. The Contractor shall, within 30 business days of discovery, document a summary of these vulnerabilities or defects. The documentation will include a description of the potential impact of each vulnerability and material defect, compensating security controls, mitigations, recommended corrective actions, root cause analysis and/or workarounds (i.e., monitoring). Should there exist any backdoors in the products or services they provide to VA (referring to methods for bypassing computer authentication), the Contractor shall provide the VA CO/CO written assurance they have permanently remediated these backdoors.

- All other vulnerabilities, including those discovered through routine scans or other assessments, will be remediated based on risk, in accordance with the remediation timelines specified by the VA Information Security Knowledge Service and/or the applicable timeframe mandated by Cybersecurity & Infrastructure Security Agency (CISA) Binding Operational Directive (BOD) 22-01 and BOD 19-02 for Internet-accessible systems. Exceptions to this paragraph will only be granted with the approval of the COR/CO.

SECURITY AND PRIVACY CONTROLS COMPLIANCE TESTING, ASSESSMENT AND AUDITING

- Should VA request it, the Contractor shall provide a copy of their (corporation’s, sole proprietorship’s, partnership’s, limited liability company (LLC), or other business structure entity’s) policies, procedures, evidence and independent report summaries related to specified cybersecurity frameworks (International Organization for Standardization (ISO), NIST Cybersecurity Framework (CSF), etc.). VA or its third-party/partner designee (if applicable) are further entitled to perform their own audits and security/penetration tests of the Contractor’s IT or systems and controls, to ascertain whether the Contractor is complying with the information security, network or system requirements mandated in the agreement between VA and the Contractor.

- Any audits or tests of the Contractor or third-party designees/partner VA elects to carry out will commence within 30 business days of VA notification. Such audits, tests and assessments may include the following: (a): security/penetration tests which both sides agree will not unduly impact Contractor operations; (b): interviews with pertinent stakeholders and practitioners; (c): document review; and (d): technical inspections of networks and systems the Contractor uses to destroy, maintain, receive, retain, or use VA information.

- As part of these audits, tests and assessments, the Contractor shall provide all information requested by VA. This information includes, but is not limited to, the following: equipment lists, network or infrastructure diagrams, relevant policy documents, system logs or details on information systems accessing, transporting, or processing VA data.

- The Contractor and at its own expense, shall comply with any recommendations resulting from VA audits, inspections and tests. VA further retains the right to view any related security reports the Contractor has generated as part of its own security assessment. The Contractor shall also notify VA of the existence of any such security reports or other related assessments, upon completion and validation.

- VA appointed auditors or other government agency partners may be granted access to such documentation on a need-to-know basis and coordinated through the COR/CO. The Contractor shall comply with recommendations which result from these regulatory assessments on the part of VA regulators and associated government agency partners.

PRODUCT INTEGRITY, AUTHENTICITY, PROVENANCE, ANTI-COUNTERFEIT AND ANTI-TAMPERING

- The Contractor shall comply with Code of Federal Regulations (CFR) Title 15 Part 7, “Securing the Information and Communications Technology and Services (ICTS) Supply Chain”, which prohibits ICTS Transactions from foreign adversaries. ICTS Transactions are defined as any acquisition, importation, transfer, installation, dealing in or use of any information and communications technology or service, including ongoing activities, such as managed services, data transmission, software updates, repairs or the platforming or data hosting of applications for consumer download.

- When contracting terms require the Contractor to procure equipment, the Contractor shall purchase or acquire the equipment from an Original Equipment Manufacturer (OEM) or an authorized reseller of the OEM. The Contractor shall attest that equipment procured from an OEM or authorized reseller or distributor are authentic. If procurement is unavailable from an OEM or authorized reseller, the Contractor shall submit in writing, details of the circumstances prohibiting this from happening and procure a product waiver from the VA COR/CO.

- All Contractors shall establish, implement, and provide documentation for risk management practices for supply chain delivery of hardware, software (to include patches) and firmware provided under this agreement. Documentation will include chain of custody practices, inventory management program, information protection practices, integrity management program for sub-supplier provided components, and replacement parts requests. The Contractor shall make spare parts available. All Contractor(s) shall specify how digital delivery for procured products, including patches, will be validated and monitored to ensure consistent delivery. The Contractor shall apply encryption technology to protect procured products throughout the delivery process.

- If a Contractor provides software or patches to VA, the Contractor shall publish or provide a hash conforming to the FIPS Security Requirements for Cryptographic Modules (FIPS 140-2 or successor).

- The Contractor shall provide a software bill of materials (SBOM) for procured (to include licensed products) and consist of a list of components and associated metadata which make up the product. SBOMs must be generated in one of the data formats defined in the National Telecommunications and Information Administration (NTIA) report “The Minimum Elements for a Software Bill of Materials (SBOM).”

- Contractors shall use or arrange for the use of trusted channels to ship procured products, such as U.S. registered mail and/or tamper-evident packaging for physical deliveries.

- Throughout the delivery process, the Contractor shall demonstrate a capability for detecting unauthorized access (tampering).

- The Contractor shall demonstrate chain-of-custody documentation for procured products and require tamper-evident packaging for the delivery of this hardware.

VIRUSES, FIRMWARE, AND MALWARE

- The Contractor shall execute due diligence to ensure all provided software and patches, including third-party patches, are free of viruses and/or malware before releasing them to or installing them on VA information systems.

- The Contractor warrants it has no knowledge of and did not insert, any malicious virus and/or malware code into any software or patches provided to VA which could potentially harm or disrupt VA information systems. The Contractor shall use due diligence, if supplying third-party software or patches, to ensure the third-party has not inserted any malicious code and/or virus which could damage or disrupt VA information systems.

- The Contractor shall provide or arrange for the provision of technical justification as to why any “false positive” hit has taken place to ensure their code’s supply chain has not been compromised. Justification may be required, but is not limited to, when install files, scripts, firmware, or other Contractor-delivered software solutions (including third-party install files, scripts, firmware, or other software) are flagged as malicious, infected, or suspicious by an anti-virus vendor.

- The Contractor shall not upload (intentionally or negligently) any virus, worm, malware or any harmful or malicious content, component and/or corrupted data/source code (hereinafter “virus or other malware”) onto VA computer and information systems and/or networks. If introduced (and this clause is violated), upon written request from the VA CO, the Contractor shall:

  - Take all necessary action to correct the incident, to include any and all assistance to VA to eliminate the virus or other malware throughout VA’s information networks, computer systems and information systems; and

  - Use commercially reasonable efforts to restore operational efficiency and remediate damages due to data loss or data integrity damage, if the virus or other malware causes a loss of operational efficiency, data loss, or damage to data integrity.

CRYPTOGRAPHIC REQUIREMENT

- The Contractor shall document how the cryptographic system supporting the Contractor’s products and/or services protect the confidentiality, data integrity, authentication and non-repudiation of devices and data flows in the underlying system.

- The Contractor shall use only approved cryptographic methods as defined in FIPS 140-2 (or its successor) and NIST 800-52 standards when enabling encryption on its products.

- The Contractor shall provide or arrange for the provision of an automated remote key-establishment method which protects the confidentiality and integrity of the cryptographic keys.

- The Contractor shall ensure emergency re-keying of all devices can be remotely performed within 30 business days.

- The Contractor shall provide or arrange for the provision of a method for updating cryptographic primitives or algorithms.

PATCHING GOVERNANCE

- The Contractor shall provide documentation detailing the patch management, vulnerability management, mitigation and update processes (to include third-party) prior to the connection of electronic devices, assets or equipment to VA’s assets. This documentation will include information regarding the following:

  - The resources and technical capabilities to sustain the program or process (e.g., how the integrity of a patch is validated by VA); and.

  - The approach and capability to remediate newly reported zero-day vulnerabilities for Contractor products.

- The Contractor shall verify and provide documentation all procured products (including third-party applications, hardware, software, operating systems, and firmware) have appropriate updates and patches installed prior to delivery to VA.

- The Contractor shall provide or arrange the provision of appropriate software and firmware updates to remediate newly discovered vulnerabilities or weaknesses for their products and services within 30 days of discovery. Updates to remediate critical or emergent vulnerabilities will be provided within seven business days of discovery. If updates cannot be made available by Contractor within these time periods, the Contractor shall submit mitigations, methods of exploit detection and/or workarounds to the COR/CO prior to the above deadlines.

- The Contractor shall provide or arrange for the provision of appropriate hardware, software and/or firmware updates, when those products, including open-source software, are provided to the VA, to remediate newly discovered vulnerabilities or weaknesses. Remediations of products or services provided to the VA’s system environment must be provided within 30 business days of availability from the original supplier and/or patching source. Updates to remediate critical vulnerabilities applicable to the Contractor’s use of the third-party product in its system environment will be provided within seven business days of availability from the original supplier and/or patching source. If applicable third-party updates cannot be integrated, tested and made available by Contractor within these time periods, mitigations and/or workarounds will be provided to the COR/CO before the above deadlines.

SPECIALIZED DEVICES/SYSTEMS (MEDICAL DEVICES, SPECIAL PURPOSE SYSTEMS, RESEARCH SCIENTIFIC COMPUTING)

- Contractor supplies/delivered Medical Devices, Special Purpose Systems-Operational Technology (SPS-OT) and Research Scientific Computing Devices shall comply with all applicable Federal law, regulations, and VA policies. New developments require creation, testing, evaluation, and authorization in compliance with processes specified on the Specialized Device Cybersecurity Department Enterprise Risk Management (SDCD-ERM) Portal, VA Directive 6550, Pre-Procurement Assessment and Implementation of Medical Devices/Systems, VA Handbook 6500, and the VA Information Security Knowledge Service. Deviations from Federal law, regulations, and VA Policy are identified and documented as part of VA Directive 6550 and/or the VA Enterprise Risk Analysis (ERA) processes for Specialized Devices/Systems processes.

- All Contractors and third-party service providers shall address and/or integrate applicable VA Handbook 6500 and Information Security Knowledge Service specifications in delivered IT systems/solutions, products and/or services. If systems/solutions, products and/or services do not directly match VA security requirements, the Contractor shall work though the COR/CO for governance or resolution.

- The Contractor shall certify to the COR/CO that devices/systems that have completed the VA Enterprise Risk Analysis (ERA) process for Specialized Devices/Systems are fully functional and operate correctly as intended. Devices/systems must follow the VA ERA authorized configuration prior to acquisition and connection to the VA computing environment. If VA determines a new VA ERA needs to be created, the Contractor shall provide required technical support to develop the configuration settings. Major changes to a previously approved device/system will require a new ERA.

- The Contractor shall comply with all practices documented by the Food Drug and Administration (FDA) Premarket Submission for Management of Cybersecurity in Medical Devices and Postmarket Management of Cybersecurity in Medical Devices.

- The Contractor shall design devices capable of accepting all applicable security patches with or without the support of the Contractor personnel. If patching can only be completed by the Contractor, the Contractor shall commit the resources needed to patch all applicable devices at all VA locations. If unique patching instructions or packaging is needed, the Contractor shall provide the necessary information in conjunction with the validation/testing of the patch. The Contractor shall apply security patches within 30 business days of the patch release and have a formal tracking process for any security patches not implemented to include explanation when a device cannot be patched.

- The Contractor shall provide devices able to install and maintain VA-approved antivirus capabilities with the capability to quarantine files and be updated as needed in response to incidents. Alternatively, a VA-approved whitelisting application may be used when the Contractor cannot install an anti-virus / anti-malware application.

- The Contractor shall verify and document all software embedded within the device does not contain any known viruses or malware before delivery to or installation at a VA location.

- Devices and other equipment or systems containing media (hard drives, optical disks, solid state, and storage via chips/firmware) with VA sensitive information will be returned to the Contractor with media removed. When the contract requires return of equipment, the options available to the Contractor are the following:

  - The Contractor shall accept the system without the drive, firmware and solid state.

  - VA’s initial device purchase includes a spare drive or other replacement media which must be installed in place of the original drive at time of turn-in; or

  - Due to the highly specialized and sometimes proprietary hardware and software associated with the device, if it is not possible for VA to retain the hard drive, firmware, and solid state, then:

    - The equipment Contractor shall have an existing BAA if the device being traded in has sensitive information stored on it and hard drive(s) from the system are being returned physically intact.

    - Any fixed hard drive, Complementary Metal-Oxide-Semiconductor (CMOS), Programmable Read-Only Memory (PROM), solid state and firmware on the device must be non-destructively sanitized to the greatest extent possible without negatively impacting system operation. Selective clearing down to patient data folder level is recommended using VA approved and validated overwriting technologies/methods/tools. Applicable media sanitization specifications need to be pre-approved and described in the solicitation, contract, or order.

DATA CENTER PROVISIONS

- The Contractor shall ensure the VA network is accessed by in accordance with VA Directive 6500 and IAM security processes specified in the VA Information Security Knowledge Service.

- The Contractor shall ensure network infrastructure and data availability in accordance with VA information system business continuity procedures specified in the VA Information Security Knowledge Service.

- The Contractor shall ensure any connections to the internet or other external networks for information systems occur through managed interfaces utilizing VA approved boundary protection devices (e.g., internet proxies, gateways, routers, firewalls, guards or encrypted tunnels).

- The Contractor shall encrypt all traffic across the segment of the Wide Area Network (WAN) it manages and no unencrypted Out of Band (OOB) Internet Protocol (IP) traffic will traverse the network.

- The Contractor shall ensure tunnel endpoints are routable addresses at each VA operating site.

- The Contractor shall secure access from Local Area Networks (LANs) at co-located sites in accordance with VA TIC Reference Architecture, VA Directive and Handbook 6513, and MOU/ISA process specified in the VA Information Security Knowledge Service.

# ADDENDUM C – LIST OF VAMC WITH MAMMOGRAPHY SERVICES (12/15/25)

| MAP_ID | Station # | CITY | STATE | MTS | FACILITY |
| --- | --- | --- | --- | --- | --- |
| 13515 | 523 | Boston | MA | Volpara - Patient Hub | Boston VA Healthcare System Mammography Dept -VHA |
| 11072 | 526 | Bronx | NY | Volpara - Patient Hub | James J. Peters VA Medical Center |
| 11457 | 528 | Buffalo | NY | Volpara - Patient Hub | Buffalo VA Medical Center |
| 9433 | 528A8 | Albany | NY | Volpara - MRS | Samuel S. Stratton VAMC |
| 11289 | 630 | New York | NY | Volpara - Patient Hub | VA NY Harbor Healthcare- Manhattan Campus -VHA |
| 12001 | 630A4 | Brooklyn | NY | Volpara - Patient Hub | VA NY Harbor Healthcare Sys.- Brooklyn Campus- VHA |
| 60129 | 593 | Wilkes-Barre | PA | Volpara - Patient Hub | Wilkes-Barre VAMC |
| 8814 | 642 | Philadelphia | PA | Volpara - Patient Hub | Corporal Michael J. Crescenz VA Medical Ctr- VHA |
| 17288 | 646 | Pittsburgh | PA | Volpara - Patient Hub | VA Pittsburgh Healthcare System - VHA |
| 10657 | 512 | Baltimore | MD | Magview | Dept. of Veteran Affairs Medical Center - Baltimore- VHA |
| 17184 | 540 | Clarksburg | WV | Volpara - Patient Hub | Louis A Johnson VA Medical Center - VHA |
| 11913 | 688 | Washington | DC | Magview | Veterans Affairs Medical Center 114 - VHA |
| 11245 | 558 | Durham | NC | Volpara - Patient Hub | Durham Veterans Affairs Medical Center- VHA |
| 50592 | 558G | Greenville - Mobile | NC | Volpara - Patient Hub | Greenville VA Healthcare Center 558G - MOBILE |
| 60845 | 558GA | Greenville | NC | Volpara - Patient Hub | GREENVILLE VA HCC-VHA |
| 50719 | 565 | Fayetteville | NC | Volpara - Patient Hub | Cumberland County VA Clinic - VHA |
| 17802 | 590 | Hampton | VA | Volpara - Patient Hub | Hampton VA Medical Center - VHA |
| 12598 | 652 | Richmond | VA | Volpara - Patient Hub | Richmond VA Medical Center |
| 60679 | 652 | Richmond | VA | Volpara - Patient Hub | CVHCS Women's Health Center - RIC - VHA |
| 10894 | 659 | Salisbury | NC | Volpara - Patient Hub | W.G. Hefner Salisbury VAMC |
| 51292 | 659BZ | Charlotte | NC | Volpara - Patient Hub | South Charlotte VA Clinic |
| 51701 | 509 | Augusta | GA | Volpara - Patient Hub | VA Augusta Health Care System |
| 50712 | 521 | Birmingham | AL | Magview | Birmingham VA Clinic, Breast Imaging-VHA |
| 52196 | 521GA | Huntsville | AL | Magview | Huntsville VA Clinic, Breast Imaging-VHA |
| 9872 | 544 | Columbia | SC | Volpara - Patient Hub | Wm Jennings Bryan Dorn Veterans Affairs Medical Center |
| 10909 | 516 | Bay Pines | FL | Volpara - Patient Hub | C.W. Bill Young Dept. of VAMC |
| 50165 | 516BZ | Cape Coral | FL | Volpara - Patient Hub | LEE COUNTY VA CLINIC - VHA |
| 11274 | 546 | Miami | FL | Volpara - Patient Hub | BRUCE W. CARTER DEPT OF VAMC |
| 17218 | 546 | Sunrise | FL | Volpara - Patient Hub | William Bill Kling VA OP Clinic - VHA |
| 11410 | 548 | West Palm Beach | FL | Volpara - Patient Hub | West Palm Beach VAMC |
| 50569 | 573 | Gainesville | FL | Volpara - Patient Hub | Malcom Randall VA Medical Center - VHA |
| 60633 | 573BY | Jacksonville | FL | Volpara - Patient Hub | Jacksonville North VA Clinic |
| 50194 | 573BY | Jacksonville | FL | Volpara - Patient Hub | Jacksonville VA Outpatient Clinic - VHA |
| 17858 | 672 | San Juan | PR | Volpara - Patient Hub | VA Caribbean Health Care System - VHA |
| 9855 | 673 | Tampa | FL | Volpara - Patient Hub | James A. Haley Veterans Administration Hospital-VHA |
| 60694 | 673GB | Lakeland | FL | Volpara - Patient Hub | Lakeland VA Clinic - VHA |
| 60514 | 673QJ | Tampa | FL | Volpara - Patient Hub | Hidden River VA clinic- VHA |
| 18023 | 673BZ | New Port Richey | FL | Volpara - Patient Hub | James A Haley Veterans Hosp New Port Richey OPC-VHA |
| 14636 | 675 | Viera | FL | Volpara - Patient Hub | VIERA VA CLINIC |
| 12045 | 675GC | Orlando | FL | Volpara - Patient Hub | Lake Baldwin VA Medical Center |
| 50539 | 675GA | Orlando | FL | Volpara - Patient Hub | Orlando VA Medical Center |
| 50946 | 603 | Louisville | KY | Volpara - Patient Hub | Robley Rex Veterans Medical Center-Newburg-VHA |
| 11227 | 626 | Nashville | TN | Volpara - Patient Hub | VA TN Valley Healthcare System Nashville Campus-VHA |
| 11861 | 626A4 | Murfreesboro | TN | Volpara - Patient Hub | Alvin C. York VA Medical Center- VHA |
| 11340 | 541 | Cleveland | OH | Volpara - Patient Hub | VA Northeast Ohio Healthcare System |
| 60369 | 541BY | Canton | OH | Volpara - Patient Hub | VANEOHS Mobile Mammography- VHA Mobile |
| 17586 | 556 | North Chicago | IL | Volpara - Patient Hub | Captain James A Lovell IL VA Medical Center |
| 60187 | 589Af | Columbia | MO | Volpara - Patient Hub | Harry S. Truman Memorial Veterans' Hospital |
| 11138 | 657 | St. Louis | MO | Volpara - MRS | John Cochran Memorial Hospital - VHA |
| 11288 | 580 | Houston | TX | Volpara - Patient Hub | Michael E. DeBakey VA Medical Center |
| 11015 | 598 | Little Rock | AR | Volpara - Patient Hub | Central Arkansas Health Care System - Little Rock |
| 10997 | 549 | Dallas | TX | NONE - Magview Award Pending | Veterans Affairs North Texas Health Care System-VHA |
| 17652 | 549BY | Fort Worth | TX | NONE - Magview | Veterans Affairs Fort Worth OP Clinic-VHA |
| 9101 | 671 | San Antonio | TX | Volpara - Patient Hub | Audie L. Murphy Memorial Hospital |
| 52163 | 671GS | San Antonio | TX | Volpara - Patient Hub | Northwest San Antonio VA Clinic |
| 16739 | 671G0 | San Antonio | TX | Volpara - Patient Hub | North Central Federal VA Clinic |
| 60405 | 671A4 | Kerrville | TX | Volpara - Patient Hub | Kerrville VA Medical Center |
| 14067 | 674 | Temple | TX | Volpara - Patient Hub | OLIN E. TEAGUE VET CENTER - VHA |
| 18219 | 674BY | Austin | TX | Volpara - Patient Hub | AUSTIN VA CLINIC |
| 60175 | 740GC | Corpus Christi (740=Harlingen) | TX | Volpara - Patient Hub | CORPUS CHRISTI WEST POINT CLIN |
| 51514 | 740GB | Mcallen (740=Harlingen) | TX | Volpara - Patient Hub | MCALLEN OPC - VHA |
| 60230 | 635 | Oklahoma City | OK | Volpara - Patient Hub | Oklahoma City VA Medical Center |
| 60158 | 6402 | Tulsa | OK | Volpara - Patient Hub | Ernest Childers VA Outpatient Clinic |
| 17067 | 459 | Honolulu | HI | Volpara - MRS | Spark M Matsunaga Med Center - VHA |
| 15122 | 593 | North Las Vegas | NV | Volpara - MRS | Southern Nevada HCS |
| 17639 | 605BZ | Redlands (605=Loma Linda) | CA | Volpara - Patient Hub | VA Loma Linda Ambulatory Care Center |
| 8860 | 612 | Martinez | CA | Volpara - Patient Hub | Martinez VA Medical Center |
| 14361 | 612 | Mather | CA | Volpara - Patient Hub | Sacramento VA Medical Center |
| 8376 | 612GH | Mcclellan | CA | Volpara - Patient Hub | McClellan VA Clinic |
| 60506 | 612QE | French Camp | CA | Volpara - Patient Hub | Richard A. Pittman VA Clinic |
| 18082 | 612B4 | Redding | CA | Volpara - Patient Hub | Redding VA Clinic |
| 51195 | 640 | Palo Alto | CA | Magview | VA Palo Alto Health Care System - VHA |
| 52135 | 640HC | Marina | CA | Magview | VAPAHCS Marina Outpatient Clinic - Mammography |
| 17336 | 691A4 | North Hills | CA | NONE - Magview Award Pending | VA Greater L.A. Healthcare Sys. VHA Sepulveda - VHA |
| 8385 | 501 | Albuquerque | NM | Magview | Raymond G Murphy VAMC - VHA |
| 10769 | 600 | Long Beach | CA | Magview | VA Long Beach Healthcare System- VHA |
| 14017 | 605 | Loma Linda | CA | Volpara - Patient Hub | VA Loma Linda Healthcare-VHA |
| 10737 | 644 | Phoenix | AZ | Magview | Phoenix VA Health Care System - VHA |
| 10672 | 664 | San Diego | CA | Magview | VA San Diego Healthcare System- VHA |
| 10987 | 678 | Tucson | AZ | Volpara - Patient Hub | Southern Arizona VA Health Care System- VHA |
| 11213 | 691 | Los Angeles | CA | NONE - Magview Award Pending | VA Greater L.A. Healthcare System - VHA |
| 50214 | 618 | Minneapolis | MN | Volpara - Patient Hub | Minneapolis VA Healthcare System - VHA |
| 50390 | 636A6 | Des Moines | IA | Volpara - Patient Hub | VA Central Iowa Health Care System - VHA |
| 50733 | 636A8 | Iowa City | IA | Volpara - Patient Hub | Iowa City VA Medical Center- VHA |