Date:  December 10, 2025

From:. Healthcare Engineer, Facilities Maintenance Services; VAPHS UD

Subj: Scope of Work EHRM Infrastructure Project – Project # 646-22-700

To:  Contracting Officer

- The scope of work shall generally consist of but is not limited to the following: construction work to facilitate all modifications at multiple existing buildings on the VAPHS University Drive VA campus to upgrade the infrastructure to support the new Electronic Health Records Modernization (EHRM) system.

The upgrade to the infrastructure will be campus wide buildings impacted to include Buildings 1, 5, 8, 29, 30, 33, and site. The architectural total existing space square footage affected is approximately 3,030 SF with new tower addition square footage of 11,600 SF. Upgrades for these buildings will include the construction of new towers, existing rooms and telecommunication closets and include relocation, reconfiguration, expansion, and renovation involving new walls, doors and finishes, etc. throughout each space.

Bid work will be based on “EHRM Infrastructure Upgrades” Drawings and Specifications prepared by AWEN Solutions, dated 13 June 2025. Construction work shall also comply with VA “Infrastructure Standard for Telecommunications Spaces (ISTS) V4.0, June 1, 2023. Bid work will include General Construction (and associated trades), Structural, Mechanical and HVAC, Plumbing and Fire Protection, Electric, and Information Technology, Civil. The VA Physical Security Design and Resiliency Manual (PDRSM) requirements will need to be incorporated into the construction of the project.

- The areas of disturbance will be occupied by staff or patients during construction, so phasing shall be required.

- This project shall be solicited as an RFP to complete all Work, including the installation of equipment, Testing & Balancing and Commissioning as identified in the drawings and specifications. All work shall be completed within 730 calendar days from receipt of Notice to Proceed.