## Sheet1
COST ESTIMATE
PROJECT | Repair of Lightning Protection System at Primary Substation
DATE | 2026-01-28 | WT #
ITEM DESCRIPTION |  | QUANTITY | UNIT MEASURE | Lead Time | COST | TOTAL
ALUMINUM, 5/8", 202 DUAL MOUNT BASE. |  | 200 | EA |  | 0 | 0
COPPER, CAST PARALLEL SPLICER |  | 100 | EA |  | 0 | 0
ALUMINUM, CAST PARALLEL SPLICER |  | 100 | EA |  | 0 | 0
COPPER, PARALLEL SPLICER, 2-BOLT |  | 100 | EA |  | 0 | 0
ALUMINUM, PARALLEL SPLICER, 2-BOLT |  | 100 | EA |  | 0 | 0
BI-METAL PARALLEL SPLICER |  | 100 | EA |  | 0 | 0
ALUMINUM, CROSS-RUN SPLICER |  | 100 | EA |  | 0 | 0
COPPER, CROSS-RUN SPLICER |  | 100 | EA |  | 0 | 0
ALUMINUM, SECONDARY BOND CLAMP |  | 50 | EA |  | 0 | 0
COPPER, SECONDARY BOND CLAMP |  | 50 | EA |  | 0 | 0
ALUMINUM, BOND CLAMP |  | 50 | EA |  | 0 | 0
BRONZE, BOND CLAMP |  | 50 | EA |  | 0 | 0
3/4" x 12", ALUMINUM, FLEXIBLE BONDING JUMPER |  | 50 | EA |  | 0 | 0
3/4" x 18", ALUMINUM, FLEXIBLE BONDING JUMPER |  | 50 | EA |  | 0 | 0
ALUMINUM, 5/8" WIDTH, 3/8" DIAMETER, ONE HOLE CONDUCTOR LOOP FASTERNER, |  | 1000 | EA |  | 0 | 0
#8 TO 4/0 AWG, ALUMINUM, STAMPED ADHESIVE FASTENER |  | 100 | EA |  | 0 | 0
#8 TO 4/0 AWG, COPPER, STAMPED ADHESIVE FASTENER |  | 100 | EA |  | 0 | 0
725 STAINLESS STEEL SELF DRILLING SCREW WITH NEOPRENE WASHER |  | 10 | BOX |  | 0 | 0
5/8" - 3/4", BRONZE, 2- BOLT GROUND ROD CLAMP |  | 50 | EA |  | 0 | 0
3/4" x 10', COPPER CLAD STEEL, GROUND ROD |  | 24 | EA |  | 0 | 0
12" x 12" x 24", CONCRETE GROUND ACCESS WELL |  | 20 | EA |  | 0 | 0
High Compression Copper C-Connector 6 Sol. #2 Str. 1/4" Run, 6 Sol. #2 Str. Tab |  | 200 | EA |  | 0 | 0
High Compression Copper C-Connector 3/0-250 TO 6-2/0 CU GRD |  | 200 | EA |  | 0 | 0
High Compression Copper C-Connector 300 Kcmil-500 Kcmil, Tap: 3/0 Str-250 Kcmil |  | 200 | EA |  | 0 | 0
Burndy Patriot High Performance 18 Volt Battery Actuated Tool - Kuefler Lightning Brand Name Only |  | 2 | EA |  | 0 | 0
Burndy U-Die Kits Each UDIEKITCU and UDIEKITAL die kit includes 15 sets of “U” dies and the die case Brand Name Only |  | 2 | EA |  | 0 | 0
Industrial AC power Surge Protection Device, 3 Phase 4 Wire Plus Ground, 120/208Y |  | 2 | EA |  | 0 | 0
Eight Outlet Strip Surge Protection Device |  | 2 | EA |  | 0 | 0
8” Radius Gauge – Lightning Protection Tool |  | 12 | EA |  | 0 | 0
6 AWG Solid to 250 MCM Conductor Size; 0.5 to 0.75 Inch IPS Size; Type Tamperproof; Torque Rating 240 Inch-Pound Pipe Clamp, U-Bolt |  | 20 | BOX |  | 0 | 0
Pipe Clamp, Tinned Copper, 1 to 1.25 in. Pipe, 0.938 to 1.7 in. O.D. |  | 20 | BOX |  | 0 | 0
Electro Tin Plated Bronze Material; 1.25 to 2.4 Inch Outer Diameter Size; UL (Canada and Us) Approval; 1.5 to 2 Inch IPS Size Pipe Clamp, U-Bolt |  | 20 | BOX |  | 0 | 0
2 AWG Conductor Size; 1.5 to 2 Inch/3.5 to 4 Inch IPS Size; Jumper Size 2 AWG; Jumper Size 24 Inch Length, Gate Ground Assembly |  | 16 | EA |  | 0 | 0
Fence Ground Clamp, Fabric, #2 and #6 AWG |  | 50 | BOX |  | 0 | 0
1000 FT of Class I Lightning Conductor Aluminum Smooth Weave |  | 2 | SPOOL |  | 0 | 0
1000 FT of Class I Lightning Conductor – Copper Smooth Weave or Concentric |  | 2 | SPOOL |  | 0 | 0
500 FT of Class I Lightning Conductor – Copper Smooth Weave or Concentric |  | 1 | SPOOL |  | 0 | 0
500 FT of Class I Lightning Conductor – #2 Solid Copper |  | 1 | SPOOL |  | 0 | 0
CLASS 1, 5/8″ Aluminum Air Terminals, 12", Rounded Tip |  | 48 | EA |  | 0 | 0
CLASS 1, 5/8″ Aluminum Air Terminals, 18", Rounded Tip |  | 48 | EA |  | 0 | 0
Ground Enhancement Material |  | 16 | EA |  | 0 | 0
Black Structural Adhesives |  | 12 | EA |  | 0 | 0
Electrically conductive grease/ rust inhibitor to prevent corrosion in aluminum to aluminum, aluminum to copper, copper to copper |  | 30 | EA |  | 0 | 0
Megger DET2/3 Professional Earth Ground Tester Kit - 330 Foot test leads |  | 1 | EA |  | 0 | 0
Hilti or Bosch SDS 1-1/8" Cordless Hammerdrill. Brand Name Only |  | 1 | EA |  | 0 | 0
SDS Drill Bit Shank |  | 1 | EA |  | 0 | 0
SDS Drill Bit Extension, 82.5" |  | 1 | EA |  | 0 | 0
3/4" X 12" SDS Drill Bit |  | 1 | EA |  | 0 | 0
5/8" And 3/4" SDS-Max Steel Ground Rod Driver |  | 1 | EA |  | 0 | 0
[5 empty] | Total | 0