| SUBJECT* | Lab Refrigerators & Freezers - Iowa City VA |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 55101 |
| --- | --- |
| SOLICITATION NUMBER* | 36C26326Q0622 |
| RESPONSE DATE/TIME/ZONE | 05-04-2026 10:00am CENTRAL TIME, CHICAGO, USA |
| ARCHIVE | 30 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | 4130 |
| NAICS CODE* | 333415 |
| CONTRACTING OFFICE ADDRESS | DEPARTMENT OF VETERANS AFFAIRS NETWORK CONTRACTING OFFICE 23 316 ROBERT STREET N, SUITE 506 SAINT PAUL MN 55101 |
| POINT OF CONTACT* | Contract Specialist Savannah Weberg savannah.weberg@va.gov |

PLACE OF PERFORMANCE

| ADDRESS | Iowa City VA Health Care System |
| --- | --- |
|  | 601 Highway 6 West |
|  | Iowa City Iowa |
| POSTAL CODE | 52246 |
| COUNTRY |  |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS | savannah.weberg@va.gov |
| EMAIL DESCRIPTION |  |

DESCRIPTION

This is a source(s) sought notice only and it is not a solicitation announcement. The purpose of this sources sought notice is to gain knowledge of qualified potential contractors and their socio-economic size classification in accordance with NAICS codes 333415 – Air Conditioning and Warm Air Heating Equipment and Commercial and Industrial Refrigeration Equipment and Manufacturing.

Please note that this is NOT a request for quotes or proposals. The Government is seeking information for market research purposes only. Network Contracting Office (NCO) 23/RPO Central of the Department of Veterans Affairs is currently conducting market research to identify qualified firms capable of providing Laboratory Refrigerators and Freezers for the Iowa City VA at 601 Highway 6 West, Iowa City, IA 52246.

These items must be Brand Name or Equal to Thermo Fisher Scientific Refrigerators and Freezers as specified in the attached Salient Characteristics.

Interested firms must have an FSS Contract to supply the required items.

The results of this market research will contribute to determining the method of procurement.

Response to Request -

If your organization has the potential capacity to provide these contract supplies, please provide the following information:

- Organization name

- SAM Unique Entity ID (UEI)

- Address, email address

- Web site address

- Telephone number

Please also include information if you company is a Service-Disabled Veteran Owned Small Business (SDVOSB), Veteran Owned Small Business (VOSB), Small Business, Small Disadvantage Business, Women-owned Small Business, Economically Disadvantaged Small Business, HUBZone, or 8(a) Certified

Telephone inquiries will not be accepted or acknowledged, and no feedback or evaluations will be provided to companies regarding their submissions.

Submission Instructions: Interested parties who consider themselves qualified to perform the above-listed services are invited to submit a response to this Sources Sought Notice by May 4th, 2026, at 10:00am CST.

All responses under this Sources Sought Notice must be emailed to savannah.weberg@va.gov

This is not a solicitation and in no way obligates the Government to award any contract. Additionally, a response to this source(s) sought notice is not a request to be added to a prospective bidders list or to receive a copy of the solicitation. The purpose of this sources sought notice is strictly for market research purposes.

This source(s) sought posting is issued solely for information and planning purposes only and does not constitute a solicitation. All information received in response to this source (s) sought that is marked as proprietary will be handled accordingly. In accordance with FAR 15.201(e), responses to this notice are not offers and cannot be accepted by the Government to form a binding contract. Responders are solely responsible for all expenses associated with responding to this source(s) sought.

Salient Characteristics

Brand Name or Equal to Thermo Fisher Scientific Refrigerators and Freezers

High-performance 29.2 cu ft. pharmacy refrigerator (Brand Name or Equal to TSX3005PA; TSX REF PHARM 30CF 120V/60HZ):

- Must have a capacity of 29.2 cu ft.

- Must have a temperature operating range of 2 C to 8 C.

- Must have R290 (natural refrigerant) with water-blown foam, compliant with EPA SNAP.

- Must have dimensions of 30.0” W x 28.5” D x 58.0” H.

- Must have a NEMA 5-15 plug type.

- Must have an electrical requirement of 115 V, 60 Hz.

- Must have a unit weight of 473 lb.

- Must have four 2-inch caster wheels with front two lockable.

- Must have automatic defrost.

- Must have a single glass door with lock and ergonomic handle.

- Must have six sliding basket drawers.

- Must have interior lighting, microprocessor control with setpoint security and alarms.

- Must have a vaccine standard of NSF/ANSI 456 for vaccine storage.

High-performance 51.1 cu ft. pharmacy refrigerator (Brand Name or Equal to TSX5005PA; TSX REF PHARM 50 CF 120V/60HZ):

- Must have a capacity of 51.1 cu ft.

- Must have a temperature operating range of 2 C to 8 C.

- Must have a variable speed compressor.

- Must have R290 (natural refrigerant) with water-blown foam, compliant with EPA SNAP.

- Must have exterior dimensions of 56.5” W x 37.8” D x 78.5” H.

- Must have internal dimensions of 52.5” W x 28.5” D x 58” H.

- Must have a NEMA 5-15 plug type.

- Must have an electrical requirement of 115 V, 60 Hz.

- Must have a vaccine standard of NSF/ANSI 456 for vaccine storage.

- Must have a microprocessor controller with interior lighting, setpoint security and visual and audio alarms.

- Must have a double glass door with handle and standard door locks.

- Must have an unit weight of 744 lbs.

29.2 cu ft. Plasma Freezer (Brand Name or Equal to TSX3030LA; TSX FRZ PLASMA 30CF 120V/60HZ):

- Must have a capacity of 29.2 cu ft.

- Must have a temperature operating range of -35 C to -15 C.

- Must have R290 (natural refrigerant) with water-blown foam, compliant with EPA SNAP.

- Must have seven stainless steel drawers.

- Must have an automatic defrost mode.

- Must have a single solid door.

- Must have interior dimensions of 30.0” W x 28.5” D x 58.0” H.

- Must have exterior dimensions of 34.0” W x 37.9” D x 78.5” H.

- Must have a NEMA 5-15 plug type.

- Must have an electrical requirement of 115 V, 60 Hz.

- Must have a unit weight of 488 lbs.

- Must have an interior light, secure temperature setpoint, alarms, and self-closing door with stop.

- Must have a microprocessor-controlled display.

- Must have caster wheels of which 2 are lockable.

High-Performance 29.2 cu ft. Blood Bank Refrigerator (Brand Name or Equal to TSX3004BA; TSX BLOOD 30CF 120V/60HZ):

- Must have a capacity of 29.2 cu ft.

- Must have an operating temperature range of 2 C to 8 C.

- Must have a single glass door.

- Must have external dimensions of 34” W x 37.3” D x 78.5” H.

- Must have a NEMA 5-15 plug type.

- Must have an electrical requirement of 115 V, 60 Hz.

- Must have six fully extendable stainless-steel drawers.

- Must have R290 (natural refrigerant) with water-blown foam, compliant with EPA SNAP.

- Must have a microprocessor controller with alarms, interior light, and dual-zone probes.

- Must have a weight of approximately 554 lbs.

High-Performance Lab Refrigerator (Brand Name or Equal to TSX1205SA; TSX REF SOLID 12CF 120V/60HZ):

- Must have a capacity of 11.5 cu ft.

- Must have an operating temperature range of 2 C to 8 C.

- Must have a single solid, upright door.

- Must have internal dimensions of 20” W x 21.8” D x 52.4” H.

- Must have a NEMA 5-15 plug type.

- Must have an electrical requirement of 115 V, 60 Hz.

- Must have R290 (natural refrigerant) with water-blown foam, compliant with EPA SNAP.

- Must have 4 interior shelves.

- Must have a unit weight of 286 lbs.

- Must have four shelves and four 2” caster wheels with two capable of locking.

General Purpose Ulta-Low Freezer (Brand Name or Equal to TSX60086FA; ULT FZ TSX60084FA GP UNIV VOLT):

- Must have a capacity of 28.8 cu ft.

- Must have an operating temperature range of -40 C to -86 C.

- Must have internal dimensions of 34.4” W x 28.3” D x 51.2” H.

- Must have external dimensions of 39.6” W x 37.4” D x 78” H.

- Must have a weight of approximately 697lbs.

- Must have an outer door with silicone gasket.

- Must have a rack capacity of 24 and hold 600 2 in boxes.

- Must have three stainless steel adjustable shelves.

- Must have 1 outer and 2 inner doors.

Required Individual Line Items & Quantity of Items

- (6 each) TSX REF PHARM 30CF 120V/60HZ, with SHELF NC1453222 (or equal)

- (6 each) ROLLING BASKET FOR 23 CU (or equal)

- (4 each) TSX REF PHRAM 30CF 120V/60HZ, with SHELF NC1453222 and LEFT DOOR SWING NC3945571 (or equal)

- (1 each)  TSX REF PHARM 50 CF 120V/60HZ (or equal)

- (1 each)  TSX FRZ PLASMA 30CF 120V/60HZ (or equal)

- (1 each)  TSX REF BLOOD 30CF 120V/60HZ (or equal)

- (1 each)  TSX REF BLOOD 30CF 120V/60HZ, with LEFT DOOR SWING NC3945571 (or equal)

- (1 each) TSX REF SOLID 12CF 120V/60HZ (or equal)

- (6 each) ROLLING BASKET 12 CF REF (or equal)

- (3 each) ULT FZ TSX60084FA GP UNIV VOLT (or equal)

Delivery Location

Iowa City VA Health Care System

601 Highway 6 West, Iowa City, IA 52246

Optional Line Items

- Delivery Requirements:

  - All products should be ordered to arrive on or about July 16, 2026. All shipping costs should be included in the cost of the line items.