| SUBJECT* | CW Coil Replacement |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 32608 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24826Q0555 |
| RESPONSE DATE/TIME/ZONE | 04-27-2026 4:30 PM EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 60 DAYS AFTER THE RESPONSE DATE |
| SET-ASIDE | SDVOSBC |  |
| PRODUCT SERVICE CODE* | J041 |  |
| NAICS CODE* | 238220 |  |
| PLACE OF PERFORMANCE | Department of Veteran Affairs |  |
|  | North Florida South Georgia VHS |  |
|  | Lake City VA Medical Center |  |
|  | 619 S. Marion Ave. |  |
|  | Lake City FL |  |
| POSTAL CODE | 32025-5808 |  |
| COUNTRY |  |  |

CONTACT INFORMATION

| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office 8 (NCO 8) North Florida South Georgia VHS 1601 SW Archer Road Gainesville FL 32601-3460 |
| --- | --- |
| POINT OF CONTACT* | Contracting Officer Jeremy Parrish Jeremy.Parrish@va.gov 352-283-9220 |

DESCRIPTION

The Department of Veterans Affairs (VA) is seeking a qualified contractor to provide all necessary labor, materials, tools, and equipment to procure and install four new coils at the Lake City VA Medical Center, located at 619 S. Marion Ave, Lake City, FL 32025. The contractor will also be responsible for the safe removal and disposal of the existing coils.

Key requirements for the project include:

- The replacement of each coil must be performed while ensuring the Air Handling Unit (AHU) is returned online and fully functional before moving on to the next coil.

- The work must be conducted with minimal disruption to patient care and hospital operations.

The contractor must adhere to all safety protocols and ensure timely and efficient completion of the project.