CubeTec INSPECTIONscan System

2026-LGR-0178

1.	OVERVIEW / BACKGROUND.  NAVCC Film Lab requires a CubeTec INSPECTIONscan system to expand film inspection and assessment capabilities in support of both digital and photochemical workflows, as well as to inform long-term preservation planning and prioritization. This equipment directly advances NAVCC’s Directional Goal of improving collections workflow management, access, and discovery by generating essential preservation data, including condition assessments, descriptive metadata, and technical specifications. This data will be integrated into centralized LOC/NAVCC systems to support coordinated, collaborative preservation planning efforts. Since this is a sole source contract CubeTec GmbH will be referred to as the contractor in the following document.

2.	SCOPE  The contractor will provide the equipment and services listed in Table 1 of Section 4.1, which include an INSPECTIONscan system, along with expanded capability for Quadriga QC View and Dynamic Report Generator modules, remote Installation support, site training to follow post installation and 3 option years of service are also included in this contract.

3.	REQUIREMENTS

3.1.	 The contractor shall provide an INSPECTIONscan system with the following additional modules

3.1.1 Quadriga QC View

3.1.2 Dynamic Report Generator

3.2.	 The equipment shall be delivered to the NAVCC Video Lab and the contractor will provide remote setup assistance

3.3	The contractor will provide on-site training once the system is installed

3.4	The contractor shall provide a 1 year warranty on the system to begin once the installation is complete

3.4	The contract will include a service agreement for the base plus 2 option years.

4.	CONTRACT PERFORMANCE

4.1.	  SCHEDULE OF EVENTS/DELIVERABLES

| Paragraph reference | Description of Event/Deliverable | Due date/Payment schedule |
| --- | --- | --- |
| 3.1 | The contractor shall provide an INSPECTIONscan system with the Quadriga QC View and Dynamic Report Generator modules | End of POP/payment upon delivery |
| 3.2 | Installation support | Upon Delivery/setup |
| 3.3 | On-Site training | Once system is installed |
| 3.4 | 1 year warranty | Starting upon acceptance |
| 3.5 | 3 option years for service | Starting upon acceptance |

5.	ADDITIONAL INFORMATION

5.1.	PLACE OF PERFORMANCE.  The work to be performed under the contract will be performed at The National Audio Visual Conservation Center in Culpeper, VA USA.

5.2.	HOURS OF OPERATION.  8:30AM – 5:00PM

5.3.	SHIPPING. The contractor shall be responsible for shipping the deliverables to the NAVCC Audio Lab. The contractor shall ship the deliverables to the following address:

Attention: Travis Thatcher

Library of Congress NAVCC

19053 Mount Pony Road

Culpeper, VA 22701-7551

6.	OTHER: Contractor travel for on-site training is covered in the contract with a fixed cost as detailed in the contract and travel and accommodations arrangements are the responsibility of the contractor.

(End of Performance Work Statement /  Statement of Work)

Notes to the CO / Other Considerations (Use this section to provide additional information to the contracting officer pertinent to the requirement but not to be included in the PWS)

1.	Travis Thatcher

2.	PERIOD OF PERFORMANCE

The period of performance shall be twelve (12) months.

3.	Funding profile

1-time base contract + 2 option years

4.	Contract Clauses [Check if applicable]

o	SECURITY REQUIREMENTS

o	Contractor staff will have access to Library facilities and may require use of material in the Library’s collections for work-related purposes

o	Contractor staff will have access to Library digital assets (including networks, servers, workstations, systems, data, web pages, and email)

o	The contractor may obtain access to non-public confidential information, Personally Identifiable Information (PII), or proprietary information.

o	background checks and suitability determinations are required for contractor staff who will have regular, ongoing, unescorted access to the Library’s buildings, grounds, collections, or information technology systems

o	Contractor staff will require Library-issued badges to access Library facilities

o	IT Security requirements

o	Information Security

o	Systems Development Life Cycle

o	Certification and Accreditation

o	Section 508 Compliance

o	Systems Hosted by External Hosting Providers

o	Insurance Requirements: contractor performance on Library facilities where minimum coverage is to be identified

o	Other Library service units or legislative agencies will be authorized to place orders

o	DATA RIGHTS If data rights shall be acquired, reference FAR 27.409 for specific clause inclusion in the solicitation and resulting award.  Identify whether the contractor will be required to assign copyright to the Library for the creation of potentially copyrightable material, whether the work will be released into the public domain, or whether the contractor will retain copyright and license the work to the Library.  Insert text to define the terms of the license.

o	ORGANIZATIONAL CONFLICT OF INTEREST.  Contractor and subcontractor personnel performing work under the contract may receive, have access to or participate in the development of proprietary or source selection information (e.g., cost or pricing information, budget information or analyses, specifications or work statements, etc.), or perform evaluation services which may create a current or subsequent Organizational Conflict of Interests (OCI).