***** By-Reference '52.229-2 NORTH CAROLINA STATE AND LOCAL SALES AND USE TAX (DEVIATION)' Ignored *****

***** By-Reference '52.222-7 WITHHOLDING OF FUNDS (DEVIATION)' Ignored *****

1. SOLICITATION NUMBER

2. TYPE OF SOLICITATION

3. DATE ISSUED

PAGE OF PAGES

4. CONTRACT NUMBER

5. REQUISITION/PURCHASE REQUEST NUMBER

6. PROJECT NUMBER

7. ISSUED BY

CODE

8. ADDRESS OFFER TO

a. NAME

b. TELEPHONE NUMBER (Include area code) (NO COLLECT CALLS)

10. THE GOVERNMENT REQUIRES PERFORMANCE OF THE WORK DESCRIBED IN THESE DOCUMENTS  (Title, identifying number, date)

12a. THE CONTRACTOR MUST FURNISH ANY REQUIRED PERFORMANCE AND PAYMENT BONDS?

(If "YES," indicate within how many calendar days after award in Item 12B.)

12b. CALENDAR DAYS

13. ADDITIONAL SOLICITATION REQUIREMENTS:

STANDARD FORM 1442 (REV. 8/2014)

STANDARD FORM 1442

Prescribed by GSA-FAR (48 CFR) 52.236-1(d)

SOLICITATION, OFFER,

AND AWARD

(Construction, Alteration, or Repair)

SOLICITATION

SOLICITATION

IMPORTANT - The "offer" section on the reverse must be fully completed by offeror.

9. FOR INFORMATION

CALL:

NOTE: In sealed bid solicitations "offer" and "offeror" mean "bid" and "bidder".

SEALED BID (IFB)

NEGOTIATED (RFP)

11. The Contractor shall begin performance within ____________ calendar days and complete it within

____________

calendar days after receiving

award,

notice to proceed.  This performance period is

mandatory

negotiable.  (See _____________________________).

YES

NO

a.

Sealed offers in original and ___________________copies to perform the work required are due at the place specified in Item 8 by _____________

(hour) local time _____________________ (date).  If this is a sealed bid solicitation, offers must be publicly opened at that time.  Sealed

envelopes containing offers shall be marked to show the offeror's name and address, the solicitation number, the date and time offers are due.

b.

An offer guarantee

is,

is not required.

c.

All offers are subject to the (1) work requirements, and (2) other provisions and clauses incorporated in the solicitation in full text or by reference.

.

d.

Offers providing less than _______________________ calendar days for Government acceptance after the date offers are due will not be

considered and will be rejected.

1

89

36C26126R0031

X

04-13-2026

36C261-26-AP-2532

459-26-3-862-0009

459-24-001

36C261

Department of Veterans Affairs

Network Contracting Office 21 (NCO 21)

VA Pacific Islands Health Care System

711 Kapiolani Blvd Suite 200

Honolulu HI 96813

Offerors are authorized to submit offer

proposals via email. Offers should be

emailed to kayla.haruguchi@va.gov with a

copy furnished to daniel.jhun@va.gov

Kayla Haruguchi

808-539-1304

Project No.: 459-24-001

Project Title: Modernize Generators

Project Location: 459 Patterson Rd., Honolulu HI

Description: The Veterans Affairs Pacific Islands Health Care System has a requirement to modernize generators at

Sparks M. Matsunaga VA Medical Center.

a. Contractor shall provide all materials, labor, tools, equipment, transportation, expertise, supervision, and

administration for the work described in the contract documents (i.e. contract documents, solicitation

documents, scope of work, specifications, and drawings).

b. This acquisition is a total set-aside for certified/verifiable service-disabled veteran owned small business concerns

c. The Government intends to award one (1) firm-fixed-priced construction contract without conducting negotiations with

offerors; however, the Government reserves the right to conduct discussions if later determined to be in the best

interest of the Government. The Government may reject any or all offers if such action is in the public interest; and

waive informalities and/or minor irregularities in offers received. ALL OFFERORS MUST HAVE A CURRENT REGISTRATION ON

SAM.GOV AND THE U.S. SMALL BUSINESS ADMINISTRATION (SBA) SMALL BUSINESS SEARCH WEBSITE AS A CERTIFIED ELIGIBLE SDVOSB

PRIOR TO RFP EVALUATION AND PRIOR TO AWARD.

d. All certified SDVOSB contractors are afforded the opportunity to submit an offer for this RFP. All interested SDVOSB

holders shall submit a proposal IAW the instructions and terms as stated in this solicitation.

e. An offer guarantee is required in the form of a bid bond, which may be submitted electronically by the proposal due

date/time to the Contract Specialist, your name by email at your email address. Note: Performance and payment bonds

will be required by the successful offeror within ten (10) days of notice of award.

f. Although not mandatory, all interested parties are strongly encouraged to attend the site visit.

g. Wage Determination HI20260001 01/16/2026 applies to this Solicitation and will be part of the resulting contract.

h. NAICS: 236220 Commercial and Institutional Building Construction        Size Standard: $45.0M

i. The estimated magnitude of this construction project is between $2,000,000 and $5,000,000. This information is

provided per VAAR 836.204- Disclosure of the magnitude of construction projects.

10

240

X

X

X

10

1

12:00

05-17-2026

X

30

14. NAME AND ADDRESS OF OFFEROR

15. TELEPHONE NUMBER

16. REMITTANCE ADDRESS

CODE

FACILITY CODE

17. The offeror agrees to perform the work required at the prices specified below in strict accordance with the terms of the solicitation, if this offer is

accepted by the Government in writing within __________ calendar days after the date offers are due.

AMOUNTS

18. The offeror agrees to furnish any required performance and payment bonds.

19. ACKNOWLEDGMENT OF AMENDMENTS

AMENDMENT

NUMBER

DATE.

20a. NAME AND TITLE OF PERSON AUTHORIZED TO SIGN OFFER

20b. SIGNATURE

20c. OFFER DATE

21. ITEMS ACCEPTED:

22. AMOUNT

23. ACCOUNTING AND APPROPRIATION DATA

24. SUBMIT INVOICES TO ADDRESS SHOWN IN

ITEM

25. OTHER THAN FULL AND OPEN COMPETITION PURSUANT TO

10 U.S.C. 2304(c)(

)

41 U.S.C. 3304(a) (

)

26. ADMINISTERED BY

27. PAYMENT WILL BE MADE BY

PHONE:

FAX:

28. NEGOTIATED AGREEMENT

29. AWARD

Your

Contractor agrees

offer on this solicitation is hereby accepted as to the items listed.  This

to furnish and deliver all items or perform all work requirements identified

award consummates the contract, which consists of (a) the Government

on this form and any continuation sheets for the consideration stated in

solicitation and your offer, and (b) this contract award.  No further cont-

this contract.  The rights and obligations of the parties to this contract

ractual document is necessary.

shall be governed by (a) this contract award, (b) the solicitation, and (c)

the clauses, representations, certifications, and specifications incorporated

by reference in or attached to this contract.

30a. NAME AND TITLE OF CONTRACTOR OR PERSON AUTHORIZED

31a. NAME OF CONTRACTING OFFICER

TO SIGN

30b. SIGNATURE

30c. DATE

31b. UNITED STATES OF AMERICA

31c. AWARD DATE

BY

OFFER

AWARD

STANDARD FORM 1442 (REV. 8/2014) BACK

(Include ZIP Code)

(Include area code)

(Include only if different than Item 14.)

(Insert any number equal to or greater than

the minimum requirement stated in Item 13d.  Failure to insert any number means the offeror accepts the minimum in Item 13d.)

(The offeror acknowledges receipt of amendments to the solicitation -- give number and date of each)

(Type or print)

(4 copies unless otherwise specified)

(Type or print)

(Type or print)

(Contractor is required to sign this

document and return _______ copies to issuing office.)

(Contractor is not required to sign this document.)

(Must be fully completed by offeror)

(To be completed by Government)

CONTRACTING OFFICER WILL COMPLETE ITEM 28 OR 29 AS APPLICABLE

Department of Veterans Affairs

Network Contracting Office 21 (NCO 21)

VA Pacific Islands Health Care System

711 Kapiolani Blvd Suite 200

Honolulu HI 96813

Department of Veterans Affairs

FMS VA-9(101) Financial Services Center

PO Box 149971

Austin TX 78714-9971

866-372-1141

vafscenterprisesupport@va

Daniel Jhun

Table of Contents

PART I - THE SCHEDULE	2

SECTION A - SOLICITATION/CONTRACT FORM	2

A.1  SF 1442  SOLICITATION, OFFER, AND AWARD (Construction, Alteration, or Repair)	2

A.2  SF 1442  SOLICITATION, OFFER, AND AWARD (CONSTRUCTION, ALTERATION, OR REPAIR)– BACK	3

STATEMENT OF WORK	1

A.3 PRICE/COST SCHEDULE	29

ITEM INFORMATION	29

INFORMATION REGARDING BIDDING MATERIAL, BID GUARANTEE AND BONDS	30

INSTRUCTIONS, CONDITIONS AND OTHER STATEMENTS TO BIDDERS/OFFERORS	31

INSTRUCTIONS TO OFFERORS	31

1.1  52.216-1 TYPE OF CONTRACT (NOV 2025) (DEVIATION)	35

1.2 52.219-1 SMALL BUSINESS PROGRAM REPRESENTATIONS (NOV 2025) (DEVIATION)	35

1.3  52.222-5  CONSTRUCTION WAGE RATE REQUIREMENTS—SECONDARY SITE OF THE WORK (NOV 2025) (DEVIATION)	38

1.4  52.225-10 NOTICE OF BUY AMERICAN REQUIREMENT—CONSTRUCTION MATERIALS (MAY 2014)	38

1.5  52.233-2  SERVICE OF PROTEST  (SEP 2006) (DEVIATION NOV 2025)	39

1.6  52.233-2 SERVICE OF PROTEST. (SEP 2006) (DEVIATION NOV 2025)	40

1.7  52.240-90  SECURITY PROHIBITIONS AND EXCLUSIONS REPRESENTATIONS AND CERTIFICATIONS (NOV 2025) (DEVIATION)	40

1.8  52.252-1  SOLICITATION PROVISIONS INCORPORATED BY REFERENCE  (FEB 1998)	44

1.9  VAAR 852.233-71  ALTERNATE PROTEST PROCEDURE (OCT 2018)	45

REPRESENTATIONS AND CERTIFICATIONS	47

3.1 52.209-7 INFORMATION REGARDING RESPONSIBILITY MATTERS (OCT 2018) (DEVIATION NOV 2025)	47

3.2  52.209-13 VIOLATION OF ARMS CONTROL TREATIES OR AGREEMENTS—CERTIFICATION (NOV 2021) (DEVIATION NOV 2025)	48

GENERAL CONDITIONS	51

4.1 52.209-9 UPDATES OF PUBLICLY AVAILABLE INFORMATION REGARDING RESPONSIBILITY MATTERS (OCT 2018) (DEVIATION NOV 2025)	51

4.2  52.219-14 LIMITATIONS ON SUBCONTRACTING (NOV 2025) (DEVIATION)(DEVIATION NOV 2025)	52

4.3  52.219-28 POSTAWARD SMALL BUSINESS PROGRAM REREPRESENTATION (NOV 2025) (DEVIATION) (DEVIATION NOV 2025)	54

4.4  52.225-9 BUY AMERICAN—CONSTRUCTION MATERIALS (DEVIATION) (NOV 2025)	56

4.5  52.252-2  CLAUSES INCORPORATED BY REFERENCE  (FEB 1998)	61

4.6   SUPPLEMENTAL INSURANCE REQUIREMENTS	67

4.7  VAAR 852.242-71  ADMINISTRATIVE CONTRACTING OFFICER (OCT 2020)	71

4.8  52.240-91  SECURITY PROHIBITIONS AND EXCLUSIONS  (NOV 2025) (DEVIATION)	71

4.9  52.240-93  BASIC SAFEGAURDING OF COVERED CONTRACTOR INFORMATION SYSTEMS (DEVIATION) (NOV 2025)	81

***** Begin Inserted Word Document - ' Modernized Generator System SOW rev. 2' *****

# STATEMENT OF WORK

- Summary

The architectural design scope is limited to work in and around the Generator room in Building 30 for this project. All work will be designed to the applicable codes and standards referenced in Section 3 of this narrative.

Project Description - Building 30 (ACC)

During design for this project, the Fire Protection Engineering analysis identified a deficiency in the existing generator room regarding interior partitions constructed from an acoustic concrete masonry unit (cmu), also known as SoundBlox. This masonry unit, in an 8” thickness, is typically constructed as an unreinforced non-fire rated partition, but can be fabricated with a second cell, allowing the block to be reinforced and grouted, achieving a 1-hr fire rated partition. The only way to determine for sure which type exists in the facility would be destructive testing.

Current NFPA 110-2025 section 7.2.1.1. requires 2-hour fire resistance rated barriers for Emergency Power Supply Rooms. This document applies primarily to new installations of Emergency and Standby Power Systems. The VA determined that interior partitions should be upgraded to comply with the current code requirement.

The extent of wall mounted conduits and equipment made constructing a new partition inside the Generator room problematic. Doing so would also eliminate the sound reduction capability of the CMU. The design team (with VA concurrence) elected to construct the new fire-rated partition on the exterior sides of the two interior partitions making up the room. Constructing the partition against the masonry required the use of a shaft wall assembly allowing all components to be installed from one side. One difficulty is the existing CMU partition at the adjacent Fire Pump room prevents installing continuous shaft wall separation around the room. GDM is proposeding a shaft wall extension on both sides of the CMU to provide fully sealed overlapping protection in lieu of continuity at the corner of Generator room. This proposal was accepted by the VA.

One final hurdle was discovered in an as-built drawing discrepancy for the exterior door pair location in Mech/Fire Protection Room 1A29. Existing door frame is installed too close to the CMU wall at Generator preventing construction of the new fire rated partition through the exterior wall (as required by code). VA determined the best solution to be replacement with a new smaller exterior door and frame allowing proper partition construction / termination through exterior wall stud cavity.

Analysis indicates the existing lightweight concrete floor/metal deck and 5/8” gypsum board ceiling above the Generator room appears to exceed the 2-Hour separation requirement.

Construction Tasks

    - Provide new 2-hour fire-rated wall assembly separating existing interior CMU partitions of the Generator room 1A28 from adjacent rooms Office 1A20, Corridor C1-05, and Mech/Fire Protection Room 1A29.

- Corridor C1-05, Office 1A20

  - Remove, safely store and reinstall existing handrails, crash rails, photographs and furniture.

  - Remove, safely store & reinstall existing ceiling grid, wall angles and ceiling tiles.

  - Remove and reinstall all surface mounted conduit, receptacles, exit sign, and/or junction boxes.

  - Remove existing gypsum board wall finish, acoustic insulation and metal stud framing.

  - Construct new continuous 2-hour fire rated shaft wall assembly floor to ceiling. and finish to match existing.

  - Seal all wall penetrations through the new partition.

  - Finish exposed surfaces to match existing materials and colors.

  - Restore floor and ceiling finishes.

- Mechanical/Fire Protection Room 1A29

- Contractor to remove all wall mounted conduit, devices and equipment required for new partition installation.

- Provide safe storage and/or temporary support for conduit, devices and equipment.

- Remove exterior door pair and frame.

- Construct new continuous 2-hour fire rated shaft wall assembly and tape for smooth finish.

- Seal all wall penetrations through the new partition.

- Paint new partition finishes to match adjacent room wall color.

- Provide new exterior louvered door pair and frame.

- Install new rubber wall base sealed to floor for moisture protection during testing.

- Reinstall conduit, devices and equipment on new partition after painting and wall base are complete.

- Electrical Engineering Design Narrative

Building T-1 (E Wing)

    - Replace existing 200KW diesel powered generator with new 200KW generator. The generator will be provided with an aluminum enclosure and a stainless-steel tank to provide corrosion resistance necessary for the local climate conditions. Tank will exceed the required capacity of 96-hour operation at approximately 50% load.

      - The peak demand load is 90.84KW. The standard factory size tank is 777 gallons. The generator would operate at approximately 7.54 gal/hour at the measured peak load. This would mean that at 90.84KW, the generator runtime would be approximately 103.05 hours.

      - The 96 hours is due to the main computer room (MCR) being located in the building, Since the building is typically only occupied during normal business hours, and the MCR is approximately 25% of the demand load, the standard 777 fuel tank could provide an estimate of 200 hours of continuous emergency power.

      - The standard fuel tank will allow for the generator to mount in the existing footprint of the replacement slab without increasing the foot print size of the slab.

      - A custom tank would be required for the full load rating of a 200KW generator and would increasing the delivery date and costs considerably.

    - A tap box will be provided to inner tie the new generator with the existing ATS to comply with NEC 700 requirements and will include the following:

- An internal manual transfer switch (MTS) allows connection for temporary generator connection, including battery connection and engine start contact for a portable generator.

- Connection for annual load bank testing.

- The generator and engine start controls would be routed to the tap box.

    - Provide provisions to monitor the new generator on the existing DDC system (refer to Mechanical documents).

    - A temporary generator will be provided prior to removal of existing generator and be provided with 96 hours of fuel onsite. The temporary power requirements will be outlined in the construction drawings.

    - The existing generator feeder includes power and control wiring within the same conduit, which voids the UL2200 listing of the generator. The feeder also routes thought the existing switchgear and penetrates into the electrical room Normal and emergency power feeders cannot route through common enclosures per NEC 240. Since a new tap box is being installed on the west wall of Bldg. T-1, all conduits will need to be routed from the generator to the new tap box. Utilizing the existing conduit or conduit pathway is not feasible or conducive to the design.

    - All new power and control conduits from the generator will be installed in a common trench to the tap box. There will be a spare conduit and a conduit for the DDC system that will run from the generator and penetrate into the crawl space below the tap box.

    - The clearance of the existing generator and switchgear does not comply with NEC Table 110-34. The generator is less than 4 ft from the 12,470V transformer. Per NEC Table 110-34, Condition 1, the clearance requirement is 5ft. In order for the new slab to maintain existing slab dimensions, the existing fence will receive double wide gate to accommodate the access to the generator from the westside.

Building 30 (ACC)

Existing 750KW generator to remain.

A temporary generator and distribution will be installed prior to construction of upgrading the emergency distribution and fuel delivery system. The temporary distribution will be connected to the emergency side of the ATSs. Temporary generator will be provided with 24 hours of fuel and will be outlined in the drawings.

Fire Pump Room rating will be upgraded to a 2-hour fire rating which will require relocation of all electrical conduits, panels, and equipment on the adjacent wall between to the generator room:

- Fire pump ATS to be temporarily relocated in fire pump room and reconnected to the normal power source and the temporary generator source.

- Irrigation wiring and DDC controls and all associated conduits and wiring to be removed off the wall and reestablished after the upgrade is complete.

- Fire pump to be relocated to permanent location after the fire pump room is completed. Normal power source connection to be established. Temporary power must be reestablished until all work associated with the generator switchboard is complete.

New interior of existing generator switchboard will be retrofitted into the existing switchboard enclosure to accommodate separate main circuit breakers for the emergency feed to the fire pump ATS per NEC 240:

- Replace existing generator controls from existing generator switchboard and provide modern control panel withing the incoming section of the generator switchboard.

- Provide new 1200A generator main circuit breaker to feed a new distribution interior that will be reconnected to the emergency feeds of the existing ATS’s with the exception of the fire pump ATS (ATS-FP).

- Provide a connection cabinet adjacent to distribution section of the generator switchboard. Includes 1200A breaker to be interlock with generator main. This is to be used for load bank testing and in the event a temporary generator is needed.

- New 50A/3P breaker will be installed on generator to serve the emergency side of fire pump ATS (ATS-FP).

- Existing day tank will be replaced, requiring recircuiting to new 60-gallon return pump (refer to Mechanical documents).

- Provide 480V power feed to new fuel pump system that will be installed adjacent to 5000-gallon main fuel tank. (refer to Mechanical documents). Provide 2” GRC conduits for pump skid, fuel monitoring and a spare from the generator room to a new vault in the fuel tank area. Use the common duct bank with the tap box feeders.

- Existing fuel tank, new fuel piping and pump skid will be grounded per NEC 250.

- The existing 2” conduits are not able to be reused. There will be 3 2” conduits installed for current and future use. See civil for details.

Building 32A (Parking Garage)

Replace existing 200KW diesel powered generator with new 200KW generator. New generator will be an open unit with a subbase fuel tank with a minimum of 90 minute run time per NFPA 101 requirements.

- New generator will be an open unit with a subbase fuel tank with a minimum of 90 minute run time.

- Generator will be provided with a second circuit breaker for future EV charging system

- A tap box will be provided to innertie the new generator with the existing ATS to comply with NEC 700 requirements and will include the following:

  - An internal manual transfer switch (MTS) allows connection for temporary generator connection, including battery connection and engine start contact for a portable generator.

  - Connection for annual load bank testing

- Provide DDC connection in Buildin 32A that will connect to TR in Building 30, usiting existing spare conduits between buildings.

- Provide provisions to monitor the new generator on the existing DDC system (refer to Mechanical documents).

Wiring Methods

    - General wiring methods are to be in conduit. Minimum conduit size shall be 3/4".

    - All conductors shall be copper with type THHN/THWN-2, or XHHW-2 insulation.

    - Wiring for power and lighting will be solid conductors for #10 AWG and #12AWG, and stranded conductors for all cables #8 AWG and larger. Minimum size conductors for lighting and power wiring will be #12 AWG.

    - Neutral conductors will be full size throughout the system as a minimum. Provide oversized neutrals for telecom distribution. No shared neutrals will be provided.

    - The minimum size conductors for control wiring will be #14 AWG.

Grounding and Bonding

    - Grounding for the building will be in compliance with Article 250 of the National Electrical Code. All electrical power and communication systems shall be bonded to the equipment grounding system for both safety and ground potential differences. All branch circuit conduits will contain an equipment ground conductor from panel ground bus to the devices and equipment served.

    - The minimum size of any bonding conductor shall be #6 AWG copper.

    - All conductor connections to bonding busbars shall be a 2-hole lug connector.

Raceways

    - A complete raceway system will be provided for all lighting and power conductors.

    - Rigid metal conduit, intermediate metal conduit and/or electrical metallic tubing will be used within the building. Rigid metal conduit be used where conduit is installed both exposed and in location that is susceptible to damage. Electric metallic tubing may be used in all other interior locations.

    - If required, underground conduit will be PVC schedule 40 with Galvanized Rigid Steel bends, concrete encased.

    - If used, exposed exterior conduit will be Galvanized Rigid Steel.

Mechanical

Building T-1 (E-Wing)

    - Integrate new generator (refer to electrical documents) into facility DDC system for monitoring and alarms.

Building 30 (ACC)

    - Demolish and replace above-grade fuel piping at the main fuel tank and inside the generator room, including the existing day tank and pumps in the generator room.

    - Demolish and replace the existing Veeder-Root level monitoring & leak detection panel in the generator room.

    - Provide new fuel supply pumps located at the main fuel tank location.

    - Provide new 60-gallon day tank inside the generator room, including fuel return pump (day tank to main tank) and secondary containment. GDM recommends a 60-gallon tank capacity in order to avoid triggering the extensive requirements of NFPA 30 section 24 for ‘storage tank buildings’. A 60-gallon day tank is defined as a ‘container’ by NFPA 30-3.3.12 rather than a ‘storage tank’ by NFPA 30-3.3.54.6, which would change the classification of the room, require added ventilation & controls, increased electrical rating requirements, and others.

    - Provide new fire damper where existing exhaust duct penetrations generator room wall.

    - Integrate existing generator into facility DDC system for monitoring and alarms.

Building 32A (Parking Garage Generator Building)

    - Integrate new generator (refer to electrical documents) into facility DDC system for monitoring and alarms.

    - Provide new generator exhaust system (including piping, silencer(s), etc.) for new generator.

    - Provide new remote fuel fill system for generator belly tank.

    - Provide network extension (fiber or copper) required to establish DDC connectivity in B32A.

Fuel Oil Systems

    - Duplex fuel supply pumps shall be provided at the exterior fuel tank, including automatic controls for pump alternating. Pumps will be installed in outdoor rated enclosure with controls, piping, & valves.

    - A 60-gallon day tank assembly with integrated containment will be provided in the generator room. The day tank assembly will also include a return pump for pumping fuel from the day tank to the exterior main fuel tank, and associated piping, valving, and controls.

    - Fuel oil piping & fittings will be butt- or socket-welded, except at valves, unions, and tank connections where flanged or threaded fittings are allowed. Adapter fittings will be provided as necessary to connect to existing double-wall piping.

    - New fuel piping sections provided inside buildings will generally be single-wall type.

    - Double-containment piping systems will be provided at exterior locations near the B30 exterior fuel storage tank wherever possible. Double containment systems will be provided with leak detection.

    - New flexible fuel pipe sections will be provided for connection to generator.

    - Fuel piping is intended to be located above grade. No underground piping is intended to be provided as part of this project.

    - A fuel tank monitoring and alarm system will be provided with the fuel system. The system will monitor fuel tank levels, high & low level alarms, & leak detection.

    - The fuel tank monitoring system will also include alarms and sensor information from the day tank.

    - The fuel tank monitoring system will include alarm output and other points to DDC system

DDC Controls

    - The existing Trane Tracer Ensemble direct digital control (DDC) system that serves the facility will be updated to integrate the new & existing generators, day tanks, & tank monitoring systems at the 3 buildings in the project scope.

    - The DDC head end computer is located in Building T-1 (E-Wing), mechanical shop.

    - The existing head end computer will remain in use. The system graphics will be updated to incorporate new and modified mechanical systems provided as part of this project.

    - The existing DDC system is primarily BACnet.

    - The DDC system will monitor the fuel tank(s), day tank(s), leak detection, and generators, but control & activation of the generator and fuel systems will be per conventional generator operating methodology.

Mechanical & Plumbing Unknowns/Questions

    - Any leak detection located in existing sump near Building 30 fuel storage tank?

- CLOSED - Leak detection for the existing underground double-wall piping is a provided using a combined containment configuration near the exterior tank. A standpipe located in the existing concrete vault allows a single leak detection sensor to detect leaks in either the FOS or FOR piping.

    - Is there a second buried or hidden sump for the double containment piping located near the Building 30 exterior fuel tank, adjacent to the existing visible sump that only houses a standpipe for leak detection sensor?

- CLOSED - No second sump is present. Refer to above, confirmed by archive photos provided by the VA.

    - Confirmation of suitable DDC panels in scope areas for connection/expansion

- CLOSED - Existing DDC panel locations have been confirmed.

    - Existing DDC system drawings?

- CLOSED - Existing control drawings & information has been received from Trane.

    - DDC integrator for site?

- CLOSED - The VA does not have a specific DDC integrator.

    - DDC on facility OIT LAN/fiber or dedicated controls LAN/fiber?

- CLOSED - The facility DDC system appears to operate on the OIT LAN/fiber network.

    - Is a fuel polishing system desired for the B30 genset fuel system?

- CLOSED - The VA is currently engaging a contractor to provide fuel polishing services & equipment under a separate contract. No fuel polishing equipment will be provided under GDM’s project.

    - Network path for B32A DDC systems? Can new fiber or copper be run from B32A to B32 room P1-101 to B30 TR room 2-D16 via existing ductbank?

- CLOSED – A new data connection is being provided from B32A to a TR in Building 30 (3D-116).

Mechanical & Plumbing Studies & Calculations

    - Pressure drop/pump sizing calculations for fuel pumps.

- Structural Engineering Design Narrative

Systems Summary

The structural design of this project is limited to the following items. All items will be designed to the applicable codes and standards referenced in Section 3 of this narrative.

    - New concrete equipment pads for the new E-Wing generator and near the existing B-30 fuel tank for the new supply pumps, disconnect and piping supports.

    - Foundations for new fence around the new equipment pad at the E-Wing.

    - Due to the minimum clearances required around the new generator, the placement of the new generator will be in a different location than the existing generator. A new foundation is required under the new generator, a new slab is required around the new generator. In order not to move other electrical equipment, the new generator requires removal of the existing fence, slab and foundation, and a new enclosure will be constructed. Fencing and slab will be reinstalled in kind (same location and dimensions).

    - Seismic anchorage for all new equipment installed on new or existing concrete equipment pads

    - Seismic bracing of new suspended utility racks and piping

Per the VA Seismic Design Manual (PG 18-10) § 4.1, all new or relocated nonstructural components, permanent equipment, and their attachments will be designed to the requirements of ASCE 7, Chapter 13. In addition per PG 18-10 § 4.2, since this facility is Seismic Design Category D, permanent equipment and components shall have Special Seismic Certification in accordance with the requirements of ASCE 7 § 13.2.3.

Design Criteria

The following is a list of the relevant design parameters to be incorporated in the structural design.

| GENERAL DESIGN CRITERIA |  |  |
| --- | --- | --- |
| Risk Category for Ancillary Facilities | II | Per PG 18-10 |
| Risk Category for Essential Facilities | III | Per PG 18-10 |

| LIVE LOAD CRITERIA |  |  |
| --- | --- | --- |
| Mechanical Rooms | 150 psf | Per PG 18-10 Table 1 |

| SNOW LOAD CRITERIA |  |  |
| --- | --- | --- |
| Ground Snow Load | N/A |  |

| WIND LOAD CRITERIA FOR ANCILLARY FACILITIES |  |  |
| --- | --- | --- |
| Basic Wind Speed for Ancillary Facilities | V = 148 mph | Per ASCE Hazards Report |
| Basic Wind Speed for Essential Facilities | V = 164 mph | Per ASCE Hazards Report |
| Wind Exposure Category | B | Per ASCE 7 |

| SEISMIC LOAD CRITERIA |  |  |
| --- | --- | --- |
| Importance Factor for Ancillary Facilities | Ie = 1.0 | Per ASCE 7 |
| Importance Factor for Essential Facilities | Ie = 1.25 | Per ASCE 7 |
| Importance Factor for Critical Equipment | Ie = 1.5 | Per VA Seismic Design H-18-8 |
| MCE Spectral Acceleration (Short Period) | Ss = 0.53 | Per VA Seismic Risk Definitions |
| MCE Spectral Acceleration (1-Second Period) | S1 = 0.15 | Per VA Seismic Risk Definitions |
| 5% Damped MCE Spectral Acceleration (Short Period) | SMS = 0.73 | Per ASCE 7 |
| 5% Damped MCE Spectral Acceleration (1-Second Period) | SM1 = 0.42 | Per ASCE 7 |

| Design Spectral Acceleration (Short Period) | SDS = 0.49 | Per ASCE 7 |
| --- | --- | --- |
| Design Spectral Acceleration (Long Period) | SD1 = 0.28 | Per ASCE 7 |
| Seismic Design Category | D | Per ASCE 7 |

- Civil Engineering Design Narrative

Design Codes and Standards

    - Site Development Design Manual - March 2024

    - VA Physical Security and Resiliency Design Manual – June 2025

    - VA Master Specifications

    - Hawaii Department of Transportation

    - International Building Code (IBC) – 2021

    - PG-18-13 VA Barrier Free Design Guide, May 2025

Project Description

    - Per the VA provided Scope of Work, the existing exterior generator pad will be demolished, removed and replaced for the E Wing building T-1. The pad will be replaced in the same location and same size with the addition of 3 foot extension to the plan south side of the pad to accommodate the tap box location. The existing side walk will be widened to maintain 3’ wide walk where the pad was extended. The construction of the new concrete pad will follow the VA Site Development Manual and the physical security requirements.

Electrical feeders will be installed underground at the E Wing Building including 6 – 1” pvc conduits and 1-4” pvc conduit and will traverse approximately 31 linear feet and core into an existing utility tunnel and fire alarm conduit including 4 -1 “ pc conduits and 1 – 4” pvc conduits will traverse to the plan south to the existing utilidor.

    - Building 30 has 2 existing 2” conduits in place that have been deemed unusable per a field investigation on July 30, 2025. The conduits will be abandoned in place and three new 2” concrete encased conduits will be routed from the generator room to the exterior fuel tank approximately 153 linear feet. The conduit will be buried at a minimum bury depth of 24” below existing ground using multiple conduits for redundancy and shall exceed 300 feet or three 90 degree bends between manholes or access points.

    - Lastly, approximately 35 linear feet of 3-2” pvc conduit and 2 – 1” pvc conduits will be installed between building 32A and 32 to route the new DDC. All underground concrete encasement shall follow APWA Unifor Color Code and will be dyed red. There will also be trace wire/tape installed per DIV 26 05 41.

Site Preparation

    - Site preparation for the new conduits will consist of demolishing and removing existing landscaping, irrigation, hard surfaces such as asphalt and concrete, and other existing site improvements. These improvements will be restored to their existing or better condition upon completion of the new conduit runs and will follow VA standards for earthwork and trenching.

Site Grading

    - There will be limited site grading in areas disturbed by the new conduits and vaults. Site grading will be restored to match existing conditions and VA barrier free act.

Pavement Section

    - It is anticipated that the conduits will disturb existing concrete and asphalt surfaces. Disturbed concrete and asphalt surfaces will be restored to their existing condition or better in accordance with VA specification 32 12 16. All trenches shall be backfilled and compacted appropriately.

- Fire Protection Engineering Design Narrative

Codes and Standards

National Fire Protection Association (NFPA)

- NFPA 10 Standard for Portable Fire Extinguishers, 2022

- NFPA 13 Standard for the Installation of Sprinkler Systems, 2025

- NFPA 30: Flammable and Combustible Liquids Code, 2024

- NFPA 37: Standard for the Installation and Use of Stationary Combustion Engines and Gas Turbines, 2024

- NFPA 70 National Electrical Code, 2023

- NFPA 70e Standard for Electrical Safety in the Workplace, 2024

- NFPA 72 National Fire Alarm and Signaling Code, 2025

- NFPA 101 Life Safety Code, 2024

- NFPA 110 Standard for Emergency and Standby Power Systems, 2025

- NFPA 241: Standard for Safeguarding Construction, Alteration, and Demolition Operations, 2022

- NFPA 291: Recommended Practice for Water Flow Testing and Marking of Hydrants, 2025

Department of Veterans Affairs

- VA Fire Protection Design Manual, Ninth, November 1st, 2023

Compliance with NFPA 101 Life Safety Code, 2024 Edition

Building 30 Generator Room 1-A28

This project qualifies as a Renovation under NFPA 101-2024 Section 43.2.2.

The generator system improvements for Building 30 include an upgrade of the generator room’s fuel-delivery system, including new day tank, above-ground piping, pumps, valves, and controls. The existing components to remain include the generator, the exterior 5,000-gallon fuel storage tank, and the underground fuel supply and return piping from the exterior fuel storage tank to the Emergency Generator Room.

Building 30 is an Ambulatory Care Clinic with a use consistent with that of a Business Occupancy per NFPA

101. Building 30 is of Type II (111) construction type per NFPA 220. Generator Room1-A28 is wholly contained within that construction type and the structural fire-resistance remains unchanged.

All new work in Building 30 Generator Room will meet the requirements of existing Business occupancies as outlined in Section 43.4. Existing non-compliant conditions shall not be made more hazardous per Section

43.4.1.4. Modifications are expected to maintain or improve the current level of safety.

Generator Room 1-A28 is required to have a minimum 1-hour fire resistance rated barrier per NFPA 37-2024 Section 4.1.2.1.1. Further, NFPA 101-2024 7.2.3.1.12 (3) requires a minimum 1-hour fire resistance rated barrier for generator rooms. However, NFPA 110-2025 7.2.1.1. requires 2-hour fire resistance rated separation for Emergency Power Supply Rooms.

NFPA 101 Equivalency and Engineering Judgement Letter

An NFPA 101 Equivalency and Engineering Judgment Letter has been prepared to reconcile existing construction conditions with the fire-resistance and separation requirements applicable to the Modernize Generator System project. The package was developed in accordance with NFPA 101-2024 Section 1.4 and provides the technical justification necessary for acceptance by the VA Fire Marshal and the Authority Having Jurisdiction.

The letter addresses three specific equivalencies, each of which was required due to existing building constraints and conditions uncovered during field investigation:

Equivalency #1 – Corner Discontinuity of New 2-Hour Shaftwall:

Justification for using an overlapped 2-hour shaftwall configuration in lieu of a continuous fire barrier at an existing CMU intersection where continuity cannot be achieved. The proposed system provides equal or greater fire-resistance performance through redundant 2-hour assemblies, fire safing, and rated joint protection.

Equivalency #2 – Existing Floor-Ceiling Assembly:

Demonstration that the existing structural concrete and suspended Type-X gypsum board ceiling assembly between Generator Room 1-A28 and the pharmacy above provides at least a 2-hour fire-resistance rating, based on ACI/TMS 216.1-14(19) calculations and recognized code provisions.

Equivalency #3 – Generator Exhaust Penetration:

Engineering justification for a non-standard firestopping condition where the existing insulated 14-inch generator exhaust chimney penetrates a new 2-hour shaftwall. A project-specific Hilti Engineering Judgment (EJ 701251a) provides a 2-hour-rated firestop solution consistent with UL 1479 methodology.

Collectively, the equivalency package demonstrates that all proposed configurations meet or exceed the life-safety intent of NFPA 101 and NFPA 110, preserve required fire-resistance ratings, and maintain continuity of fire and smoke protection for the generator room enclosure. The formal letter requests VA acceptance of these three equivalencies as providing an equivalent or superior level of fire and life safety for this project.

Compliance with NFPA 37: Standard for the Installation and Use of Stationary Combustion Engines and Gas Turbines, 2024 Edition

In accordance with NFPA 37-2024 Section 4.1.2.1.1, the Building 30 Generator Room 1-A28 shall be enclosed by a one-hour fire-rated barrier. The room is currently protected by a one-hour fire rated barrier.

The day tank shall comply with NFPA 37 Section 6.1 and meet NFPA 30 construction and secondary containment requirements.

Outdoor engine installations shall comply with NFPA 37-2024 Section 4.1.4 by maintaining a clear separation of at least 1.5 m (5 ft) from any door, window, louver, or other wall opening (4.1.4.1) and by being positioned no closer than 1.5 m (5 ft) to structures having combustible exterior walls unless one of the specific allowances is satisfied.

Compliance with NFPA 30: Flammable and Combustible Liquids Code, 2024 Edition

The day tanks stored within the Building 30 Generator Room 1-A28 individually are classified as containers by NFPA 30-2024. An aggregate of 60 gallons of diesel, a Class II combustible liquid, is intended to be stored

within the room. In accordance with NFPA 30-2024 Section 9.6.1, the maximum allowable quantity of diesel fuel permitted within the occupancy is 120 gallons.

Fire/Smoke and Smoke Dampers

Fire dampers have been specified for the existing air transfer ducts in Generator Room 1-A28 room enclosure.

Fire Extinguishers

NFPA 10-2022 Table 6.3.1.1 designates Extra Hazard Class B coverage of 80-B rating at 50 ft travel for diesel splash hazard. Existing fire extinguishers meeting this rating and travel distance are provided for Building 30 and Building 32. A new fire extinguisher and exterior cabinet has been specified for Building T-1 E-Wing.

Fire Stopping of Wall Penetrations

The contractor is required to pull a permit on all fire and/or smoke-rated walls that require new penetration. They will also seal any penetrations in rated walls that are abandoned due to work completed for this scope in accordance with a listed penetration assembly corresponding to the appropriate rating of the barrier being penetrated.

Fire Alarm and Detection

Building 30 – Generator Room 1-A28

Generator Room 1-A28 is protected by an existing heat detector, model FST-951 W/B210LP BASE. However, per the VA Fire Protection Design Manual, 7.4.E, heat detectors are not required for generator rooms in sprinklered buildings. Further, NFPA 110-2025 does not require a dedicated fire detection system in generator rooms, so removal of this heat detector is code-compliant and will eliminate an unnecessary alarm source. The existing heat detector is currently required to be demolished as part of this design.

    - VAFPDM 7.4.E. Heat detectors are not required unless used in conjunction with elevator shutdown, where used as a substitute for smoke detectors in environments unsuitable for smoke detectors, or where used to protect emergency generators that are not equipped with automatic sprinklers. Exception: Heat detectors are not required in small remote buildings that house emergency generators. Provide heat detectors in all generator rooms in non-sprinklered buildings. The heat detector must be fixed temperature, extra high temperature (325-375 °F) rating. It is anticipated that most generator rooms will be sprinkler protected and will not require heat detectors.

- There are no fire alarm notification devices serving the generator room. VA Fire Protection Design Manual

7.3. requires visual notification for normally unoccupied rooms greater than 100 ft2. A new wall mounted speaker strobe has been proposed for Generator Room 1-A28.

- Generator system alarms (trouble, shutdown, fuel spill, generator running, generator fault, generator switch,) will be monitored as supervisory points by the building fire alarm system in accordance with NFPA 101-2024 9.1.3.2.

Building 32 Generator Outbuilding

The generator outbuilding is not currently protected by any fire alarm system, and none is required for this small, unoccupied structure.

GDM proposes generator system alarms (trouble, shutdown, fuel spill, generator running, generator fault, generator switch,) will be monitored as supervisory points by the building fire alarm system in accordance with NFPA 101-2024 9.1.3.2.

A new heat detector has been provided for the Building 32 Generator Room. In accordance with VAFPDM, the heat detector must be fixed temperature, extra high temperature (325-375 °F) rating.

A new heat detector has been provided for Storage PE-101, high-temperature model FST-951H 190°F has been selected due to unconditioned space and expected high ambient ceiling temperatures

Audible / visual notification has been provided in both Storage PE-101 and the Generator Room.

E-Wing Building T-1 – Proposed Course of Action for Fire Alarm

For this exterior generator location, GDM proposes only generator system alarms (trouble, shutdown, fuel spill, generator running, generator fault, generator switch,) will be monitored as supervisory points by the building fire alarm system in accordance with NFPA 101-2024 9.1.3.2.

Fire Suppression – Fire Sprinklers

Per the VA Fire Protection Design Manual 6.1.D., fire sprinkler systems must be hydraulically calculated by any design approach allowed by NFPA 13, except that the Special Design Approaches identified by NFPA 13 must be used only when specifically permitted by NFPA 101.

Contractors for suppression systems are required to provide calculations and working drawings for new or modified systems. As such, schematic suppression drawings will be provided for this design.

In accordance with the VA Fire Protection Design Manual, all sprinklers are required to be FM approved.

Building 30 – Generator Room 1-A28

    - For Generator Rooms, NFPA 37-2024 11.4.5 requires automatic sprinklers to provide a density of

0.3 gpm/ft2, over the most remote 2500 ft2, with a maximum sprinkler coverage of 100 ft2 per sprinkler. This is consistent with the requirements of Extra Hazard Group 1 per NFPA 13-2025 19.2.2.1.

    - The room is currently protected by fire sprinkler coverage consistent with that of a Light Hazard fire sprinkler hazard classification (0.1 gpm/ft2 with a remote area of 1,500 ft2 and spacing up to 15’ between sprinklers.)

    - For Generator Room 1-A28, the design intends to demolish the existing light hazard sprinkler coverage and require the construction contractor to provide new hydraulically calculated Extra Hazard Group 1 coverage. This will require new branch lines and the use of upgraded sprinkler heads that are FM Approved, fusible-link type, standard response, and high-temperature rated (286 °F).

Building 30 Hydraulic Calculation Notes:

      - Hydraulic calculations are provided to verify water supply only. The fire sprinkler contractor required to provide calculations and working drawings for the modified fire sprinkler system in the generator room.

      - Room Design Method: Since the will have 2-hour fire rated separation, the wall ratings will be in excess of the minimum water supply duration, and THE SPRINKLER DESIGN IS eligible to use the Room Design Method per NFPA 13-2025 19.2.3.3. This PERMITS the remote area to be reduced to the footprint of the room (505 SF) per 19.2.3.3.1.

      - Reduction in Design Area of Application: Since high temperature sprinklers with a K factor of 11.2 will be used for the generator room, the area of application has been reduced to 2000 SF per NFPA 13 - 2025 19.2.3.2.7.

      - An additional flow of 409 GPM has been applied at the branch line point of common connection, Node 15, to increase the overall demand to the minimum required discharge of 0.30 GPM/FT² at the reduced area of application of 2000 FT² for an applied sprinkler demand of 600 GPM.

      - A hose stream allowance of 500 GPM has been added, resulting in a total system demand of 1100 GPM at the point of supply.

Building 30 Hydraulic Calculation Assumptions

The facility is supplied from the site’s distribution pumps, however, the hydraulic calculations are conservatively based on a “no pumps on” condition.

The effective point of supply for the hydraulic model is located at the intersection of the 8-inch site water main serving Building 30 and the 6-inch fire service line serving Fire Hydrant No. 4.

The underground piping configuration was modeled based on the March 20, 1997 design drawings. Original design elevations indicate a finish floor elevation of 380.87 feet and a 6-inch fire line elevation of 363.56 feet (net -17.31 feet). The hydraulic model assumes the 8-inch water service is buried approximately 18 feet below grade.

The modeled underground configuration includes an 8-inch to 6-inch reducing tee located upstream of the building entrance. This tee also supplies Fire Hydrant No. 6.

Building 30 Fire Hydrant Flow Test 10/1/2025:

Purpose

Document available water supply to support the hydraulic calculations for the fire sprinkler modifications planned in Generator Room 1-A28 of Building 30.

Personnel

    - Testing performed by: National Fire Protection (sprinkler contractor)

    - Witnessed By:

- Conrad Chandler Fire Protection Engineer, GDM

- Celyn Dezmain, Project Manager, Civil Engineer, GDM

- Leo Oshiro, COR, VA

- Kellie Takemoto, Healthcare Engineer, VA

Test Conditions & Method (summary)

    - Two hydrant flow tests were conducted in accordance with the requirements of NFPA 291: Recommended Practice for Water Flow Testing and Marking of Hydrants, 2025 Edition.

    - Since the facility is supported with site distribution pumps, the first test was performed with site pumps off and the second test was recorded with the site pump on.

    - Readings recorded:

- Fire Hydrant #4 (1-11A, 19F): static pressure, residual pressure,

- Fire Hydrant #5 (1-13, RT12F): flow (gpm).

    - The results recorded represent conditions at the test hydrant on the test date and time.

Measured Results:

| Test | System Condition | Static (psi) FH #4 | Residual (psi) FH #4 | Flow (gpm) FH #5 |
| --- | --- | --- | --- | --- |
| 1 | Site pump OFF | 66 | 56 | 843 |
| 2 | Site pump ON | 74 | 65 | 939 |

Calculated Available Flow at 20 psi Residual (NFPA 291 method):

𝑷𝑷𝒔𝒔 − 𝟐𝟐𝟐𝟐 𝟐𝟐.𝟓𝟓𝟓𝟓

𝑸𝑸𝟐𝟐𝟐𝟐 = 𝑸𝑸𝒓𝒓 �𝑷𝑷

𝒔𝒔

�

− 𝑷𝑷𝒓𝒓

    - Test 1 (pump OFF): ≈ 1,921 gpm at 20 psi

    - 𝑸𝑸𝟐𝟐𝟐𝟐

= 𝟖𝟖𝟓𝟓𝟖𝟖 �𝟔𝟔𝟔𝟔 − 𝟐𝟐𝟐𝟐�𝟐𝟐.𝟓𝟓𝟓𝟓 = 1921 gpm

𝟔𝟔𝟔𝟔 − 𝟓𝟓𝟔𝟔

- Test 2 (pump ON): ≈ 2,470 gpm at 20 psi

  - 𝑸𝑸𝟐𝟐𝟐𝟐

= 𝟗𝟗𝟖𝟖𝟗𝟗 �𝟕𝟕𝟓𝟓 − 𝟐𝟐𝟐𝟐�𝟐𝟐.𝟓𝟓𝟓𝟓 = 2470 gpm

𝟕𝟕𝟓𝟓 − 𝟔𝟔𝟓𝟓

| Test | System Condition | Static (psi) FH #4 | Residual (psi) FH #4 | Flow (gpm) FH #5 | Calculated Available Flow at 20 psi Residual (gpm) |
| --- | --- | --- | --- | --- | --- |
| 1 | Site pump OFF | 66 | 56 | 843 | 1921 |
| 2 | Site pump ON | 74 | 65 | 939 | 2470 |

Building 30 Fire Pump Test 10/1/2025:

Purpose

Document available water supply to support the hydraulic calculations for the fire sprinkler modifications planned in Generator Room 1-A28 of Building 30.

Personnel

- Testing performed by: National Fire Protection (sprinkler contractor)

- Witnessed By:

- Conrad Chandler Fire Protection Engineer, GDM

- Celyn Dezmain, Project Manager, Civil Engineer, GDM

- Leo Oshiro, COR, VA

- Kellie Takemoto, Healthcare Engineer, VA

Test Conditions & Method (summary)

- Existing Fire Pump Information: Pentair Model 3” 1624F

Type: Electric, Centrifugal Split Case Serial 17-2520690

Impeller Diameter: 6.313” Rated Capacity 500 gpm Rated Pressure 50 psi Max Power 25.2 BHP

Max Pressure: 25.2 psi

Max Suction Pressure: 103.5 PSI Stages: One

Pressure @ 150%: 33.9 PSI

- Pump operated at no flow (churn), 100% flow (500 gpm), and 150% rated flow (750 gpm) through the installed test loop and flow‑measuring device.

- Testing was performed through the test loop only. A full test‑header (open discharge) test was not available due to parked vehicles obstructing the test header.

- Suction and discharge pressures were read at the pump gauges; Net pressure = Discharge − Suction.

- Electrical readings (voltage, amperage) and speed (rpm) recorded at each point.

- One of the 6‑inch butterfly valve on the test loop appears impaired. The position indicator is not showing and the valve is potentially not fully opening and fully closing or seat. This condition can affect recirculation and observed pressures and flows, particularly at high‑flow points. GDM understands that VA is currently correcting this deficiency outside of this design contract.

Figure 1 Building 30's Fire Pump and Impaired 6" Butterly Valve

Measured Results 10/1/2025

| Point | Flow (gpm) | Suction (psi) | Discharge (psi) | Net Pressure (psi) | Voltage (V) | Amperage (A) | RPM |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Churn/No Flow | 0 | 65 | 120 | 55 | 474 | 15.9 | 3,578 |
| 100% Rated Flow | 500 | 65 | 117 | 52 | 474 | 25.6 | 3,595 |
| 150% Rated | 750 | 65 | 105 | 40 | 474 | 28.1 | 3,542 |

Comparison with Previously Tested Results

The following table captures and compares the test data from the previous 8/22/2024 and 9/11/2025 fire pump tests and the recently performed 10/1/2025 fire pump test.

| Test Point | Test Date | Flow (gpm) | Suction (psi) | Discharge (psi) | Net Pressure (psi) |
| --- | --- | --- | --- | --- | --- |
| Churn | 8/22/2024 | 0 | 60 | 120 | 60 |
|  | 9/11/2025 | 0 | 65 | 120 | 55 |
|  | 10/1/2025 | 0 | 65 | 120 | 55 |
|  | % Change (from 9/11/2025 Test) | - | 0% | 0% | 0% |
| 100% Rated Flow | 8/22/2024 | 533 | 50 | 110 | 60 |
|  | 9/11/2025 | 500 | 68 | 118 | 50 |
|  | 10/1/2025 | 500 | 65 | 117 | 52 |
|  | % Change (from 9/11/2025 Test) | - | -4% | -1% | 4% |
| 150% Rated Flow | 8/22/2024 | 754 | 60 | 106 | 46 |
|  | 9/11/2025 | 750 | 64 | 118 | 54 |
|  | 10/1/2025 | 750 | 65 | 105 | 40 |
|  | % Change (from 9/11/2025 Test) | - | 2% | -11% | -26% |

- Suction pressure at the 10/1/2025 test remained relatively consistent with the previous 9/11/2025 test.

- Performance of the net available pressure at the recent 10/1/2025 when compared to the previous 9/11/2025 test:

- Unchanged at churn.

- Slightly better at 100% Flow (+4%)

- Lower at 150% Flow (−26%) driven mainly by a 13 psi drop in discharge.

- It is also worth noting that the pump was recently repacked on August 24, 2025, and there could be a short break-in period during which the packing settles that might slightly affect the pumps performance in speed, amperage, temperature, etc. However, these effects are mechanical and typically small compared with hydraulic behavior. The pump was tested after repacking on September 11, 2025.

Acceptance Comparison – Test Results vs Nameplate and Typical NFPA 20 Criteria.

- Rated head (Nameplate): 50 psi (expected at 500 gpm). Tested 55 psi. Acceptable

- 150% head (Nameplate): 33.9 psi (expected at 750 gpm). Tested 40 psi. Acceptable.

- NFPA-type benchmarks:

- Churn head:

  - NFPA 20 Benchmark: 101–140% of rated head.

    - NFPA 20 A.6.2: Shutoff head will range from a minimum of 101 percent to a maximum of 140 percent of rated head.

  - Tested 55 psi vs rated head of 50psi for 110% of rated head. Acceptable.

- 100% rated flow 500 gpm:

  - Achieved rated flow 500GPM at 52psi, exceeds rated head of 50psi. Acceptable.

- 150% of rated flow 750 gpm:

  - Benchmark: Head ≥65% of rated head (≥32.5 psi for this pump).

    - NFPA 20 6.2.1: Pumps shall furnish not less than 150 percent of rated capacity at not less than 65 percent of total rated head.

  - Achieved: 40 psi net which is above NFPA criteria (≥32.5 psi) and the manufacturer’s

33.9 psi expectation. This is technically acceptable, however, there has been a decrease in performance in the recent test from the previous 8/22/2024 and 9/11/2025 test. This could be influenced by the suspected impairment of the 6 in. test loop butterfly valve.

Fire Pump Test Conclusion and Recommendations:

- Voltage stable at 474 V.

- Amperage increases with flow as expected: 15.9A to 28.1 A.

- Measured speed near rating of 3560 RPM.

- Pump performance at churn and 100% exceeds the nameplate rating. This is technically acceptable, however, there has been a decrease in performance in the recent test from the previous 8/22/2024 and 9/11/2025 test. This could be influenced by the suspected impairment of the 6 in. test loop butterfly valve.

- The 150% Flow point exceeds the nameplate and NFPA 20 criteria.

- Recommendation: Replace the impaired 6‑in. test‑loop butterfly valve and position indicator. Tag the valve as impaired until corrected. Perform full fire pump test through test header.

Building 32 Generator Outbuilding – Proposed Course of Action for Fire Sprinklers

- Since the building is a dedicated, detached structure, of non-combustible construction, with a separation of greater than 5 feet from the adjacent building, fire sprinklers are not required per NPFA 37-2024 4.1.2.2. Further, as a Special-Purpose Industrial Occupancy, fire sprinklers are not required by Chapter 40 of NFPA 101-2024. GDM proposes the Building 32 Generator Outbuilding to remain non-sprinklered.

- Interim Life Safety Measures (ILSM)

Where fire alarm or sprinkler systems are impaired more than four hours in any 24-hour period, the contractor shall provide a documented fire watch. The contractor shall maintain egress routes, protect openings and systems, control hot work, and follow daily combustible waste removal procedures. All ILSMs shall be coordinated with the VA COR and implemented before work commences.

- Regulated Material Abatement

The VA has shared record information that would indicate a potential for environmental hazards impacting the facility. The wall penetration into building T-1 E-Wing utilidor is expected to contain friable asbestos material. There has been no testing preformed during the design phase due to the extent of disruption to perform the sampling of the utilidor wall for such a small scope of the project. The contractor will be responsible for sampling, testing, and abating / mitigating any hazardous material found at the penetration point. The following are assumed to be an environmental hazard for this project at this time:

- Asbestos

- Confined space involving degassing.

***** End Inserted Word Document - ' Modernized Generator System SOW rev. 2' *****

## A.3 PRICE/COST SCHEDULE

### ITEM INFORMATION

| ITEM NUMBER | DESCRIPTION OF SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0001 |  | 1.00 | JB | __________________ | __________________ |
|  | Replacement of generator at Parking structure bldg. 32, replacement of generator at E-Wing bldg. T1, replacement of generator fuel delivery system at ACC bldg. 30. The period of performance mentioned here is tentative and should not be considered the actual period of performance. The project completion is 240 calendar days from NTP. The period of performance will be established based on the issuance date of the NTP. Contract Period: Base POP Begin: 06-24-2026 POP End: 02-19-2027 PRINCIPAL NAICS CODE: 236220 - Commercial and Institutional Building Construction PRODUCT/SERVICE CODE: Z2DA - Repair or Alteration of Hospitals and Infirmaries |  |  |  |  |
|  |  |  |  | GRAND TOTAL | __________________ |

***** ' INFORMATION REGARDING BIDDING MATERIAL, BID GUARANTEE AND BONDS' Replaced with Word Document *****

# INFORMATION REGARDING BIDDING MATERIAL, BID GUARANTEE AND BONDS

## 1.1 PROPOSAL MATERIAL:

Proposal materials consisting of the statement of work, specifications, other attachments, and contract forms are included and/or attached as part of this Request For Proposal. The VA will not provide printed copies of the specifications or solicitation documents.  It is the responsibility of the offeror to obtain the proposal materials in a time and manner sufficient to respond to this solicitation by the specified due date.

## 1.2 BID GUARANTEE:

A Bid Guarantee, SF 24, is required for the solicitation in an amount not less than 20 percent of the proposal price but shall not exceed $3,000,000. Failure to furnish the required bid (proposal) guarantee in the proper form and amount, by the time set for receipt of proposals, may result in the rejection of the proposal. Copies of the SF 24 may be obtained from http://www.gsa.gov/portal/forms/type/TOP.

## 1.3 PAYMENT & PERFORMANCE BONDS:

The offeror to whom award is made will be required to furnish two bonds, a Payment Bond, SF 25A, and a Performance Bond, SF 25, each in the penal sum as noted in the General Conditions of the Solicitation. Copies of SFs 25 and 25A may be obtained from http://www.gsa.gov/portal/forms/type/TOP.

***** End Word Document - ' INFORMATION REGARDING BIDDING MATERIAL, BID GUARANTEE AND BONDS' *****

***** Header 'CON-100 INSTRUCTIONS, CONDITIONS AND OTHER STATEMENTS TO BIDDERS/OFFERORS' Ignored *****

***** Begin Inserted Word Document - ' INSTRUCTIONS CONDITIONS AND OHTER STATEMENTS TO BIDDERS' *****

# INSTRUCTIONS, CONDITIONS AND OTHER STATEMENTS TO BIDDERS/OFFERORS

## INSTRUCTIONS TO OFFERORS

INTRODUCTION

- Offerors are strongly encouraged to carefully review the entire solicitation, statement of work (SOW), specifications, drawings, evaluation factors, and these submission instructions when providing the written response.  Failure to submit any of the following information, or failure to follow the formality requirements, may result in rejection of the offer.  Please note: “Offeror” and “Prime Contractor” are synonymous and given the same meaning in the information below.

- This is a Price Only evaluation, conducted in accordance with Federal Acquisition Regulation (FAR) Part 15, Contracting by Negotiation, supplemented by Department of Veterans Affairs Acquisition Regulations (VAAR).  FAR regulations are available electronically at https://www.acquisition.gov/far-overhaul , and VAAR regulations are available electronically at https://www.acquisition.gov/vaar.

- Offerors are required to meet all solicitation requirements, including terms and conditions, representations and certifications, and technical requirements.  Failure to comply with the terms and conditions of the solicitation may result in the Offeror being ineligible for award.

- Offerors are cautioned that the Government intends to award without negotiations based solely on the initial offers received.  Therefore, each initial offer received should be submitted on the most favorable terms.  The Government will evaluate the lowest price offer to determine if the price is fair and reasonable for the work to be performed. To be considered fair and reasonable for the work performed, the evaluators will also check for appearance of unbalanced line item prices. If deemed necessary, the supplemental price breakdown information will be used to assist the Government in performing the price evaluation described above. Offers which are materially unbalanced as to prices for the basic requirement and the option quantities are not fair and reasonable. An Offer is unbalanced when it is based on prices significantly less than cost for some work and prices which are significantly overstated for other work.

- The period of performance for this project is 240 calendar days.

- Only one award will be made in response to this solicitation, and it will be made as a firm, fixed price (FFP) contract.

- This solicitation is SDVOSB set-aside.  Offeror MUST have an active SAM UEI number and be current in System for Award Management (SAM) at time of offer submission and at time of award.  Any Offeror that claims SDVOSB and VOSB status must also be verified in Small Business Administration (SBA) database (https://search.certifications.sba.gov/ ) at time of offer submission and at time of award.

- SUBMISSION INSTRUCTIONS:

  - Offeror shall email its Price Proposal and accompanying attachments (Supplemental Price Breakdown, Contractor Certification Regarding Safety and Environmental, and copy of VAAR 852.219-75) to Contract Specialist Kayla Haruguchi at kayla.haruguchi@va.gov and Contracting Officer, Daniel Jhun at daniel.jhun@va.gov by no later than the stated due date/time specified in block 13 of SF1442 (subject to amendment).

When submitting proposal, subject line of email shall state “RFP 36C26126R0031 – Modernize Generators”.  Under no circumstances shall email file size exceed 10MB.  Multiple emails are acceptable.

Hand-delivered or faxed solicitation responses cannot be accepted at this time.

Offerors are responsible for ensuring and verifying their price and all required documents are received at the email address designated in block 8 of the SF 1442 Solicitation and by the date and time specified in block 13A of the SF 1442 Solicitation (subject to amendment). Any exception to the terms and conditions of this request for quotation will result in a nonresponsive quotation.

- REQUESTS FOR INFORMATION (RFIs) CONCERNING THIS RFP:

All Requests for Information (RFIs) regarding this solicitation shall be submitted in writing and received no later than Wednesday, April 29, 2026 at 12:00 PM HST.  All RFIs shall be emailed to Kayla Haruguchi at kayla.haruguchi@va.gov and Daniel Jhun at daniel.jhun@va.gov prior to the deadline specified.  Use the RFI form attached to the solicitation for the required format.

- PRE-PROPOSAL SITE VISIT:

Offerors are urged and expected to inspect the site where services are to be performed and to satisfy themselves regarding all general and local conditions that may affect the cost of performing these services.  Failure to inspect the site shall not constitute grounds for a claim after contract award.  Refer to provision 52.236-27, Site Visit, for details about the date, time, and location of the site visit.

A site visit is scheduled for:

Date:	Wednesday April 22, 2026

Time:	09:00 AM HST (promptly)

Location:  	In front of E-Wing (Warehouse Loading and Unloading dock)

VA Pacific Islands Health Care System

Sparks M. Matsunaga VA Medical Center

459 Patterson Rd.

Honolulu, HI 96819

- PROPOSAL FORMAT:

  - All commitments made in the proposal may become a part of the resultant contract.  The data submitted with each proposal shall be complete, concise, accurate, and not overly elaborate.  Reliance on promotional brochures is discouraged.

  - Offerors may, at the discretion of the Government, be asked to provide information for clarification purposes regarding their proposals.  Requests for such clarification information do not constitute negotiations.

  - Offeror shall be held responsible for the validity of all information supplied in the proposal, including information provided by potential subcontractors.  Should subsequent investigation disclose that any fact or condition was not as stated, the proposal may be rejected and may receive no further consideration.

  - If a revised proposal is requested, the number of revised copies to be submitted shall be the same as those of initial proposal, unless stated otherwise.

- FORMAT AND CONTENT OF OFFEROR RESPONSE TO PROPOSAL:

PRICE PROPOSAL shall be comprised of the following parts:

Response to Evaluation – Price (fully completed Attachment - Divisional Cost Break-Out sheet to include all columns (Material, Labor, and Total))

Completed/Signed Standard Form (SF) 1442 (fully completed and signed; ensure block 17, total proposed project price, is also completed); also, acknowledgment of all amendments by either entering data in block 19 of SF 1442, or by completing blocks 15 a, b, and c of SF 30 (Amendments) and returning with the offer.

Completed/Signed Standard Form (SF) 24, Bid Bond with raised seals and Power of Attorney (Raised seals must be visible when scanned into a PDF file; Prime Contractor shall maintain original bid bond until after award.)

Completed/Signed Experience Modification Rate (fully completed Attachment – Contractor Certification Regarding Safety and Environment).

VAAR Clause 852.219-75 VA Notice of Limitations on Subcontracting- Certificate of Compliance for Services and Construction, must be completed and signed using the VAAR Clause version that is included in this solicitation (Attachment VAAR 852.219-75 (JAN 2023) (DEVIATION)

PROSPECTIVE CONTRACTORS’ RESPONSIBILITY:  Purchases shall be made from, and contracts shall be awarded to, responsible prospective contactors only. The presumed winning Prime Contractor must be determined as “Responsible” by the Contracting Officer in accordance with FAR Part 9, Contractor Qualifications. To aid in making this determination, Offerors shall provide:

The Contracting Officer will obtain additional information as needed and specified in FAR 9.105-1 to make the Determination of Responsibility, to include, but not limited to the Federal Awardee Performance and Integrity Information System (FAPIIS), Excluded Parties List System (EPLS) and Past Performance Information Retrieval System (PPIRS).

A Determination of Responsibility will be conducted for the apparent “awardee” prior to award of the project. The required information from the proposal, along with other information obtained from Government systems, such as, but not limited to the OSHA and EPA online inspection history databases, as well as any other information the Contracting Officer has determined to be valid, will be used to make the Determination of Responsibility. Failure to affirm being within the guidelines in the proposal may result in a determination of “Non-Responsible” for the Offeror.

The offeror shall complete the attachment “Responsibility - Contractor Certification Regarding Safety and Environmental” document. Offeror shall have no more than three serious, or one repeat, or one willful OSHA or EPA violation(s) in the past 3 years and have an EMR of equal to or less than 1.0. Documentation shall include all open and final OSHA violations for the 3 previous calendar years.

NOTE: Any information received by the Government that would cause for a negative Determination of Responsibility may make the Offeror ineligible for award.

SITE VISIT: This pre-proposal site visit will be the only opportunity for potential Offerors to visit the site.  All potential contractors, subcontractors, and suppliers are strongly encouraged to attend this pre-proposal site visit.

SYSTEM FOR AWARD MANAGEMENT (SAM): Federal Acquisition Regulations require that federal contractors register in the System for Award Management (SAM) database at https://sam.gov/SAM/ and enter all mandatory information into the system.

JOINT VENTURES: See 13 C.F.R. § 121.103(h)

(h) Receipts/employees attributable to joint venture partners. For size purposes, a concern must include in its receipts its proportionate share of joint venture receipts (whether that joint venture is populated or unpopulated), unless the proportionate share already is accounted for in receipts reflecting transactions between the concern and its joint ventures (e.g., subcontracts from a joint venture entity to joint venture partners). In determining the number of employees, a concern must include in its total number of employees its proportionate share of joint venture employees (whether the joint venture is populated or unpopulated). Once a joint venture receives a contract, it may submit additional offers for a period of two years from the date of that first award. An individual joint venture may be awarded one or more contracts after that two-year period as long as it submitted an offer including price prior to the end of that two-year period. SBA will find joint venture partners to be affiliated, and thus will aggregate their receipts and/or employees in determining the size of the joint venture for all small business programs, where the joint venture submits an offer after two years from the date of the first award. The same two (or more) entities may create additional joint ventures, and each new joint venture entity may submit offers for a period of two years from the date of the first contract to the joint venture without the partners to the joint venture being deemed affiliates. At some point, however, such a longstanding inter-relationship or contractual dependence between the same joint venture partners will lead to a finding of general affiliation between and among them. A joint venture: Must be in writing; must do business under its own name and be identified as a joint venture in the System for Award Management (SAM) for the award of a prime contract; may be in the form of a formal or informal partnership or exist as a separate limited liability company or other separate legal entity; and, if it exists as a formal separate legal entity, may not be populated with individuals intended to perform contracts awarded to the joint venture (i.e., the joint venture may have its own separate employees to perform administrative functions, including one or more Facility Security Officer(s), but may not have its own separate employees to perform contracts awarded to the joint venture). SBA may also determine that the relationship between a prime contractor and its subcontractor is a joint venture pursuant to paragraph (h)(2). For purposes of this paragraph (h), contract refers to prime contracts, novations of prime contracts, and any subcontract in which the joint venture is treated as a similarly situated entity as the term is defined in part 125 of this chapter.

NOTICE TO PROCEED (NTP):  A notice to proceed (NTP) shall be issued after award of a fully executed contract. The NTP date and time are “to be determined” after award to a successful Offeror.  Primary factor in determination to issue NTP shall be the Prime Contractor submission of, and the Government review and approval of both Payment and Performance Bonds, both of which are enforceable legal documents.

**END**

***** End Inserted Word Document - ' INSTRUCTIONS CONDITIONS AND OHTER STATEMENTS TO BIDDERS' *****

***** Clause '52.201-1 ACQUISITION 360: VOLUNTARY SURVEY' Ignored *****

***** By-Reference '52.204-5 WOMEN-OWNED BUSINESS (OTHER THAN SMALL BUSINESS)' Ignored *****

***** Clause '52.215-5 FACSIMILE PROPOSALS' Ignored *****

## 1.1  52.216-1 TYPE OF CONTRACT (NOV 2025) (DEVIATION)

The Government contemplates award of a Firm-Fixed-Price contract resulting from this solicitation.

(End of Provision)

***** Begin Inserted Clause (Full Text) '52.219-1 SMALL BUSINESS PROGRAM REPRESENTATIONS (DEVIATION)' *****

## 1.2 52.219-1 SMALL BUSINESS PROGRAM REPRESENTATIONS (NOV 2025) (DEVIATION)

(a) Definitions. As used in this provision-

Economically disadvantaged women-owned small business (EDWOSB) concern means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States and who are economically disadvantaged in accordance with 13 CFR part 127, and the concern is certified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300. It automatically qualifies as a women-owned small business concern eligible under the WOSB Program.

HUBZone small business concern means a small business concern that meets the requirements described in 13 CFR 126.200, is certified by the Small Business Administration (SBA) and designated by SBA as a HUBZone small business concern in the Small Business Search (SBS) (13 CFR 126.103).

Service-disabled veteran-owned small business (SDVOSB) concern eligible under the SDVOSB Program means an SDVOSB concern that is designated in the System for Award Management (SAM) as certified by the Small Business Administration (SBA) in accordance with 13 CFR 128.300.

Small business concern—

(1) Means a concern, including its affiliates, that is independently owned and operated, not dominant in its field of operation, and qualified as a small business under the criteria in 13 CFR part 121 and the size standard in paragraph (b) of this provision.

(2) Affiliates, as used in this definition, means business concerns, one of whom directly or indirectly controls or has the power to control the others, or a third party or parties control or have the power to control the others. In determining whether affiliation exists, consideration is given to all appropriate factors including common ownership, common management, and contractual relationships. SBA determines affiliation based on the factors set forth at 13 CFR 121.103.

Small disadvantaged business concern, means a small business concern that-

(1) Is at least 51 percent unconditionally and directly owned (as defined at 13 CFR 124.105) by one or more socially disadvantaged (as defined at 13 CFR 124.103) and economically disadvantaged (as defined at 13 CFR 124.104) individuals who are citizens of the United States, and

(2) The management and daily business operations of which are controlled (as defined at 13 CFR 124.106) by individuals who meet the criteria in paragraph (1) of this definition.

Women-owned small business (WOSB) concern eligible under the WOSB Program (in accordance with 13 CFR part 127) means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States, and the concern is certified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300.

(b)(1) The North American Industry Classification System (NAICS) code for this acquisition is 236220.

(2) The small business size standard is $45 Million.

(3) The small business size standard for a concern that submits an offer, other than on a construction or service acquisition, but proposes to furnish an end item that it did not itself manufacture, process, or produce (i.e., nonmanufacturer), is 500 employees, or 150 employees for information technology value-added resellers under NAICS code 541519, if the acquisition—

(i) Is set aside for small business and has a value above the simplified acquisition threshold;

(ii) Uses the HUBZone price evaluation preference regardless of dollar value, unless the offeror waives the price evaluation preference; or

(iii) Is an 8(a), HUBZone, service-disabled veteran-owned, economically disadvantaged women-owned, or women-owned small business set-aside or sole-source award regardless of dollar value.

(c) Representations.

(1) The offeror represents as part of its offer that—

(i) It [  ] is, [  ] is not a small business concern; or

(ii) It [  ] is, [  ] is not a small business joint venture that complies with the requirements of 13 CFR 121.103(h) and 13 CFR 125.8(a) and (b). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: _________________.]

(2) [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it [  ] is, [  ] is not, a women-owned small disadvantaged business concern.

(3) Women-owned small business (WOSB) joint venture eligible under the WOSB Program. The offeror represents as part of its offer that it [  ] is, [  ] is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: _________________.]

(4) Economically disadvantaged women-owned small business (EDWOSB) joint venture. The offeror represents as part of its offer that it [  ] is, [  ] is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: _________________.]

(5) SDVOSB joint venture eligible under the SDVOSB Program. [Complete only if the offeror is certified as a SDVOSB concern.] The offeror represents as part of its offer that it [  ] is, [  ] is not a SDVOSB joint venture eligible under the SDVOSB Program that complies with the requirements of 13 CFR 128.402. [The offeror shall enter the name and unique entity identifier of each party to the joint venture: _________________.]

(6) HUBZone joint venture eligible under the HUBZone Program. [Complete only if the offeror is a HUBZone small business concern.] The offeror represents, as part of its offer, that it [  ] is, [  ] is not a HUBZone joint venture that complies with the requirements of 13 CFR 126.616(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: _________________.] Each HUBZone small business concern participating in the HUBZone joint venture must be certified as a HUBZone concern.

(d) Notice.

Under 15 U.S.C. 645(d), any person who misrepresents a firm's status as a business concern that is small, HUBZone small, small disadvantaged, service-disabled veteran-owned small, economically disadvantaged women-owned small, or women-owned small eligible under the WOSB Program in order to obtain a contract to be awarded under the preference programs established pursuant to section 8, 9, 15, 31, and 36 of the Small Business Act or any other provision of Federal law that specifically references section 8(d) for a definition of program eligibility, will be—

(1) Punished by imposition of fine, imprisonment, or both;

(2) Subject to administrative remedies, including suspension and debarment; and

(3) Ineligible for participation in programs conducted under the authority of the Act.

(End of Provision)

***** End Inserted Clause '52.219-1 SMALL BUSINESS PROGRAM REPRESENTATIONS (DEVIATION)' *****

## 1.3  52.222-5  CONSTRUCTION WAGE RATE REQUIREMENTS—SECONDARY SITE OF THE WORK (NOV 2025) (DEVIATION)

(a)(1) The offeror must notify the Government if the offeror intends to perform work at any secondary site of the work, as defined in paragraph (a)(1)(ii) of the FAR clause at 52.222-6, Construction Wage Rate Requirements, of this solicitation.

(2) If the offeror is unsure if a planned work site satisfies the criteria for a secondary site of the work, the offeror must request a determination from the Contracting Officer.

(b)(1) If the wage determination provided by the Government for work at the primary site of the work is not applicable to the secondary site of the work, the offeror must request a wage determination from the Contracting Officer.

(2) The due date for receipt of offers will not be extended as a result of an offeror's request for a wage determination for a secondary site of the work.

(End of Provision)

## 1.4  52.225-10 NOTICE OF BUY AMERICAN REQUIREMENT—CONSTRUCTION MATERIALS (MAY 2014)

(a) Definitions. "Commercially available off-the-shelf (COTS) item," "construction material," "domestic construction material," and "foreign construction material," as used in this provision, are defined in the clause of this solicitation entitled "Buy American—Construction Materials" (Federal Acquisition Regulation (FAR) clause 52.225-9).

(b) Requests for determinations of inapplicability. An offeror requesting a determination regarding the inapplicability of the Buy American statute should submit the request to the Contracting Officer in time to allow a determination before submission of offers. The offeror shall include the information and applicable supporting data required by paragraphs (c) and (d) of the clause at FAR 52.225-9 in the request. If an offeror has not requested a determination regarding the inapplicability of the Buy American statute before submitting its offer, or has not received a response to a previous request, the offeror shall include the information and supporting data in the offer.

(c) Evaluation of offers.

(1) The Government will evaluate an offer requesting exception to the requirements of the Buy American statute, based on claimed unreasonable cost of domestic construction material, by adding to the offered price the appropriate percentage of the cost of such foreign construction material, as specified in paragraph (b)(3)(i) of the clause at FAR 52.225-9.

(2) If evaluation results in a tie between an offeror that requested the substitution of foreign construction material based on unreasonable cost and an offeror that did not request an exception, the Contracting Officer will award to the offeror that did not request an exception based on unreasonable cost.

(d) Alternate offers.

(1) When an offer includes foreign solicitation in paragraph (b)(2) of the clause at FAR 52.225-9, the offeror also may submit an alternate offer based on use of equivalent domestic construction material.

(2) If an alternate offer is submitted, the offeror shall submit a separate Standard Form 1442 for the alternate offer, and a separate price comparison table prepared in accordance with paragraphs (c) and (d) of the clause at FAR 52.225-9 for the offer that is based on the use of any foreign construction material for which the Government has not yet determined an exception applies.

(3) If the Government determines that a particular exception requested in accordance with paragraph (c) of the clause at FAR 52.225-9 does not apply, the Government will evaluate only those offers based on use of the equivalent domestic construction material, and the offeror shall be required to furnish such domestic construction material. An offer based on use of the foreign construction material for which an exception was requested—

(i) Will be rejected as nonresponsive if this acquisition is conducted by sealed bidding; or

(ii) May be accepted if revised during negotiations.

(End of Provision)

***** By-Reference '52.228-1 BID GUARANTEE' Ignored *****

***** By-Reference '52.228-17 INDIVIDUAL SURETY—PLEDGE OF ASSETS (BID GUARANTEE)' Ignored *****

***** '52.233-2 SERVICE OF PROTEST' Replaced with Word Document *****

## 1.5  52.233-2  SERVICE OF PROTEST  (SEP 2006) (DEVIATION NOV 2025)

Protests, as defined in section 33.101 of the Federal Acquisition Regulation, that are filed directly with an agency, and copies of any protests that are filed with the Government Accountability Office (GAO), shall be served on the Contracting Officer (addressed as follows) by obtaining written and dated acknowledgment of receipt from:

Hand-Carried Address:

Mailing Address:

(b) The copy of any protest shall be received in the office designated above within one day of filing a protest with the GAO.

(End of Provision)

***** End Word Document - '52.233-2 SERVICE OF PROTEST' *****

***** Begin Inserted Word Document - ' 52.233-2 SERVICE OF PROTEST. SEP 2006 - DEVIATION NOV 2025' *****

## 1.6  52.233-2 SERVICE OF PROTEST. (SEP 2006) (DEVIATION NOV 2025)

(a) Protests, (as defined in FAR 33.102), that are filed directly with an agency, and copies of any protests that are filed with the Government Accountability Office (GAO), must be served on the Contracting Officer identified in the solicitation by obtaining written and dated acknowledgment of receipt from them.

(b) The copy of any protest must be received in the office designated above within one day of filing a protest with the GAO.

(End of provision)

***** End Inserted Word Document - ' 52.233-2 SERVICE OF PROTEST. SEP 2006 - DEVIATION NOV 2025' *****

## 1.7  52.240-90  SECURITY PROHIBITIONS AND EXCLUSIONS REPRESENTATIONS AND CERTIFICATIONS (NOV 2025) (DEVIATION)

(a) Definitions. As used in this provision—

Backhaul, covered article, covered telecommunications equipment or services, critical technology, FASCSA order, Intelligence community, interconnection arrangements, national security system, roaming, sensitive compartmented information, sensitive compartmented information system, source, and substantial or essential component have the meanings provided in the clause 52.240-91, Security Prohibitions and Exclusions.

Business operations means engaging in commerce in any form, including by acquiring, developing, maintaining, owning, selling, possessing, leasing, or operating equipment, facilities, personnel, products, services, personal property, real property, or any other apparatus of business or commerce.

Marginalized populations of Sudan means—

(1) Adversely affected groups in regions authorized to receive assistance under section 8(c) of the Darfur Peace and Accountability Act (Pub. L. 109-344) (50 U.S.C. 1701 note); and

(2) Marginalized areas in Northern Sudan described in section 4(9) of such Act.

Restricted business operations means business operations in Sudan that include power production activities, mineral extraction activities, oil-related activities, or the production of military equipment, as those terms are defined in the Sudan Accountability and Divestment Act of 2007 (Pub. L. 110-174). Restricted business operations do not include business operations that the person (as that term is defined in Section 2 of the Sudan Accountability and Divestment Act of 2007) conducting the business can demonstrate—

(1) Are conducted under contract directly and exclusively with the regional government of southern Sudan;

(2) Are conducted under specific authorization from the Office of Foreign Assets Control in the Department of the Treasury, or are expressly exempted under Federal law from the requirement to be conducted under such authorization;

(3) Consist of providing goods or services to marginalized populations of Sudan;

(4) Consist of providing goods or services to an internationally recognized peacekeeping force or humanitarian organization;

(5) Consist of providing goods or services that are used only to promote health or education; or

(6) Have been voluntarily suspended.

Sensitive technology—

(1) Means hardware, software, telecommunications equipment, or any other technology that is to be used specifically—

(i) To restrict the free flow of unbiased information in Iran; or

(ii) To disrupt, monitor, or otherwise restrict speech of the people of Iran; and

(2) Does not include information or informational materials the export of which the President does not have the authority to regulate or prohibit pursuant to section 203(b)(3) of the International Emergency Economic Powers Act (50 U.S.C. 1702(b)(3)).

(b) Procedures.

(1) Covered telecommunications and video surveillance. The Offeror shall review the list of excluded parties in the System for Award Management (SAM) at https://www.sam.gov for entities excluded from receiving federal awards for “covered telecommunications equipment or services.”

(2) FASCSA Orders.

(i) The Offeror shall search in SAM for the phrase “FASCSA order” for any covered article, or any products or services produced or provided by a source, if there is an applicable FASCSA order described in paragraph (e) of FAR 52.240-91, Security Prohibitions and Exclusions.

(ii) The Offeror shall review the solicitation for any FASCSA orders that are not in SAM but are effective and apply to the solicitation and resultant contract (see FAR 40.204-1(c)(2)).

(iii) FASCSA orders issued after the date of solicitation do not apply unless added by an amendment to the solicitation.

(c) Covered telecommunications equipment or services representations. By submission of its offer, the Offeror represents that, after conducting a reasonable inquiry (that looks at any information in the Offeror’s possession but does not need to include an internal or third-party audit)—

(1) It will not provide covered telecommunications equipment or services to the Government in the performance of any contract, subcontract or other contractual instrument resulting from this solicitation, except as waived by the solicitation, or as disclosed in paragraph (g); and

(2) It does not use covered telecommunications equipment or services, or use any equipment, system, or service that uses covered telecommunications equipment or services, except as waived by the solicitation, or as disclosed in paragraph (g).

(d) FASCSA Representation. By submission of this offer, the offeror represents that it has conducted a reasonable inquiry, and that the offeror does not propose to provide or use in response to this solicitation any covered article, or any products or services produced or provided by a source, if the covered article or the source is prohibited by an applicable FASCSA order in effect on the date the solicitation was issued, except as waived by the solicitation, or as disclosed in paragraph (g). A reasonable inquiry will look at any information in the offeror’s possession but does not need to include an internal or third-party audit.

(e) Sudan certification. By submission of its offer, the offeror certifies, after conducting a reasonable inquiry (that looks at any information in the offeror’s possession but does not need to include an internal or third-party audit), that the offeror does not conduct any restricted business operations in Sudan.

(f) Iran Representation and Certifications.

(1) Except as provided in paragraph (f)(2) of this provision or if a waiver has been granted in accordance with FAR 40.203-3, the offeror, after conducting a reasonable inquiry (that looks at any information in the offeror’s possession but does not need to include an internal or third-party audit), by submission of its offer—

(i) Represents, to the best of its knowledge and belief, that the offeror does not export any sensitive technology to the government of Iran or any entities or individuals owned or controlled by, or acting on behalf or at the direction of, the government of Iran;

(ii) Certifies that the offeror, or any person (as defined at section 15 of the Iran Sanctions Act of 1996, Pub. L. 104-172, 50 U.S.C. 1701 note) owned or controlled by the offeror, does not engage in any activities for which sanctions may be imposed under section 5 of the Act. These sanctioned activities are in the areas of development of the petroleum resources of Iran, production of refined petroleum products in Iran, sale and provision of refined petroleum products to Iran, and contributing to Iran’s ability to acquire or develop certain weapons or technologies; and

(iii) Certifies that the offeror, and any person owned or controlled by the offeror, does not knowingly engage in any transaction that exceeds $15,000 with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked pursuant to the International Emergency Economic Powers Act (50 U.S.C. 1701 et seq.) (see OFAC’s Specially Designated Nationals and Blocked Persons List at https://www.treasury.gov/resource-center/sanctions/SDN-List/Pages/default.aspx)

(2) Exception for trade agreements. The representation and certification requirements of paragraph (f)(1) of this provision do not apply if—

(i) This solicitation includes a trade agreements notice or certification (e.g., 52.225-6, Trade Agreements Certificate); and

(ii) The offeror has certified that all the offered products to be supplied are designated country end products or designated country construction material.

(iii) The offeror shall email questions concerning sensitive technology to the Department of State at CISADA106@state.gov.

(g) Disclosure.

(1) If the Offeror is not able to represent compliance with the prohibitions in paragraphs (c) or (d), then the Offeror shall disclose within 72 hours to the contracting office identified in paragraph (g)(2) the following information for each product or service not compliant:

(i) Contract number and order number, if applicable;

(ii) Identification of whether this disclosure relates to paragraph (c) on covered telecommunication equipment or services, or to paragraph (d) on FASCSA orders;

(iii) A description of the products or services that the Contractor identifies or has reason to suspect is prohibited (include brand; model number, such as the original equipment manufacturer (OEM) number, manufacturer part number, or wholesaler number; and item description, as applicable);

(iv) The entity that produced the product or service (include entity name, unique entity identifier, Contractor and Government Entity (CAGE) code, facilities responsible for design, fabrication, assembly, packaging, and test of the product, and whether the entity was the OEM or a distributor (provide manufacturer codes and distributor codes used for the product));

(v) Description of the functionality of the product or service and how that functionality impacts the risk to the product or service;

(vi) An explanation of any factors relevant to determining if the product or service should be permitted by an applicable exception, exemption, or waiver (if the offeror would like the Government to consider a waiver);

(vii) Whether alternative products or services are available that would be compliant with the prohibition;

(viii) If the product or service is related to item maintenance, include the following information on the item being maintained:

(A) Brand;

(B) Model number, OEM number, manufacturer part number, or wholesaler number; and

(C) Item description, as applicable.

(ix) Any readily available information about mitigation actions undertaken or recommended.

(2) If a disclosure is required to be submitted to a contracting office, the offeror shall submit the disclosure as follows:

(i) If a Department of Defense contracting office, the offeror shall submit the disclosure to the website at https://dibnet.dod.mil.

(ii) For all other contracting offices, the Offeror shall submit the disclosure to the Contracting Officer.

(3) If the disclosure provided does not contain any of the information required by paragraph (1), and the Offeror later discovers new information that is required by paragraph (1), then the Offeror shall submit a subsequent disclosure within 72 hours of discovering the new information.

(h) Executive agency review of disclosures. The Contracting Officer will review disclosures provided in paragraph (g) to determine if any applicable waiver may be sought. The Contracting Officer may choose not to pursue a waiver and may instead make an award to an Offeror that does not require a waiver.

(End of Provision)

## 1.8  52.252-1  SOLICITATION PROVISIONS INCORPORATED BY REFERENCE  (FEB 1998)

This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer. In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer. Also, the full text of a solicitation provision may be accessed electronically at this/these address(es):

https://www.acquisition.gov/far-overhaul/far-part-deviation-guide/far-overhaul-part-52#FAR_52_252_2

http://www.va.gov/oal/library/vaar/index.asp

(End of Provision)

***** Begin Inserted Word Document - ' Provisions Incorporated by Reference' *****

| FAR Number | Title | Date |
| --- | --- | --- |
| 52.204-7 | SYSTEM FOR AWARD MANAGEMENT—REGISTRATION (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.215-1 | INSTRUCTIONS TO OFFERORS—COMPETITIVE ACQUISITION (DEVIATION NOV 2025) | NOV 2021 |
| 52.228-1 | BID GUARANTEE | SEP 1996 |
| 52.228-15 | PERFORMANCE AND PAYMENT BONDS—CONSTRUCTION | JUN 2020 |
| 52.228-17 | INDIVIDUAL SURETY—PLEDGE OF ASSETS (BID GUARANTEE) | FEB 2021 |
| 52.229-11 | TAX ON CERTAIN FOREIGN PROCUREMENTS—NOTICE AND REPRESENTATION (DEVIATION SEP 2025) | JUN 2020 |
| 852.233-70 | PROTEST CONTENT/ALTERNATIVE DISPUTE RESOLUTION | OCT 2018 |

***** End Inserted Word Document - ' Provisions Incorporated by Reference' *****

***** By-Reference '52.204-7 SYSTEM FOR AWARD MANAGEMENT—REGISTRATION (DEVIATION)' Ignored *****

***** By-Reference '52.215-1 INSTRUCTIONS TO OFFERORS—COMPETITIVE ACQUISITION' Ignored *****

***** Clause '852.228-72 ASSISTING SERVICE-DISABLED VETERAN-OWNED AND VETERAN-OWNED SMALL BUSINESSES IN OBTAINING BONDS' Ignored *****

## 1.9  VAAR 852.233-71  ALTERNATE PROTEST PROCEDURE (OCT 2018)

(a) As an alternative to filing a protest with the Contracting Officer, an interested party may file a protest by mail or electronically with: Executive Director, Office of Acquisition and Logistics, Risk Management and Compliance Service (003A2C), Department of Veterans Affairs, 810 Vermont Avenue NW, Washington, DC 20420 or Email: EDProtests@va.gov.

(b) The protest will not be considered if the interested party has a protest on the same or similar issue(s) pending with the Contracting Officer.

(End of Provision)

PLEASE NOTE: The correct mailing information for filing alternate protests is as follows:

Deputy Assistant Secretary for Acquisition and Logistics,

Risk Management Team, Department of Veterans Affairs

810 Vermont Avenue, N.W.

Washington, DC 20420

Or for solicitations issued by the Office of Construction and Facilities Management:

Director, Office of Construction and Facilities Management

811 Vermont Avenue, N.W.

Washington, DC 20420

***** By-Reference '852.233-70 PROTEST CONTENT/ALTERNATIVE DISPUTE RESOLUTION' Ignored *****

***** By-Reference '852.239-75 INFORMATION AND COMMUNICATION TECHNOLOGY ACCESSIBILITY NOTICE' Ignored *****

# REPRESENTATIONS AND CERTIFICATIONS

***** '52.209-7 INFORMATION REGARDING RESPONSIBILITY MATTERS' Replaced with Word Document *****

## 3.1 52.209-7 INFORMATION REGARDING RESPONSIBILITY MATTERS (OCT 2018) (DEVIATION NOV 2025)

(a) Definitions. As used in this provision—

"Administrative proceeding" means a non-judicial process that is adjudicatory in nature in order to make a determination of fault or liability (e.g., Securities and Exchange Commission Administrative Proceedings, Civilian Board of Contract Appeals Proceedings, and Armed Services Board of Contract Appeals Proceedings). This includes administrative proceedings at the Federal and State level but only in connection with performance of a Federal contract or grant. It does not include agency actions such as contract audits, site visits, corrective plans, or inspection of deliverables.

"Federal contracts and grants with total value greater than $10,000,000" means—

(1) The total value of all current, active contracts and grants, including all priced options; and

(2) The total value of all current, active orders including all priced options under indefinite-delivery, indefinite-quantity, 8(a), or requirements contracts (including task and delivery and multiple-award Schedules).

"Principal" means an officer, director, owner, partner, or a person having primary management or supervisory responsibilities within a business entity (e.g., general manager; plant manager; head of a division or business segment; and similar positions).

(b) The offeror [ ] has [ ] does not have current active Federal contracts and grants with total value greater than $10,000,000.

(c) If the offeror checked "has" in paragraph (b) of this provision, the offeror represents, by submission of this offer, that the information it has entered in the Federal Awardee Performance and Integrity Information System (FAPIIS) is current, accurate, and complete as of the date of submission of this offer with regard to the following information:

(1) Whether the offeror, and/or any of its principals, has or has not, within the last five years, in connection with the award to or performance by the offeror of a Federal contract or grant, been the subject of a proceeding, at the Federal or State level that resulted in any of the following dispositions:

(i) In a criminal proceeding, a conviction.

(ii) In a civil proceeding, a finding of fault and liability that results in the payment of a monetary fine, penalty, reimbursement, restitution, or damages of $5,000 or more.

(iii) In an administrative proceeding, a finding of fault and liability that results in—

(A) The payment of a monetary fine or penalty of $5,000 or more; or

(B) The payment of a reimbursement, restitution, or damages in excess of $100,000.

(iv) In a criminal, civil, or administrative proceeding, a disposition of the matter by consent or compromise with an acknowledgment of fault by the Contractor if the proceeding could have led to any of the outcomes specified in paragraphs (c)(1)(i), (c)(1)(ii), or (c)(1)(iii) of this provision.

(2) If the offeror has been involved in the last five years in any of the occurrences listed in (c)(1) of this provision, whether the offeror has provided the requested information with regard to each occurrence.

(d) The offeror shall post the information in paragraphs (c)(1)(i) through (c)(1)(iv) of this provision in FAPIIS as required through maintaining an active registration in the System for Award Management, which can be accessed via https://www.sam.gov (see 52.204-7).

(End of Provision)

***** End Word Document - '52.209-7 INFORMATION REGARDING RESPONSIBILITY MATTERS' *****

***** '52.209-13 VIOLATION OF ARMS CONTROL TREATIES OR AGREEMENTS—CERTIFICATION' Replaced with Word Document *****

## 3.2  52.209-13 VIOLATION OF ARMS CONTROL TREATIES OR AGREEMENTS—CERTIFICATION (NOV 2021) (DEVIATION NOV 2025)

(a) This provision does not apply to acquisitions at or below the simplified acquisition threshold or to acquisitions of commercial products and commercial services as defined in Federal Acquisition Regulation 2.101.

(b) Certification. [Offeror shall check either (1) or (2).]

_____ (1) The Offeror certifies that—

(i) It does not engage and has not engaged in any activity that contributed to or was a significant factor in the President’s or Secretary of State’s determination that a foreign country is in violation of its obligations undertaken in any arms control, nonproliferation, or disarmament agreement to which the United States is a party, or is not adhering to its arms control, nonproliferation, or disarmament commitments in which the United States is a participating state. The determinations are described in the most recent unclassified annual report provided to Congress pursuant to section 403 of the Arms Control and Disarmament Act (22 U.S.C. 2593a). The report is available at https://www.state.gov/bureaus-offices/under-secretary-for-arms-control-and-international-security-affairs/bureau-of-arms-control-verification-and-compliance/; and

(ii) No entity owned or controlled by the Offeror has engaged in any activity that contributed to or was a significant factor in the President’s or Secretary of State’s determination that a foreign country is in violation of its obligations undertaken in any arms control, nonproliferation, or disarmament agreement to which the United States is a party, or is not adhering to its arms control, nonproliferation, or disarmament commitments in which the United States is a participating state. The determinations are described in the most recent unclassified annual report provided to Congress pursuant to section 403 of the Arms Control and Disarmament Act (22 U.S.C. 2593a). The report is available at https://www.state.gov/bureaus-offices/under-secretary-for-arms-control-and-international-security-affairs/bureau-of-arms-control-verification-and-compliance/; or

(2) The Offeror is providing separate information with its offer in accordance with paragraph (d)(2) of this provision.

(c) Procedures for reviewing the annual unclassified report (see paragraph (b)(1) of this provision). For clarity, references to the report in this section refer to the entirety of the annual unclassified report, including any separate reports that are incorporated by reference into the annual unclassified report.

(1) Check the table of contents of the annual unclassified report and the country section headings of the reports incorporated by reference to identify the foreign countries listed there. Determine whether the Offeror or any person owned or controlled by the Offeror may have engaged in any activity related to one or more of such foreign countries.

(2) If there may have been such activity, review all findings in the report associated with those foreign countries to determine whether or not each such foreign country was determined to be in violation of its obligations undertaken in an arms control, nonproliferation, or disarmament agreement to which the United States is a party, or to be not adhering to its arms control, nonproliferation, or disarmament commitments in which the United States is a participating state. For clarity, in the annual report an explicit certification of noncompliance is equivalent to a determination of violation. However, the following statements in the annual report are not equivalent to a determination of violation:

(i) An inability to certify compliance.

(ii) An inability to conclude compliance.

(iii) A statement about compliance concerns.

(3) If so, determine whether the Offeror or any person owned or controlled by the Offeror has engaged in any activity that contributed to or is a significant factor in the determination in the report that one or more of these foreign countries is in violation of its obligations undertaken in an arms control, nonproliferation, or disarmament agreement to which the United States is a party, or is not adhering to its arms control, nonproliferation, or disarmament commitments in which the United States is a participating state. Review the narrative for any such findings reflecting a determination of violation or non-adherence related to those foreign countries in the report, including the finding itself, and to the extent necessary, the conduct giving rise to the compliance or adherence concerns, the analysis of compliance or adherence concerns, and efforts to resolve compliance or adherence concerns.

(4) The Offeror may submit any questions with regard to this report by email to NDAA1290Cert@state.gov. To the extent feasible, the Department of State will respond to such email inquiries within 3 business days.

(d) Do not submit an offer unless—

(1) A certification is provided in paragraph (b)(1) of this provision and submitted with the offer; or

(2) In accordance with paragraph (b)(2) of this provision, the Offeror provides with its offer information that the President of the United States has—

(i) Waived application under U.S.C. 2593e(d) or (e); or

(ii) Determined under 22 U.S.C. 2593e(g)(2) that the entity has ceased all activities for which measures were imposed under 22 U.S.C.2593e(b).

(e) Remedies. The certification in paragraph (b)(1) of this provision is a material representation of fact upon which reliance was placed when making award. If it is later determined that the Offeror knowingly submitted a false certification, in addition to other remedies available to the Government, such as suspension or debarment, the Contracting Officer may terminate any contract resulting from the false certification.

(End of Provision)

***** End Word Document - '52.209-13 VIOLATION OF ARMS CONTROL TREATIES OR AGREEMENTS—CERTIFICATION' *****

***** By-Reference '52.229-11 TAX ON CERTAIN FOREIGN PROCUREMENTS—NOTICE AND REPRESENTATION' Ignored *****

# GENERAL CONDITIONS

***** By-Reference '52.204-19 INCORPORATION BY REFERENCE OF REPRESENTATIONS AND CERTIFICATIONS' Ignored *****

***** '52.209-9 UPDATES OF PUBLICLY AVAILABLE INFORMATION REGARDING RESPONSIBILITY MATTERS' Replaced with Word Document *****

## 4.1 52.209-9 UPDATES OF PUBLICLY AVAILABLE INFORMATION REGARDING RESPONSIBILITY MATTERS (OCT 2018) (DEVIATION NOV 2025)

(a) The Contractor shall update the information in the Federal Awardee Performance and Integrity Information System (FAPIIS) on a semi-annual basis, throughout the life of the contract, by posting the required information in the System for Award Management via https://www.sam.gov.

(b) As required by section 3010 of the Supplemental Appropriations Act, 2010 (Pub. L. 111-212), all information posted in FAPIIS on or after April 15, 2011, except past performance reviews, will be publicly available. FAPIIS consists of two segments—

(1) The non-public segment, into which Government officials and the Contractor post information, which can only be viewed by—

(i) Government personnel and authorized users performing business on behalf of the Government; or

(ii) The Contractor, when viewing data on itself; and

(2) The publicly-available segment, to which all data in the non-public segment of FAPIS is automatically transferred after a waiting period of 14 calendar days, except for—

(i) Past performance reviews required by subpart 42.15;

(ii) Information that was entered prior to April 15, 2011; or

(iii) Information that is withdrawn during the 14-calendar-day waiting period by the Government official who posted it in accordance with paragraph (c)(1) of this clause.

(c) The Contractor will receive notification when the Government posts new information to the Contractor's record.

(1) If the Contractor asserts in writing within 7 calendar days, to the Government official who posted the information, that some of the information posted to the nonpublic segment of FAPIIS is covered by a disclosure exemption under the Freedom of Information Act, the Government official who posted the information must within 7 calendar days remove the posting from FAPIIS and resolve the issue in accordance with agency Freedom of Information procedures, prior to reposting the releasable information. The contractor must cite 52.209-9 and request removal within 7 calendar days of the posting to FAPIIS.

(2) The Contractor will also have an opportunity to post comments regarding information that has been posted by the Government. The comments will be retained as long as the associated information is retained, i.e., for a total period of 6 years. Contractor comments will remain a part of the record unless the Contractor revises them.

(3) As required by section 3010 of Pub. L. 111-212, all information posted in FAPIIS on or after April 15, 2011, except past performance reviews, will be publicly available.

(d) Public requests for system information posted prior to April 15, 2011, will be handled under Freedom of Information Act procedures, including, where appropriate, procedures promulgated under E.O. 12600.

(End of Clause)

***** End Word Document - '52.209-9 UPDATES OF PUBLICLY AVAILABLE INFORMATION REGARDING RESPONSIBILITY MATTERS' *****

***** Clause '52.219-4 NOTICE OF PRICE EVALUATION PREFERENCE FOR HUBZONE SMALL BUSINESS CONCERNS (DEVIATION)' Ignored *****

***** '52.219-14 LIMITATIONS ON SUBCONTRACTING (DEVIATION)' Replaced with Word Document *****

## 4.2  52.219-14 LIMITATIONS ON SUBCONTRACTING (NOV 2025) (DEVIATION)(DEVIATION NOV 2025)

(a) This clause does not apply to the unrestricted portion of a partial set-aside.

(b) Definition. Similarly situated entity, as used in this clause, means a first-tier subcontractor, including an independent contractor, that—

(1) Has the same small business program status as that which qualified the prime contractor for the award (e.g., for a small business set-aside contract, any small business concern, without regard to its socioeconomic status); and

(2) Is considered small for the size standard under the North American Industry Classification System (NAICS) code the prime contractor assigned to the subcontract.

(c) Applicability. This clause applies only to—

(1) Contracts that have been set aside for any of the small business concerns identified in 19.000(a)(3);

(2) Part or parts of a multiple-award contract that have been set aside for any of the small business concerns identified in 19.000(a)(3);

(3) Contracts that have been awarded on a sole-source basis in accordance with sections 19.105, 19.106, 19.107, and 19.108;

(4) Orders expected to exceed the simplified acquisition threshold and that are set aside for small business concerns under multiple-award contracts, as described in 8.4 and 16.5;

(5) Orders, regardless of dollar value, that are set aside in accordance with sections 19.105, 19.106, 19.107, and 19.108 under multiple-award contracts, as described in 8.4 and 16.5; and

(6) Contracts using the HUBZone price evaluation preference to award to a HUBZone small business concern unless the concern waived the evaluation preference.

(d) Independent contractors. An independent contractor shall be considered a subcontractor.

(e) By submission of an offer and execution of a contract, the Contractor agrees that in performance of a contract assigned a North American Industry Classification System (NAICS) code for—

(1) Services (except construction), it will not pay more than 50 percent of the amount paid by the Government for contract performance to subcontractors that are not similarly situated entities. Any work that a similarly situated entity further subcontracts will count towards the prime contractor’s 50 percent subcontract amount that cannot be exceeded. When a contract includes both services and supplies, the 50 percent limitation shall apply only to the service portion of the contract;

(2) Supplies (other than procurement from a nonmanufacturer of such supplies), it will not pay more than 50 percent of the amount paid by the Government for contract performance, excluding the cost of materials, to subcontractors that are not similarly situated entities. Any work that a similarly situated entity further subcontracts will count towards the prime contractor’s 50 percent subcontract amount that cannot be exceeded. When a contract includes both supplies and services, the 50 percent limitation shall apply only to the supply portion of the contract;

(3) General construction, it will not pay more than 85 percent of the amount paid by the Government for contract performance, excluding the cost of materials, to subcontractors that are not similarly situated entities. Any work that a similarly situated entity further subcontracts will count towards the prime contractor’s 85 percent subcontract amount that cannot be exceeded; or

(4) Construction by special trade contractors, it will not pay more than 75 percent of the amount paid by the Government for contract performance, excluding the cost of materials, to subcontractors that are not similarly situated entities. Any work that a similarly situated entity further subcontracts will count towards the prime contractor’s 75 percent subcontract amount that cannot be exceeded.

(f) The Contractor shall comply with the limitations on subcontracting as follows:

(1) For contracts, in accordance with paragraphs (c)(1), (2), (3) and (6) of this clause—

[X] By the end of the base term of the contract and then by the end of each subsequent option period; or

[] By the end of the performance period for each order issued under the contract.

(2) For orders, in accordance with paragraphs (c)(4) and (5) of this clause, by the end of the performance period for the order.

(g) A joint venture agrees that, in the performance of the contract, the applicable percentage specified in paragraph (e) of this clause will be performed by the aggregate of the joint venture participants.

(1) In a joint venture comprised of a small business protégé and its mentor approved by the Small Business Administration, the small business protégé shall perform at least 40 percent of the work performed by the joint venture. Work performed by the small business protégé in the joint venture must be more than administrative functions.

(2) In an 8(a) joint venture, the 8(a) participant(s) shall perform at least 40 percent of the work performed by the joint venture. Work performed by the 8(a) participants in the joint venture must be more than administrative functions.

(End of Clause)

***** End Word Document - '52.219-14 LIMITATIONS ON SUBCONTRACTING (DEVIATION)' *****

***** Clause '52.219-13 NOTICE OF SET-ASIDE OF ORDERS' Ignored *****

***** '52.219-28 POSTAWARD SMALL BUSINESS PROGRAM REREPRESENTATION (DEVIATION)' Replaced with Word Document *****

## 4.3  52.219-28 POSTAWARD SMALL BUSINESS PROGRAM REREPRESENTATION (NOV 2025) (DEVIATION) (DEVIATION NOV 2025)

(a) Definitions. As used in this clause—

Long-term contract means a contract of more than five years in duration, including options. However, the term does not include contracts that exceed five years in duration because the period of performance has been extended for a cumulative period not to exceed six months under the clause at 52.217-8, Option to Extend Services, or other appropriate authority.

Small business concern—

(1) Means a concern, including its affiliates, that is independently owned and operated, not dominant in its field of operation, and qualified as a small business under the criteria in 13 CFR part 121 and the size standard in paragraph (c) of this clause.

(2) Affiliates, as used in this definition, means business concerns, one of whom directly or indirectly controls or has the power to control the others, or a third party or parties control or have the power to control the others. In determining whether affiliation exists, consideration is given to all appropriate factors including common ownership, common management, and contractual relationships. SBA determines affiliation based on the factors set forth at 13 CFR 121.103.

(b) If the Contractor represented that it was a small business concern, a small disadvantaged business concern, or a joint venture that was any of the small business concerns identified in 19.000(a)(3) prior to award of this contract, the Contractor shall rerepresent its size and socioeconomic status according to paragraph (e) of this clause or, if applicable, paragraph (g) of this clause, upon occurrence of any of the following:

(1) Within 30 days after execution of a novation agreement or within 30 days after modification of the contract to include this clause, if the novation agreement was executed prior to inclusion of this clause in the contract.

(2) Within 30 days after a merger or acquisition that does not require a novation or within 30 days after modification of the contract to include this clause, if the merger or acquisition occurred prior to inclusion of this clause in the contract.

(3) For long-term contracts-

(i) Within 60 to 120 days prior to the end of the fifth year of the contract; and

(ii) Within 60 to 120 days prior to the date specified in the contract for exercising any option thereafter.

(c) The Contractor shall rerepresent its size status in accordance with the size standard in effect at the time of this rerepresentation that corresponds to the North American Industry Classification System (NAICS) code(s) assigned to this contract. The small business size standard corresponding to this NAICS code(s) can be found at https://www.sba.gov/document/support--table-size-standards.

(d) The small business size standard for a Contractor providing an end item that it does not manufacture, process, or produce itself, for a contract other than a construction or service contract, is 500 employees, or 150 employees for information technology value-added resellers under NAICS code 541519, if the acquisition—

(1) Was set aside for small business and has a value above the simplified acquisition threshold;

(2) Used the HUBZone price evaluation preference regardless of dollar value, unless the Contractor waived the price evaluation preference; or

(3) Was an 8(a), HUBZone, service-disabled veteran-owned, economically disadvantaged women-owned, or women-owned small business set-aside or sole-source award regardless of dollar value.

(e) Except as provided in paragraph (g) of this clause, the Contractor shall make the representation(s) required by paragraph (b) of this clause by validating or updating all its representations in the Representations and Certifications section of the System for Award Management (SAM) and its other data in SAM, as necessary, to ensure that they reflect the Contractor's current status. The Contractor shall notify the contracting officer in writing within the timeframes specified in paragraph (b) of this clause, that the data have been validated or updated, and provide the date of the validation or update.

(f) If the Contractor represented that it was other than a small business concern prior to award of this contract, the Contractor may, but is not required to, take the actions required by paragraphs (e) or (g) of this clause.

(g) If the Contractor does not have representations and certifications in SAM, or does not have a representation in SAM for the NAICS code applicable to this contract, the Contractor is required to complete the following rerepresentation and submit it to the contracting office, along with the contract number and the date on which the rerepresentation was completed:

(1) The Contractor represents that it [ ] is, [ ] is not a small business concern under NAICS Code 236220 assigned to contract number .

(2) [Complete only if the Contractor represented itself as a small business concern in paragraph (g)(1) of this clause.] The Contractor represents that it [ ] is, [ ] is not, a small disadvantaged business concern as defined in 13 CFR 124.1001.

(3) Women-owned small business (WOSB) joint venture eligible under the WOSB Program. The Contractor represents that it [ ] is, [ ] is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The Contractor shall enter the name and unique entity identifier of each party to the joint venture: _____.]

(4) Economically disadvantaged women-owned small business (EDWOSB) joint venture. The Contractor represents that it [ ] is, [ ] is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The Contractor shall enter the name and unique entity identifier of each party to the joint venture: _____.]

(5) Service-disabled veteran-owned small business (SDVOSB) joint venture eligible under the SDVOSB Program. The Contractor represents that it [ ] is, [ ] is not an SDVOSB joint venture eligible under the SDVOSB Program that complies with the requirements of 13 CFR 128.402. [The Contractor shall enter the name and unique entity identifier of each party to the joint venture: _____.]

(6) HUBZone joint venture eligible under the HUBZone Program. [Complete only if the offeror is a HUBZone small business concern.] The offeror represents, as part of its offer, that It [ ] is, [ ] is not a HUBZone joint venture that complies with the requirements of 13 CFR 126.616(a) through (c). [The Contractor shall enter the name and unique entity identifier of each party to the joint venture: _____.] Each HUBZone small business concern participating in the HUBZone joint venture must be certified as a HUBZone concern.

[Contractor to sign and date and insert authorized signer's name and title. ______________________]

(End of Clause)

***** End Word Document - '52.219-28 POSTAWARD SMALL BUSINESS PROGRAM REREPRESENTATION (DEVIATION)' *****

***** By-Reference '52.222-35 EQUAL OPPORTUNITY FOR VETERANS (DEVIATION)' Ignored *****

***** By-Reference '52.222-40 NOTIFICATION OF EMPLOYEE RIGHTS UNDER THE NATIONAL LABOR RELATIONS ACT (DEVIATION)' Ignored *****

## 4.4  52.225-9 BUY AMERICAN—CONSTRUCTION MATERIALS (DEVIATION) (NOV 2025)

(a) Definitions. As used in this clause—

Commercially available off-the-shelf (COTS) item—

(1) Means any item of supply (including construction material) that is–

(i) A commercial product (as defined in paragraph (1) of the definition of ‘‘commercial product’’ at Federal Acquisition Regulation (FAR) 2.101);

(ii) Sold in substantial quantities in the commercial marketplace; and

(iii) Offered to the Government, under a contract or subcontract at any tier, without modification, in the same form in which it is sold in the commercial marketplace; and

(2) Does not include bulk cargo, as defined in 46 U.S.C. 40102(4), such as agricultural products and petroleum products.

“Construction material” means an article, material, or supply brought to the construction site by the Contractor or a subcontractor for incorporation into the building or work. The term also includes an item brought to the site preassembled from articles, materials, or supplies. However, emergency life safety systems, such as emergency lighting, fire alarm, and audio evacuation systems, that are discrete systems incorporated into a public building or work and that are produced as complete systems, are evaluated as a single and distinct construction material regardless of when or how the individual parts or components of those systems are delivered to the construction site. Materials purchased directly by the Government are supplies, not construction material.

Cost of components means—

(1) For components purchased by the Contractor, the acquisition cost, including transportation costs to the place of incorporation into the construction material (whether or not such costs are paid to a domestic firm), and any applicable duty (whether or not a duty-free entry certificate is issued); or

(2) For components manufactured by the Contractor, all costs associated with the manufacture of the component, including transportation costs as described in paragraph (1) of this definition, plus allocable overhead costs, but excluding profit. Cost of components does not include any costs associated with the manufacture of the construction material.

Critical component means a component that is mined, produced, or manufactured in the United States and deemed critical to the U.S. supply chain. The list of critical components is at FAR 25.105.

Critical item means a domestic construction material or domestic end product that is deemed critical to U.S. supply chain resiliency. The list of critical items is at FAR 25.105.

Domestic construction material means—

(1) For construction material that does not consist wholly or predominantly of iron or steel or a combination of both—

(i) An unmanufactured construction material mined or produced in the United States; or

(ii) A construction material manufactured in the United States, if–

(A) The cost of its components mined, produced, or manufactured in the United States exceeds 60 percent of the cost of all its components, except that the percentage will be 65 percent for items delivered in calendar years 2024 through 2028 and 75 percent for items delivered starting in calendar year 2029. Components of foreign origin of the same class or kind for which nonavailability determinations have been made are treated as domestic. Components of unknown origin are treated as foreign; or

(B) The construction material is a COTS item; or

(2) For construction material that consists wholly or predominantly of iron or steel or a combination of both, a construction material manufactured in the United States if the cost of foreign iron and steel constitutes less than 5 percent of the cost of all components used in such construction material. The cost of foreign iron and steel includes but is not limited to the cost of foreign iron or steel mill products (such as bar, billet, slab, wire, plate, or sheet), castings, or forgings utilized in the manufacture of the construction material and a good faith estimate of the cost of all foreign iron or steel components excluding COTS fasteners. Iron or steel components of unknown origin are treated as foreign. If the construction material contains multiple components, the cost of all the materials used in such construction material is calculated in accordance with the definition of ‘‘cost of components’’.

Fastener means a hardware device that mechanically joins or affixes two or more objects together. Examples of fasteners are nuts, bolts, pins, rivets, nails, clips, and screws.

Foreign construction material means a construction material other than a domestic construction material.

Foreign iron and steel means iron or steel products not produced in the United States. Produced in the United States means that all manufacturing processes of the iron or steel must take place in the United States, from the initial melting stage through the application of coatings, except metallurgical processes involving refinement of steel additives. The origin of the elements of the iron or steel is not relevant to the determination of whether it is domestic or foreign.

Predominantly of iron or steel or a combination of both means that the cost of the iron and steel content exceeds 50 percent of the total cost of all its components. The cost of iron and steel is the cost of the iron or steel mill products (such as bar, billet, slab, wire, plate, or sheet), castings, or forgings utilized in the manufacture of the product and a good faith estimate of the cost of iron or steel components excluding COTS fasteners.

Steel means an alloy that includes at least 50 percent iron, between 0.02 and 2 percent carbon, and may include other elements.

“United States” means the 50 States, the District of Columbia, and outlying areas.

(b) Domestic preference.

(1) This clause implements 41 U.S.C. chapter 83, Buy American, by providing a preference for domestic construction material. In accordance with 41 U.S.C. 1907, the domestic content test of the Buy American statute is waived for construction material that is a COTS item, except that for construction material that consists wholly or predominantly of iron or steel or a combination of both, the domestic content test is applied only to the iron and steel content of the construction materials, excluding COTS fasteners. The Contractor shall use only domestic construction material in performing this contract, except as provided in paragraphs (b)(2) and (b)(3) of this clause.

(2) This requirement does not apply to information technology that is a commercial product or to the construction materials or components listed by the Government as follows:

(3) The Contracting Officer may add other foreign construction material to the list in paragraph (b)(2) of this clause if the Government determines that-

(i) The cost of domestic construction material would be unreasonable.

(A) For domestic construction material that is not a critical item or does not contain critical components.

(1) The cost of a particular domestic construction material subject to the requirements of the Buy American statute is unreasonable when the cost of such material exceeds the cost of foreign material by more than 20 percent;

(2) For construction material that is not a COTS item and does not consist wholly or predominantly of iron or steel or a combination of both, if the cost of a particular domestic construction material is determined to be unreasonable or there is no domestic offer received, and the low offer is for foreign construction material that is manufactured in the United States and does not exceed 55 percent domestic content, the Contracting Officer will treat the lowest offer of foreign construction material that exceeds 55 percent domestic content as a domestic offer and determine whether the cost of that offer is unreasonable by applying the evaluation factor listed in paragraph (b)(3)(i)(A)(1) of this clause.

(3) The procedures in paragraph (b)(3)(i)(A)(2) of this clause will no longer apply as of January 1, 2030.

(B) For domestic construction material that is a critical item or contains critical components.

(1) The cost of a particular domestic construction material that is a critical item or contains critical components, subject to the requirements of the Buy American statute, is unreasonable when the cost of such material exceeds the cost of foreign material by more than 20 percent plus the additional preference factor identified for the critical item or construction material containing critical components listed at FAR 25.105.

(2) For construction material that does not consist wholly or predominantly of iron or steel or a combination of both, if the cost of a particular domestic construction material is determined to be unreasonable or there is no domestic offer received, and the low offer is for foreign construction material that does not exceed 55 percent domestic content, the Contracting Officer will treat the lowest foreign offer of construction material that is manufactured in the United States and exceeds 55 percent domestic content as a domestic offer, and determine whether the cost of that offer is unreasonable by applying the evaluation factor listed in paragraph (b)(3)(i)(B)(1) of this clause.

(3) The procedures in paragraph (b)(3)(i)(B)(2) of this clause will no longer apply as of January 1, 2030.

(ii) The application of the restriction of the Buy American statute to a particular construction material would be impracticable or inconsistent with the public interest; or

(iii) The construction material is not mined, produced, or manufactured in the United States in sufficient and reasonably available commercial quantities of a satisfactory quality.

(c) Request for determination of inapplicability of the Buy American statute.

(1)(i) Any Contractor request to use foreign construction material in accordance with paragraph (b)(3) of this clause shall include adequate information for Government evaluation of the request, including-

(A) A description of the foreign and domestic construction materials;

(B) Unit of measure;

(C) Quantity;

(D) Price;

(E) Time of delivery or availability;

(F) Location of the construction project;

(G) Name and address of the proposed supplier; and

(H) A detailed justification of the reason for use of foreign construction materials cited in accordance with paragraph (b)(3) of this clause.

(ii) A request based on unreasonable cost shall include a reasonable survey of the market and a completed price comparison table in the format in paragraph (d) of this clause.

(iii) The price of construction material shall include all delivery costs to the construction site and any applicable duty (whether or not a duty-free certificate may be issued).

(iv) Any Contractor request for a determination submitted after contract award shall explain why the Contractor could not reasonably foresee the need for such determination and could not have requested the determination before contract award. If the Contractor does not submit a satisfactory explanation, the Contracting Officer need not make a determination.

(2) If the Government determines after contract award that an exception to the Buy American statute applies and the Contracting Officer and the Contractor negotiate adequate consideration, the Contracting Officer will modify the contract to allow use of the foreign construction material. However, when the basis for the exception is the unreasonable price of a domestic construction material, adequate consideration is not less than the differential established in paragraph (b)(3)(i) of this clause.

(3) Unless the Government determines that an exception to the Buy American statute applies, use of foreign construction material is noncompliant with the Buy American statute or Balance of Payments Program.

(d) Data. To permit evaluation of requests under paragraph (c) of this clause based on unreasonable cost, the Contractor shall include the following information and any applicable supporting data based on the survey of suppliers:

Foreign and Domestic Construction Materials Price Comparison

| Construction material description | Unit of measure | Quantity | Price (dollars)* |
| --- | --- | --- | --- |
| Item 1: |  |  |  |
| Foreign construction material. |  |  |  |
| Domestic construction material. |  |  |  |
| Item 2: |  |  |  |
| Foreign construction material. |  |  |  |
| Domestic construction material. |  |  |  |

(End of Clause)

## 4.5  52.252-2  CLAUSES INCORPORATED BY REFERENCE  (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):

https://www.acquisition.gov/far-overhaul/far-part-deviation-guide/far-overhaul-part-52#FAR_52_252_2

http://www.va.gov/oal/library/vaar/index.asp

(End of Clause)

***** Begin Inserted Word Document - ' Clauses Incorporated by Reference' *****

| FAR Number | Title | Date |
| --- | --- | --- |
| 52.202-1 | DEFINITIONS | JUN 2020 |
| 52.203-3 | GRATUITIES | APR 1984 |
| 52.203-5 | COVENANT AGAINST CONTINGENT FEES | MAY 2014 |
| 52.203-6 | RESTRICTIONS ON SUBCONTRACTOR SALES TO THE GOVERNMENT | JUN 2020 |
| 52.203-7 | ANTI-KICKBACK PROCEDURES | JUN 2020 |
| 52.203-8 | CANCELLATION, RESCISSION, AND RECOVERY OF FUNDS FOR ILLEGAL OR IMPROPER ACTIVITY | MAY 2014 |
| 52.203-10 | PRICE OR FEE ADJUSTMENT FOR ILLEGAL OR IMPROPER ACTIVITY | MAY 2014 |
| 52.203-12 | LIMITATION ON PAYMENTS TO INFLUENCE CERTAIN FEDERAL TRANSACTIONS | JUN 2020 |
| 52.203-16 | PREVENTING PERSONAL CONFLICTS OF INTEREST | JUN 2020 |
| 52.203-17 | CONTRACTOR EMPLOYEE WHISTLEBLOWER RIGHTS | NOV 2023 |
| 52.203-19 | PROHIBITION ON REQUIRING CERTAIN INTERNAL CONFIDENTIALITY AGREEMENTS OR STATEMENTS | JAN 2017 |
| 52.204-9 | PERSONAL IDENTITY VERIFICATION OF CONTRACTOR PERSONNEL | JAN 2011 |
| 52.204-10 | REPORTING EXECUTIVE COMPENSATION AND FIRST-TIER SUBCONTRACT AWARDS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.204-13 | SYSTEM FOR AWARD MANAGEMENT—MAINTENANCE (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.204-14 | SERVICE CONTRACT REPORTING REQUIREMENTS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.204-19 | INCORPORATION BY REFERENCE OF REPRESENTATIONS AND CERTIFICATIONS | DEC 2014 |
| 52.209-6 | PROTECTING THE GOVERNMENT'S INTEREST WHEN SUBCONTRACTING WITH CONTRACTORS DEBARRED, SUSPENDED, PROPOSED FOR DEBARMENT, OR VOLUNTARILY EXCLUDED (DEVIATION NOV 2025) | JAN 2025 |
| 52.209-10 | PROHIBITION ON CONTRACTING WITH INVERTED DOMESTIC CORPORATIONS (DEVIATION NOV 2025) | NOV 2015 |
| 52.215-2 | AUDIT AND RECORDS—NEGOTIATION (DEVIATION NOV 2025) | JUN 2020 |
| 52.219-8 | UTILIZATION OF SMALL BUSINESS CONCERNS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.219-27 | NOTICE OF SET-ASIDE FOR, OR SOLE-SOURCE AWARD TO, SERVICE-DISABLED VETERAN-OWNED SMALL BUSINESS (SDVOSB) CONCERNS ELIGIBLE UNDER THE SDVOSB PROGRAM (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-3 | CONVICT LABOR (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-4 | CONTRACT WORK HOURS AND SAFETY STANDARDS—OVERTIME COMPENSATION (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-6 | CONSTRUCTION WAGE RATE REQUIREMENTS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-7 | WITHHOLDING OF FUNDS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-8 | PAYROLLS AND BASIC RECORDS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-10 | COMPLIANCE WITH COPELAND ACT REQUIREMENTS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-11 | SUBCONTRACTS (LABOR STANDARDS) (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-12 | CONTRACT TERMINATION—DEBARMENT | MAY 2014 |
| 52.222-13 | COMPLIANCE WITH CONSTRUCTION WAGE RATE REQUIREMENTS AND RELATED REGULATIONS | MAY 2014 |
| 52.222-14 | DISPUTES CONCERNING LABOR STANDARDS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-15 | CERTIFICATION OF ELIGIBILITY | MAY 2014 |
| 52.222-35 | EQUAL OPPORTUNITY FOR VETERANS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-36 | EQUAL OPPORTUNITY FOR WORKERS WITH DISABILITIES (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-37 | EMPLOYMENT REPORTS ON VETERANS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-40 | NOTIFICATION OF EMPLOYEE RIGHTS UNDER THE NATIONAL LABOR RELATIONS ACT (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-50 | COMBATING TRAFFICKING IN PERSONS (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-54 | EMPLOYMENT ELIGIBILITY VERIFICATION (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-55 | MINIMUM WAGES FOR CONTRACTOR WORKERS UNDER EXECUTIVE ORDER 14026 (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.222-62 | PAID SICK LEAVE UNDER EXECUTIVE ORDER 13706 (DEVIATION) (DEVIATION NOV 2025) | NOV 2025 |
| 52.223-5 | POLLUTION PREVENTION AND RIGHT-TO-KNOW INFORMATION | MAY 2024 |
| 52.226-7 | DRUG-FREE WORKPLACE | MAY 2024 |
| 52.226-8 | ENCOURAGING CONTRACTOR POLICIES TO BAN TEXT MESSAGING WHILE DRIVING | MAY 2024 |
| 52.227-1 | AUTHORIZATION AND CONSENT | JUN 2020 |
| 52.227-2 | NOTICE AND ASSISTANCE REGARDING PATENT AND COPYRIGHT INFRINGEMENT | JUN 2020 |
| 52.227-4 | PATENT INDEMNITY—CONSTRUCTION CONTRACTS | DEC 2007 |
| 52.228-2 | ADDITIONAL BOND SECURITY | OCT 1997 |
| 52.228-5 | INSURANCE—WORK ON A GOVERNMENT INSTALLATION | JAN 1997 |
| 52.228-11 | INDIVIDUAL SURETY—PLEDGE OF ASSETS | FEB 2021 |
| 52.228-12 | PROSPECTIVE SUBCONTRACTOR REQUESTS FOR BONDS | DEC 2022 |
| 52.228-14 | IRREVOCABLE LETTER OF CREDIT | NOV 2014 |
| 52.229-3 | FEDERAL, STATE, AND LOCAL TAXES (DEVIATION) (DEVIATION SEP 2025) | SEP 2025 |
| 52.229-12 | TAX ON CERTAIN FOREIGN PROCUREMENTS (DEVIATION SEP 2025) | FEB 2021 |
| 52.232-5 | PAYMENTS UNDER FIXED-PRICE CONSTRUCTION CONTRACTS | MAY 2014 |
| 52.232-17 | INTEREST | MAY 2014 |
| 52.232-23 | ASSIGNMENT OF CLAIMS | MAY 2014 |
| 52.232-27 | PROMPT PAYMENT FOR CONSTRUCTION CONTRACTS | JAN 2017 |
| 52.232-33 | PAYMENT BY ELECTRONIC FUNDS TRANSFER—SYSTEM FOR AWARD MANAGEMENT | OCT 2018 |
| 52.232-39 | UNENFORCEABILITY OF UNAUTHORIZED OBLIGATIONS | JUN 2013 |
| 52.232-40 | PROVIDING ACCELERATED PAYMENTS TO SMALL BUSINESS SUBCONTRACTORS | MAR 2023 |
| 52.233-1 | DISPUTES ALTERNATE I (DEC 1991) (DEVIATION NOV 2025) | MAY 2014 |
| 52.233-3 | PROTEST AFTER AWARD (DEVIATION NOV 2025) | AUG 1996 |
| 52.233-4 | APPLICABLE LAW FOR BREACH OF CONTRACT CLAIM (DEVIATION NOV 2025) | OCT 2004 |
| 52.236-2 | DIFFERING SITE CONDITIONS (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-3 | SITE INVESTIGATION AND CONDITIONS AFFECTING THE WORK (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-5 | MATERIAL AND WORKMANSHIP (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-6 | SUPERINTENDENCE BY THE CONTRACTOR (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-7 | PERMITS AND RESPONSIBILITIES (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-8 | OTHER CONTRACTS (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-9 | PROTECTION OF EXISTING VEGETATION, STRUCTURES, EQUIPMENT, UTILITIES, AND IMPROVEMENTS (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-10 | OPERATIONS AND STORAGE AREAS (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-11 | USE AND POSSESSION PRIOR TO COMPLETION (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-12 | CLEANING UP (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-13 | ACCIDENT PREVENTION (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-15 | SCHEDULES FOR CONSTRUCTION CONTRACTS (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-17 | LAYOUT OF WORK (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.236-21 | SPECIFICATIONS AND DRAWINGS FOR CONSTRUCTION (DEVIATION) (DEVIATION AUG 2025) | NOV 2025 |
| 52.242-13 | BANKRUPTCY | JUL 1995 |
| 52.242-14 | SUSPENSION OF WORK | APR 1984 |
| 52.243-4 | CHANGES (DEVIATION JUL 2025) | JUN 2007 |
| 52.244-6DEV | SUBCONTRACTS FOR COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (DEVIATION OCT 2025) | OCT 2025 |
| 52.246-12 | INSPECTION OF CONSTRUCTION | AUG 1996 |
| 52.249-2 | TERMINATION FOR CONVENIENCE OF THE GOVERNMENT (FIXED PRICE) ALTERNATE I (SEPT 1996) | APR 2012 |
| 52.249-10 | DEFAULT (FIXED-PRICE CONSTRUCTION) | APR 1984 |
| 52.253-1 | COMPUTER GENERATED FORMS (DEVIATION NOV 2025) | JAN 1991 |
| 852.201-70 | CONTRACTING OFFICER'S REPRESENTATIVE | DEC 2022 |
| 852.203-70 | COMMERCIAL ADVERTISING | MAY 2018 |
| 852.204-70 | PERSONAL IDENTITY VERIFICATION OF CONTRACTOR PERSONNEL (DEVIATION FEB 2026) | MAY 2020 |
| 852.219-73 | VA NOTICE OF TOTAL SET-ASIDE FOR CERTIFIED SERVICE-DISABLED VETERAN-OWNED SMALL BUSINESSES (DEVIATION) | JAN 2023 |
| 852.222-71 | COMPLIANCE WITH EXECUTIVE ORDER 13899 (DEVIATION) (APR 2025) | APR 2025 |
| 852.228-70 | BOND PREMIUM ADJUSTMENT | JAN 2008 |
| 852.232-70 | PAYMENTS UNDER FIXED-PRICE CONSTRUCTION CONTRACTS (WITHOUT NAS– CPM) (NOV 2018) | NOV 2018 |
| 852.232-72 | ELECTRONIC SUBMISSION OF PAYMENT REQUESTS | NOV 2018 |
| 852.236-71 | SPECIFICATIONS AND DRAWINGS FOR CONSTRUCTION | APR 2019 |
| 852.236-79 | CONTRACTOR PRODUCTION REPORT | APR 2019 |
| 852.236-80 | SUBCONTRACTS AND WORK COORDINATION | APR 2019 |
| 852.242-70 | GOVERNMENT CONSTRUCTION CONTRACT ADMINISTRATION | OCT 2020 |
| 852.243-70 | CONSTRUCTION CONTRACT CHANGES—SUPPLEMENT | SEP 2019 |

***** End Inserted Word Document - ' Clauses Incorporated by Reference' *****

***** By-Reference '52.202-1 DEFINITIONS' Ignored *****

***** By-Reference '52.203-6 RESTRICTIONS ON SUBCONTRACTOR SALES TO THE GOVERNMENT' Ignored *****

***** By-Reference '52.203-10 PRICE OR FEE ADJUSTMENT FOR ILLEGAL OR IMPROPER ACTIVITY' Ignored *****

***** By-Reference '52.203-19 PROHIBITION ON REQUIRING CERTAIN INTERNAL CONFIDENTIALITY AGREEMENTS OR STATEMENTS' Ignored *****

***** By-Reference '52.204-9 PERSONAL IDENTITY VERIFICATION OF CONTRACTOR PERSONNEL' Ignored *****

***** By-Reference '52.204-14 SERVICE CONTRACT REPORTING REQUIREMENTS (DEVIATION)' Ignored *****

***** By-Reference '52.215-2 AUDIT AND RECORDS—NEGOTIATION' Ignored *****

***** By-Reference '52.219-8 UTILIZATION OF SMALL BUSINESS CONCERNS (DEVIATION)' Ignored *****

***** By-Reference '52.222-4 CONTRACT WORK HOURS AND SAFETY STANDARDS—OVERTIME COMPENSATION (DEVIATION)' Ignored *****

***** By-Reference '52.222-8 PAYROLLS AND BASIC RECORDS (DEVIATION)' Ignored *****

***** By-Reference '52.222-9 APPRENTICES AND TRAINEES (DEVIATION)' Ignored *****

***** By-Reference '52.222-10 COMPLIANCE WITH COPELAND ACT REQUIREMENTS (DEVIATION)' Ignored *****

***** By-Reference '52.222-11 SUBCONTRACTS (LABOR STANDARDS) (DEVIATION)' Ignored *****

***** By-Reference '52.222-12 CONTRACT TERMINATION—DEBARMENT' Ignored *****

***** By-Reference '52.222-13 COMPLIANCE WITH CONSTRUCTION WAGE RATE REQUIREMENTS AND RELATED REGULATIONS' Ignored *****

***** By-Reference '52.222-14 DISPUTES CONCERNING LABOR STANDARDS (DEVIATION)' Ignored *****

***** By-Reference '52.222-15 CERTIFICATION OF ELIGIBILITY' Ignored *****

***** By-Reference '52.209-10 PROHIBITION ON CONTRACTING WITH INVERTED DOMESTIC CORPORATIONS' Ignored *****

***** By-Reference '52.222-6 CONSTRUCTION WAGE RATE REQUIREMENTS (DEVIATION)' Ignored *****

***** By-Reference '52.222-36 EQUAL OPPORTUNITY FOR WORKERS WITH DISABILITIES (DEVIATION)' Ignored *****

***** By-Reference '52.222-37 EMPLOYMENT REPORTS ON VETERANS (DEVIATION)' Ignored *****

## 4.6   SUPPLEMENTAL INSURANCE REQUIREMENTS

In accordance with FAR 28.307-2 and FAR 52.228-5, the following minimum coverage shall apply to this contract:

(a)  Workers' compensation and employers liability:  Contractors are required to comply with applicable Federal and State workers' compensation and occupational disease statutes.  If occupational diseases are not compensable under those statutes, they shall be covered under the employer's liability section of the insurance policy, except when contract operations are so commingled with a Contractor's commercial operations that it would not be practical to require this coverage.  Employer's liability coverage of at least $100,000 is required, except in States with exclusive or monopolistic funds that do not permit workers' compensation to be written by private carriers.

(b)  General Liability: $500,000.00 per occurrences.

(c)  Automobile liability: $200,000.00 per person; $500,000.00 per occurrence and $20,000.00 property damage.

(d)  The successful bidder must present to the Contracting Officer, prior to award, evidence of general liability insurance without any exclusionary clauses for asbestos that would void the general liability coverage.

(End of Clause)

***** By-Reference '52.203-3 GRATUITIES' Ignored *****

***** By-Reference '52.203-5 COVENANT AGAINST CONTINGENT FEES' Ignored *****

***** By-Reference '52.203-12 LIMITATION ON PAYMENTS TO INFLUENCE CERTAIN FEDERAL TRANSACTIONS' Ignored *****

***** By-Reference '52.203-16 PREVENTING PERSONAL CONFLICTS OF INTEREST' Ignored *****

***** By-Reference '52.203-17 CONTRACTOR EMPLOYEE WHISTLEBLOWER RIGHTS' Ignored *****

***** By-Reference '52.209-6 PROTECTING THE GOVERNMENT'S INTEREST WHEN SUBCONTRACTING WITH CONTRACTORS DEBARRED, SUSPENDED, PROPOSED FOR DEBARMENT, OR VOLUNTARILY EXCLUDED' Ignored *****

***** By-Reference '52.222-50 COMBATING TRAFFICKING IN PERSONS (DEVIATION)' Ignored *****

***** By-Reference '52.222-54 EMPLOYMENT ELIGIBILITY VERIFICATION (DEVIATION)' Ignored *****

***** By-Reference '52.222-55 MINIMUM WAGES FOR CONTRACTOR WORKERS UNDER EXECUTIVE ORDER 14026 (DEVIATION)' Ignored *****

***** By-Reference '52.222-62 PAID SICK LEAVE UNDER EXECUTIVE ORDER 13706 (DEVIATION)' Ignored *****

***** By-Reference '52.223-5 POLLUTION PREVENTION AND RIGHT-TO-KNOW INFORMATION' Ignored *****

***** By-Reference '52.226-7 DRUG-FREE WORKPLACE' Ignored *****

***** By-Reference '52.226-8 ENCOURAGING CONTRACTOR POLICIES TO BAN TEXT MESSAGING WHILE DRIVING' Ignored *****

***** By-Reference '52.227-1 AUTHORIZATION AND CONSENT' Ignored *****

***** By-Reference '52.227-2 NOTICE AND ASSISTANCE REGARDING PATENT AND COPYRIGHT INFRINGEMENT' Ignored *****

***** By-Reference '52.227-4 PATENT INDEMNITY—CONSTRUCTION CONTRACTS' Ignored *****

***** By-Reference '52.228-2 ADDITIONAL BOND SECURITY' Ignored *****

***** By-Reference '52.228-5 INSURANCE—WORK ON A GOVERNMENT INSTALLATION' Ignored *****

***** By-Reference '52.228-11 INDIVIDUAL SURETY—PLEDGE OF ASSETS' Ignored *****

***** By-Reference '52.228-12 PROSPECTIVE SUBCONTRACTOR REQUESTS FOR BONDS' Ignored *****

***** By-Reference '52.228-14 IRREVOCABLE LETTER OF CREDIT' Ignored *****

***** By-Reference '52.228-15 PERFORMANCE AND PAYMENT BONDS—CONSTRUCTION' Ignored *****

***** By-Reference '52.229-3 FEDERAL, STATE, AND LOCAL TAXES (DEVIATION)' Ignored *****

***** By-Reference '52.229-12 TAX ON CERTAIN FOREIGN PROCUREMENTS' Ignored *****

***** By-Reference '52.232-5 PAYMENTS UNDER FIXED-PRICE CONSTRUCTION CONTRACTS' Ignored *****

***** By-Reference '52.232-17 INTEREST' Ignored *****

***** By-Reference '52.232-23 ASSIGNMENT OF CLAIMS' Ignored *****

***** By-Reference '52.232-27 PROMPT PAYMENT FOR CONSTRUCTION CONTRACTS' Ignored *****

***** By-Reference '52.232-33 PAYMENT BY ELECTRONIC FUNDS TRANSFER—SYSTEM FOR AWARD MANAGEMENT' Ignored *****

***** By-Reference '52.232-39 UNENFORCEABILITY OF UNAUTHORIZED OBLIGATIONS' Ignored *****

***** By-Reference '52.232-40 PROVIDING ACCELERATED PAYMENTS TO SMALL BUSINESS SUBCONTRACTORS' Ignored *****

***** By-Reference '52.233-1 DISPUTES ALTERNATE I (DEC 1991)' Ignored *****

***** By-Reference '52.233-3 PROTEST AFTER AWARD' Ignored *****

***** By-Reference '52.233-4 APPLICABLE LAW FOR BREACH OF CONTRACT CLAIM' Ignored *****

***** By-Reference '52.236-2 DIFFERING SITE CONDITIONS (DEVIATION)' Ignored *****

***** By-Reference '52.236-3 SITE INVESTIGATION AND CONDITIONS AFFECTING THE WORK (DEVIATION)' Ignored *****

***** By-Reference '52.236-5 MATERIAL AND WORKMANSHIP (DEVIATION)' Ignored *****

***** By-Reference '52.236-6 SUPERINTENDENCE BY THE CONTRACTOR (DEVIATION)' Ignored *****

***** By-Reference '52.236-7 PERMITS AND RESPONSIBILITIES (DEVIATION)' Ignored *****

***** By-Reference '52.236-8 OTHER CONTRACTS (DEVIATION)' Ignored *****

***** By-Reference '52.236-9 PROTECTION OF EXISTING VEGETATION, STRUCTURES, EQUIPMENT, UTILITIES, AND IMPROVEMENTS (DEVIATION)' Ignored *****

***** By-Reference '52.236-10 OPERATIONS AND STORAGE AREAS (DEVIATION)' Ignored *****

***** By-Reference '52.236-11 USE AND POSSESSION PRIOR TO COMPLETION (DEVIATION)' Ignored *****

***** By-Reference '52.236-12 CLEANING UP (DEVIATION)' Ignored *****

***** By-Reference '52.236-13 ACCIDENT PREVENTION (DEVIATION)' Ignored *****

***** By-Reference '52.236-15 SCHEDULES FOR CONSTRUCTION CONTRACTS (DEVIATION)' Ignored *****

***** By-Reference '52.236-17 LAYOUT OF WORK (DEVIATION)' Ignored *****

***** By-Reference '52.236-21 SPECIFICATIONS AND DRAWINGS FOR CONSTRUCTION (DEVIATION)' Ignored *****

***** By-Reference '52.242-13 BANKRUPTCY' Ignored *****

***** By-Reference '52.242-14 SUSPENSION OF WORK' Ignored *****

***** By-Reference '52.243-4 CHANGES' Ignored *****

***** By-Reference '52.244-6DEV SUBCONTRACTS FOR COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES' Ignored *****

***** By-Reference '52.246-12 INSPECTION OF CONSTRUCTION' Ignored *****

***** By-Reference '52.249-2 TERMINATION FOR CONVENIENCE OF THE GOVERNMENT (FIXED PRICE) ALTERNATE I (SEPT 1996)' Ignored *****

***** By-Reference '52.249-10 DEFAULT (FIXED-PRICE CONSTRUCTION)' Ignored *****

***** By-Reference '52.253-1 COMPUTER GENERATED FORMS' Ignored *****

***** By-Reference '852.219-73 VA NOTICE OF TOTAL SET-ASIDE FOR CERTIFIED SERVICE-DISABLED VETERAN-OWNED SMALL BUSINESSES (DEVIATION)' Ignored *****

***** Clause '852.219-75 VA NOTICE OF LIMITATIONS ON SUBCONTRACTING—CERTIFICATE OF COMPLIANCE FOR SERVICES AND CONSTRUCTION (DEVIATION)' Ignored *****

***** By-Reference '852.232-72 ELECTRONIC SUBMISSION OF PAYMENT REQUESTS' Ignored *****

***** By-Reference '852.236-71 SPECIFICATIONS AND DRAWINGS FOR CONSTRUCTION' Ignored *****

***** By-Reference '852.236-79 CONTRACTOR PRODUCTION REPORT' Ignored *****

***** By-Reference '852.236-80 SUBCONTRACTS AND WORK COORDINATION' Ignored *****

***** By-Reference '852.242-70 GOVERNMENT CONSTRUCTION CONTRACT ADMINISTRATION' Ignored *****

## 4.7  VAAR 852.242-71  ADMINISTRATIVE CONTRACTING OFFICER (OCT 2020)

The Contracting Officer reserves the right to designate an Administrative Contracting Officer (ACO) for the purpose of performing certain tasks/duties in the administration of the contract. Such designation will be in writing through an ACO Letter of Delegation and will identify the responsibilities and limitations of the ACO. A copy of the ACO Letter of Delegation will be furnished to the Contractor.

(End of Clause)

***** By-Reference '852.243-70 CONSTRUCTION CONTRACT CHANGES—SUPPLEMENT' Ignored *****

***** By-Reference '852.201-70 CONTRACTING OFFICER'S REPRESENTATIVE' Ignored *****

***** By-Reference '852.203-70 COMMERCIAL ADVERTISING' Ignored *****

***** By-Reference '852.204-70 PERSONAL IDENTITY VERIFICATION OF CONTRACTOR PERSONNEL' Ignored *****

***** By-Reference '852.222-71 COMPLIANCE WITH EXECUTIVE ORDER 13899 (DEVIATION) (APR 2025)' Ignored *****

***** By-Reference '852.228-70 BOND PREMIUM ADJUSTMENT' Ignored *****

## 4.8  52.240-91  SECURITY PROHIBITIONS AND EXCLUSIONS  (NOV 2025) (DEVIATION)

(a) Definitions. As used in this clause—

American Security Drone Act-covered foreign entity means an entity included on a list that the Federal Acquisition Security Council (FASC) develops and maintains and publishes in the System for Award Management (SAM) at https://www.sam.gov (section 1822 of Pub. L. 118-31, 41 U.S.C. 3901 note prec.).

Backhaul means intermediate links between the core network, or backbone network, and the small subnetworks at the edge of the network (e.g., connecting cell phones/towers to the core telephone network). Backhaul can be wireless (e.g., microwave) or wired (e.g., fiber optic, coaxial cable, Ethernet).

Covered application means the social networking service TikTok or any successor application or service developed or provided by ByteDance Limited or an entity owned by ByteDance Limited.

Covered article, as defined in 41 U.S.C. 4713(k), means:

(1) Information technology, as defined in 40 U.S.C. 11101, including cloud computing services of all types;

(2) Telecommunications equipment or telecommunications service, as those terms are defined in section 3 of the Communications Act of 1934 (47 U.S.C. 153);

(3) The processing of information on a Federal or non-Federal information system, subject to the requirements of the Controlled Unclassified Information program (see 32 CFR part 2002); or

(4) Hardware, systems, devices, software, or services that include embedded or incidental information technology.

Covered foreign country means The People’s Republic of China.

Covered telecommunications equipment or services means—

(1) Telecommunications equipment produced by Huawei Technologies Company or ZTE Corporation (or any subsidiary or affiliate of such entities);

(2) For the purpose of public safety, security of Government facilities, physical security surveillance of critical infrastructure, and other national security purposes, video surveillance and telecommunications equipment produced by Hytera Communications Corporation, Hangzhou Hikvision Digital Technology Company, or Dahua Technology Company (or any subsidiary or affiliate of such entities);

(3) Telecommunications or video surveillance services provided by such entities or using such equipment; or

(4) Telecommunications or video surveillance equipment or services produced or provided by an entity that the Secretary of Defense, in consultation with the Director of National Intelligence or the Director of the Federal Bureau of Investigation, reasonably believes to be an entity owned or controlled by, or otherwise connected to, the government of a covered foreign country.

Critical technology means—

(1) Defense articles or defense services included on the United States Munitions List set forth in the International Traffic in Arms Regulations under subchapter M of chapter I of title 22, Code of Federal Regulations;

(2) Items included on the Commerce Control List set forth in Supplement No. 1 to part 774 of the Export Administration Regulations under subchapter C of chapter VII of title 15, Code of Federal Regulations, and controlled—

(i) Pursuant to multilateral regimes, including for reasons relating to national security, chemical and biological weapons proliferation, nuclear nonproliferation, or missile technology; or

(ii) For reasons relating to regional stability or surreptitious listening;

(3) Specially designed and prepared nuclear equipment, parts and components, materials, software, and technology covered by part 810 of title 10, Code of Federal Regulations (relating to assistance to foreign atomic energy activities);

(4) Nuclear facilities, equipment, and material covered by part 110 of title 10, Code of Federal Regulations (relating to export and import of nuclear equipment and material);

(5) Select agents and toxins covered by part 331 of title 7, Code of Federal Regulations, part 121 of title 9 of such Code, or part 73 of title 42 of such Code; or

(6) Emerging and foundational technologies controlled pursuant to section 1758 of the Export Control Reform Act of 2018 (50 U.S.C. 4817).

FASC-prohibited unmanned aircraft system means an unmanned aircraft system manufactured or assembled by an American Security Drone Act—covered foreign entity.

FASCSA order means any of the following orders issued under the Federal Acquisition Supply Chain Security Act (FASCSA) requiring removing covered articles from executive agency information systems or excluding one or more named sources or named covered articles from executive agency procurement actions, as described in 41 CFR 201-1.303(d) and (e):

(1) The Secretary of Homeland Security may issue FASCSA orders that apply to civilian agencies, to the extent not covered by paragraph (2) or (3) of this definition. This type of FASCSA order may be referred to as a Department of Homeland Security (DHS) FASCSA order.

(2) The Secretary of Defense may issue FASCSA orders that apply to the Department of Defense (DoD) and national security systems other than sensitive compartmented information systems. This type of FASCSA order may be referred to as a DoD FASCSA order.

(3) The Director of National Intelligence (DNI) may issue FASCSA orders that apply to the intelligence community and sensitive compartmented information systems, to the extent not covered by paragraph (2) of this definition. This type of FASCSA order may be referred to as a DNI FASCSA order.

Information technology, as defined in 40 U.S.C. 11101(6)—

(1) Means any equipment or interconnected system or subsystem of equipment, used in the automatic acquisition, storage, analysis, evaluation, manipulation, management, movement, control, display, switching, interchange, transmission, or reception of data or information by the executive agency, if the equipment is used by the executive agency directly or is used by a contractor under a contract with the executive agency that requires the use—

(i) Of that equipment; or

(ii) Of that equipment to a significant extent in the performance of a service or the furnishing of a product;

(2) Includes computers, ancillary equipment (including imaging peripherals, input, output, and storage devices necessary for security and surveillance), peripheral equipment designed to be controlled by the central processing unit of a computer, software, firmware and similar procedures, services (including support services), and related resources; but

(3) Does not include any equipment acquired by a Federal contractor incidental to a Federal contract.

Intelligence community, as defined by 50 U.S.C. 3003(4), means the following—

(1) The Office of the Director of National Intelligence;

(2) The Central Intelligence Agency;

(3) The National Security Agency;

(4) The Defense Intelligence Agency;

(5) The National Geospatial-Intelligence Agency;

(6) The National Reconnaissance Office;

(7) Other offices within the Department of Defense for the collection of specialized national intelligence through reconnaissance programs;

(8) The intelligence elements of the Army, the Navy, the Air Force, the Marine Corps, the Coast Guard, the Federal Bureau of Investigation, the Drug Enforcement Administration, and the Department of Energy;

(9) The Bureau of Intelligence and Research of the Department of State;

(10) The Office of Intelligence and Analysis of the Department of the Treasury;

(11) The Office of Intelligence and Analysis of the Department of Homeland Security; or

(12) Such other elements of any department or agency as may be designated by the President, or designated jointly by the Director of National Intelligence and the head of the department or agency concerned, as an element of the intelligence community.

Interconnection arrangement means arrangements governing the physical connection of two or more networks to allow the use of another’s network to hand off traffic where it is ultimately delivered (e.g., connecting a customer of telephone provider A to a customer of telephone company B) or sharing data and other information resources.

Kaspersky Lab-covered article means any hardware, software, or service that—

(1) Is developed or provided by a Kaspersky Lab-covered entity;

(2) Includes any hardware, software, or service developed or provided in whole or in part by a Kaspersky Lab-covered entity; or

(3) Contains components using any hardware or software developed in whole or in part by a Kaspersky Lab-covered entity.

Kaspersky Lab-covered entity means—

(1) Kaspersky Lab;

(2) Any successor entity to Kaspersky Lab, including any change in name, e.g., “Kaspersky”;

(3) Any entity that controls, is controlled by, or is under common control with Kaspersky Lab; or

(4) Any entity of which Kaspersky Lab has a majority ownership.

National security system, as defined in 44 U.S.C. 3552, means any information system (including any telecommunications system) used or operated by an agency or by a contractor of an agency, or other organization on behalf of an agency—

(1) The function, operation, or use of which involves intelligence activities; involves cryptologic activities related to national security; involves command and control of military forces; involves equipment that is an integral part of a weapon or weapons system; or is critical to the direct fulfillment of military or intelligence missions, but does not include a system that is to be used for routine administrative and business applications (including payroll, finance, logistics, and personnel management applications); or

(2) Is protected at all times by procedures established for information that have been specifically authorized under criteria established by an Executive order or an Act of Congress to be kept classified in the interest of national defense or foreign policy.

Roaming means cellular communications services (e.g., voice, video, data) received from a visited network when unable to connect to the facilities of the home network either because signal coverage is too weak or because traffic is too high.

Sensitive compartmented information means classified information concerning or derived from intelligence sources, methods, or analytical processes, which is required to be handled within formal access control systems established by the Director of National Intelligence.

Sensitive compartmented information system means a national security system authorized to process or store sensitive compartmented information.

Source means a non-Federal supplier, or potential supplier, of products or services, at any tier.

Subsidiary means an entity in which more than 50 percent of the entity is owned directly by a parent corporation or through another subsidiary of a parent corporation.

Substantial or essential component means any component necessary for the proper function or performance of a piece of equipment, system, or service.

Unmanned aircraft means an aircraft that is operated without the possibility of direct human intervention from within or on the aircraft (49 U.S.C. 44801(11)).

Unmanned aircraft system means an unmanned aircraft and associated elements (including communication links and the components that control the unmanned aircraft) that are required for the operator to operate safely and efficiently in the national airspace system (49 U.S.C. 44801(12)).

(b) Prohibitions on providing or using specific products or services in performance of contract. Unless a waiver or exception applies, the Contractor is prohibited from providing any products or services to the Government or using in the performance of the contract any of the following:

(1) A covered application on any information technology owned or managed by the Government, or on any information technology used or provided by the Contractor under this contract, including equipment provided by the Contractor’s employees (section 102 of Division R of the Consolidated Appropriations Act, 2023 (Pub. L. 117-328));

(2) A Kaspersky Lab-covered article (Section 1634 of Division A of the National Defense Authorization Act for Fiscal Year 2018 (Pub. L. 115-91));

(3) Covered telecommunications equipment or services used as a substantial or essential component of any system, or as critical technology as part of any system (paragraphs (a)(1)(A) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)). This does not prohibit contractors from providing—

(i) A service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or

(ii) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(c) Prohibition on unmanned aircraft systems manufactured or assembled by American Security Drone Act—covered foreign entities.

(1) Prohibition. The Contractor is prohibited from—

(i) Delivering any FASC-prohibited unmanned aircraft system, which includes unmanned aircraft (i.e., drones) and associated elements (sections 1823 and 1826 of American Security Drone Act of 2023, within the National Defense Authorization Act for Fiscal Year 2024, Pub. L. 118-31, Div. A, Title XVIII, Subtitle B, 41 U.S.C. 3901 note prec.);

(ii) On or after December 22, 2025, operating a FASC-prohibited unmanned aircraft system in the performance of the contract (section 1824 of Pub. L. 118-31); and

(iii) On or after December 22, 2025, using Federal funds to procure or operate a FASC-prohibited unmanned aircraft system (section 1825 of Pub. L. 118-31).

(2) Procedures. The Contractor shall search SAM for the FASC-maintained list of American Security Drone Act—covered foreign entities before proposing, or using in performance of the contract, any unmanned aircraft system. Also, the Contractor shall ensure any effort or expenditure associated with a FASC-prohibited unmanned aircraft system is consistent with a corresponding exemption, exception, or waiver determination expressly stated in the contract.

(3) Exemptions, exceptions, and waivers. The prohibitions in paragraph (c) of this clause do not apply where the agency has determined an exemption, exception, or waiver applies, and the contract indicates that such a determination has been made. See sections 1823 through 1825 and 1832 of Public Law 118-31 for statutory requirements pertaining to exemptions, exceptions, and waivers.

(d) Prohibition on using or providing specific products or services or conducting certain transactions regardless of connection to contract.

(1) Certain telecommunications and video surveillance equipment, systems, or services.

(i) Unless an applicable waiver has been issued by the Government, the Contractor cannot use any equipment, systems, or services that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system (paragraph (a)(1)(B) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)).

(ii) This prohibition applies to using covered telecommunications equipment or services, regardless of whether that use is in performance of work under a Federal contract. This does not prohibit the contractor from using—

(A) A service that connects to the facilities of a third party, such as backhaul, roaming, or interconnection arrangements; or

(B) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(2) Office of Foreign Assets Control Restrictions.

(i) Except as authorized by the Office of Foreign Assets Control (OFAC) in the Department of the Treasury, the Contractor shall not acquire, for use in the performance of this contract, any supplies or services if any proclamation, Executive order, or statute administered by OFAC, or if OFAC’s implementing regulations at 31 CFR chapter V, would prohibit such a transaction by a person subject to the jurisdiction of the United States.

(ii) Except as authorized by OFAC, most transactions involving Cuba, Iran, and Sudan are prohibited, as are most imports from Burma or North Korea, into the United States or its outlying areas.

(A) For lists of entities and individuals subject to economic sanctions, see OFAC’s List of Specially Designated Nationals and Blocked Persons at https://home.treasury.gov/policy-issues/financial-sanctions/specially-designated-nationals-and-blocked-persons-list-sdn-human-readable-lists.

(B) For more information about these restrictions, as well as updates, see OFAC’s regulations at 31 CFR chapter V and at https://home.treasury.gov/policy-issues/office-of-foreign-assets-control-sanctions-programs-and-information.

(C) To conduct electronic screens of potential parties to regulated transactions, see the consolidated screening list at https://www.trade.gov/consolidated-screening-list, which consolidates multiple export screening lists of the Departments of Commerce, State, and the Treasury.

(3) Sudan prohibition. The Contractor is prohibited from conducting any restricted business operations in Sudan in accordance with Accountability and Divestment Act of 2007 (Pub. L. 110-174).

(4) Iran prohibitions.

(i) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, the contractor shall not engage in certain activities or transactions relating to Iran (section 6(b)(1)(A) of Iran Sanctions Act (50 U.S.C. 1701 note).

(ii) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, contractor shall not export certain sensitive technology to Iran, as determined by the President, and has an active exclusion in SAM (22 U.S.C. 8515).

(iii) The prohibition in paragraphs (d)(4)(i) and (d)(4)(ii) do not apply if the acquisition is subject to trade agreements and the offeror certifies that all the offered products are designated country end products or designated country construction material (see part 25).

(iv) Unless an exception applies or the Government grants a waiver, contractors are prohibited from knowingly engaging in any significant transaction (i.e., over $15,000) with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked according to the International Emergency Economic Powers Act (section 6(b)(1)(B) of Iran Sanctions Act (50 U.S.C. 1701 note)).

(e) Governmentwide exclusion and removal orders.

(1) Unless the Government has issued an applicable waiver, contractors shall not provide or use as part of the performance of the contract any covered article, or any products or services produced or provided by a source, if the covered article or the source is prohibited by an applicable FASCSA order as follows:

(i) For solicitations and contracts awarded by a Department of Defense contracting office, DoD FASCSA orders apply.

(ii) For all other solicitations and contracts, DHS FASCSA orders apply.

(2) The Contractor shall search for the phrase “FASCSA order” in the System for Award Management (SAM) at https://www.sam.gov to locate applicable FASCSA orders.

(3) The Government may identify in the solicitation other FASCSA orders that are not in SAM, which are effective and apply to the solicitation and resulting contract.

(4) A FASCSA order issued after the date of solicitation applies to this contract only if added by an amendment to the solicitation or modification to the contract (see FAR 40.204-1(c)).

(f)Reasonable inquiry. The contractor shall conduct a reasonable inquiry to determine if there are any prohibited products or services. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.

(g) Removal of prohibited products and services. For Federal Supply Schedules, Governmentwide acquisition contracts, multi-agency contracts or any other procurement instrument intended for use by multiple agencies, upon notification from the Contracting Officer, during the performance of the contract, the Contractor shall promptly make any necessary changes or modifications to remove any product or service produced or provided by a source that this clause prohibits.

(h) General report.

(1) If the Contractor identifies or is notified by any source, (including a subcontractor at any tier), that any product or service provided or used (or to be provided or used) during contract performance does not comply with any prohibition in this clause, then the Contractor shall report the following information, or as much information is known, in writing to the contracting office as identified in paragraph (h)(2) within 72 hours:

(i) Contract number and order number, if applicable;

(ii) The specific prohibition the product or service is not complying with;

(iii) A description of the products or services that the Contractor identifies or has reason to suspect is prohibited (include brand; model number, such as the original equipment manufacturer (OEM) number, manufacturer part number, or wholesaler number; and item description, as applicable);

(iv) The entity that produced the product or service (include entity name, unique entity identifier, Contractor and Government Entity (CAGE) code, facilities responsible for design, fabrication, assembly, packaging, and test of the product, and whether the entity was the OEM or a distributor (provide manufacturer codes and distributor codes used for the product));

(v) Description of the functionality of the product or service and how that functionality impacts the risk to the product or service;

(vi) An explanation of any factors relevant to determining if the product or service should be permitted by an applicable exception, exemption, or waiver (if the contractor would like the Government to consider a waiver, and asks for such a waiver);

(vii) Whether alternative products or services are available that would comply with the prohibition;

(viii) If the product or service is related to item maintenance, include the following information on the item being maintained:

(A) Brand;

(B) Model number, OEM number, manufacturer part number, or wholesaler number; and

(C) Item description, as applicable.

(ix) Any readily available information about mitigation actions implemented or recommended.

(2) If a report must be submitted to a contracting office, the Contractor shall submit the report as follows:

(i) If a Department of Defense contracting office, the Contractor shall report to the website at https://dibnet.dod.mil.

(ii) For all other contracting offices, the Contractor shall report to the Contracting Officer.

(iii) For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order.

(3) If the report provided does not contain any of the information required by paragraph (h)(1) of this clause, and the contractor later discovers new information that is required by paragraph (h)(1) of this clause, then the contractor shall submit a subsequent report within 72 hours of discovering the new information.

(4) The contractor shall also report the information in paragraph (h)(1) if the contractor wishes to ask for a waiver of the requirements of a new FASCSA order being applied through modification.

(i) New FASCSA orders report.

(1) During contract performance, the Contractor shall review SAM at least once every three months, or as advised by the Contracting Officer, to check for covered articles subject to FASCSA order(s), or for products or services produced by a source subject to FASCSA order(s) not currently identified under paragraph (e) of this clause.

(2) If the Contractor identifies a new FASCSA order(s) that could impact their supply chain, then the Contractor shall conduct a reasonable inquiry to identify whether a covered article or product or service produced or provided by a source subject to the FASCSA order(s) was provided to the Government or used during contract performance. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.

(3) The Contractor shall submit a report to the contracting office identified in paragraph (h)(2) of this clause if the Contractor identifies, including through any notification by a subcontractor at any tier, that a covered article or product or service produced or provided by a source was provided to the Government or used during contract performance and is subject to a FASCSA order(s). For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order. The Contractor shall report the following information within 72 hours for each covered article or each product or service produced or provided by a source, where the covered article or source is subject to a FASCSA order:

(i) Contract number and order number, if applicable;

(ii) Name of the covered article or source subject to a FASCSA order;

(iii) The specific FASCSA order the product or service does not comply with;

(iv) The elements of (h)(1)(iii) through (ix) of this clause.

(j) Subcontracts. The Contractor shall insert the substance of this clause, including this paragraph (j) but excluding subparagraphs (d)(1) and (i)(1), in all subcontracts and other contractual instruments, including subcontracts for acquiring commercial products or commercial services.

(End of Provision)

***** Begin Inserted Clause (Full Text) '52.240-93 BASIC SAFEGAURDING OF COVERED CONTRACTOR INFORMATION SYSTEMS (DEVIATION)' *****

## 4.9  52.240-93  BASIC SAFEGAURDING OF COVERED CONTRACTOR INFORMATION SYSTEMS (DEVIATION) (NOV 2025)

(a) Definitions. As used in this clause—

Covered contractor information system means an information system that is owned or operated by a contractor that processes, stores, or transmits Federal contract information.

Federal contract information—

(1) Means information, not intended for public release, that is provided by or generated for the Government under a contract to develop or deliver a product or service to the Government; but

(2) Does not include information provided by the Government to the public (such as on public websites) or simple transactional information (such as information necessary to process payments).

Information means any communication or representation of knowledge such as facts, data, or opinions, in any medium or form, including textual, numerical, graphic, cartographic, narrative, or audiovisual (Committee on National Security Systems Instruction (CNSSI) 4009).

Information system means a discrete set of information resources organized for the collection, processing, maintenance, use, sharing, dissemination, or disposition of information (44 U.S.C. 3502).

Safeguarding means measures or controls that are prescribed to protect information systems.

(b) Safeguarding requirements.

(1) Basic requirements. The Contractor shall safeguard its covered contractor information systems by implementing, at minimum, the following security controls:

(i) Limit information system access to authorized users, processes acting on behalf of authorized users, or devices (including other information systems).

(ii) Limit information system access to the types of transactions and functions that authorized users are permitted to execute.

(iii) Verify and control/limit connections to and use of external information systems.

(iv) Control information posted or processed on publicly accessible information systems.

(v) Identify information system users, processes acting on behalf of users, or devices.

(vi) Authenticate (or verify) the identities of those users, processes, or devices, as a prerequisite to allowing access to organizational information systems.

(vii) Sanitize or destroy information system media containing Federal Contract Information before disposal or release for reuse.

(viii) Limit physical access to organizational information systems, equipment, and the respective operating environments to authorized individuals.

(ix) Escort visitors and monitor visitor activity; maintain audit logs of physical access; and control and manage physical access devices.

(x) Monitor, control, and protect organizational communications (i.e., information transmitted or received by organizational information systems) at the external boundaries and key internal boundaries of the information systems.

(xi) Implement subnetworks for publicly accessible system components that are physically or logically separated from internal networks.

(xii) Identify, report, and correct information and information system flaws in a timely manner.

(xiii) Provide protection from malicious code at appropriate locations within organizational information systems.

(xiv) Update malicious code protection mechanisms when new releases are available.

(xv) Perform periodic scans of the information system and real-time scans of files from external sources as files are downloaded, opened, or executed.

(2) Other requirements. This clause does not relieve the Contractor of any other specific safeguarding requirements specified by Federal departments and agencies relating to covered contractor information systems generally or other Federal safeguarding requirements for controlled unclassified information (CUI) as established by Executive Order 13556.

(c) Subcontracts. The Contractor shall include the substance of this clause, including this paragraph (c), in subcontracts under this contract (including subcontracts for the acquisition of commercial products, other than commercially available off-the-shelf items, or commercial services), in which the subcontractor may have Federal contract information residing in or transiting through its information system.

(End of Provision)

***** End Inserted Clause '52.240-93 BASIC SAFEGAURDING OF COVERED CONTRACTOR INFORMATION SYSTEMS (DEVIATION)' *****

***** By-Reference '52.203-7 ANTI-KICKBACK PROCEDURES' Ignored *****

***** By-Reference '52.203-8 CANCELLATION, RESCISSION, AND RECOVERY OF FUNDS FOR ILLEGAL OR IMPROPER ACTIVITY' Ignored *****

***** By-Reference '52.204-10 REPORTING EXECUTIVE COMPENSATION AND FIRST-TIER SUBCONTRACT AWARDS (DEVIATION)' Ignored *****

***** By-Reference '52.204-13 SYSTEM FOR AWARD MANAGEMENT—MAINTENANCE (DEVIATION)' Ignored *****

***** By-Reference '52.219-27 NOTICE OF SET-ASIDE FOR, OR SOLE-SOURCE AWARD TO, SERVICE-DISABLED VETERAN-OWNED SMALL BUSINESS (SDVOSB) CONCERNS ELIGIBLE UNDER THE SDVOSB PROGRAM (DEVIATION)' Ignored *****

***** By-Reference '52.222-3 CONVICT LABOR (DEVIATION)' Ignored *****

***** By-Reference '852.232-70 PAYMENTS UNDER FIXED-PRICE CONSTRUCTION CONTRACTS (WITHOUT NAS– CPM) (NOV 2018)' Ignored *****

***** By-Reference '852.246-71 REJECTED GOODS' Ignored *****

***** Word Document ' WAGE-RATES: Wage Determination HI20260001' Ignored *****

***** Word Document ' SOLICITATION-DESCRIPTION' Ignored *****

***** Begin Inserted Excel Worksheet - ' Price Breakdown 36C26126R0031 Modernize Generators' *****

See attached document: Price Breakdown 36C26126R0031 Modernize Generators.

***** End Inserted Excel Worksheet - ' Price Breakdown 36C26126R0031 Modernize Generators' *****

***** Begin Inserted Word Document - ' RFI Form - 36C26125R0031 Modernize Generators' *****

See attached document: RFI Form - 36C26125R0031 Modernize Generators.

***** End Inserted Word Document - ' RFI Form - 36C26125R0031 Modernize Generators' *****

***** Begin Inserted Word Document - ' CONTRACTOR CERTIFICATION REGARDING SAFETY AND ENVIRONMENTAL' *****

See attached document: CONTRACTOR CERTIFICATION REGARDING SAFETY AND ENVIRONMENTAL.

***** End Inserted Word Document - ' CONTRACTOR CERTIFICATION REGARDING SAFETY AND ENVIRONMENTAL' *****

***** Begin Inserted Adobe Acrobat Document (.pdf) - ' Modernize Generator System Drawings' *****

See attached document: Modernize Generator System Drawings.

***** End Inserted Adobe Acrobat Document (.pdf) - ' Modernize Generator System Drawings' *****

***** Begin Inserted Adobe Acrobat Document (.pdf) - ' Modernize Generator System Final Specifications 2026-04-03' *****

See attached document: Modernize Generator System Final Specifications 2026-04-03.

***** End Inserted Adobe Acrobat Document (.pdf) - ' Modernize Generator System Final Specifications 2026-04-03' *****

***** Begin Inserted Adobe Acrobat Document (.pdf) - ' 852.219-75 VA NOTICE OF LIMITATIONS ON SUBCONTRACTING-CERTIFICATE OF COMPLI...' *****

See attached document: 852.219-75 VA NOTICE OF LIMITATIONS ON SUBCONTRACTING-CERTIFICATE OF COMPLIANCE FOR SERVICES AND CONSTRUCTION DEVIATION.

***** End Inserted Adobe Acrobat Document (.pdf) - ' 852.219-75 VA NOTICE OF LIMITATIONS ON SUBCONTRACTING-CERTIFICATE OF COMPLI...' *****

***** Begin Inserted Adobe Acrobat Document (.pdf) - ' Wage Determination HI20260001 Jan 16 2026' *****

See attached document: Wage Determination HI20260001 Jan 16 2026.

***** End Inserted Adobe Acrobat Document (.pdf) - ' Wage Determination HI20260001 Jan 16 2026' *****