| SUBJECT* | Monitors: Physio: Cardiac Output: Bedside (Hemodynamic) |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 21703 |
| --- | --- |
| SOLICITATION NUMBER* | 36C10X26Q0111 |
| RESPONSE DATE/TIME/ZONE | 04-28-2026 12:00 EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 60 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | 6515 |
| NAICS CODE* | 339112 |
| CONTRACTING OFFICE ADDRESS | Strategic Acquisition Center - Frederick Department of Veterans Affairs 5202 Presidents Court, Suite 103 Frederick MD 21703 |
| POINT OF CONTACT* | CONTRACT SPECIALIST LEVI RUSSIN Levi.Russin@va.gov 518-626-6757 |

PLACE OF PERFORMANCE

| ADDRESS | Enterprise-wide |
| --- | --- |
| POSTAL CODE |  |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL | https://www.va.gov/opal/sac/index.asp |
| --- | --- |
| URL DESCRIPTION | To learn more about SAC and its mission, please click here |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

1.0 DESCRIPTION

The Veterans Health Administration (VHA) Non-Expendable Equipment National Program has identified the Monitors: Physio: Cardiac Output: Bedside product line as a candidate for the Department of Veterans Affairs VA-wide (otherwise referred to as “national”) Non-Expendable Equipment (NX) Requirements contract award.

The Department of Veterans Affairs’ (VA) Office of Procurement, Acquisition and Logistics (OPAL) Strategic Acquisition Center (SAC) on behalf of VHA is issuing this Sources Sought in accordance with FAR 10.001 to determine the availability and technical capabilities of qualified sources.

The SAC in conjunction with VHA is seeking a qualified source to provide Becton Dickinson HemoSphere Alta® brand name or equal Monitor and Monitors: Physio: Cardiac Output: Bedside systems and components on an agency wide basis. VA intends to award a Requirements Contract with Firm-Fixed Price (FFP) orders IAW FAR 16.503, Requirements Contract to a supplier of this equipment. Vendors will be required to deliver Monitors: Physio: Cardiac Output: Bedside systems and components to VA medical centers and facilities throughout the United States.

The anticipated period of performance is for one 12-month base period with four 12-month option periods from the date of award. However, the Government's decision as to whether or not to continue with the contract, upon annual review, will be based upon successful performance during each previous year and continued need.

The associated North American Industrial Classification System (NAICS) code for this procurement is 339112 – Surgical and Medical Instrument Manufacturing and the associated size standard is 1,000 employees. The FAR Provision found at 52.204-7 requires that “The Offeror shall have an active Federal Government contracts registration in the System for Award Management (SAM) when submitting an offer or quotation in response to this solicitation and at the time of award.” You may access the SAM website at Home | SAM.gov. All offerors must be certified with the appropriate NAICS code on the SAM website. All SDVOSB/VOSB offerors must be verified in the Small Business Administration (SBA) database at Veteran Small Business Certification (VetCert) database at: Veteran Small Business Certification (sba.gov) at the time of proposal submission.

This notice is for planning purposes only and does not constitute a commitment on the part of the Government to award a contract, nor does the Government intend to pay for any information submitted as a result of this notice. This Sources Sought is part of a continuous process for obtaining the latest information on the commercial status of the industry with respect to their current and near-term abilities. The information provided herein is subject to change and in no way binds the Government to solicit for, or award, a competitive contract. It is emphasized that this is a notice solely for planning and informational purposes.

2.0 SCOPE

These portable bedside monitors are designed to acquire, measure, and process information for the purposes of intermittently measuring and/or continuously monitoring cardiac output (the amount of blood pumped out by the ventricles in a given period of time). Typical functions of a cardiac output bedside monitor include intermittent measurement and/or calculation and display of the cardiac output curve(s), cardiac output index, blood temperature, stroke volume, and systemic vascular resistance. Some monitors may provide continuous cardiac output monitoring features, additional intermittent or continuous hemodynamic monitoring features, or other functions, such as measurement of venous oxygen saturation.

The following Contract Line Items are being considered:

| Contract Line Items | Manufacture | Part Number | Description | Base Year | Option Year 1 | Option Year 2 | Option Year 3 | Option Year 4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0001 | Becton Dickinson | ALTAALLSV2 | HEMOSPHERE ALTA ALL ON ONE BUNDLE WITH SWAN CCO CABLE, OXIMETRY CABLE, ACUMEN IQ/CLEARSIGHT, FORESIGHT, PRESSURE CABLE FOR ACUMEN IQ/FLOTRAC, AND HPI. Kit contains: ALTAALL1, HEMA70CC2, HEMOXSC100, HEMPC2K, EVHRS, HEMFSM10, HEMAPSC200, 50038354001 **Includes 2-Years of Total Protection Service** **All Technologies** | 55 | 55 | 55 | 55 | 55 |
| 0002 | Becton Dickinson | ALTACR1SV2 | HEMOSPHERE ALTA CARDIAC BUNDLE WITH SWAN CCO CABLE, OXIMETRY CABLE, FORESIGHT, PRESSURE CABLE FOR ACUMEN IQ/FLOTRAC, AND HPI. Kit contains: ALTACR1, HEMA70CC2, HEMOXSC100, HEMFSM10, HEMAPSC200, 50038354001 **Includes 2-Years of Total Protection Service** **Cardiac - Invasive** | 30 | 30 | 30 | 30 | 30 |
| 0003 | Becton Dickinson | ALTASR1SV2 | HEMOSPHERE ALTA SMART RECOVERY BUNDLE WITH ACUMEN IQ/CLEARSIGHT, PRESSURE CABLE FOR ACUMEN IQ/FLOTRAC. Kit contains: ALTASR1, HEMPC2K, EVHRS, HEMAPSC200, 50038354001 **Includes 2-Years of Total Protection Service** **Smart recovery - Non Invasive** | 15 | 15 | 15 | 15 | 15 |
| 0004 | Becton Dickinson | HEMRLSTD1000 | HEMOSPHERE ROLL STAND Accessory | 90 | 90 | 90 | 90 | 90 |
| 0005 | Becton Dickinson | PCCVR | PRESSURE CONTROLLER COVER - PCCVR Included | 100 | 100 | 100 | 100 | 100 |

The Department of Veterans Affairs (VA) is seeking vendors who can provide the Becton Dickinson HemoSphere Alta® Monitor Monitors: Physio: Cardiac Output: Bedside or equal as listed above which meet all the following salient characteristics:

SC’s 1-6 apply to CLIN’s 0001-0003

| SC # | SALIENT CHARACTERISTICS | METHOD OF EVALUATION |
| --- | --- | --- |
| SC 1 | Must be a portable / stand-alone bedside monitor capable of monitoring and displaying the following parameters at a minimum: Oxygen Delivery (DO2), Cardiac Output (CO), Oxygen Content (CaO2), Stroke Volume (SV), Oxygen Saturation (SvO2/Scv02), and Heart Rate (HR) | Literature Review |
| SC 2 | Must have embedded algorithm(s) capable of providing continuous beat-to-beat CO and SV | Literature Review |
| SC 3 | Must have embedded algorithm(s) capable of predicting patient deterioration / hemodynamic instability | Literature Review |
| SC 4 | Must display all parameters in one integrated interface | Literature Review |
| SC 5 | Must demonstrate ability to interface with EMR. | Literature Review |
| SC 6 | Must be FDA approved for use in adult critical care patients requiring monitoring of cardiac output and derived hemodynamic parameters in a hospital environment | Literature Review |

For each product (brand name and part number), the response must include descriptive literature demonstrating the product meets or exceeds the SCs specified above.

The Government's intent is to include all ancillary items to ensure the equipment can function as designed by the Original Equipment Manufacturer and as clinically required. Vendors are encouraged to provide any product solution or configuration so long as they meet the SCs. Additionally, responses can include any additional product that may be beneficial. These items must be clearly identified by brand name and part number.

Responses to this Sources Sought Notice shall include the following:

- Full name and address of company;

- Unique Entity Identifier (UEI) number;

- Business Size;

- Manufacturer or Distributor;

  - If distributor provide full name, business size and address of manufacturer.

- Country of Origin designation for all products;

- Ability to provide uninterrupted supply of products on a national scale;

- Technical Literature that clearly shows product(s) meet the identified SCs (if submitting an “or-equal” item);

- Any additional product solution or configuration that would be beneficial to the clinical functionality of the product line identified.

Although not required, vendors responding to this Sources Sought may also submit a Capabilities Statement.

Contractors submitting capability statements in response to this RFI must specifically address the questions outlined above. Generic capability statements that do not directly pertain to this RFI will not be considered. Additionally, links requesting capability statements or further information will not be accessed. All responses must be submitted as an actual file attachment.