STATEMENT OF WORK (SOW)

as of 08/15/2025

| Contract Number: | 541-20E-25-00013 |
| --- | --- |
| Task Order Number: |  |
| IFCAP Tracking Number: |  |
| Follow-on to Contract and Task Order Number: | Not Applicable |

1. Contracting Officer’s Representative (COR).

| Name: | Bobbie Deynzer |
| --- | --- |
| Section: | Medicine Service |
| Address: | 10701 East Blvd. Cleveland, OH 44106 |
| Phone Number: | 216-791-3800 x 62047 |
| Fax Number: |  |
| E-Mail Address: | Bobbie.Deynzer@va.gov |

2. Contract Title.  Finapress Nova- Cleveland VAMC

3. Background.  The Cleveland VAMC, Medicine Service Cardiology Department is requesting a Finapres Nova or equivalent, a non-invasive hemodynamic monitoring system that allows continuous blood pressure monitoring using a finger cuff The Finapress Nova or equivalent offers various hemodynamic parameters including heart rate; inter-beat interval; and blood pressure waveforms. The unit is a standalone device that does not require the services of the contractor, nor will they require access to any VA database. This will be an open-market purchase through ADINSTRUMENTS or equivalent.

4. Scope.

- Finapress Nova or equivalent is Non-invasive Monitoring: It provides accurate continuous blood pressure monitoring using just a finger cuff.

- Arterial Circulation Analysis: It characterizes arterial circulation and its variability in pressure and flow.

- Robust Measurement: The system is based on accurate and robust continuous non-invasive measurement of blood pressure.

- Compatibility: It meets specific compatibility requirements with ADInstruments DAQ and complies with international safety standards.

- Comprehensive Data: It offers non-invasively determined blood pressure waveforms and additional parameters like heart rate and inter-beat intervals.

5. Specific Tasks.

The Contractor ADIINSTRUMENTS is the open market vendor of the Finapres Nova Blood Pressure monitor or equivalent. ADINSTRUMENTS or equivalent will provide the following upon award of the contract. 1. Finapress Nova Plus NC System or equivalent (5 Lead ECG) 1. Hemodynamics Model flow application (For Finapress Nova) or equivalent; 1. HL7 Connect application (For Finapress Nova) or equivalent; 1. Finger Cuff for Human NIBP Nano (Medium) or equivalent; 1 ea Finger Cuff for Human NIBP Nano (Small) or equivalent; 1. Installation and Training (1 Day) or equivalent.

6. Performance Monitoring

## The COR will work with warehouse staff and biomedical engineering to ensure delivery and incoming inspection to determine fitness for use.

## 7. Security Requirements

The contractor will not have access to VA sensitive information

8. Government-Furnished Equipment (GFE)/Government-Furnished Information (GFI).

Not Applicable

9. Other Pertinent Information or Special Considerations.

None

a.  Identification of Possible Follow-on Work.

None

b.  Identification of Potential Conflicts of Interest (COI).

None

c.  Identification of Non-Disclosure Requirements.

None

d.  Packaging, Packing and Shipping Instructions.

Shipping will be determined by the vendor

e.  Inspection and Acceptance Criteria.

The COR will monitor delivery and consult with local biomedical staff to determine if the equipment received is suitable for use and meets the specifications of the SOW.

## 10. Risk Control

## The Medicine Service will follow any safety recommendations given by the vendor for the equipment.

11. Place of Performance.

Cleveland VAMC

10701 East Blvd

Cleveland, OH 44106

## 12. Period of Performance.

## 05-15-26 to 10-15-26

13. Delivery Schedule.

Details of delivery to be finalized by Cleveland VAMC and vendor after contract have been awarded.